## Factory
SCHEDULE OF QUANTITIES FOR ELECTRICAL WORKS OF PRODUCTION BLOCK
S.NO. | ITEM'S DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
|  |  |  | (IN RS.) | (IN RS.)
A | POINT WIRING
1 | Supplying, installation, testing, rectification & commissioning of the wiring with all the required materials for the following given points with 1100 volts grade PVC insulated multi stranded copper conductor of 4.0 sq.mm wires either in concealed or on surface mounted heavy duty 25/32/40 mm diameter PVC rigid conduit either in slab or on above false ceiling or in walls or in partitions, alongwith 1100 volts grade PVC insulated multi stranded copper conductor of 1.5 sq. mm continuous copper earth wire and associated hardware etc. as per technical specification enclosed with this documents.(Note: These points starts directly from DB's and terminate at fixtures via MCB.and the length of first point shall be 20 Rmtr.)
a | One light points controlled by one no. existing 10 Amps SP MCB. | Nos. | 6
b | Loop light points controlled by one no. existing 10 Amps SP MCB. | Nos. | 12
2 | Wiring for light/power plug wiring with 4x4 mm² pvc insulated,copper conductor, single core cable in surface/recessed pvc conduit along with 2 no. 2.24 mm dia bare copper wire for loop earthing as required. | Point | 1
3 | Supplying and fixing 20 amps. TPN industrial type socket outlet with 4 pole and earth metal enclosed plug top, alongwith 20 amps. "G" series TP MCB in sheet steel enclosure on surface, or in recess with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required | Nos. | 2
4 | Supplying and fixing 20 amps. 240 volts, SPN industrial type socket outlet with 2 pole and earth metal enclosed plug top, alongwith 20 amps. "G" series TP MCB in sheet steel enclosure on surface, or in recess with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required | Nos. | 2
B | CIRCUIT/SUB MAINS WIRING
1 | Wiring for circuit wiring with 2x2.5mm² PVC insulated, copper conductor, single core cable in surface/recessed pvc conduit as required | Mtr. | 0
2 | Wiring for submain wiring with the following sizes of PVC insulated, copper conductor, single core cable in surface/recessed pvc conduit as required | Mtr.
a | 2x10mm² | Mtr. | 0
a | 4x10mm² | Mtr. | 0
b | 4x16mm² | Mtr. | 0
c | 3x25 + 1x16mm² | Mtr. | 30
C | SUB DISTRIBUTION BOARDS
1 | Supplying, Installation, testing and commissioning of surface/recess mounting, vertical type, compartmentalised, 415Volts, TPN MCB distribution oard of sheet steel, 1.6mm thick, dust protected, duly phosphatized and painted, inclusive of 200amps. Tinned copper busbars, earth bars, comon neutral link, din bar for mounting MCB's detachable gland/knock out plates and with built in loose wire box, and superior make terminal connector for all incoming and outgoing circuits, duly prewired with adequate size of PVC insulated copper wires between the busbars and the MCB's as well as the incomer and upto the terminal connector/neutral link and ready for installation, of the following ways(but without MCB's and incomer)as required;
a | 2+4 Way | Each | 0
b | 4 Way | Each | 2
c | 8 Way | Each | 0
d | 12 Way | Each | 0
2 | Supplying and fixing 5 amps. To 32 amps. Rating, 240 volts,"L" series , minature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required (category-B)
a | Single Pole | Each | 20
b | Single Pole and neutral | Each | 0
b | Triple Pole + Neutral | Each | 2
3 | Supplying and fixing 5 amps. To 32 amps. Rating, 240 volts,"G" series , minature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required (category-B)
a | Single Pole | Each | 4
b | Triple Pole + Neutral | Each | 0
4 | Supplying and fixing the folowing rating four pole 415 volts isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | 40 amps. | Each | 0
b | 63 amps | Each | 0
c | 100 amps | Each | 0
T.V.TELEPHONE AND COMPUTER WIRING
1 | Supplying, fixing, testing, installation and commissioning of piano/tumbler type RJ-11 telephone sockets housed in MS/GI boxes recessed in walls/ partitions/paneling for telephone outlets. | Nos. | 2
2 | Supplying, fixing, testing, installation and commissioning of piano/tumbler type RJ-45 computer sockets housed in MS/GI boxes recessed in walls/ partitions/paneling for computer outlets. | Nos. | 2
3 | Supplying, laying, testing, connecting and commissioning of RG 6 TV cable in existing conduit complete as required. | Rmtr. | 0
4 | Supplying and fixing the telephone tag blocks housed in MS boxes (with hinged cover and duly painted) recessed in wall with adequate knockouts including chase cutting and making the surface good and making connections complete as required.
| 10 Pair | Nos. | 1
| 30 Pair | Nos. | 0
| 50 Pair | Nos. | 0
| 100 Pair | Nos. | 0
5 | Supplying and drawing PVC insulated, PVC sheathed multicore unarmoured taped telephone cables of .61 mm dia size in existing pipe, of the following sizes.
| 10 Pair | Mtr. | 10
| 30 Pair | Mtr. | 0
| 50 Pair | Mtr. | 0
| 4 Pair (CAT- 5) | Mtr. | 40
6 | Supplying and fixing of the following sizes of pvc conduit alongwith the accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as reequired:
a | 20 mm | Mtr. | 30
b | 25 mm | Mtr. | 10
c | 50 mm | Mtr. | 5
8 | Supplying and fixing of an aluminium made Raceway of following sizes complete with cover,floor junction boxes with cover and all other required accessories including hardwares etc.
| 100mm X 35mm ALUMINIUM 1.6 mm | Rmtr. | 0
9 | Supplying and drawing CAT-5 computer cables in an existing pipe including termination etc. | Mtr. | 15
7 | FIXTURES
Supplying, storing, assembling, fixing, testing & commissioning the following fixtures including cost of hangers, chains or any other item required for fixing including flexible wire from outlet to fitting.
a | Indoor duty surface mounted industrial type made of CRCA sheet steel suitable for 1Nos 250 W SON lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 1 Nos. 250W metal halide lamp, ballasts, starters, p.f., improving capacitors, holders, control wiring etc.Philips make (Optibay) HPK 225/HPK 250 NB. | Nos | 18
b | Indoor duty surface mounted decorative industrial type flourescent fixture made of CRCA sheet steel suitable for 2 Nos 4 feet long 36 W fluorescent lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 2 Nos. 36W x 4 feet long TRULITE fluorescent lamp, powder coated reflactor, copper ballasts, starters, p.f., improving capacitors, holders, control wiring etc. equivalent to PHILIPS make TKC 24/236 | Nos. | 20
NOTE: | PARTIES ARE REQUESRED TO SUBMIT THEIR RATES FOR THE ITEMS ALSO, WHERE QTY IS SHOWN AS ZERO. ACTUAL QTY WILL BE DECIDED AT THE TIME OF FINALIZATION OF THE CONTRACT.