ANNEXURE-II

### Scope, Terms and Conditions

Terms Used:

OEM – Original Equipment Manufacturer / Principal Equipment Manufacturer

Bidder – Bidder participating in the tender as per the qualification criteria

AMC – Annual Maintenance Contract

| ###### SCOPE OF LEASE RENTAL |  | Bidder’s Compliance Yes / No | Bidder’s Remarks |
| --- | --- | --- | --- |
|  | Migration of existing Computerized Attendance Recording & management System(CARMAS) which is based on swipe acceptance to Biometric technology of access control and attendance recording system on 5 year lease rental basis, consisting of the following: - Design, Supply, Installation, Configuring, Testing, Commissioning and maintenance of the Biometric access control system as per specifications enclosed. - The system should permit access to the factory as per stipulated rules. - The system should transfer data to Payroll system which can be either ORACLE platform or SAP. - Comprehensive Maintenance of entire system, including the existing infrastructure which becomes a part of the new system, for a period of 5 years. - Maintenance of existing UPS systems including replacement of UPS batteries as and when they fail for the entire Lease Rental contract period. All the UPS batteries shall be replaced in the last quarter of the lease contract |  |  |

| ###### Bidder Qualification Criteria |  | Bidder’s Compliance Yes / No | Bidder’s Remarks |
| --- | --- | --- | --- |
|  | Bidder should be either OEM of Biometric Readers who is willing to under take total scope of work OR an Authorized System Integrator having direct purchase and support agreement with the OEM to quote for this tender. The system Integrator shall submit a letter of Authorization from OEM for this specific tender. The Certificate / Authorization Letter specific to this tender must be enclosed with the Technical Bid, without which the offer shall be liable for rejection. |  |  |
|  | All the Biometric readers, proximity readers and exit readers offered by the Bidder shall be from single OEM only. |  |  |
|  | A bidder shall submit only one bid of a single OEM for Readers. |  |  |
|  | The Bidder and the OEM should be able to support the Project site and the equipment for a period of 10 years. All Software Updates including Database updates shall be provided during the lease period at no extra cost. Bidder & the OEM shall give commitment letter in this regard. |  |  |
|  | The OEM should have support infrastructure in spares stocking, Technical support and logistics in different locations in India. Specify the OEM Spares logistics locations in India with address. |  |  |
|  | I) The Bidder should have experience in executing Biometric solutions. The Bidder should have successfully executed such solutions during the last 3 years as on 31st March 2006: Employee strength not less than 1000 in Industry or Government establishments (The executed work under consideration should be of total Solution and Infrastructure Setup, which consists cable laying, and system integration) II) In addition Bidder should have a minimum of 2 years of experience as on 31st March 2006 of Annual Maintenance/Lease rental contract for Corporate Access control solutions. Order copies of works Executed and annual AMC/Lease Rental contract should be provided by Bidder along with the Techno-commercial Bid. |  |  |
|  | The Bidder should submit financial statements for the last three years, duly audited by practitioner chartered accountant to assess the financial solvency. |  |  |
|  | Bidder should have professionals with expert level certification from the OEM of the quoted products and also having experience of implementing / maintaining Biometric solutions. |  |  |
|  | Bidder should fulfill all statutory and safety requirements for personnel engaged while executing the contract. Due to non compliance of the applicable statutory provisions, if BHEL has to incur any expenditure in this regard the same will be compensated by the Bidder. |  |  |
| ###### Techno-Commercial Terms and Conditions |  | Bidder’s Compliance Yes / No | Bidder’s Remarks |
|  | The lease rental offer should be valid for 180 days from date of opening Price bid. |  |  |
|  | Lease rentals quoted shall be inclusive of the following during the lease period and shall remain FIRM without any variation till completion of the lease contract: - Freight, handling and packing charges, transit insurance, installation. - On-site comprehensive maintenance - On-site comprehensive Insurance covering total scope of supply and man power. - Spares & Software/Firmware Updates - All taxes & Duties. |  |  |
|  | Comprehensive maintenance shall include the following : - Replacement of faulty equipment - Installation charges - Site inspection charges - Cost of Maintenance Engineers - Lease tax/right to use tax / any other statutory levies including service tax. |  |  |
|  | On-site Comprehensive insurance covering total scope of supply and man power during the currency of the contract. The beneficiary of the Insurance should be BHEL. |  |  |
|  | The bidder should provide 24x7 support for the equipment. Any component/equipment failed shall be replaced/replenished within 4 hours on all days of the week. |  |  |
|  | Spares: The Bidder shall maintain required spares to maintain the specified uptime. These are to include a minimum of 3 numbers of Biometric Readers, 2 numbers of proximity readers and 5 numbers of exit readers at BHEL. |  |  |
|  | Lease Rentals: Lease Rentals will commence only after successful supply, installation and commissioning of the entire equipment as per the scope of the contract. The completion of installation and commissioning shall be as per the mutually agreed ATP (Acceptance Test Plan) and shall be certified by BHEL. The installation and commissioning shall be completed in all respects with in 6 weeks from the date of completion of total supplies. Penalty will be levied in case of delays @ ½ % per week of delay, of total outright value of all items ordered, subject to a maximum of 10%. |  |  |
|  | Lease Rentals will be paid on quarterly basis, on successful completion of each quarter and on certification by BHEL. |  |  |
|  | Terminal charges to be paid at the end of the contract period shall be specified in the Price Bid as per the format by the Bidder. On payment of terminal charges, the ownership of entire System including all the equipment, spares & software will get transferred to BHEL without any other payments. BHEL reserves the right to take possession of the equipment by paying the terminal charges. In case BHEL decides to surrender the equipment after the expiry of the contract, Bidder shall remove the equipment from BHEL premises at his own risk and cost after due permission from BHEL. |  |  |
|  | The Annual Maintenance Charges subsequent to the lease rental period shall be quoted as a percentage of outright purchase value of each item. The scope of AMC after lease period shall be comprehensive including spares & Services and shall be applicable for a period of 5 years and will be binding on the Bidder. BHEL reserves the right to enter in to AMC after the Lease Rental period renewable each year for a period of 5 years or less. |  |  |
|  | Delivery of all the equipment shall be within 8 weeks from date of LOI (Letter Of Intent). Penalty will be levied in case of delays @ ½ % per week of delay, of total outright value of all items ordered, subject to a maximum of 10%. |  |  |
|  | Ordered items shall be offered for pre-dispatch inspection before shipment. BHEL reserves the right to inspect the components or give dispatch clearance based on Bidder’s inspection and other reports. |  |  |
|  | All ordered equipment shall be supplied with relevant test certificates, certificate of newness of equipment and any other statutory documents. |  |  |
|  | Complete technical literature pertaining to the products, any relevant bench mark results/test results are to be submitted along with technical offer. |  |  |
|  | At least 4 qualified Engineers shall be stationed at BHEL site during contract period, for upkeep and maintenance of the equipment. Two of these engineers will look after the Access Control System and two engineers shall be posted for maintaining the attendance recording system and Management Information Reports generation. These engineers shall have expertise in managing the system under the contract. Documentary proof of certification and experience of the engineers shall be provided. These engineers shall be available on-site between 7.30 AM to 4.30 PM during all working days of BHEL, Ramachandrapuram and shall be available on call basis round the clock, to meet any exigency. |  |  |
|  | Uptime of 99% shall be guaranteed for the system on monthly basis. Any down time beyond 1% will result in the reduction of lease rentals on Pro rata basis. |  |  |
|  | Bidder should arrange a system for registration, monitoring and redress of all complaints during the contract period |  |  |
|  | Hardware upgrades during rental contract period shall provide upward compatibility at mutually agreed prices. |  |  |
|  | The Bidder shall submit the proposed plan of execution and the methodology to execute the plan at the time of bid submission. |  |  |
|  | The offers shall be evaluated based on the total lease rentals for 5 year for the entire scope of the tender. The total lease rentals are calculated based on the offered lease rental charges per Unit per Quarter. AMC charges quoted after lease period will not be considered for evaluation. |  |  |
|  | Successful bidder shall enter into lease rental agreement with BHEL on non-judicial stamp paper of required value as per extant rules, at their own cost as per the draft agreement format (Annexure-F) |  |  |
|  | MAINTENANCE Maintenance service shall cover services, repairs and replacements necessary to keep the equipments in good working order on reasonable use of the equipments during the lease period. Periodic maintenance check should be carried out to keep the equipments in good working conditions. Maintenance will include all plastic and/or rubber parts, existing/New UPS, UPS batteries, etc. Batteries of all UPS are to be replaced in the last quarter of the lease contract. (The details of existing UPS systems enclosed at Annexure-E) |  |  |
|  | DOWNTIME CALCULATION FOR THE SYSTEM Bidder shall be responsible for maintaining a minimum uptime of 99% for the entire system on monthly basis. Any down downtime above 1% will be subject deduction of lease rentals on following basis. The downtime will be calculated on hourly basis per month on 24 hours basis. At the end of the contract period if any equipment is found down, final payment for the contract will be made only after system is made up. Downtime calculation will be applicable for non-availability for more than 2 hours at each location of readers, Server, UPS etc. The downtime deduction will be on the prorata basis of the original cost of the equipment. - For server, the cost of server will be considered. - For biometric reader, the cost of biometric reader will be considered. - For UPS, the cost of UPS and batteries will be considered. Note: If the uptime for equipment falls below 99% continuously for 1 month, the equipment shall have to be replaced by the Bidder, without any extra charge. |  |  |
|  | TRAINING Training of BHEL personnel shall be part of the contract. During installation at BHEL, the associated BHEL coordinators shall be guided on the system usage. |  |  |
|  | INSTALLATION AND COMMISSIONING The cable laying and connectivity of equipment in the system will be in the scope bidder |  |  |

| ###### Termination of Lease contract and Consequences |  |  | Bidder’s Compliance Yes / No | Bidder’s Remarks |
| --- | --- | --- | --- | --- |
|  |  | BHEL reserves the right to terminate the order/contract, upon situations arising due to non-compliance of contract Terms & Conditions or non-performance of the equipment/system below 98% continuously for more than one month, at the risk and cost of the Bidder. On termination of the lease agreement, no lease rent shall be payable to the Bidder for the remaining period from the date of Termination. |  |  |
|  |  | In case of the contract termination, Bidder shall remove the equipment from BHEL premises at his own risk and cost after due permission from BHEL |  |  |
|  |  | Fore-closure: In case of fore-closure of the lease agreement by the BHEL for reasons not attributable to the Bidder, pro-rata compensation will be payable. Compensation will be equivalent to the basic price component for the remaining quarters of the lease period and the ownership of the equipment shall be transferred to BHEL. |  |  |
|  | ACCEPTANCE OF ORDER Bidder shall submit Letter of acceptance for the LOI/ Order/ Contract within one week. |  |  |  |
|  | SHIFTING OF EQUIPMENT FROM A LOCATION TO OTHER BHEL reserves the right to relocate the equipment. Shifting of equipment from one location to another with in BHEL campus shall be the responsibility of the Bidder. |  |  |  |
|  | PATENTS & TRADEMARKS Bidder shall at all times indemnify BHEL against all claims which may be made in respect of the Systems/goods/Software supplied, for infringement of any right protected by patent, registration of designs or trade marks and legality of usage of Software. In the event of any such claims being made against BHEL, BHEL will inform the Bidder who shall at his own cost either settle any such dispute or conduct any litigation that may arise there from. |  |  |  |
|  | Risk Purchase : BHEL reserves the right to exercise ‘Risk Purchase’ option for procurement of the undelivered items, or their equivalent, from any other source at the cost of the Bidder in case there is delay of more than 8 weeks beyond the delivery date, in completing the execution of the order. Similarly, the ‘Risk Purchase’ option shall be exercised by BHEL for spares and services in case of excessive downtime or poor maintenance support. Such expenses will be deducted from any payment due to the Bidder from BHEL. Bidder is responsible for the integration/maintenance of the equipment purchased under ‘Risk Purchase’ clause. |  |  |  |
|  | Indemnity : Bidder shall fully indemnify and keep indemnified BHEL against all claims which may be made in respect of the use of System/Software/Item(s)/services supplied/rendered by the Bidder, for infringement of any rights protected by patent, registration of designs or trademarks and legality of the Software. All such claims in this regard will be settled as per Indian Laws. In the event of any such claims being made against the BHEL, BHEL will inform in writing to the Bidder who shall at his own risk and cost either settle any such dispute or conduct any litigation that may arise there from. |  |  |  |
|  | Insurance: Comprehensive insurance cover for all equipment during the currency of the contract. The responsibility for the insurance will rest with the Bidder only. Insurance for the complete Systems/Goods shall be arranged by the Bidder at his own risk and cost throughout the period of lease contract. Evidence of insurance policy shall be submitted to BHEL |  |  |  |
|  | Confidentiality: Bidder shall, at all times, undertake to maintain complete confidentiality of all data, information, software, drawings & documents, etc. belonging to the BHEL and also of the Systems, procedures, reports, input documents, manuals, results and any other company documents discussed and/or finalized during the course of execution of the order/contract |  |  |  |
|  | Arbitration : In all cases of disputes emanating from and in references to this agreement the matter shall be referred to the arbitration of the sole arbitration of the Executive Director/ GM of BHEL, Hyderabad or any other person (including an employee of BHEL, even though he had to deal with the matter relating to this agreement in any manner) nominated by the said Executive Director /GM to act as sole arbitrator. The arbitration shall be under ‘THE ARBITRATION AND CONCILIATION ACT OF 1996’ and the rules there under. The arbitrator may from time to times with the consent of the parties enlarge the time for making and publishing the award |  |  |  |
|  | Withdrawal from the Contract: In case the bidder withdraws the offer submitted by him/her after it is accepted by BHEL and fails to supply the goods as per the terms and conditions of the contract, or at any time repudiated the contract wholly or in part, BHEL shall be at liberty to cancel the purchase order and to recover from the bidder the extra cost and the other loss incidentals to the breach of contract on the part of the Bidder. |  |  |  |
|  | In addition to the terms and Conditions mentioned in this document, General Terms and Conditions in Annexure-IV are to be adhered to. |  |  |  |

### Annexure-IV

### General Terms and Conditions

###### BIDDER TO INFORM HIMSELF FULLY:

  - The bidder shall closely peruse all the clauses, specifications and requirements and drawings etc., specified in the tender documents, and the offer made should be in accordance with these documents. If bidder requires any clarification and additional information on any of the tender documents/conditions, the bidder shall contact the BHEL Official inviting bids at the earliest.

  - Bidders are advised to study all the tender documents carefully and submit their offer and the Bidder obliged to honor the offer without any modifications. Any offer not meeting the scope/specifications, terms, conditions, and any other clause specified in the tender documents shall be liable to be rejected.

1.3    BHEL reserves right to increase or decrease the quantity based on final requirements.

###### PROCEDURE FOR SUBMISSION OF BIDS

  - Tender documents may be obtained from DGM Purchase (CMM), Admin Building, 4th Floor, BHEL, Ramachandrapuram, Hyderabad on payment of non-refundable document fee of Rs 5000/.

  - Tender documents may also be downloaded from www.bhel.com. Non-refundable document fee of Rs.5000/- shall be paid along with the offer.

  - Mode of payment: Cash deposit made at cash office, BHEL, Ramachandrapuram, Hyderabad or as Demand Draft from any nationalized bank / scheduled bank, drawn in favour of M/s Bharat Heavy Electricals Limited, Ramachandrapuram,  Payable at Hyderabad.

  - The Techno-Commercial bid and Price Bid shall be submitted on or before 14:00 Hrs of the due date indicated in the tender notice.

###### Offer shall be made in three parts in separate envelopes, as specified below.

#### Part-I: Documentation Fee

This  part  to verify  the  receipt of Documentation fee. The following document shall be submitted in a separate envelope:

- Demand Draft or cash receipt / copy of cash receipt for Rs 5,000/ towards Document fee.

Please Note: Part-II of bid will be opened, only if the Part-I is satisfactory.

#### Part-II: Techno-Commercial Bid

This part shall consist of the following documents in a separate envelope:

- Technical offer by the bidder including literature/leaflets. The offer shall be only as per the format given in the Technical Specifications duly signed by Authorised signatory.

- The Scope, Terms and Conditions as per the format given in Annexure-II, duly signed by Authorised signatory.

- The General Terms and Conditions as given in Annexure-IV , duly signed by Authorised signatory.

- Authorisation Letter from the OEM duly signed by Authorised signatory.

- Price Bid without price/values as per Annexure-III duly signed by Authorised signatory.

- Proof / record of Bidder’s experience and / or qualifications as requested in FORM-D duly signed by Authorised signatory.

- All the other documents as mentioned in Checklist at point 10 of this document.

#### Part-III: Price Bid

This part shall consist of the following documents in a separate envelope:

- Price Bid as per the format defined in Annexure-III. The prices shall be quoted in Indian Rupees only.

- Price Bid shall not contain any technical details and / or Techno-Commercial terms and conditions.

###### MARKINGS ON THE ENVELOPE

  - The three part of the offer – Part-I, Part-II and Part-III – shall be submitted in separate envelopes with bidder’s distinctive SEAL and super-scribed with the details given below:

PART-I:	1. Enquiry Number and Item Description for the Tender

2. Due Date for Opening of the Tender

3. “PART-I:  DOCUMENTATION FEE”

PART-II:	1. Enquiry Number and Item Description for the Tender

2. Due Date for Opening of the Tender

3. “PART-II:  TECHNO-COMMERCIAL BID”

PART-III:     1. Enquiry Number and Item Description for the Tender

2. Due Date for Opening of the Tender

3. “PART-III:  PRICE BID”

Note:	Un-sealed envelopes and envelopes not super-scribed as above will be liable to be rejected.

###### BID SUBMISSION

  - Bids shall be addressed to the BHEL official inviting Bids by name and designation and sent to the following address on or before the tender due date:

Dy. General Manager, Purchase (CMM),

Admin Building,  4th Floor,

BHEL, RAMACHANDRAPURAM,

HYDERABAD – 502032.

Bids can also be dropped in tender box provided in purchase department on or before the tender due date. Bids can be submitted by post with due allowance for postal delay.

###### BID  OPENING

  - PART-II (Techno-commercial bid) shall be opened on the due date and time as specified in the Enquiry, for the bids that have satisfied the criteria in Part-I, in the presence of bidders who may like to attend.  Part-III (Price Bid) shall be opened only for such offers, which have qualified for PART-II.

  - In case of Price Bid opening, date and time of Price Bid (Part-III) opening shall be intimated to the technically and commercially acceptable bidders only.

  - Not more than two representatives will be permitted to be present for the tender opening.

  - No correspondence shall be entertained from the bidders after the opening of Price Bid(s).

  - Standard pre-printed conditions of the bidders attached to the offer will not be considered and only those mentioned in the body of the offer will be considered.

  - Unsolicited bids shall not be entertained. Unsolicited revised Price Bids also, shall not be entertained at any stage of the tendering process.

  - No Literature, Pamphlets other than what is relevant for the offer shall be enclosed. All such enclosures shall be considered as unread and also will not be considered as part of the quotation.

  - Manufacturer's name, trade Mark or Patent No., if any, should be specified.

  - BHEL reserves the right to negotiate the tender.  Purchaser/Lessee reserves the right to negotiate the tender, if required.

###### VALIDFITY OF OFFER

  - The offer shall have a minimum validity period of 180 days from Due Date for Tender Opening.

###### LANGUAGE AND CORRECTIONS

  - The offer shall be in English only international numerals shall be used.

###### ALTERATIONS, REJCTION OF BID AND OTHER CONDITIONS

  - BHEL reserves the right to accept or reject the technical offer at any stage of the tender with proper reasons.

  - Any format not properly filled, partially filled or not filled will make the bid liable for rejection. Bidders are requested to note that all columns, rows and spaces provided to fill up the data must be filled with relevant data without fail. In case any bidder fails to do so or fills up irrelevant data, BHEL is not bound to seek clarifications on such items and will be free to reject the tender summarily.

  - If required BHEL is entitled to ask for any equipment for evaluation and all bidders are requested to note that they shall provide equipment exactly as per specification without any charge and precondition(s) to BHEL within 72 hours of receiving such notice. Upon completion of such evaluation BHEL shall return the equipment to the bidder.

  - Equipment offered must have current certifications as detailed in relevant sections. Future expectations of certification, conditional certifications, variation in certification and certification for equipment different from the make and model offered in the bid is not acceptable.

  - No change in specifications, clauses of contract, Terms and Conditions etc shall be entertained by BHEL under any circumstances.

  - Any clarification pertaining to this tender can be obtained from  Dy. General Manager, Purchase(CMM), BHEL, R.C.Puram, Hyderabad on all working days of BHEL between 14:00 Hrs to 16:00 Hrs. Bidders are requested to seek appointment on telephone no. 040-23184562/23182052, prior to visiting BHEL for seeking such clarifications.

  - Late bids are liable to be rejected.

  - The offer is liable to be rejected, if it is found after the Price Bid Opening that the Checklist of Price Bid submitted by the bidder, as a part of Part-II offer, is different from the Price Bid.

  - If the bidder deliberately gives wrong information in his bid, Purchaser/Lessee reserves the right to reject such a bid at any stage or to cancel the Order/Contract.

  - If the Prices/Rates of one or more of the enquired equipments have not been quoted, the offer is liable to be rejected.

  - Non-compliance with any of the requirements and instructions of the Tender Enquiry may result in the rejection of the bid.

###### TENDER EVALUATION

  - The offers will be evaluated based on the total cost for the entire scope of the tender.

  - Totals /Gross Total of Prices should be indicated both in words as well as in figures. If there is a difference between price quoted in words and figures or if there is any other price discrepancy, higher value(s) will be considered for evaluation and lower values will be considered for ordering.

  - Though offer of higher warranty/configuration/rating, than what is required as per tender specifications, may be accepted, no extra weightage or preference will be given for the same.

  - The offers shall be evaluated based on the total lease rentals for 5 year for the entire scope of the tender. The total lease rentals are calculated based on the offered lease rental charges per Unit per Quarter. AMC charges quoted after lease period will not be considered for evaluation.

  - Prices of optional items, if any, shall not be considered for Price evaluation and comparison, unless stated otherwise

  - Order/contract or any part thereof shall not be sub-contracted, assigned or otherwise transferred without prior written consent of the Purchaser/Lessee.

  - The Bidders shall offer  Bi-lateral Direct lease rental agreement only

###### CHECKLIST OF FORMATS

(TO BE ATTACHED WITH TECHNO-COMMERCIAL BID (PART II) DULY FILLED BY THE BIDDER)

| S No. | Annexure to be attached | Format attached as per FORM /Annexure | Whether Attached (Yes / No) |
| --- | --- | --- | --- |
| 1 | Technical Specifications | Annexure-I | Yes/No |
| 3 | Authorization letter from OEMs | FORM-A | Yes / No |
| 4 | No Deviation Certificate | FORM-B | Yes / No |
| 5 | Annual Financial Statement of Bidder | FORM-C | Yes / No |
| 6 | Details of major Executed projects with Order copies. | FORM-D | Yes / No |
| 7 | Details of Existing UPS | FORM-E | Yes/No |
| 8 | Draft Lease agreement | FORM-F | Yes/No |
| 9 | Scope, Terms & Conditions | Annexure-II | Yes/No |
| 10 | Price format without prices, indicating the % of Statutory Levies / Taxes | Annexure III | Yes / No |
| 11 | General Terms and Conditions | Annexure IV | Yes/No |
| 12 | Plan & methodology of project execution and ATP |  | Yes / No |

FORM-A

“LETTER OF AUTHORITY”

Date: _______________

To,

_______________

_______________

Subject: Letter of Authority

Tender Ref. No.: _____________________________ dated ___________

Dear Sir,

We hereby authorize _________________________________________ who will fulfill the

requirements of the tender enquiry ref. no. ________________________, dated _______

to quote/ negotiate and service the equipment as required in the above tender enquiry.

This authorization is valid for the following equipment for which we are the OEM:

Our Spares Logistic centers in India are at the following locations:

The authorized agency would ensure reliable service during complete lease period. In case

of any default alternative arrangement would be done by us on the same terms and

conditions as negotiated and finalized in this tender enquiry.

(Authorized Signatory)

For ________________________ 					Place:

Date:

Note: This ‘Letter of Authority’ should be issued on the letterhead of OEM and enclosed in Part-II.

FORM-B

NO DEVIATION CERTIFICATE

This is to certify that our offer is exactly in line with your tender enquiry no.___________ _________________________________________________ dated ____________. This is to expressly certify that our offer contains no deviation either Technical or Commercial in either direct or indirect form.

Signed By:

Name: ______________________________________________

Designation: _________________________________________

Organization: _________________________________________

Date & Place: _________________________________________

Phone/Fax/Mobile/Email: ________________________________

Stamp & Seal: _________________________________________

Place:

Date:

FORM-C

FINANCIAL STATEMENT OF BIDDER

| S.No. | Financial Year | Turnover (In Rs. Crores) | Net Profit |
| --- | --- | --- | --- |
| 1 | 2003-2004 |  |  |
| 2 | 2004-2005 |  |  |
| 3 | 2005-2006 |  |  |

Place:									Signature with seal

Date:

FORM- D

DETAILS OF ORDERS EXECUTED

(As per Qualification Criteria)

| S.No. | Organisation Name & Contact Person details | Type of equipment supplied | Details of System |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |

Place:								Signature with seal

Date:

FORM- E

DETAILS OF EXISTING UPS

| S.No. | Model of UPS | Qty | Type of Batteries & no. of batteries for each UPS |
| --- | --- | --- | --- |
| 1 | Pacific make 2KVA UPS | 10 + 1 spare | 12 Nos. of 165/200 AH, 6V Amarraja make or equivalent |
| 2 | Pacific make 750 VA | 6 + 1 spare | 4 Nos. of 165/200 AH, 6V HBL make or equivalent |

Place:								Signature with seal

Date:

FORM-F

Contract Ref:

### Agreement for LEASE RENTAL AND MAINTENANCE

This agreement made on this                             day of                               2006 between M/s ---------------------------------------------, incorporated under Companies Act, 1956 and having its Registered office at ------------------------------------------------------------------------------------ (hereinafter called the ‘Company’ which expression shall, unless it be repugnant to the context or meaning thereof, mean and include its successors and assignees) of the one part, and the BHARAT HEAVY ELECTRICALS LTD, Ramachandrapuram, Hyderabad – 500032, incorporated under the Companies Act, 1956 and having its Registered Office at BHEL House, Siri Fort, New Delhi (hereinafter called the ‘BHEL’ which expression shall, unless repugnant to the context or meaning thereof, mean and include its successors and assignees) of the other part.

Whereas ‘Company’ is in the business of manufacturing and/or selling and renting out equipment(s) and whereas the ‘BHEL’ has placed an order (No: -------------------------) on Company for hiring Biometric Access Control System for a period of Five years as per the Lease Rental Contract (No: -------------------------) and ‘Company’ has agreed to renting out the said equipment(s) to the ‘BHEL’ under the following terms and conditions.

Now, therefore, the agreement witnesseth as follows:

- CONTRACT REFERENCE:

  - This Document shall be read along with the Lease Rental Contract ‘______________’. The Terms & Conditions of the Lease Rental Contract shall be fulfilled along with the clauses of this agreement.

- SCOPE of CONTRACT (in Brief):

‘Company’ will design, supply, install, configure, test, commission and maintain the Biometric Access Control System on Five year lease rental basis in consideration of Lease Rental Payment as per Terms and Conditions of the Lease Rental Contract.

- DEFINITIONS:

  - The following expressions herein used shall, unless repugnant to the subject or context thereof, carry  the meaning hereunder respectively assigned to them namely

‘CONTRACT’ means the Lease Rental Contract referred in the Clause 1.0.

‘EQUIPMENT’ shall mean all the equipment supplied against the ‘CONTRACT’.

‘DATE OF INSTALLATION’ shall mean the date given in the certificate of acceptance by ‘BHEL’ after the equipment is installed, commissioned & acceptance testing as per Terms & Conditions of the ‘CONTRACT’.

‘QURTERLY LEASE RENTAL’ means Lease Rental Payment for Three months and payable after completion of the quarter.

‘TERMINAL PAYMENT’ means the one time fixed charges as specified in ‘CONTRACT’, be paid by ‘BHEL’ at the end of the Lease Rental Contract.

Upon the payment of ‘Terminal Payment’, the ownership of the entire equipment is transferred to ‘BHEL’ and ‘Company’ has no right on the Equipment.

‘On site facilities’ shall mean suitable dust free accommodation at ‘BHEL’ premises to house the equipments with power connection, air-conditioning, as required.

- Equipment Supply, Installation, Acceptance Test, etc.:

  - ‘Company’ will furnish relevant test certificates, certificate of newness of equipment and any other statutory documents for the all the equipment.

  - ‘Company’ will furnish relevant test certificates, certificate of newness of equipment and any other statutory documents for the all the equipment.

  - ‘BHEL’ shall at its own cost, provide onsite facilities for the equipment.

  - ‘Company’ shall arrange for all statutory clearances at its own cost for executing the contract.

- MAINTENANCE:

  - Maintenance service will cover services, repairs and replacements necessary to keep the equipments in good working order on reasonable use of the equipments during the lease period. Periodic maintenance check should be carried out to keep the equipments in good working conditions. Maintenance will include all plastic and/or rubber parts, existing/New UPS, UPS batteries, etc. Batteries of all UPS are to be replaced in the last quarter of the lease contract.

  - The ‘Company’ will station Four qualified and experienced Engineers (OEM Certified) at BHEL site during contract period, for upkeep and maintenance of the system. These engineers shall be available on-site between 7.30 AM to 4.30 PM during all working days of BHEL, Ramachandrapuram and shall be available on call basis round the clock, to meet any exigency. One person for each shift shall be available in two shifts i.e 6:45 Hrs to 15:15 Hrs and 15:00 Hrs to 22:00 Hrs

  - ‘Company’ will maintain the required spares to maintain the contractual uptime for the system.

  - ‘Company’ shall arrange a system for registration, monitoring and redress of  all  system complaints during the contract period.

  - ‘Company’ will provide 24x7support for the entire system.

  - SHIFTING OF EQUIPMENT FROM A LOCATION TO OTHER

‘BHEL’ reserves the right to relocate the equipment. ‘Company’ is responsible for shifting of equipment to the required location and to integrate the system.

  - The Company's maintenance service obligations shall be subject to force-mejure, which shall include circumstances beyond the reasonable control of the Company.

- PERFORMANCE GUARANTEE & DOWNTIME CALCULATION:

  - ‘Company’ will guarantee Uptime of 99% for the system on monthly basis. Any down time beyond 1% will result in the reduction of lease rentals on Pro rata basis.

  - ‘Company’ shall arrange a system for registration, monitoring and redress of all system complaints during the contract period.

  - DOWNTIME CALCULATION FOR THE SYSTEM

‘Bidder shall be responsible for maintaining a minimum uptime of 99% for the entire system on monthly basis. Any down downtime above 1% will be subject deduction of lease rentals on following basis.

The downtime will be calculated on hourly basis per month on 24 hours basis. At the end of the contract period if any equipment is found down, final payment for the contract will be made only after system is made up.

Downtime calculation will be applicable for non-availability for more than 2 hours at each location of readers, Server, UPS etc.

The downtime deduction will be on the prorata basis of the original cost of the equipment.

  - For server, the cost of server will be considered.

  - For biometric reader, the cost of biometric reader will be considered.

  - For UPS, the cost of UPS and batteries will be considered.

Note:

If the uptime for equipment falls below 99% continuously for 1 month, the equipment shall have to be replaced by the Bidder, without any extra charge.

- TRAINING:

  - Training of ‘BHEL’ personnel shall be part of the contract.

During installation at ‘BHEL’, ‘Company’ will guide the associated ‘BHEL’ coordinators on the system.

- LEASE RENTALS & TERMINAL CHARGES:

  - The Lease Rental is inclusive of the following during the lease period and shall remain FIRM without any variation till completion of the lease contract:

Freight, handling and packing charges, transit insurance, installation.

On-site comprehensive maintenance

On site comprehensive  Insurance covering total scope of supply and man power.

Spares & Software/Firmware Updates

All taxes & Duties

  - Comprehensive maintenance shall include the following:

Replacement of faulty equipment

Installation charges

Site inspection charges

Cost of Maintenance Engineers

Lease tax/right to use tax / any other statutory levies including service tax.

  - On-site Comprehensive insurance covering total scope of supply and man power during the currency of the contract. The beneficiary of the Insurance should be BHEL

  - ‘QURTERLY LEASE RENTAL’ payment shall commence from the ‘Date of installation’. Quarterly Lease Rental shall be payable to ‘Company’ after the successful completion of the quarter.

  - The Lease Rentals payable under this Agreement during the Lease period shall be paid  by ‘BHEL’ to financing Agency. The Lease Rental shall be paid through an Account    Payee cheque favoring  ‘_________’ (Financing Agency). The ‘Company’ shall submit a discharge certificate and indemnity bond to ‘BHEL’ for the lease rentals paid to the ‘_____________’(Financing Agency) by ‘BHEL’.

  - That these instructions at clause 4.2 are irrevocable. Any request from the ‘Company’ to change these instructions would come with the attached “No objection Certificate” from ‘________________’ (Financing Agency).

  - On payment of terminal charges, the ownership of entire system including all the equipment, spares & software will get transferred to ‘BHEL’ without any further payments. ‘BHEL’ reserves the right to take possession of the equipment by paying the terminal charges.

In case ‘BHEL’ decides to surrender the equipment after the expiry of the contract, ‘Company’ shall remove the equipment from BHEL premises at his own risk and cost after due permission from ‘BHEL’.

- TERMINATION and FORE-CLOSURE:

  - Termination: ‘BHEL’ reserves the right to terminate the order/contract, upon situations arising due to non-compliance of contract Terms & Conditions or non-performance of the equipment/system with downtime above 2% continuously for more than one month.

On termination of the ‘Contract’, no lease rent shall be payable to ‘Company’ or the ‘Financing Agency’ or any other party, for the remaining period from the date of Termination

In case of Termination of the ‘Contract’, ‘Company’ shall remove the equipment from BHEL premises at his own risk and cost after due permission from ‘BHEL’.

  - Fore-closure: In case of fore-closure of the ‘Contract’ by ‘BHEL’ for reasons not attributable to ‘Company’, pro-rata compensation will be payable. Compensation will be equivalent to the basic price component for the remaining quarters of the lease period and the ownership of the equipment will be transferred to ‘BHEL’.

- ANNUAL MAINTENANCE after Lease Period:

  - ‘Company’ will extend Annual Maintenance Contract at the rates given the ‘CONTRACT’, subsequent to the lease rental period.

- PATENTS, TRADEMARKS and INDEMNITY:

  - ‘Company’ will at all times indemnify and keep indemnified ‘BHEL’ against all claims which may be made in respect of the Equipment/System/Software/Services supplied/rendered by ‘Company’, for infringement of any right protected by patent, registration of designs or trade marks and legality of the Software.

All such claims in this regard will be settled as per Indian Laws.

In the event of any such claims being made against ‘BHEL’, ‘BHEL’ will inform ‘Company’ and ‘Company’ shall either settle any such dispute or conduct any litigation that may arise there from at its own cost.

- INSURANCE:

  - ‘Company’ will provide Comprehensive insurance cover for all Equipment during the currency of the ‘Contract’. Insurance for the complete Systems/Goods shall be arranged by ‘Company’ at his own risk and cost throughout the period ‘Contract.’ ‘Company’ will submit Evidence of insurance policy ‘BHEL’.

- CONFIDENTIALITY:

  - ‘Company’ and its representatives shall, at all times, maintain complete confidentiality of all data, information, software, drawings & documents, etc. belonging to ‘BHEL’ and also of the Systems, procedures, reports, input documents, manuals, results and any other documents discussed and/or finalized during the course of execution of the ‘Contract’.

- ARBITRATION:

  - In all cases of disputes emanating from and in references to this agreement the matter shall be referred to the sole arbitration of the Executive Director / GM of BHEL, Hyderabad or any other person (including an employee of BHEL, even though he had to deal with the matter relating to this agreement in any manner) nominated by the said Executive Director / GM to act as sole arbitrator. The arbitration shall be under ‘THE ARBITRATION AND CONCILIATION ACT OF 1996’ and the rules there under. The arbitrator may from time to times with the consent of the parties enlarge the time for making and publishing the award. The decision of the sole arbitrator is binding on both the parties.

- JURISDICTION & GOVERNING LAWS:

  - In case of any suit or other legal proceedings arising under this contract the courts at Sangareddy (Medak Dist) A.P. only shall have the jurisdiction. This contract will be governed in all respects by India Laws.

  - This agreement and any amendments thereto shall be valid and binding upon ‘Company’ only if signed by the Authorized signatories of both ‘BHEL’ and ‘Company’.

- ENTIRE CONTRACT:

  - The Lease Rental Contract, No._________________ forms part of this Agreement along with the references mentioned therein.

  - This agreement and any amendments thereto shall be valid and binding upon ‘Company’ only if signed by the Authorised signatories of both ‘BHEL’ and ‘Company’.

IN  WITNESS WHEREOF, ‘BHEL’ has caused this agreement to be  signed at  Hyderabad,  the day and year first above written,  while ‘Company’   has   caused   this   agreement   to   be   signed   at  Hyderabad  through its Authorised Signatory - under  their  stamp who are the only constituted attorneys for this purpose, the  day and year indicated below against the execution on its behalf.

SIGNED & DELIVERED FOR & on behalf of the above named ‘BHEL’ by

Shri

its

at Hyderabad       this            the day of        , 2006

SIGNED & DELIVERED FOR & on behalf of the above named ‘Company’ by

its   Authorized Representative

at Hyderabad       this            the day of        , 2006