##### ENQUIRY NO: 4010600051  DT: 16.11.2006                        		        DATE: 16.11.2006

IMPORTANT INFORMATION TO BIDDERS.

- This Tender is a TWO PART BID.

Part I - Technical cum Commercial.

Part II - Price.

Type and quantum of work is detailed in “SCOPE OF WORK”

- The  quoted  price  shall  be  “ FIRM ”  till  the  complete  execution  of  the  scope.

- Last  date  for  submission  of  offer                     -    29.11.2006  Time  -  13.30  Hours

- Technical  cum  Commercial  Bid  Opening  Date -  29.11.2006  Time  -  14.30  Hours

- Price  Bid of   only  the  Technically and commercially  acceptable  offers  shall  be  opened  at  a  later  date.

- The above bid shall be sent in a sealed cover duly indicating

Enquiry No. & date,   Tender Opening date    and

" IS 3589 PIPES -  NLC TS-II EXPN – CW - BURIED PIPING” to

# Dy. General Manager / MM / Pipes

BHEL - Piping Centre

Old No  93,  (New No:80 ) G N Chetty Road

##### T Nagar / Chennai  600 017 .  PHONE : 28158804 / 28158820

(Technical cum Commercial offer and Priced offer shall be put in separate envelopes with    the above   mentioned  details on it.)

SCOPE  OF  WORK :

BHEL  requires  the  below  mentioned  quantities   of  various  sizes  of    Welded  -  Pipes either Spiral or Longitudinal Seam Weld confirming  to  IS 3589 FE410  Pipes  with  internal  and  external  coating  and  to  be  delivered  at  NLC  Site  as  per  Technical  specification  detailed  out  in  Technical  and  Commercial  Part  of  this  Bid. The raw material coil / plate is to be arranged by suppliers themselves.

## LIST OF ITEMS.

| Enq. Sl. No | Pipe Size OD X Thick | Sp-length (mm) | Specification. | Hydro Test (Bars) | qty Mtr. | Destination | Delivery |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Pipe D 1829 x 16 –UG LS/SPIRAL | 10000 | IS 3589 FE 410 | 24 | 300 | NLC TPS II Expn Site | 28.02.07 |
| 02 | Pipe D 2840 x 20 –UG LS/SPIRAL | 10000 | IS 3589 FE 410 | 21 | 340 | NLC TPS II Expn Site | 28.02.07 |

Total Weight = 661  MT

-2-

PART - I  :  TECHNICAL  CUM  COMMERCIAL.

Technical :

- The  bidder  shall  supply  the  Welded  Pipes,  Spiral / LS welded as  per  IS 3589 FE 410   Specification  and  shall  also  comply  with  the  following  BHEL  documents.

  - TDC  ref : TDG : 07:04

  - Painting requirements for CW piping –NLC TS-II Expn 2x250 MW unit dt 18.10.2006, as per QP No. 6876:QPC:12 Rev 02 Dt. 18.10.2006.

- EP shall be done on each pipe as per BHEL drawing no.4-80-468-62438 / 00.

- Spiders  shall  be  provided  as  per  the enclosed drawing.

- Bidders shall clearly indicate their point to point acceptance to the TDC and other requirements and in case any deviation taken shall be separately indicated in deviation list. Also please ensure  “ Not to repeat deviations taken in earlier tenders which have not been accepted by BHEL ”. This will enable quicker processing of tender. Any deviation taken after placement of purchase order “ shall not be considered ”. The bidder shall clearly mention the manufacturing process that will be adopted.  Also, the proposed WPS (Welding procedure Specification) shall be enclosed.

- The bidder shall submit their Quality Plan to BHEL for approval along with the offer indicating the verification, witness and hold points of PDIL and customer inspection with percentage of checks involved in the manufacturing process. The continuity of inside coating of Coal Tar Epoxy shall be ensured by the bidder with the help of High Voltage Holiday Detector. The procedure for this Holiday Detector Testing shall also be submitted along with the offer. The procedure for Adhesion testing shall be submitted along with the offer.

- The bidder shall indicate the raw material specification of Plate / Coil to be used for pipe fabrication.

- Vendor to depute suitable representative to discuss and finalise Technical & Commercial points and Quality Plan etc. to speed up the process before opening the price bid.

Commercial :

- The prices quoted by the Bidder shall be on F.O.R.  Ex-works Basis with freight extra for transportation of finished pipes to NLC Site and shall be “ FIRM ” till the execution of the complete scope with raw material plate in their scope.

- The bidder shall clearly indicate whether service tax for transportation is included or not in the freight rates quoted.

- The bidder shall confirm in this Part of bid that all the breakups as requested in the price bid ( Part II -  Price ) are given.

(The bidder shall also enclose in Part-I   a copy of  unpriced - Price part  format to know  whether the bidder have taken care of all the points.)

- The bidder shall clearly indicate the applicable Taxes /Duties / CESS.

-3-

- Delivery shall be within Two months from the date of P.O.

- LD  @  0.5 %  per  week  subject  to  a  maximum  of  15%   for  the  undelivered portion shall  be  levied.

- Bidder  shall  give  a  minimum  validity  of  60  days  for  the  offer.

- Payment  terms -  100 %  against  acknowledged Lorry waybill  from site and with  in 60 days. As a policy any request for LC will not be considered and is not acceptable to BHEL. In exceptional circumstances LC may be given with suitable loading at prevailing bank rates.

- The following documents shall be submitted for payment.

- Invoice ( Original ).

- Excise Gate Pass if applicable.

- Acknowledged Lorry Way Bill / Delivery Challan.

- Original Test certificate   and Inspection reports.

- In case of incomplete / inadequate information provided against the requirements                                      of this tender, the offer shall be liable for rejection.

- L1 bidder shall not automatically qualify for getting the order and BHEL has the right to negotiate    price and delivery and if warranted, BHEL shall also split the order on two or more parties. If split between 2 parties, the ratio shall be 60:40. 60% on original L1 bidder and 40% to L2 bidder who has matched with L1 price.

-4-

PART  -  II  -   PRICE :

In this part of bid, the bidder shall provide the price strictly in the below mentioned format.

| Sl. No | Pipe Size | Total Qty in Mtrs | Bare Pipe Rate/Mtr (Ex-Works) as per TDC: TDG:07:04 | Extra inside Coating Rate/Mtr (Coal Tar Primer), as per Sl. no. 1.b of Painting Scheme | Extra inside Coating Rate/Mtr (Coal Tar Epoxy), as per Sl. no. 1.b of Painting Scheme | Extra Outside Coating Rate/Mtr (Red Oxide Zinc Phosphate), as per Sl.No.1.a of Painting Scheme | Extra Transportation Cost/Mtr of Finished Pipe to NLC Site |
| --- | --- | --- | --- | --- | --- | --- | --- |
| USE EXCEL FILE -PRICE FORMAT- GIVEN BY US (REFER ENCLOSED PRICE FORMAT) FOR GIVING YOUR OFFER |  |  |  |  |  |  |  |

    - Bare Pipe Price shall include Cost of raw material plus conversion cost per Mtr of bare pipe including Edge Preparation and providing Spider arrangement & Testing as per TDG:07:04.

    - Ordering shall be on FOR site basis.

    - Percentage of applicable Taxes, Duties and CESS shall be clearly indicated.

    - Service Tax on transportation if included shall be clearly indicated.

    - A soft copy of the enclosed Price format with price details are also to be sent along with price bid (Preferably in CD).

The Prices quoted shall be    “ FIRM ” till complete execution of the scope and bidder shall give validity of this price offer for a period of minimum 60 days from the date of opening of Technical cum Commercial Bid.

-5-

LIST  OF  DOCUMENTS  ENCLOSED :

- TDC : TDG: 07 : 04 .

- PAINTING SCHEME. – As  per Painting requirements for CW Piping. Ref QP.No. 6876 : QPC: 12 Rev 02   dt.18.10.06.

- EDGE PREPARATION DRAWING. 4.80.468.62438 / 00

- SPIDER DRAWING

- COPY OF PRICE FORMAT (ALSO THROUGH E-MAIL)

The above documents form part of this tender document and bidder shall ensure that they have received all these documents along with the tender.

- Pre Qualified is the criteria for consideration for other than the BHEL Approved Vendors. After qualifying for registration, the new Vendors, may be considered for future inline with their system and policy. Such Vendors will not be considered in this Enquiry.

- The  new Vendors may download Vendor registration forms from BHEL Web Site www.bhel.com and submit all relevant data for formal registration.

The Consignee Address  of  NLC  Site  is as follows  :

The Addl.General Manager ( Erection),

NLC TS-II Expansion Site 2 X 250 MW,

BHEL Site Office

Neyveli – 607 801

Dy. General Manager / MM

E mail message sent on 22.11.2006 to be read along with the Tender Document sent .

Subject: Enq No. 4010600051 Dt.16.11.06 for IS 3589 Pipes for NLC TPS II Expn

Project

Date: Wed, 22 Nov 2006 10:28:06 +0530

From: "K.Ganesh" <kganesh@bhelmpc.co.in>

To: pkm@lalitsawpipes.com,

Pinakin Prajapati <pinakin@ratnamani.com>,

PSL LTD <pslhmds@vsnl.net>, sanjay@maninds.org,

maninds@vsnl.com, ihphdp@pn3.vsnl.net.in

Dear Sirs,

Further to our subject enquiry for supply of IS 3589 FE 410 Pipes of Dia

1829 x 16 and 2840 x 20, we furnish below the following clarifications :

1. The Weight mentioned as 661 MT may please be corrected as 687.48.

2. With regard to the Painting schedule, we request you to strictly

adhere to the Price Format as given in Page 4 of Important Information

to Bidders.

Pl take care of the above while submitting your offer. For Further

clarifications,if any, pl contact us.

With regards,

K. Ganeshan

DGM/MM/P&F

BHEL/PC/Chennai - 17