ANNEXURE – V    SCOPE OF WORK   ELECTRICAL WORKS
Page 1 of 7
NAME OF THE WORK  : MAINTENANCE OF  CANTEEN’S  EQUIPMENTS , LIGHT FITTINGS , FANS  ETC. FOR INSIDE CANTEENS ONLY
	Sl.

No.
	Description of work
	Unit 
	Qty. 
	Rate in Rupees
	Amount in Rupees

	1 a) 
	Replacement of 5A , 230 V Ivory color flush type Piano / Tumbler switches  / bell pushes on existing boards for fans and lights including checking of loose connections.
	Nos.
	150
	
	

	b
	Replacement of 15A , 230 V Ivory color flush type Piano / Tumbler switches on existing board for power points control including checking of loose connections..
	Nos.
	50
	
	

	2a
	Replacement of 15A , 230 V Ivory color flush mounting piano type switch cum socket on existing board.
	Nos.
	50
	
	

	b
	Replacement of  5/15A,250V3pin plug sockets on existing board
	Nos.
	30
	
	

	c
	Replacement of  5/15A,250V switch cum sockets including checking of loose connections
	Nos.
	40
	
	

	3
	Replacement of ceiling rose 5A,250V, 3pin including checking of loose connections
	Nos.
	100
	
	

	4
	Replacement of Buzzer/ call bell 5A,250V on existing board including checking of loose connections
	Nos.
	4
	
	

	5
	Fixing of TW Board with decolam top cover wherever required.
	
	
	
	

	a
	4” x 4”
	Nos.
	4
	
	

	b
	7” x 4”
	Nos.
	4
	
	

	c
	8” x 10”
	Nos.
	8
	
	

	d
	10” x 12”
	Nos.
	8
	
	

	6
	Fixing of 3mm thick hyalam cut sheet on existing MS boxes including fixing of old accessories on it & screws, washers etc.
	Sq. Mtrs
	2
	
	

	7
	Laying of 1.5/2.5/4 sq.mm   PVC insulated PVC sheathed single core multistranded aluminium /copper conductor cable run on existing pipe /reaper for light and power points
	Mtrs
	2000
	
	


Page 2 of 7

	Sl.

No.
	Description of work
	Unit 
	Qty. 
	Rate in Rupees
	Amount in Rupees

	8
	Fixing of PVC reaper of ¾”/1” size run on wall/ partitions with screws etc for drawl copper /al. conductor cable.
	Mtrs
	20
	
	

	9
	Replacement of 32A, 240V, sheet steel double pole switches of standard make.
	Nos
	25
	
	

	10
	Fixing of fuse distribution boards/ MCBS where ever required.
	Nos
	4
	
	

	11
	Rectification & replacement of tube light fittings of 2x80,1x80,4x20,&1x20,2x40,1x40w capacity
	
	
	
	

	a
	Chokes 
	Nos
	100
	
	

	b
	tubes
	Nos
	200.
	
	

	c
	Starter / Starter holder
	Nos.
	200
	
	

	d
	Tube light rotary / lock type holder
	Nos.
	90
	
	

	12
	Rectification of loose connection in switch boards such as switches, sockets etc
	Nos.
	60
	
	

	13
	Refixing of loose hanging round blocks /reapers with new gutties, new screws on ceiling.
	Per gutty.
	60
	
	

	14
	Cleaning of neutral to earth, phase to earth  short circuits &  loose connections in wiring in buildings wherever required.
	Nos.
	180
	
	

	15a
	Cleaning and applying of one coat of red-oxide paint on switch boards and distribution boards.
	Sq.mtrs
	30
	
	

	b
	Cleaning and applying of two coat of admiral Grey paint/ Al paint for above(a)
	Sq.mtrs
	30
	
	

	16
	Cleaning of switches boards with vim powder and brushing (10”x12”,8”x10,7”x4”etc)


	Nos.
	60
	
	

	17
	Cleaning of switches boards ,  distribution boards with TCE / Solvents  & applying petroleum jelly for effective electrical contract and smooth operation 
	Nos.
	48
	
	

	18
	Fixing of new light fittings of various capacities old light fittings are to be dismantled & return to stores.
	Nos.
	30
	
	


Page 3 of 7
	Sl.

No.
	Description of work
	Unit 
	Qty. 
	Rate in Rupees
	Amount in Rupees

	19
	Cleaning and washing of Outside light Fittings and light fittings of 2x80,1x80,2x40,1x40,4x20,&1x20w , 1 X 150 W capacity including metal reflector with soap vim powder  
	Nos.
	300
	
	

	20
	Removal / scratching of existing enamel paint and supply & spray painting of one coat primary and two coats of final with enamel white paint on existing old fittings of 2x80,1x80,2x40&1x40w
	Nos.
	50
	
	

	21
	Fixing of PVC pipe of 19mm /25mm with suitable clamps, screws etc , to run on wall 2.5sq.mm PVC Insulated Copper Cable 
	Meters 
	50
	
	

	22 a 
	Installation of Power points of 15 Amps , 250 V , 3 Pin sockets for AC , Computers and other accessories from nearest FDB through Copper cable 
	Points
	6
	
	

	22
	Same as item 22(a) for 5Amps, 250V,3pin power sockets.
	Points
	10
	
	

	23
	Replacement of 9KW Heater  / 6KW  heater element in steam generator (Rice boiler)
	Nos.
	48
	
	

	24
	Replacement of 32/63Amps fuse / base in ICTP switches of sigrees / rice boiler / chapathi plates 
	
	
	
	

	a
	Fuses 
	Nos.
	60
	
	

	b
	Base of fuse
	Nos.
	30
	
	

	25
	Replacement of 32 / 63Amps contactors and control wiring wherever required.
	Nos.
	10
	
	

	26
	Replacement / Repair of following in the sigrees, rice boilers and 

chapathi  plates


	
	
	
	

	a
	Asbestos sheets 
	Nos.
	30
	
	

	b
	Cement bricks
	Nos.
	600
	
	

	c
	Cottor  pins
	Nos.
	600
	
	

	d
	connectors
	Nos.
	70
	
	


Page 4 of 7

	Sl.

No.
	Description of work
	unit
	Qty
	Rate in rupees
	Amount in rupees

	27
	Replacement of 16 / 18 SWG heating element with required accessories 
	
	
	
	

	a
	sigrees
	Nos.
	60
	
	

	b
	Utappa plate 
	Nos.
	15
	
	

	c
	Chapathi plate
	Nos.
	15
	
	

	28
	Repair of 16/18 SWG  heating elements by proper 

Joining with connectors / cottor pins etc.
	Nos.
	600
	
	

	29
	Replacement of 4 core,10/16/25 sq.mm Cu/Al cables for sigree, rice boilers, chapathi plates
	Mtrs
	300
	
	

	30
	Replacement/ repair of  32 Amps starters for grinders.
	Nos.
	5
	
	

	31
	Checking and attending the different type of FBDs and rectify the defects if any and applying Petroleum Jelly on Contact points once in a year. 
	Nos.
	14
	
	

	32
	Checking and attending the MD board s. tightening of busbars, jumpers and cable connections etc, and rectify the defects
	Nos.
	2
	
	

	33
	Removal of old 32 Amps mains switches  and fixing new switches, giving connection by crimping new lugs .
	Nos.
	2
	
	

	34
	Removal of old 63 Amps mains switches  and fixing new switches, giving connection by crimping new lugs .
	Nos.
	2
	
	

	35
	Removal of old 100 Amps mains switches  and fixing new switches, giving connection by crimping new .
	Nos.
	1
	
	

	36
	Removal of old 200 Amps mains switches  and fixing new switches, giving connection by crimping new lugs .
	Nos.
	1
	
	

	37
	Removal of old 300 Amps mains switches  and fixing new switches, giving connection by crimping new lugs .
	Nos.
	1
	
	

	38
	Earth pit Maintenance  ( Once in a year )
	Nos.
	3
	
	


Page 5 of 7

	Sl.

No.
	Description of work
	unit
	Qty
	Rate in rupees
	Amount in rupees

	39
	Earth flat cleaning & earthing checking
	Mtrs
	200
	
	

	40
	Removal of Burnt motor and refixing of motor after rewinding  in  Grinder/ Alu Peeler / Floor mill / Dough Kneeding M/C etc.  
	Nos.
	6
	
	

	41
	Laying of new 3½ core x95/120/185/300 Sq. mm LT PVC cables at works canteen area including removal of old damaged cable
	Mtrs
	100
	
	

	42
	Preparation  of  end joints for 3½ core 95/120/185 300 Sq. mm LT cable with copper   lugs using crimping tools.
	Nos.
	8
	
	

	43 a 
	Cleaning of AC ceiling /exhaust /wall and pedestal fans body and blades with VIM powder by duly bringing down and fixing 
	Nos.
	150
	
	

	b
	Dismantling and assembly of 1200mm/1400mm sweep ceiling fan complete, ball bearing, condenser lead wire winding, cleaning and greasing of bearing, oiling the bush bearing ,of fans with SAE40 lubricating oil. Re-assembling, testing and refixing the same . The rate should include the cost of soldering of wire leads to condensers and connecting the same to the winding 
	Nos.
	20
	
	

	c
	         Do     for exhaust fans  300/400 mm sweep
	Nos.
	15
	
	

	d
	         Do     for wall mounting fans
	Nos.
	3
	
	

	44
	Removal of the exhausting paints of 1200/1400mm sweep ceiling /exhaust /pedestal /wall mounting fans cleaning with caustic soda and repainting the same with one coat of primer & two coats of good quality white enamel paint with sprayer to make it good as original finish and letter painting of BHEL serial number with black &white paint.
	Nos.
	50
	
	

	45(a)
	Removal of old damaged bearing  and Fixing of ball bearing of the following Specifications :

s-8 bearing – NBC

6201 to 6204 bearing – HMT/ SKF / FAG / NTN

or any other suitable bearing .
	Nos.
	30
	
	


Page 6 of 7
	Sl.

No.
	Description of work
	unit
	Qty
	Rate in rupees
	Amount in rupees

	45b
	Removal of damaged bush bearing and fixing of new suitable bush bearings of required size for 1200/1400 mm sweep ceiling /exhaust /pedestal /wall mountain fans old bush bearing should be returned to our stores
	Nos.
	30
	
	

	c
	Removal of faulty condenser and  fixing of new condenser  2MFD , 400V,AC,50HZ. If required for 1200/1400mm sweep ceiling /exhaust pedestal /wall mountain fans, removed faulty condenser should be returned to our stores. 
	Nos.
	60
	
	

	d
	Fixing of new suitable oil seal , damaged seal should be returned to our stores 
	Nos.
	35
	
	

	e
	Removal of old twin core PVC  insulated lead wire and fixing of suitable length of 16/0.2 mm Copper  conductor twin core, PVC  insulated wire piece of superior quality to ceiling fans
	Nos.
	60
	
	

	f
	Replacement / changing of rubber bush for various types of fans.
	Nos.
	50
	
	

	g
	Changing of split pins (cottor pins)and checking of lock nut of ceiling fans.
	Nos.
	60
	
	

	h
	Changing of down rod spindle screw for different types of  ceiling fans. AC ceiling //pedestal /wall
	Nos.
	30
	
	

	46(a)
	Dismantling of AC ceiling //pedestal /wall mountain fans from various blds. & transporting the same to workshop for rewinding / for attending to major repairs /over hauling.
	Nos.
	60
	
	

	b
	Fixing of  AC ceiling //pedestal /wall mountain fans in   various blds after  rewinding / after major repairs/  over hauling
	Nos.
	60
	
	

	47
	Removal of burnt out complete existing winding of 1200/1400 

MM AC ceiling fans&300/400 mm exhaust  ceiling //pedestal /wall mountain fans & rewinding the same with suitable super enameled cu wire as per standard practice and testing. Removed winding wire shall be retained by the contractor and suitable credited its value and net value to be quoted. The rate includes cost of winding wire and sundry items required for winding , cost of labour and testing. Six months guarantee must be given against winding defects.
	Nos.
	10
	
	


Page7 of 7

	Sl.

No.
	Description of work
	Unit
	Qty
	Rate in rupees
	Amount in rupees

	48(a)
	Replacement of ceiling fans blades suitable for orient /GEC/Bajaj /Crompton 36”/48” &56”
	set
	2
	
	

	b
	Replacement of exhaust blades 12”light duty
	set
	2
	
	

	49
	Replacement of MS/GI pipe 15 mm dia,3/3.5 mm thick with one side threaded suitable for ceiling fans.
	Nos.
	6
	
	

	50
	Rectification of loose connections in fans switches regulators, ceiling rose etc.
	Nos.
	50
	
	

	51

(a)

(b)
	Replacement of Ceiling Fan regulators 

Electronic type crompton greaves /anchor /orient 

Resistance type of crompton greaves/ bajaj/orient
	Nos

Nos.


	6
6
	
	

	52
	Fixing of ceiling fans hooks 10 mm dia rod in S shape to the ceiling rod including chipping the ceiling with masonary work
	Nos
	10
	
	

	53
	Assisting the skilled worker in carrying out repair / Preventive maintenance activity e.g. Carrying of aluminium step ladder 6’/8’ to carry out fan fault rectification and fixing  of ceiling fans , transporting damaged part / New spares  etc.

Suitable Ladder to be provided by the party 
	Times
	1400
	
	

	
	
	
	
	Total Amount
	


Note : 1 ) All materials including Welding Electrodes will be provided by the BHEL free of Cost.

2) All Tools shall  be provided by the Contractor.

Page 1 of 3

ANNEXURE – VI       SCOPE OF WORK   /   MECHANICAL  WORKS
NAME OF THE WORK :  MAINTENANCE OF  CANTEEN’S  EQUIPMENTS , FOR INSIDE CANTEENS ONLY

	Sl.

No.
	Description of work
	Unit 
	Qty. 
	Rate in Rupees
	Amount in Rupees

	1.
	Wet Grinder

 
	
	
	
	

	a
	Replacement of Belts 

( Once In a month )
	Nos.
	48
	
	

	b
	Top Stone Handle Bearing Replacement 

( Once In a Month ) 
	Nos.
	48
	
	

	c
	Gear Box Bearing – Total replacement ( Once In six month )
	Nos.
	08
	
	

	d
	Gear Oil Changing

 ( Once in 2 Months ) 
	Times
	24
	
	

	f
	Bottom stone drum set replacement(once in a year )
	Sets.
	04
	
	

	g
	Guard cover replacement (once in a year)
	Nos.
	04
	
	

	h
	Gear oil level checking  and filling the shortage (once in  a week)
	Times
	208
	
	

	I
	Electrical motor servicing  and replacement of motor bearing   (once in 6 months )              
	Times
	8
	
	

	2.
	Alu Peeler
	
	
	
	

	a
	Replacement of belts (once in two  months)
	Nos.
	6
	
	

	b
	Replacement of bearings  (once in 6months)
	Nos.
	2
	
	

	c
	Grinding  wheel  replacement (once in a year)
	Nos.
	1
	
	

	d
	Single phase motor servicing (once in a year)
	Nos.
	1
	
	

	3.
	Idly plant (each plant with 4 chambers)
	
	
	
	

	a
	Doors rubber lining to be changed (once in 6months)
	Sets
	16
	
	

	b
	Doors handles replacement (once in a year)
	Nos.
	8
	
	

	c
	Overhauling of idly plants (once in year) : opening the chambers, cleaning the valves
	Times
	2
	
	


Page 2 of 3
	Sl.

No.
	Description of work
	Unit 
	Qty. 
	Rate in Rupees
	Amount in Rupees

	4.
	Dough Kneeding Machine
	
	
	
	

	a
	Replacement of belts (once in 6months)
	Nos.
	4
	
	

	b
	Motor servicing (once in a year)
	Nos.
	2
	
	

	C
	Greasing & oiling (once in 6months )
	Nos.
	4
	
	

	5.
	Steam  generator
	
	
	
	

	a
	Water scaling to be cleaned – to open top cover, clean generator and fix the cover (once in 10days)
	Times
	105
	
	

	b
	Cleaning and re-fixing of float valve and ball (once in 10days)
	Times
	105
	
	

	c
	Top cover  packing  replacement (once in  3months)
	Nos.
	12
	
	

	d
	Replacement of damaged nuts and bolts of top cover (once in 3months)
	Fastener Set
	12
	
	

	e
	Daily maintenance of  3 generators.

To check and rectify whenever necessary :

Gate valve 

Unions

Steam  pipe line

Drain valve operation 

Water level checking and control.
	Operations
	365 
	
	

	6.
	De- stoning machine:
	
	
	
	

	a
	Replacement of belts  (once in 6  months)
	Nos.
	2
	
	

	b
	Mech removal, cleaning and fixing (weekly once)
	Times
	52
	
	

	c
	Vibrator shaft bearings replacement  ( once in 6  months)
	Nos.
	2
	
	

	d
	Greasing & oiling   (once in a month)
	Times
	12
	
	

	
	
	
	
	
	


Page 3 of 3
	Sl.

No.
	Description of work
	Unit 
	Qty. 
	Rate in Rupees
	Amount in Rupees

	7.
	Rice boilers
	
	
	
	

	a
	3/4'” gate valve to be replaced (once in a month)
	Nos.
	60
	
	

	b
	Tilting handle replacement (once in 6months)
	Nos.
	10
	
	

	c
	Boiler check-nut maintenance replacement of packing rope (once in a month)
	Nos.
	60
	
	

	d
	‘u’ clamp checking and refixing (once in 15days)
	Nos.
	120
	
	

	e
	Boiler steam line cleaning (monthly once)
	Nos.
	60
	
	

	f
	Daily maintenance – checking and corrective action:

Steam leakage checking ; Gate valve
	Operations
	365
	
	

	8.
	Flouring machine:
	
	
	
	

	a
	Grinding stones cleaning (once in 15days)
	Nos.
	24
	
	

	b
	Replacement of belts  (once in 6  months)
	Nos.
	2
	
	

	c
	Vertical shaft bearing  replacement  ( once in 6  months)
	Nos.
	2
	
	

	d
	Motor servicing and replacement of bearings ( once in 6  months) 
	Nos.
	2
	
	

	e
	Vertical stone shaft replacement ( once in a year)
	Nos.
	1
	
	

	f
	Replacement of stones   (once in a year)
	Nos.
	1
	
	

	9.
	Sigrees
	
	
	
	

	a.
	Sigree MS sheet round shape cutting drilling and  welding 
	Nos.
	12
	
	

	
	
	
	
	Total Amount in Rupees 
	


Note : All the Spares like Sheets , Valves , Bearings  will be provided by BHEL        
                                                            Page 1 of 2 

Annexure- VII

Technical Points  

	Sl. No.
	Technical points
	Contractor’s comment

	1.
	Works are both of preventive maintenance and breakdown maintenance nature. Daily preventive maintenance activity shall be carried out daily and Breakdown maintenance work shall be attended immediately. The priority of works to be carried out shall be as per the instructions of contract executing officer. 
	

	2.
	Contractor shall be able to attend to maintenance works any time of the day including night shifts, through out the year including Sundays and holidays. The contractor shall be able to complete all the works as per the time schedule given by the contract executing officer.  The contractor shall be able to organize resources including men to meet the time schedules as required by the contract executing officer or the nominated persons of BHEL.
	

	3.
	Contractor shall engage ITI Qualified Electricians for the repair of electrical repairs and works. Contractor shall provide all the necessary safety equipments for carrying out electrical repairs.
	

	4.
	Necessary tools for carrying out repairs for both electrical and mechanical works shall be provided by the contractor. The other auxiliaries like ladder, welding generator, multi meters, Tong tester , Line Tester ,  ropes etc for carrying out maintenance works shall be provided by the contractor.
	

	5.
	Preference will be given to contractors who have experience in the maintenance works of such nature in government or public sector undertakings or in any multinational company.
	

	6.
	The scope of work is enclosed vide Annexure-V and Annexure VI . The works that are detailed is not an exhaustive list. Any other works as and when is identified by the contract executing officer shall also be carried out by the contractor/
	

	7
	Spares will be provided by BHEL and handed over the contractor. In case of breakage/ damage of such spares during erection, the cost of such spares will be deducted from contractor’s bill.
	


Page 2 of 2 

	8
	Contractor shall keep a record of work carried out every day and duly get it certified by the contract executing officer. 
	

	9
	The contractor shall have labour license, PAN card, last three years income tax returns.  PF and ESI for the employees he is engaging. This is a mandatory requirement. The offer is liable to be rejected in case the contractor fails to provide these details.
	

	10.
	BHEL shall not be responsible for any accident to the employees of the contractor/ the contractor’s personnel. The contractor and his employees shall follow all the safety guidelines as laid out by AP Factory rules and other relevant rules.
	

	11.
	All the works carried out by the contractor shall be to the satisfaction of the contract executing officer.
	

	12.
	 The offer shall be submitted  in two parts separately  i.e. technical and price bid.
	

	13.
	BHEL reserves the right to terminate the contract if  in it’s opinion the contractor is not meeting the BHEL requirements.
	

	14.
	Supply of all the items like Vim powder , Soaps , Cotton wastes  , Cora clothes etc  required for cleaning purpose are in the scope of the contractor.
	

	15.
	Contractor shall provide regularly Three semi skilled Electricians , Two Semi skilled fitters and one Unskilled Worker . When emergency work/ Complaints  comes extra man power have to be provided.
	

	16.
	Contractor shall have valid Electrical License ( LT ) from the competent authority.
	

	17.
	All dismantled material shall be returned  .
	

	18.
	Safety permit working at height for attending work above 10’ from ground level  shall be obtained before starting the work.
	

	19.
	Necessary checks shall be carried out throughout the year for ensuring proper earthing of all the equipments.
	

	20.
	The Contractor shall not employ any person below the age of 18 Years .Proof of the age shall be provided.
	

	21. 
	The Contractor shall follow all the guidelines laid in Model Contracts of BHEL .
	


Note : Detailed scope of Work is given in Annexure- V and Annexure- VI
