Technical Specifications for Auto Clave

1. Inner and outer chambers made up of Stainless Steel.

2. Stainless Steel lid with radial locking system.

3. Air insulation between boiler and outer wall.

4. Joint less rubber gasket.

5. Capacity more than 70 litres.

6. Power supply – 220 V AC.

7. Water level indicator.

8. Pressure gauge.

9. Steam release cock.

10. Spring loaded safety valve.

11. Stainless steel basket.

12. Safe upto 40 p.s.i.

13. Spare parts to be supplied along with the equipment: Gaskets –

3 Nos, Stainless steel baskets – 3 Nos, Heating elements – 3 Nos

14. Manufacture’s pamphlet must be attached for verification of

technical Specifications failing which quotation will be rejected.

15. Vendor must be able to demonstrate the equipment at

Hyderabad if required so, failing which quotation will be rejected.