1
3

                 TENDER BOX IS AVAILABLE AT CISF CONTROL ROOM AT “F” GATE FOR 

                                           DROPPING FILLED TENDERS 

               B H A R A T  H E A V Y  E L E C T R I C A L S  L I M I T E D 

RAMACHANDRAPURAM : : HYDERABAD – 502032

CIVIL FACTORY DEPARTMENT

TELEGRAM:  BHARATELEC   TELEPHONE NO. 23183250 & 23020154 

FAX NO. 040 – 23020154

TENDER NOTICE NO. HY/FCD/OT-02/07-08           DATED: 04.05.07
ITEM NO. 1
1.         Name of work



  :  Development works in and around of Admn. Building –

                                                                                    Interiors at main entrance of lobby – Civil, 

                                                                                    Interiors, Electrification, Lighting, audio visuals, access

                                                                                    control system and air conditioning. etc.                                                   
2.      Earnest Money Deposit

:    Rs. 2,00,000/-

3.      Time of Completion


:    4 Months

4.       Maintenance period


:   12 Months.

5.       Last date of receipt of tenders

:   18.05.07   upto 13.00 hrs.

6.      Date and time of opening of tenders
:   18.05.07   13.15   hrs.

7.      Cost of tender documents

:   Rs. 1000/-

Including S.T.

Name & Address:


--------------------------------------------------------------- 



---------------------------------------------------------------

---------------------------------------------------------------



----------------------------------------------------------

SIG.OF THE AGECNY

 EMD PAID / NOT PAID





TECHNICAL  CUM  COMMERCIAL BID

Name of the contractor             :

1)  Name of work                     :  
2) Tender Notice no &              :  


Date,  Item No.                     

3) Details of DD/Cash paid.

      D.D or Cash receipt No. for EMD                                     

      DD for cost of tender documents 

      when downloaded. (to be  enclosed along with 

      this bid). 

4) Particulars of experience/credentials: 

a (As per pre qualification  requirements all details must be  

    enclosed)

b. Financial turnover details. 

5) P.F.Code. NO. (proof of having Code No: to be enclosed):

6)  E.S.I Code NO. (proof of having Code No: to be enclosed):

7) PAN NO. (in case not available,  proof of having applied  

          with acknowledgement from concerned authorities). 

8)      APGST NO./ TIN NO: (in case not available,  proof of having applied  

           with acknowledgement from concerned authorities or an undertaking for submission of  

           VAT  registration certificate before concluding the Contract agreement).

           (It is required to furnish VAT registration certificate issued by Commissioner,  

           Commercial taxes, AP Govt, in respect of all works costing more than Rs. 5.00 lakhs each).

9 )     Labour licence (Central/State Government) : To be furnished at the time 

         commencement of work.

    NOTE: 

1.  Without  PAN and APGST No./VAT  contractors bills cannot be   processed and   

      payments will be held up.

2. Techno commercial  bids will be scrutinised on the same day.  In case the  agency has not satisfied all the above conditions with documentary   proof, the bid is liable to be rejected and their price bid will not be opened.

3. In case of a firm, shall be in the name of the firm.   However in case of sole proprietor or individuals these can be on the name of the sole proprietor or individual.

4. Though some of above documents are available with BHEL for those agencies who are presently working with BHEL, they also should submit one copy of the same..

5. All the columns shall be filled with proper information.

6. BHEL reserves the right to reject or cancel the tender at any stage of the tender process without assigning any reasons there of.

                                                                                Signature of Contractor(s).

                                                                       PRE QUALIFICATION                      

I.
The following conditions have to be satisfied by the tenderer, with documentary proof to be enclosed   with tender bid In case the agency fails to enclose the following documentary proof with tender the tender will be liable for rejection.

1) Particulars of experience / credentials for the work executed of similar nature for each work  

 Experience of having successfully  completed similar works during last 7 years ending last day of month previous to the one in which applications are invited should be either of the following:-

a) Three  similar completed works costing not less than the amount equal to 40% of the estimated cost.                     or
b) Two similar completed works costing not less than the amount equal to 50% of the estimated cost.                     or
c) One similar completed work costing not less than the amount equal to 80% of the estimated cost.

d) Penalty:  0.50 % of the gross value of work will be levied for every week"s delay by the agency subject to a maximum of 10 % value of the work for the above works..

2)  Particulars of annual financial turn over during the last 3 years ending 31st March of financial  

Year. Should be at least 30% estimated value of work during any one year.

3) (a)  ESI code . 

(b)  P.  F.  Code No.  

      
4  Labour licence (Central / State Government) before commencement of work. 

5  PAN  No.  (in case not available, proof of having applied with   

     acknowledgement from concerned authorities)

6. APGST / TIN No:    (in case not available, proof of having applied with acknowledgement from  

                 concerned authorities or an undertaking for submission of   VAT  registration certificate before     

                 concluding the Contract agreement).     VAT registration certificate to be furnished for works costing 

                 more than Rs.5.00 Lakhs each.

II
Tenders must be submitted in sealed covers addressed to Add Gen Manager / M&S, Civil Fy, BHEL, Ramachandrapuram, Hyderabad 502 032.  Tenderer shall write tender notice No,  and name of work and address of the tenderer on the sealed cover.  In case the agency fails to comply any of the above, the tender will be liable for rejection.

III.  NOTES:

1 Period of contract  shall be as mentioned in NIT.

2. Tenders are on two - part bid  method.( Techno commercial bid  and price bid) ..

3. Tender documents can  be had  through BHEL web site http://www.bhel.com

      cost of  document   shall be paid in the shape of Demand Draft  or Bankers  

                  Cheque or Pay Order and separately enclosed to the tender bid. 

           4.   The   requisitions   for    tender   documents   shall  be   given in person to Addl.  General  Manager      (M&S  Civil  Fy)  BHEL.,  Ramachandrapuram,    Hyderabad 502 032 along with Demand Draft/Banker's Cheque drawn in  favour   of  " BHARAT  HEAVY ELECTRICALS LIMITED, HYDERABAD  "   or      payment of cash in  BHEL Cash  Office  (No other mode of payment will be   accepted).  Tender   documents shall be  collected in person by the contractor or  his    representative. 

5 BHEL  reserves the right to reject or cancel the tender at any stage of the tender process   without assigning any reasons there of.

            6.    The agencies are advised to visit the work site to understand the nature of    work /        

                   quantum of work in its true perspective to avoid any complications in future .

BHARAT  HEAVY  ELECTRICALS   LIMITED

RAMACHANDRAPURAM : : HYDERABAD-32

TENDER  NOTICE

           No.    HY/FCD/OT-02/07-08,     Date  04.05.07         Item No.  1
1.     Sealed  Tenders  will  be  receive  by  the  Manager (Civil)  planning, Bharat  Heavy  
    Electricals Limited, Ramachandrapuram, Hyderabad-32  at his office up to 13.00 hours 

          on 18.05.07 for  the  work  of  “     Development works in and around of Admn. Building –

           Interiors at main entrance of lobby – Civil,  Interiors, Electrification, Lighting, audio visuals, access

           control system and air conditioning. etc.    “

at Ramachandrapuram, Hyderabad-32.A.P., Tenders will be opened by the Manager (Civil),  Bharat Heavy Electricals  Limited, Ramachandrapuram, Hyderabad-32. On the date by 13.15 hours and at the place aforementioned. The tenderers's or their agents are expected to be present at the time of opening of the tenders. The tender receiving officer will, on opening such tender, attest over writings or corrections, if any, therein  in the presence of the tenderes who may be present at the time.  The tender should be in the form of obtainable from the Office of the  Manager (Civil).  The Andra Pradesh Detailed Standard specification  and other documents relating to the contract such as additional specifications, proforma for Bank  Guarantees, descriptive specifications sheets regarding materials etc., can be seen at any time between 09.00 A.M to 12.00 Noon in the office of the Manager (Civil). Tender forms and other particulars regarding the proposed work can be obtained on any working day from 09.00 to 14.00 hours upto 16.05.07                                                      on payments of the prescribe sum of Rs. 1000/- per set as non-refundable.

2.       Tenders   must  be  submitted  in  sealed   covers   and   should  be   addressed  to   

             The        Manager  (Civil),  Bharat  Heavy  Electricals  Limited,   

             Ramachandrapuram,    Hyderabad – 32, the name of the tenderer and the name of the 

             work being noted on    the cover.

                                                                             Contd.….2

:: 2 ::

If the tender is made by a individual, it shall be signed with his name and his full  address shall be given, If it is made by firm, it shall be signed with the co partnership name by a member or the firm, who shall also sign his own name and the name and address of each member of the firm shall be given, if the tender is made by a corporation, it shall be signed by a duly authorised officer who shall produce with his tender, satisfactory evidence of his authorisation. Such tendering corporation may be required before the agreement is executed, to furnish evidence of it’s corporate existence.

3.     Each  tenderer  must  pay  as  Earnest  Money,   a  sum  of  Rs. 2,00,000/-   (Rupees   

          Two lakhs)  only  and  enclose  with his  tender the  receipt  endorsed  accordingly.  The  earnest Money prescribed for this work may be  offered  in  any of  the  following forms duly   pledged   to   the   Sr.  Accounts Officer (CASH), B.H.E.L.,  Ramachandrapuram, Hyderabad-32.

 
a)
 Cash Receipt from B.H.E.L., Cash Office

b)
 Bankers cheque, Demand Draft.

    
The Earnest Money will be refunded to the unsuccessful tenderer  after  the  intimation 

of  rejection of the  tender is  sent.  The Earnest  Money  will be retained in the case of 

the  successful  tenderer  and  get  converted  as  a  part of security Deposit for the due 

performance  of  the  contract and  in  either case  will  no  carry any interest. It will be 

dealt with as provided in the conditions attached to the tender. 

                                                                                                                               Contd.…..3    

:: 3 ::

When a tender is to be accepted, the tender whose tender is under consideration, shall attend the Office of . Manager (civil) on the dates fixed by written information to him.  He shall forth with upon intimation being given to him by the Manager (Civil) of acceptance of his tender, complete the execution of the agreement by signing all documents connected  there with, Failure to do so shall entail for failure of the Earnest Money Deposit. 

4.       EMD by the Tenderer will be forfeited as per Tender Document if.

i) After opening the tender, the revokes his tender within the validity period or increased his quoted rates.

ii) The tenderer does not commence the work the period as per LOI/Contract.  In case the LOI / contract is silent in this regard then within 15 days after award of contract.

5.       EMD  shall not carry any interest.

6.       Tenderers shall  peruse  carefully  the   instructions  laid  in  General Conditions of the        

            contract   and   all  other  relevant  documents  before   tendering   for  the  work.   The 

            approximate   quantity   of  work   to   be   executed   under  each  class  is  given  in 

            Schedule – “A”.  the quantities are given with a view to enable form and for a uniform  

            comparison  of  tenders.   It  shall  be  definitely  understood  that  the  Bharat  Heavy 

            Electricals Limited, does not accept any responsibility for correctness or completeness 

            by commissions, deductions or additions at the discretion of accepting authority.

7.       The  Manager (Civil) reserves the right to reject any tender or part thereof or all the 

             tenders with out assigning any reasons thereof. 

8a.
 Tenders offering a percentage deduction from or increase on the estimate amount and 

             those not submitted in proper form or in due time will be rejected. 

8b.
 The   offer  shall  be  valid  for  a  period  of  90 days  from  the date of opening of the 

              tender.




                                             

Contd.….4

:: 4 ::

9.
 Security  Deposit shall be collected from the successful tenderer.  The rate of Security 

             Deposit will be as below:

9a.
 Security   Deposit  should  be  collected  from  the  successful  tenderer.   The  rate  of 

             Security  Deposit will be as below:


 Upto Rs. 10 lakhs


         10%


 Above Rs. 10 lakhs upto Rs. 50 lakhs        Rs. 1 lakh + 7.5% of the amount exceeding 

         Rs. 10 lakhs


 Above Rs. 50 lakhs  


         Rs. 4 lakhs + 5% of the amount exceeding 

         Rs. 50 lakhs


    The Security Deposit should be deposited before start of the work by the contractor.

9b.
 Security Deposit may be furnished in any one of the following forms.

i) Cash (as permissible under the Income Tax Act)

ii) Pay Order, Demand Draft in favour of BHEL.

iii) Local cheques of scheduled banks, subject to realization.

iv) Securities available from Post such as National savings Certificates, Kisan Vikas Patras etc.

v) Bank Guarantee from schedules Banks / Public Financial Institutions as defined in the Companies Act subject to a maximum of 50% of the total security deposit value.  The balance 50% has to be remitted either by cash or in the other from of security.  The Bank Guarantee format should have the approval of BHEL.

vi) Fixed Deposit Receipt issued by scheduled Banks / Public Financial Institutions as defined in the companies Act.  The FDR should be in the name of the contractor, A/C BHEL, duly discharge on the back.

vii) Security Deposit can also be recovered at the rate 10% from the running bills.  However in such cases at least 50% of the Security Deposit should be deposited  before start of the work and the balance 50% will be recovered from the running bills.

viii) EMD of the successfully tender shall be converted and adjusted against the security deposit.

NOTE:  Acceptance of  Security Deposit against sl. No. (iv) and (vi) above will be adjusted to hypothecation or endorsement on the documents in favour of BHEL.  However, BHEL will not be liable or responsible in any manner for the collection of interest or renewal of the documents or in any other matter connected therewith.

9c.
 Security  Deposit  shall  not  be refundable to the contractor except in accordance with 

             the terms of the contract.

The  Security  Deposit  will  be  released  along  with  final  bill  or  after  12  

Months maintenance period which ever is later.

SIGNATURE OF CONTRACTOR (S) 
                                    ACCEPTING AUTHORITY

DIRECTIONS TO PARTIES FOR TENDERING 

1. A list of materials, proposed to be supplied by the Bharat Heavy Electricals Limited, Ramachandrapuram, Hyderabad – 500 032, and the places where and the prices at which they are proposed to be supplied is given in Schedule-B.  TENDERER MUST ACCEPT THESE MATERIALS AT THE SPECIFIED PRICES AND QUOTE FOR FINISHED WORK ACCORDINGLY.  Not with standing any subsequent change in the market remain as originally entered in the Agreement.  If at any time subsequent to the execution of this agreement, materials of B.H.E.L., other than those specified in the agreement are required by B.H.E.L., to be used on the work they will be charged at issue rate of BHEL.  The contractor will be informed in writing of this and he should intimate in writing the rate which he demands for finished work in view of the fact that he is to use materials of B.H.E.L, and at the issue rate.  No cartage or incidental charges will be borne by B.H.E.L., in connection with the supply of materials referred to in this paragraph.  If at any time, B.H.E.L., supplies materials other than those specified in the agreement at the request of the contractor for use on work, they will be charged at the market value prevailing at the time of supply or issue rate plus 12 ½% whichever is greater.

2.  Subsidiary items such as water for work, clearing and marking out site, hire of tools and plants should be separately entered.  If such items are not so entered, it will be assumed that the rates quoted, in the schedule include provision for them also.

3. The tenderer shall examine closely, the Andhara Pradesh Standards specifications kept in Manager, Civil’s Office and also the relevant clauses of the standard preliminary specification before submitting his tender unit rates which shall be for finished work in site.  The contractor should purchase a book of Andhra Pradesh Standards Specifications for his references.  He shall also carefully study the drawings and additional specifications and all the documents which form part of the agreement to be into by the accepted tenderer.

Contd.…2

:: 2 ::

4. Each tenderer must also send a certificate of Current Income Tax Clearance from the appropriate Income Tax Authority in the form prescribed therefor.  In the case of proprietary firm, it will be necessary to produce the certificate aforementioned for the proprietor or proprietors and for each of the partners as the case may be.

5. Every tenderer is expected, before quoting his rates to inspect the site of the proposed work. He should also inspect the quarries, and satisfy himself about the quality and availability of materials.  The best class of materials shall be used on the work.  In every case, the materials as comply with the relevant standards specifications.  Samples of materials as called for in the Standard Specifications, or in this tender notice or as required by the Manager (Civil) having jurisdiction for the time being over the work, herein-after called  Manager (Civil), should have the due approval before the supply to site of work is begun.  Attention of the contractor is  directed to standard preliminary specification regarding payment of seigniorage,  tools etc,.

6. Time shall be considered as the essence of the contract.  The rate of progress as mutually agreed to is required to be maintained.  Date of commencement of this programme will be the date on which the site (or premises) is handed to the contractor.

7. The tenderer should quote specific rates for each item in the schedule and the rates should be in rupees and paise.  The units and rates should be written both in words and figures.  The schedule accompanying the tender shall be written legibly and free from  erasures, over writings or corrections of figures.  Corrections where unavoidable should be made by crossing out, initialing, dating and rewriting.  No alterations which is made by the tenderer in the agreement form, the conditions of agreement, the drawings or specifications accompanying the same will be recognised and if any such alterations are made, the tender will be void.

SIGNATURE OF CONTRACTORS(S)     

        ACCEPTING AUTHORITY  

TENDER FOR THE  WORK
I/We_____________________________________________do hereby tender to execute works of the under mentioned description and in accordance with the conditions noted below in consideration of payment being made for the quantity of work executed at the respective rates specified in the following schedule.

I / We hereby distinctly and expressly declare and acknowledge that before the submission of my / our tender I / We carefully followed the instructions in the tender notice and have read the  Andra Pradesh Standard specification and the clauses of the preliminary specifications an that I /We have made such examination of the contract documents and of the specifications etc., and of the location where the said work is to be done and such investigation of the work required to be done and in regard to the material required to be furnished as to enable me/us thoroughly to understand the intention of same and the requirements, covenants, agreements, stipulations  and restrictions contained in the contract and in the said specifications and distinctly agree that I /We will not hereafter make any claim or demand upon the Bharat Heavy Electricals Limited based  upon or arising out of the said requirements, covenants, agreements, stipulations, restrictions and conditions I /We, _______________________ enclose a income tax verifications certificate.  I /We ________________________________________ have already produced  income  tax verification certificate during the current calendar year in respect of (here particulars of the previous occasion on which the certificate was produced should be given ______________________________________________________________________________________________________________________________________________________. 

                                           
                                Signature of Contractor (S)

                                                      
                    Address

TENDERER’S AND CONTRACTOR’S CERTIFICATE

1. I hereby declare that I have perused in detail and examined closely the Andhra Pradesh Standard Specifications and it’s addenda volume and also BHEL General Conditions of contract. I agree to be bound by and comply with all specifications contained in Andhra Pradesh  Standard Specification and General Conditions of contract, for the various items of works specified in the      Schedule “A” and the work as a whole.

2. I hereby declare that I shall pay the statutory minimum wages to my workers as applicable from time to time.

I shall  also adhere to all the statutory obligations under Contract Labour (Regulation and Abolition) Act 1971 and Rules framed thereunder with subsequent revisions if any .

Date _________________                            SIGNATURE OF CONTRACTOR(S)

GENERAL TERMS & CONDITIONS

1. The contractor shall comply with the following general terms  conditions and special instructions.

2. The contractor shall fully comply with the following en-actments:

a. Contractor Labour (R&A) Act,  1971.

b. Wage Rates not less than that notified by State Labour department from time to time.

c. Payment of Wages Act.

d. ESI Act,  1948.

e. EPF Act,  1952.

f. Workmen’s Compensation Act, 1923.

g. The company’s instructions as issued from time to time in regard to working hours, wages, leave, holidays etc.

3. The Contractor shall obtain license from the Assistant Labour Commissioner (Central), or appropriate Government if he engages 20 (Twenty) or more workmen only.

4. The contractor shall produce the following Registers and forms before commencement of work, verification by the Executing Officer of the company.

a.
Form XIII
-
Register of workmen employed by contractor (Rule 75).

b.
Form XIV 
-
Employment card issued by contractor (Rule 76).

c.
Form XVI
-
Muster Roll (Rule 78 (1) (a) (i)).

d.
Form XVII
-
Register of Wages (Rule 78 (1) (a) (i)).

e.
Form XVII
-
Register of wages - cum Muster Roll (in case 

  



of weekly payment).

f.
Form XIX
-
Wage slip (Rule 78 (b)).

g.
Form XX
-
Register of deduction for damages or loss 

   



(Rule 78 (1) (a) (ii)). 

h.
Form XXI
-
Register for fines  (Rule 78 (1) (a) (ii)). 

i.
Form XXII
-
Register of advances  (Rule 78 (1) (a) (ii)). 

j.
Form XXIII
-
Register of overtime (Rule 78 (1) (a) (iii)). 

k.
Form XXIV
-
Register to be sent by the contractor to licensing 

  


officer (Rule 82 ) (1). 

The contractor shall maintain the above neatly, completely an legibly for inspection by various statutory authorities and the company officials even at short notice.

5.
The contractor shall observe

(a) 
Weekly rest day.

(b)
The company list of holidays.

Contd….2

:: 2 ::

6. Contractor shall obtain complete bio-data of the labour, employment certificate and Antecedent verification in the prescribed form for each labour and supervisor  engaged  by him and shall submit the same to the Personnel Department / IR section through the contract executing officers before commencement of the work. 

7 The Entry permits are to be issued to the Contract Labour by Assistant Commandant /   CISF (Plant), based on the requisition submitted by Contract Executing Officer and forwarded by Dy. General manager / Personnel.

8. Every contractor shall submit a notice regarding commencement and completion, of work in form – VI A&B [Rule 25 (VIII) & 81 (3)] to Personnel Department, IR section through his contract executing officer, for forwarding the same to State Labour Department.

9. The contractor shall make himself of his representative available at the work spot everyday during execution of work, for effective supervision.

10. The contractor shall attend to all inspections notified / conducted by the Personnel Department, Labour Department, P.F. authorities. Factory Inspectors ESI Inspectors, or any other such authorities under the act.

11. Non – compliance of any provisions under the act/ rule/instructions / guidelines shall make the contractor liable for penal action including termination of contract.

12. Contractor shall furnish in a separate letter his place of residence and postal address. The delivery at the above named place or posting in a Post box regularly maintained by the post and telegraph Department or sending letters registered for acknowledgement of any notice,  letter or other communication to the contractor. Change in address shall come into force at any time by an instrument executed by the contractor and delivered to the Company official who has signed the contract.

13. The contractor must satisfy himself by personal study and examination of the drawings / specifications furnished and understand thoroughly the scope of proposed work in detail and all conditions affecting the work before entering into the contract. There shall not be at any time dispute / complaint of any misunderstanding with regard to scope  of work and interpretation of specifications or any misunderstanding with regard to nature or omission of the work to be done not shall any application for compensation in terms of time and money shall be accepted by company regarding the above.

14. Contractor shall in his absence keep competent agent constantly on the works and any directions or explanations given by the “Contract Signing Officer” or his representative to such agent shall be held to have been given  to the contractor himself.

15. Contractor on the advise of company official shall immediately remove any person employed by him, who may in the opinion of the company official is incompetent or misc. conducts himself and such persons shall not be again employed on the works without permission of the company official.

Contd.…3

:: 3 ::

16. The contractor shall erect and maintain at his own cost temporary weather proof sheds at such places approved by the company for keeping  materials under cover. 

17. The contractor shall give all notices  required  by the acts regulations , bylaws, legal acts and pay all fees in connection therewith unless and otherwise arranged and decided in writing with the company. He shall also ensure that no attachments are made against materials or work forming part of or for the use of the contractor. In all such cases, contractor shall protect and indemnify the company against any claim or liability  arising from or based on the violation of any such laws, ordinances, regulations ,orders, decrees or attachments either by himself or by his employees,

18. It shall be contractor’s sole responsibility to protect the public and his employees against accident from any cause and provide required safety equipments and shall indemnify, the company against any claims for damages for injury to the person or property resulting from any such accidents and shall, where the provisions of the workmen’s compensation act apply, take  steps to properly insure against any claims thereunder.

19. In the event of any accident in respect of which compensation may become payable under the workmen’s compensation act VIII of 1923 whether by the contractor or by the company as principle employer, it shall be lawful for the company to retain out of monies due and payable to the contractor such sum or sums of money as may, in the opinion of the company shall be final in regard to all matter arising  in this clause.

20. No work shall be done on Sundays or on other declared holidays of the company without the written permission of the company officer in charge o f the work. The contractor shall comply with the provisions of the Factories Act Rules framed thereunder if the same are applicable.

21. The contractor shall keep his work place clean and safe to avoid injuries to men and damage to finished products / equipments.

22. On the occurrence of an accident, which results in the death of any of the workmen employed by the contractor or which is so serious as to be likely to result in the death of any such workmen, the contractor shall within 24 hours of the happening of such an accident  intimate in writing to the company official in charge of the work.

23. The contractor shall indemnify the company against all losses or damages sustained by the company resulting directly or indirectly from his failure to give intimation in the manner aforesaid including the penalties or dues if any and become payable by the company, as a consequence of failure, the company to give notice under the workmen’s  compensation act or otherwise confirm to the provisions of the said act in regard to such accident.

Contd.…4

:: 4 : :

24. The contractor shall ensure adherence to all statuary requirements applicable to BHARAT HEAVY ELECTRICALS LIMITED, RAMACHANDRA PURAM, HYDERABASD-502032.

25. The contractor shall ensure abidance by all the labour laws especially including contact labour (R & A ) Act, payment of wages Act, workmen’s compensation act, minimum wages Act ESI Act and Provident Fund Act as amended from time to time.

26. The contractor shall comply with provident Fund Act either through PF code allotted to him are by the code provided by PF Department to work Centers in the FACTORY /TOWNSHIP CIVIL OF B.H.E.L. Ramachandrapuram,  Hyderabad –502032

27. Not withstanding the clause, in case of any financial loss incurred by the company on account of contravention of the Provident Fund regulations or any regulations of rule touching the same by the contractor, the contractor shall submit an undertaking to indemnify the company to the extent of the loss incurred by the company.

28. The contractor should engage only those labourers who shall be more than 18(eighteen) years of age.

29. The contractor shall not resort to sub contracting under any circumstances.  If found subcontracting at a later date, BHEL reserves the right to take whatever action it deems fit, including cancellation of the contract.

30. The contractor shall provide the required safety equipment labours engaged by him.

31. Contractor shall issue “Employment Card” as per statute to all the labour and supervisors covered under the job work contract.

32. The contractor shall be responsible to settle any grievances of the labour deployed by him. 

33. Whenever the term “CONTRACTOR” is used, it shall be understood to refer to the particular person, firm or corporation with whom an agreement has been made by the concerned company official for executing the work defined in the concerned agreement and for the purpose of instructions regarding compliance with contract conditions, it shall include the contractor’s authorised agents, who are entrusted with the work by contractor.

34. The quantities mentioned in the agreement schedule are worked out from the relevant drawings in the company and may not be the actuals required for execution. 

35. The company does not expressly or by implication agree that the actual amount of the work to be done shall correspond there with, but reserves the right  to increase or decrease the quantity of any class or portion of the work as he deems necessary.

Contd.…5

:: 5 : :

36. All the works shall be carried out in accordance with the directions and to the satisfaction of the company official in accordance with the drawings, specifications and instructions.  Supplementing or explaining the same as may from time to time shall be done by the company official.

37. For all modifications, omissions or additions to the approved drawings and specifications, the company shall issue revised plans or written instructions and no modifications, omission or addition shall be made unless at any time before completion of the work.

38. The company shall heave the privilege of ordering modifications, omissions, or additions at nay time before completion of the work.

39. All materials, articles, and workmanship shall be the best of their respective kinds for the class of work described in the contract specifications and schedule and materials to be obtained by the contractor shall be from sources approved by the company.

40. Sample of materials shall be furnished by the contractor at his expense to the company when called for before execution of any work.

41. The company shall have power to reject at any stage, any work which is considered to be defective in quality of materials of workmanship and  shall not be debarred from rejecting wrong material by reasons of having previously passed them in an un worked condition.  Any portion of the work or materials rejected or pronounced to be inferior or not in accordance with specifications shall be taken down and removed from the work site at the contractor’s expenses.  

42. The decision of the company shall be final and binding on the contractor on all technical questions which may arise in the contract with respect to material, workmanship, removal; of improper work, interpretation of the working drawings, specifications, notes, procedures etc.

43. The decision of the “Contract Signing Officer” or any officer deputed by him duly authorised on his behalf, in respect of the rate of progress and the quality of work or material shall be final.

44. Contracts shall be deemed to have included in his tender price of all the plant.  Machinery an appliances required for the purpose of all operations connected to secure a satisfactory quality of work within the opinion of the company will ensure the completion of the work within the time specified. 

45. If at any time, during the progress of work or any part of it such methods or equipment appear to the company official to be insufficient or inappropriate for ensuring he quality of work required or rate of progress, he may order the contractor to increase their efficiency or to improve their quality of work and the contractor shall comply with such order and on failure of which the company may take such action as it deems it fit to improve the quality of work of the company may take such action as it deems if fit to improve  the quality of work or the rate of progress required from the contractor and all such actions taken by the company shall be at the coat and risk  of the contractor. 







Contd.…6

:: 6 ::

46. It is open to the company to lend or supply to the contractor any tools, implement, material and machinery that are needed by the contractor, which in the opinion of the company is essential to improve the quality or progress of work.  The contractor shall pay such deposit or charges that may be fixed or determined by the company for any such articles or machinery lent or hired to the contractor.

47. Any electric power required for contractors machinery for the purpose of work shall be supplied by the company at the written request of the contractor at one point subject to the observance of rules an regulations of Electric board / company and charges there on shall be recovered from the contractor.

48. The contractor shall confirm to the regulations and laws of central / state govt. or any local authority and that of the company with whose system the machinery is supposed to be connected.

49. All rubbish as it accumulates shall be removed from the site to the point of disposal as indicated from time to time by the company. If this is not adhered to, the company shall remove the scrap and recover the cost of these operations from the bills of the contractor.

50. Any sum due from the contractor on account of tools and plants, stores, or any other items provided by the company shall be deducted from the respective bill due to him.

51. In case of breach of any of the terms and conditions of the contract, a claim shall be lodged under the bank guarantee with the guarantor at the discretion of the competent authority of the company.  On successful completion of the contract to the satisfaction of the company, the bank guarantee shall be released after due claim period.

52. In the event of any question or dispute or under this contract, the same shall be referred to a competent Authority in the company for sole arbitration and his decision shall be final and binding on the parties to the contract.

53. In case of any suit or other legal proceeding arising under this contract, the courts at Sangareddy (Medak Dist.) A.P only shall have the Jurisdiction. 

54. The company reserves the right to enter into parallel agreement with one or more contractor at their direction.

55. Disputes, grievances between the contractor and his labour, will have to be settled by the contractor only.

56. The labour employed by the contractor, if found in abetting and fellow labour or contractors or any BHEL employee, the same shall be considered as an act of indicipline.  Such labourers shall be removed from the services of the contractor, on the advice of BHEL.  Further the contractor shall initiate every necessary action in accordance with the relevant Laws, Rules & Regulations and enactments of State and Central Government.

Contd.…7

:: 7 ::

57. Wherever, BHEL/COMPANY standards are mentioned, copies of which are enclosed shall by strictly followed.

58. Nothing contained in the contract agreement and its conditions shall be deemed to preclude or render inoperative the service of any notice, letter or other communication upon the contractor personally.

59. The decision of the “Contracting Signing Officer” shall be final and binding on the contractor on all technical questions which may arise touching the contract with respect to the quality of material, workmanship, removal of improper work, interpretation of the working drawings, specifications, notes, procedures etc.

II) Special Instructions:

1. If an individual makes the tender, it shall be signed with his full mane and his address shall be furnished.  If it is made by firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, also furnish the name and corporation, it shall be signed by a duly authorised officer who shall produce with the tender, satisfactory evidence of his authorisation.  Such tendering corporation / firm is required to furnish evidence of its existence along with bid.

2. The EMD will be refunded to the unsuccessful tenderers on application after rejection of the tender is intimated.  The earnest money will be retained in the case of the successful tenderers and either of the cases will not carry any interest.  If will be dealt with as provided in the conditions attached to the tender.

3. Whenever a tender to be accepted, the tenderer, whose tender is under consideration, shall attend the office of “Office Inviting the Tender” on the date fixed by written intimation to him.  He shall forthwith, upon intimation being given to him by the “Officer Inviting the Tender” [Ex. DGM (DCD)] for acceptance of his tender, complete the execution of the agreement by signing all documents connected therewith.  Failure to do so and not to commence the work within one month from the date of intimation shall entail forfeiture of the earnest money.

4. Tenderers shall peruse carefully the instructions and directions to parties in tendering and the conditions of the agreement and all other relevant documents before tendering the rates for the work.  The approximate quantity of work to be executed under each class is given in the schedule.  The quantities are given with a view to enable tenderer to quote his overall rate for each class of work in the tender form and for an uniform comparison of tenderers.  It shall be definitely understood that BHEL does not accept any responsibilities for the correctness or completeness of this schedule and that the schedule it liable to alterations by omission deductions, or additions at the discretion of accepting authority.   

Contd.…8

:: 8 ::

5. The tenderer shall keep the offer valid for a period of 90 days from the date of opening of tender.  It is being understood that the tender documents have been sold / issued to the tenderer and the tenderer is being permitted to tender in consideration of the stipulation on his part that after submitting the tender, he will not recall his offer or modify the terms and conditions   thereof  in a manner not acceptable to the “Officer Inviting the Tender” Should the tenderer fail to observe or comply with the foregoing stipulation, the EMD shall be fore fieted.

6. Tenderers have to quote their rates in the tender schedule legibly written in figures and words and those not submitted in proper form are liable for rejection.

7. The submission of tender shall be strictly in accordance with the terms and conditions stipulated in this tender notice. No counter conditions will be acceptable or valid.

8. The tenderers  must satisfy themselves by personal sturdy and examination of the drawings / specifications furnished and understand thoroughly the scope of proposed work in detail and all conditions affecting the work before entering into the contract.  There shall no be at any time after submission of the tender dispute/ complaint or any nature regarding the scope of work and interpretation of specifications or any misunderstanding with regard to nature or omission of the work to be done nor shall any application for compensation in terms of time and only shall be accepted by BHEL in regard to the above.

9. Contractor shall be deemed to have included in his tender price of all the plant, machinery and appliance required for the purpose of all operations connected with the work embraced under the contract to secure a satisfactory quality of wok and rate of progress which in the opinion of the “Contract Signing Officer” will ensure the completion of the work within the time  specified.

10. The contractor has to produce the bank guarantee in the prescribed proforma  valid for the contract period for a value calculated at the rates mentioned towards security deposit.  The claim period under the guarantee shall be valid for six months after expiry of  the contract.

11. This is a time bound contract for period mentioned, and does not envisage any escalation of price.

12. The rates quoted by the contractor shall be firm for the contract period.  There shall be no revision in contract rates due to increase in any statutory levies during the period of the contract and this increase shall be absorbed by the contractor himself in full.

SIG. OF CONTRACTOR(S)                            ACCEPTING AUTHORITY

BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM : : HYDERABAD – 32.
(SPECIAL CONDITIONS – SAFETY)

1.  The  following  are  a  few   safety  measures  suggested  while  carrying  the  work.  

       However all the items of work should be carried out in safe working manner taking      

       all precautions.

2.  Proper and necessary precautions shall have to be taken wherever the work involves 

       breaking of reinforced  cement concrete slab and dismantling of brick work.  These 

       items of work will have to be carried in the presence of the Engineer-in-charge.

3.  Proper and necessary scaffolding  is to be erected wherever dismantling of brick work 

       is carried out  at height more than 1.80 M

4.  Reinforced   cement   concrete   slab   should   be   dismantled   parallel  to  the  main 

       reinforcement, each piece not exceeding  300mm wide.  Under no  circumstances the 

       supporting wall shall be cut or removed until the supporting slab is demolished.        

5.  The  contractor  shall  keep  supply  all  safety  equipment  like  safety boots, goggles,   

        helmets and safety belts, to all the workers.

6.  The contractor shall keep a supervisor always at work site.

7.  Power shut  down shall be taken before commencement of the work wherever power 

        cables are running.

8.  Proper and necessary scaffolding and ladders are to be used for carrying out all types  

 of  works.

CONTRACTOR                                                          ISSUING/ACCEPTING AUTHORITY









ANNEXURE  - C

                                          CONTRACTOR’S OBLIGATIONS

I) CONTRACTURAL:

a) 
Contractor shall decide the number of employees to be deployed for execution of the work awarded to him and he or his authorized representative will be solely entitled to dictate such workers about the manner of carrying out the work as per the prescribed specifications and quality plan.

b) 
Contractor shall supervise the work allotted to him and to be carried out by his employees.

c) 
Contractor to ensure that the employees deployed in the premises of BHEL are physically and  mentally fit and do not have any criminal record. Such employees should possess requisite skill, proficiency, qualification, experience etc.

d) 
Contractor to maintain appropriate records of his employees deployed to carry out the job(s).

e) 
Contractor should issue appropriate letters to his employees.

f) 
Contractor to provide employment card/identity card with photograph duly verified and attested by the Contractor to his employees. Contractor to indicate the name of the proprietary/partnership firm/company, place of work, contract number and duration of validity of card.

g) 
Contractor will be responsible for the good conduct of his employees. In case of any misconduct/ misbehaviour by any employee, the contractor will replace such employee(s) immediately.

h) 
Contractor will ensure that the job is executed through his employees on his rolls and under no circumstances the contractor will deploy any casual employee to carry out the job nor shall sub-contract the job without prior written permission.

i) 
Contractor will keep watch on his employees and he will be liable for any pilferage / loss to BHEL due to acts of omission and commission by his employees. Similarly, liability for any compensation to outsiders on account of any act of omission and commission by the employees deployed by the contractor shall lie exclusively with him.

j) 
Contractor to provide safety appliances and safety shoes to his employees. The contractor shall be responsible for enforcing all safety regulations as applicable.

k) 
The contractor has to provide a distinct uniform different from BHEL employees. The uniform should have logo of the contractors firm / company. The uniform shall be kept in neat, tidy and wearable condition. Whenever necessary, the cap shall be integral part of the uniform.

l)  
Contractor to ensure that all precautions are taken for safety of his employees and equipments.

m) 
In the event of termination of contract for any reason whatsoever, the contractor  shall withdraw all his employees from the establishment of BHEL. In case contractor decides to terminate services of his employees, he should settle all terminal dues including retrenchment compensation.

n) 
Contractor shall provide to his employees all tools, tackles and equipment’s and maintain the same to carry out the job under the contract at his cost and if necessary contractor may take insurance policy of his men, material, equipment’s and tools and tackles.

o) 
Contractor shall provide safety appliances and maintain the same at his own cost  which may be required under the statue or otherwise.

p) 
Contractor shall provide material at his cost mentioned in the contract to his employees for carrying out the job.

II) TOWARDS STATUTORY LIABILITY

a) 
All statutory requirements under Minimum Wages Act, 1948, Payment of Wages Act, 1936, Workmen Compensation Act. 1923, EPF & MP Act, 1952, Payment of Gratuity Act, 1972, ESI Act,1948. The Contract Labour (R&A) Act, 1970, Payment of Bonus Act,1965, Income Tax Act, Service Tax Act and all other applicable Acts shall be complied with by the contractor.

b) 
Contractor shall comply with all statutory requirements, rules, regulations, notifications in relation to employment of his employees issued from time by the concerned authorities.

c) 
Contractor  shall ensure payment of statutory  prescribed minimum wages as applicable from time to time in the presence of authorized representative of BHEL and maintain proper records of their timely disbursements. These records need to be preserved for a period of at 3 years and should be made available even after the contract is over for any verification by the statutory authorities / BHEL authorities.

d) 
Contractor to provide PF pass book to his employees and ensure payment of PF, EDLI, pension dues under EPF & MP Act, 1952 to the PRFC.

e) 
Contractor shall ensure payment of ESI contribution under ESI Act, 1948 and provide ESI membership No. / card of each employee.

f) 
Contractor shall produce proof of deductions as well as remittances of PF, EDLI, Pension, ESI contribution, administrative charges etc. wherever applicable and shall maintain proper records. Contractor to issue wage slips to his employees.

g) 
Contractor shall furnish proper returns to the concerned statutory authorities and provide a copy of the same to BHEL.

h) 
Contractor shall  be solely responsible for non payment /delayed payment of wages / DA, contributions under EPF & MP Act, ESI Act etc.

i) 
In case the contractor fails to make payment of wages to his employees or remittance of contribution to the concerned authorities,  the security deposit / other dues / running bills under the contract can be utilized by BHEL to discharge the liability of the contractor.

j) 
Contractor shall indemnify BHEL against all claims and losses under various Labour Laws, statutes or any civil or criminal law in connection with employees deployed by him.

k) 
The liability for any compensation on account of injury sustained by an employee of the contractor will be exclusively that of the contractor.

l) 
Contractor to obtain insurance cover for his employees / equipment / tools and tackles etc. and take third party risk insurance coverage at his own cost. BHEL shall not be responsible for any loss, damage, and pilferage of property and / or his employees.

m) 
Contractor should have independent code numbers / exemptions under EPF & MP Act, 1952 and ESI Act, 1948 and shall cover his employees under the said codes.

n) 
Payment of bonus under the payment of Bonus Act, Payment of gratuity under the Gratuity Act, and retrenchment compensation under Act will be the sole responsibility of the contractor.

o) 
Over and above the daily wage rate, payment shall be made for leave with wages.

p) 
Contractor shall observe Provisions of the Factories Act in respect of working hours, holidays, rest intervals, leave and overtime to his employee. No work shall be done on second/third shift, overtime, Sundays or on other declared hoildays without written permission.

q) 
In case a contractor employs women as employee he will discharge his obligation under law in respect of such women workers such prohibition of engaging  them during night-hours, prohibition of employing them for more than 9 hours per day, provision of creche facility, grant of maternity leave as per rules etc.

r) 
Contractor shall be responsible for making payment of wages before expiry of 7 days from the last day of wage period and to ensure disbursement of wages in the presence of the authorities representative of contract operating division who shall record under his signature at the end of entries in the Register of wages.

s) 
Contractor to obtain license under CL(R&A) Act, 1970.

CONTRACTOR(S)                                               ACCEPTING AUTHORITY

ANNEXURE-D

                                                GENERAL TERMS & CONDITIONS

1) 
BHEL shall have the privity of the contract with the contractor only and will give instructions to the contractor or his authorized representatives. BHEL will have nothing to do or be concerned with the employment of employees working for the contractor. The relationship between BHEL and the Contractor will be that of independent entities and nothing herein contained will amount to joint venture, partnership or an employer-employee relationship.

2) 
The contractor shall maintain regular contact with the designated employee(s) of BHEL and will interact on matters relating to the work awarded under this contract.

3) 
In case the contractor does not carry out the Contractual / Statutory obligations or the services rendered by him are found to be unsatisfactory, BHEL shall bring the same to his notice and he will be obliged to discharge the obligations and rectify the deficiency/ anormally within three days time failing which, BHEL reserves the right to terminate the contract without assigning any reason whatsoever. In such an event, no damages will be payable for short closure of the contract.

4) 
The contractor shall deposit an amount of Rs.________________as  security with BHEL in the form of pay order / bank guarantee / FDI in the name of  contractor A/c.- BHEL duly discharged on the back. Alternatively, the amount of security deposit can be adjusted partly from EMD and balance amount from subsequent bills. This security deposit shall be liable to be returned to the contractor after termination of the contract or at the end of it, subject to deduction on account of company dues, non-deposit of statutory dues etc. No interest shall be payable on the security deposit.

5)
 The decision of BHEL regarding interpretation of any terms and conditions set forth in this agreement shall be final and binding on the contractor.

6) 
Any matter arising out of or in connection with the agreement shall be under jurisdiction of Sanga Reddy Court.

7) 
Notwithstanding anything contained in this Agreement, the contract may be terminated by BHEL without assigning any reason thereof  by giving a notice of 30 days to the contractor.

8) 
The contract will commence on _____________________ date and will remain valid for a period  

            of ________________ year(s) till __________________ date. The parties reserves the right to  

            extend the contract on mutually agreed terms and conditions.

9) All disputes arising in connection with the contract shall be settled by mutual consultation. If no agreement is reached the dispute shall be settled in accordance     with the  provisions of the Arbitration and Conciliation Act,1996 and the rules    made there under. The dispute shall be referred for arbitration to any arbitrator to      be appointed by the Head of the unit. The award of the  arbitrator shall be final    and  binding on both the parties. The venue  of the Arbitration shall be Hyderabad    in India. The  Award to be given by the Arbitration shall be speaking  award. All            questions, disputes, differences arising under, out of or in connection with this   contract shall be              to the exclusive jurisdiction of Sanga Reddy Courts.

      CONTRACTOR (S)                                                          ACCEPTING AUTHORITY                   

INTERIOR TECHNICAL SPECIFICATION

The Technical Specification is only general guideline and must be read in conjunction with the appropriate manufacturer's specification and guidelines with the detail drawings. 

The Contractor shall omit the specification as if the item is not appearing in his scope of work. 

FLOORING 

PREPARATION OF SURFACE 

Before starting operation of laying any floor, the surface of base concrete shall be thoroughly cleaned off for all dirt, loose particles and caked mortar drippings by scrubbing with coir or steel wire brush. The surface shall be chipped or hacked at close intervals to roughen the surface to receive the mortar. The surface shall then be cleaned with water and kept wet for 12 hours and surplus water shall be removed by mopping before the flooring is laid.
LAYING· 


a) Concrete Base 

The 1:3:6 concrete bases shall be in a composition of 1 part of cement, 3 parts of coarse sand and 6 parts of graded stone aggregate of maximum size 12 mm. The ingredients shall be thoroughly mixed with sufficient water to obtain the required plasticity. The free water on the surface of the base shall be removed and a coat of cement slurry of the required consistency shall be berated on the surface. 

The prepared 1:3:6 concrete shall be laid immediately after mixing on the fresh grouted base in alternate panels of uniform size not exceeding 10sft. The edge sill is protected by wooden I steel formwork. The concrete shall be spread evenly and leveled carefully. Low places shall be filled, humps shall be removed and the whole surface is to be leveled. 

The layer shall be compacted by trawling and allowed to set. 

b) MIXING AND LAYING OF WEARING COAT 

One part of cement in dry state shall be admixed with two parts by volume of well-graded crushed granite chips of 6 mm maximum size. The ingredients shall be then mixed with sufficient water as for ordinary concrete. The wearing coat shall be laid 12 mm thick over 1:2:4 cement concrete base immediately after it has set. The wearing coat shall be compacted and leveled to give a level surface. The surface should not be over trawled, as excessive trawling shall bare the cement to the surface, which shall be strictly avoided. 

When the initial set takes place further compaction by steel toweling shall be done and final brushing shall be done before the topping becomes too hard. 

Hardening compounds or ironite fillings shall be added according to the manufacturers' specification to obtain a dense, hard flooring top.

CURING
As soon as the surface is hard enough, it shall be covered with gunnysacks or sand and kept continuously wet for a period of at least one-week.

POLISHING

The surface shall be machine polished to give a smooth and even surface with granite chips exposed.
CERAMIC TILE / VITRIFIED TILE FLOORING / DADOING / SKIRTING

The tile shall be of approved quality, make, colour, size and shape. On the approval of the sample by the PM, the order for the tiles shall be placed from one source and procurement done preferably from one batch I consignment to prevent any shape variation. Tiles to be sorted out at site before laying. 

The floor surface over which the tiles are to be laid shall be properly cleaned and wetted. 3 to 6 mm Solid bed of approved tile adhesive shall be applied over an area adequate to accommodate about 20 tiles at a time. Tiles shall be washed clean and pressed on to the grout and gently tapped in its proper position. The tiles shall be placed perfectly side by side so as to have fine joints truly vertical and horizontal and in level with adjoining tiles. 

The joints shall be as specified in the drawing, if grooves are to be provided, it shall not exceed 1.5mm or as specified in the drawing, and shall be done using spacers of approved quality. The excess content slurry bulging I oozing out in joints shall be removed by wiping immediately. Joints between the tiles to be filled with approved grout to match the colour of tiles as per the manufacturer’s specifications. 

Thereafter, the joints shall be raked out to the required depth and loose cement/mortar shall be rewed and joints shall be cleaned. Joints between the tiles to be filled with approved grout to match the colour of tiles as per the manufacturer’s specifications. (Colour as approved by PM). 

In the case of dado the wall surface shall be cleaned and plastered with CM 1:4 to a thickness of not less than 10mm to form a uniform backing surface and finished rough and allowed to harden. 

The tiles, which have been soaked in water, shall be cleaned and cement paste of butter like consistency applied to the backside of tiles and the tiles shall be pressed on the wall face and gently tapped in its position. In this way tiles shall be placed one after another starting from the bottom line and lay upwards. 

The joints shall be truly vertical and horizontal, where required spacers -- glass strips or ceramic strips - are used to achieve spacing between tiles of width as specified in the drawing and the tile surface shall be of in firm level in all directions without any depressions and dulling which shall be tested by a straight edge as directed by PM. 

Curing and pointing of tiles in Dado shall be carried out as specified for flooring and as directed by PM

PRE POLISHED / FLAMED GRANITE SLABS / VITRIFIED TILES IN FLOORING

The granite shall be of approved colour & shall be out of sufficient lot to cover particular area to avoid lot I shade variation. 

Granite slab shall be quarried stones, hard, sound, durable and free from weathering and decay and defects like cavities, cracks, holes injurious veins, patches of soft materials and such other defects adversely affecting its strength and its appearance. 

The hardness of the Granite slab shall be as per IS. The pre-polished flamed granite shall be selected and approved by the PM. The pre-polished / Flamed Granite sample approved shall be brought by the Contractor in adequate quality and from one single batch I source so as to ensure that the grains and shade of entire flooring laid is homogeneous and consistent. The size and shape of the granite slab shall be cut as per the Drawings/instructions of PM, edges being true and square. The exposed edges of the slab are to be polished at site or in factory. Cutting of Granite slabs shall be done using machines as approved by the PM. 

The rate should include protection coat of PLASTER OF PARIS over polythene sheet till handing over. The rates shall be inclusive of machine-polished edges and groove if ordered 

Mortar shall be composed of cement and sand, unless otherwise specified. All mortar shall be prepared in accordance with IS 2250. The proportions of mortar measured by volume shall be as specified. 

A layer of mortar shall be spread on full width over a suitable length of the lower course. Each slab shall be properly bedded and set in position by gently taping with handle or trowel or wooden mallet. The inside faces shall be buttered with mortar before the next slab is laid and pressed against it. The joints may be either paper cut or with spacing width. 

In case spacer is provided between slabs, the mortar in the joints shall be raked out and pointed (type of joint as specified by PM or drawings) with cement slurry mixed with colouring pigment (the colour of the pigment and its proportion to be mixed with the cement as specified) to match the shade of the granite. The curing shall be for a minimum period of 7 days after laying and pointing. 

~ 

GRANITE / MARBLE LAYING IN STAIRCASE TREAS\DS, LANDING AND RISERS

The laying of granite / Marble in Staircase treads, landing and risers shall be similar to the laying of granite flooring as above, except the following: 

· The slabs for s/c tread shall be a single piece without joints and the exposed edges shall be treated as shown in the drawings. 

· Anti skid protection (groove cutting) shall be provided for each tread and landing as per detail drawing. 

· The treads and landings shall be projected out to a minimum 20mm from the top face of the riser or as detailed. 

· The exposed edge of granite / marble shall be machine polished either at site or at factory. 

GRANITE SKIRTING

The pre-polished granite shall confirm to the specification or requirement as that of Granite used in Flooring / staircase. The thickness of the Granite used shall be of approved thickness and it is fixed over a backing coat of cement mortar of 1:4 of 12mm thick with a cement paste on the back of the granite tile. 

The granite shall be fixed with proper adhesive (Araldite or approved equivalent) if directed or detailed in the drawing to minimize the curing period to set. 

The height of the skirting shall be 100mm or as specified. The top edge of skirting shall be treated as shown in the detail drawing. 

The joints of the granite strips used in skirting are to be minimum in number and it shall be straight flush joint. The paste oozing out shall be wiped in a cloth and washed with water. The curing is to be done for a minimum period of 7days. 

CARPENTRY / JOINERY
Scope of work includes materials such as wood, Labour for joinery of wooden frame and shutter, fixing of the frame and shutter, fixing of laminates or veneer, fittings and fixtures and such other related carpentry works. 

MATERIALS.

Wood for furniture shall be of approved, seasoned and I class Soft Maple wood unless otherwise specified. It shall be fairly uniform in colour and texture. It shall be free from blemishes, hollow pockets and knots, spinals or twisted grain, warp and any kind of decay or insect attack, cupcakes, door holes, splits, cracks, pinholes, wormholes etc. 

Wood shall be kiln seasoned before being planed to the required sizes, in accordance with IS 401​1982. 

Samples of seasoned wood and commercial boards / plywood’s shall be submitted to PM for approval, before placing the order. The contractor shall get the wood and Commercial Board / Plywood sample tested in an approved laboratory. If desired by the PM, the Contractor shall submit all information such as manufacturers/brand name, test certificate etc.

The contractor shall submit test certificate in support of the kiln seasoning including ASCII treatment for the entire quantity of timber required for the work from the factory where seasoning has been done.

Commercial Flush shutters of thickness 19 mm / 32 mm / 40 mm and of size as specified in drawings shall be solid core type with block board core and shall conform to IS 2202 1983 – Part I (specification for wooden flush door shutters solid core type) IS 1003 part I and 2, IS 3097. Flush door shutters shall be free from twist or warp in plane, and the four edges of the shutter shall be square. Both faces of shutter shall be sand papered to a smooth and even texture. Tolerance on nomini31 thickness shall be: ± 0.8 mm. Thickness of shutter shall be uniform throughout with the variation not exceeding ~ 0.8 mm when measured at any point.

All commercial shutters shall be internally lipped using Maple wood, pressed and ready from the factory directly. In the case of double leaved shutters, rebating shall be as indicated in drawings where separate lipping is provided; the depth of lipping at the meeting of styles shall not be less than 35 mm.

Shutters shall not be damaged during transportation, storage and fixing. Damaged shutters shall be rejected and shall be replaced with new shutter as directed by the PM whose decisions will be final and binding in this regard. From the time the shutters are procured to the time they are taken for fixing in position, the shutters shall be stored in a proper manner with adequate supports so as to avoid damages to any part, particularly the edges.

The Flush shutter to be finished with laminate or veneer, whose samples shall be submitted along with manufacturer’s brand name, test certificate etc to the PM for approval before placing the order. The laminate/veneer sheet is to be protected with proper paper / polythene until it is ready for use.

WORKMANSHIP

Timber sections for frames shall be planed and smoothened to accuracy on all sides to the full dimension, rebated, rounded, chamfered or moulded as shown in drawings or as directed by PM without patching or plugging of any kind before they are framed and jointed. A tolerance of ~ 3mm in thickness and ~ 5 mm in width as per IS 1003 (Part 1) shall be allowed in the finished cross sectional dimensions. 

The joints shall be of mortise and tendon or tongue & groove type simple, neat and strong. Joints shall fit in fully and accurately without wedging or filling. The joints shall be glued, framed, put together and pinned with hardwood or pins not less than 10 mm dia; sash bars if any shall have metered· joint with styles. Putty where used shall confirm to IS 419-1967 and shall be a homogeneous paste and shall be free of dust, grit and other visible impurities. 

After the frames are put together, they shall be pressed in position by means of a press. The contact surfaces of tendon and mortise joints shall be treated (before putting together) with bulk type synthetic resin adhesive of a make approved by the PM. Rails, which are more than 180 mm in width, shall have 2 tenens. Styles and shutters shall be made out of a single piece and shall have a 12 mm groove to receive panels. 

Before the frames are fixed in position, these shall be inspected and passed by the PM. The frame shall be placed in proper position, secured to walls or columns as the case may be, with bimetallic fasteners, iron hold fasts etc. as shown in drawings and directed by the PM. In case of doorframes with sills are provided, these sills shall be embedded  / sunk in the floor for full thickness of the floor. The doorframes without sills, while being placed in position, shall be suitably strutted and wedged in order to prevent warping during construction. The frame shall be protected for damage during construction.

Where glazed openings are indicated, the size, thickness and type of glazing shall be provided as in the drawings and shall be lipped internally with Soft maple wood. Shutters shall have provision for mortise locks where so indicated on drawings or as directed by the PM.

Shutters shall be checked after fixing for proper location, alignment and swinging. After fixing all the fittings the shutters shall be tried again for proper closure, handling and easy movement etc., and any defects noticed should be immediately rectified as directed.

PRE LAMINATION / VENEERING TREATMENT

Before Lamination / Veneering the Commercial Flush board with Laminate/ Veneer sheet, the surface to be laminated / veneered should be thoroughly cleaned, all cracks and nails holes filled as directed. The laminate sheet shall be fixed using approved quality adhesive (Fevicol SH) recommended by the manufacturer and applied strictly in accordance to their instruction/specifications. The adhesive shall be applied in a thin layer and while still tacky, it shall be spread evenly with steel in both directions to assume full contact with the adhesive. A constant and even pressure is applied for not less than 24 hours to ensure good bonding of the sheet to the board. The laminate / veneer surface shall be cleaned as recommended by the manufacturer of all stains I adhesive marks etc.
SURFACE TREATMENT

All Wooden and Veneered surface shall be water cut melamine finished after it has been approved and passed by the PM. All portions of timber built into masonry or abutting a concrete portion of the building or buried in ground shall be coated with boiling coal tar or other type of approved wood preservative or primer before fixing them in position.
FITTINGS & FIXTURES:

All fittings & fixtures storage and workmanship shall be indicated in the schedule shown in the detail drawings. The samples along with manufacturers/brand name, test certificates etc… shall be submitted to the PM for Approval before placing order.
FULL HEIGHT GYPBOARD PARTITION

Full height Gypboard partitions to be fabricated using 25mm x 50mm aluminum section framework @ 600 c/c both ways with horizontal noggings at floor and soffit, on both side skinning with 12.5mm thick half an hour fire rated gypsum board with tapered edge, in line and level screw fixed to either side of aluminum section with 25mm long dry wall screws 300mm c/c with joints staggered to avoid through joints finished so to have flush look with jointing compound paper tape and two coats of primer suitable for Gyp board as per recommended practices. Glass wool insulation of 45mm thick inside the partition filled with Kim co / Rockwool insulation as per dwg. All electrical / network, switch boxes, niches to be boxed or supported with adequate plywood/aluminum frame. & 12mm aluminum channel to be provided at intersection of two materials. 


FULL HEIGHT PARTLY – GLAZED PARTITION:

Same as in full height partition but partly glazed partition with (10mm thk toughened clear glass) above 2100 mm from floor till 3000mm ht. & With Gypsum partition below as per Gypsum partition specifications etc., complete as directed with infill of Kim co or Rockwool insulation and also 12 mm aluminum channel to be provided at intersection of two materials. 

PARTITION ABOVE FALSE CEILING: 

Partition above false ceiling should be formed out of 25mm X 50mm X 1.2mm thick Aluminum frame work at 600mm x 600mm c/c both ways. Frame to be fixed to ceiling. All internal frame members to be sheet metal screw fixed. The partition to be clad on one side with 12.5mm thick tapered edge half an hour fire rated gypsum board. Provide required cutout for Return Air passage etc. The joints between the gypsum board to be sealed & finished as per manufacturer's specification. 

FULLY GLAZED PARTITION:

Full height glazed partition to be fabricated out of 12mm thick clear glass fixed on to the floor & ceiling using 25mm X 25mm X 3mm thk. “C” channel. Glass is fixed at the floor level & ceiling level using approved silicon sealant. Partition is anchored to partition above false ceiling (Specs same as 2.2.5). The glass edges of the glass to be polished & gap between glass panels to be minimum 3mm wide sealed using clear silicon sealant of approved make. 

STAINLESS STEEL WORKS:

All stainless steel sheets used should be conforming to BE 304 

The stainless steel pipes shall be procured from approved manufacture and of approved grade. The quality of stainless steel sheet and pipe shall be approved by PM before proceeding with execution of any item of work the surface finish of the entire component used in executing the item should be brushed finished 

HAND RAIL:

The pipe used for handrail shall be of 16 gauges thick. All joints to be done with TIG (tungsten inert Gas) welding only. The welded links are to be ground and organ buffed to get the original finish of the surface of the material welded. The joints or junctions where two pieces are to be joined/welded should be precisely cut and welded. The fixing details of the handrail shall be as specified in the drawing or instructed by PM / Architect. 

PAINTING

CEMENT PRIMER:

The surface shall be thoroughly cleaned of suet etc., and be allowed to dry for at least 48 hours. It shall than be rubbed thoroughly with sand paper to give a smooth and even surface. Any unevenness shall be made good by applying putty, made of plaster of Paris mixed with water on the entire surface including filling up the undulation and then sand paper the same after it is dry. 

The cement primer shall preferably be applied by brushing and not by spraying. Horizontal strokes shall be given first, and vertical strokes shall be applied immediately afterwards. The entire operation shall constitute one coat. The surface shall be finished as smooth as possible leaving no brush marks. 

SOFT SHEEN ENAMEL PAINT – LUSTER FINISH / ARYLIC EMULSION PAINT

Soft sheen enamel paint (Luster finish) / Acrylic emulsion paint of approved brand and manufacture shall be used. The primer where used as on new work shall be oil-based primer. These shall be of the same manufacture as the approved paint or as approved by PM. Only sufficient quantity of paint required for days work shall be prepared. 

The paint and primer shall be brought by the Contractor in sealed tins in sufficient quantities and from one single batch/consignment, and the same shall be kept in the joint custody of the Contractor and the PM. The empty tins shall not be removed from the site of work till this item of work has been completed and passed by the PM. 

Preparation of the Surface: the scaffolding used for painting should be erected taking care not to rest on the walls so as to avoid any damage to the wall surface. For new work the surface shall be thoroughly cleaned of dust, old white or colour washes by washing and scrubbing. The surface shall then be allowed to dry for at least 48 hours. It shall then be sand papered to give a smooth and even surface. Any unevenness shall be made good by applying putty (made of ingredients plaster of Paris, chalk powder, primer, paint etc., mixed as specified by the paint manufacturer) on the entire: surface including filling up the undulation and then sand papering the same after it is dry. 

One coat of primer and two coats of luster paint are to be applied. The application is done using good quality approved make brush. On the final application, roller is used to get a better and acceptable finish (the roller application is done on smooth wall surface only). At places where required, the application of paints is done on granular finished surface, in which case no application of putty and sand papering is required. The work is to be carried out under direct Guinness and instructions from the manufacturers whose expert advice and supervision are to be made available in order to achieve the high-grade finish. The painters employed for this work must be capable of producing the highest standard of workmanship required. If the finish is of doubtful nature, the contractor shall have to rectify the entire areas at his own cost, to the satisfaction of the PM.

Note: Contractor shall protect the entire furniture provided by him or other agencies before starting the painting / punning work and shall be held responsible for any stains or damage including aluminium windows, AC grills, Diffusers, grid ceiling, Modular furniture.

TEXTURED PAINTING:

All textured paint to confirm to specific IS. The paints of specific make/manufacture that are mentioned in the specifications are to be used. 

The textured paints may be of exterior / interior grades as specified. 

The surface is prepared free of dust / dirt / grease and other foreign matters. The scaffolding is to be done as for the other type of painting. 

Texture finish painting is a wall coating available in different readily available textures finishes and colours and is a substitute to conventional wall finishes. These paints can be texture recessed raised, granular smooth etc. dinettes. 

As far as possible only ready mixed colour / shades is used directly unless until a shade difference is required, which is achieved using stainer of approved make and colour, mixed in approved proportion. 

The thickness of granule used in the textured paint is 2.5mm. This finish can be applied on any surface of finish like cement plaster, good surface of brick masonry and also already painted surface. The textured finish acts as better fire retardant coat against the conventional type of painting. This paint's is also anti-fungus and anti-corrosive. 

The finish needs a minimum of 3 hours to dry and shall be ready to use after 24 hours. 

The application is either done with brush or spray gun or trowel (also manual pressure on the trowel) or roller depending on the required finish and as per the manufacturers' instruction. 

The applicator should be skilled and specially trained by the manufacturer of the particular texture paint to do such work. 

Basically the application process shall be as follows: 

· Application of base coat either one or two depending on the required finish of the selected texture. The colour of the base coat is to be approved by the PM / Architect. 

· Application of ready mixed paint is by any of the already mentioned type i.e. by brush spay trowel, roller etc. depending on the type of finished required. 

The contractor shall take care to clean thoroughly all stains of paint on glasses, walls, fittings, fixtures etc. by applying turpentine on thinner. 

MELAMINE POLISHING:

Melamine finishing shall be done on wooden / veneer surfaces. The finish shall be Matt/ glossy/semi glossy type which shall be as approved by the PM. 

All uneven and rough surfaces shall be rubbed-using sandpaper of the required grades till a smooth surface is obtained and the surface shall then be well dusted. The nail marks/ pores in the wood shall be filled with wood filler and the surface shall be rubbed with the required grade of sandpaper so that the entire surface is uniformly smooth. 

After preparing the surface as specified above, application of a sealer coat shall be done. Wherever necessary the pores in the wood shall be again filled with wood filler and the surface shall be rubbed with the required grade of sandpaper in the presence of water so that the entire surface is uniformly smooth. Staining as required shall be done manually, application of second coat of sealers shall be done. Finally 3 coats of Melamine spraying, strictly under dust free condition, shall be done, after which the surface is buffed with Wax & Oil. 

The Specialists / Manufacture's specification/instruction in using the product shall strictly be adhered to, in preference to the specification in the contract. It is preferable to carry out the process under warm weather condition. The spray gun before / after using shall be cleared thoroughly using thinner or spirit.
FALSE CEILING

SUSPENDED FALSE CEILING: GYPSUM

False ceiling should be carried out with lightweight boards made of basic materials like aerated gypsum reinforced with glass fiber treated with special additives, and both sides are covered with a special off white/white colour paper. The size, thickness and texture of the board or tile available are as per the manufacturer details. 

The Gypsum boards or tiles should confirm to BS: 476: PART 7:1971 physical properties of Gypsum board should confirm to:

Density:


Nominal in a dry state = 807.10 Kg/m

Fire resistance:

12.5 mm = 0.5 mm hour resistance. Material classified  class 1 surface  soared 



of flame test as per BS: 476 : PART 7:1971

Sound insulation:

The average rate of noise reduction between frequencies of 100 Hz is 45 dB to 56 


dB for a partition 80 mm thickness with a 12.5 mm board on each face 45 dB for a 


partition as above but including 50 mm of mineral wool in the cavity.

Gypsum board is basically available with the properties as below.

	Thickness 
	Width in 
	Weight 
	Thermal 
	Thermal 

	
	
	
	
	resistance 

	In mm 
	mm 
	in kg/Mt 
	conductivity 
	in m KlW 

	12.5 
	619 & 1220 
	10.5 
	0.24 
	0.05 

	15.0 
	610 & 1220 
	13.0 
	0.24 
	0.06 



Gypsum board should be flexible enough to resist any crack due to limited movement of a building. 

False ceiling should present unbroken surface and desirable continuity may be varied by treatment of joints with wood or plastic or PVC or metal or any other such material strips. 

Off loading of gypsum is only advisable on small boards and may be carried by one man but generally two men will be required and this will reduce the risk of damage to the boards. Boards are manually carried on edge. 

When storing boards, care should be taken to keep in a dried and covered place sheltered from rain and avoid dampness from floors. They should be supported on wooden battens, which should not be more than 45 cm apart on a flat surface. 

Deformed gypsum boards (because of poor handling or storage) are difficult to erect. It is suggested that the board is stacked in different piles according to size and thickness so that the work can be carried out more effectively in terms of time. Care should be taken not to stack the piles too high. Gyp board should never be stacked on edge for a long period as this can cause deformation. 

Gypboard can easily be either longitudinally or transversally cut. A cut should be made in the face side of the board by means of a retable knife. A line may be ruled prior to cutting or with practice. The rule may be drawn down the board at the required distance from the edge whilst the board is scored with a knife at the edge of the rule. The board should then be pressed with both hands and gypsum score will break in the line with the cut in the side face. The board should then be turned over and the side paper be cut with the knife. 

Gypboard may be cut using a normal saw. A fret saw or an electric tool may also be used for the cutting of curves. When large quantities of board are to be cut, the use of a circular handsaw is advisable. 

Electrical or manual carpenter's tools as those employed in the cutting of wood may be used for making cutouts in gypsum board. A drill should be used when making holes for electrical installation thermostat boxes, etc. For holes of diameter less than 50mm high speed steel drill should be used. 

The edge of the board can be pared off using planes. A file may also be used to level off any irregularities, which may remain after cutting. The edge of both paper, faces may be trimmed by using fine sand paper 

Gypboard may also be used to line curved areas. The curvature radius shall be 60cm for 9.5mm board and 100cms for 12.5-mm board. 30 to 60 minutes before application to curved areas, both sides of the gyp board should be sprayed with water until they are damp. The board should then be bent very slowly and carefully, and fixed in to position. Before joining the boards should be completely dry 

The ceiling is suspended using systems made of G.I. The suspended ceiling may be heavy duty (load bearing ceiling on which a person can walk over a ladder for maintenance purpose) or light duty (non loading bearing). Both these systems may be either with a layer of vinyl film laminated. 

On completion of the erection of the grid work, care should be taken to see to it that the bottom face of the grid work is on true water level or to the required gradient or profile 

Where light fittings, access panels and similar components are incorporated as a part of the design requirement, consideration must be given to maintaining the integrity of the ceiling. The fire and sound insulation are also important factors. 

The joining treatment of two-gyp board is described below.

               TAPERED EDGE JOINT
A continuous thin band of jointing compound of gyp board joining compound is applied to the trough of the tapered edge point. The joint tape is then pressed in to the band of jointing compound, firmly embedded and free from tapered air bubbles with sufficient jointing materials under the tape to ensure good adhesion 
Immediately after the tape has been fixed, a new layer of material is applied over it, flush with the surface of the board. Before the material begins to stiffen the jointing sponge should be moistened and surplus material wiped from the edge of the joint without disturbing the main joint filling. The sponge should be rinsed occasionally to prevent material setting in it. Once the material is dried any slight depression in the surface can be filled again and projection cut back 

When the material has dried about 1 hour after application, a thin layer of jointing compound is applied in a broad brand 200mm wide. The edges of this band should be immediately feathered with a slight damp joining sponge. When the joint material has completely dried another application is made 250mm wide and feathered out as before. It is important that the first coat of finish is allowed to dry before the final coat is applied.

CUT EDGES:
























A finish similar to that achieved with the tapered edge board can be obtained with cut edge boards or acute edges and tapered edge board. The cut edge should slightly sanded to remove any burrs 

The edge of the adjoining boards is cut to make v-groove with a sharp knife. The joints are flush with the face of the board, using gyp board jointing compound. The gap must be filled solidly back to the framework. The coat is applied and joint tape bedded in it as tightly as possible, leaving sufficient material behind the tape to ensure good adhesion and to eliminate air bubble. Gyp board jointing compound is then applied with a sponge. When this has dried a second application of 200mm wide is applied and the edges are feathered out. Wider feathered out of the joint will overcome slight misalignment of cut ends and edge joints. 

NAIL AND SCREW SPORRINGS:

This process fills any indentation left by the hammer or screw head when fixing the board. The layer of jointing compound which is struck off level with the face of the board and allow drying. The operation is completed with one more similar application. 

SURFACE TREATMENT:

When the jointing is dry, one coat of gyp board dry wall topcoat is applied to the entire surface using the medium pile roller, and brush or entirely by brush. 

All the accessories like the ceiling section, perimeter channels, intermediate channels. clips, cleats jointing compound jointing tape screws nails etc used in erecting the false ,ceiling should be recommended by the manufacturer and under the instruction or guidance of the manufacturer 

The type of board -size, texture, edge finish or the type tiles used should be strictly as per the approved selection of the PM / Architect. 

GYPSUM BOARD WALL LINING


This lining is done either on to masonry insulation natural or any other material using specified thickness Gypsum board manufactured by approved agency. Specified GI section of appropriate gauge is screwed on to the surface to be lined with gypsum board and subsequently board is dry screwed on to the sections. The joining of boards, treating of joints and surface finishing is similar to that the false ceiling.

GRID CEILING

Site Conditions
It is the contractor's responsibility to ensure the materials delivered to the installation site are safeguarded from the time of his purchase until he hands over the finished ceiling.

Site Storage

Desirability of flat, dry, clean and safe storage facilities. As a carton may be handled as many as 8 or 10 times from manufacturer to installation, any rough handling, rolling of cartons or dropping cartons on their edges may cause the product to deteriorate.

Installation

It is recommended that all ceiling products are cut with a sharp knife. If mechanically operated tools are used these tools should be operated with local exhaust ventilation. Unnecessary breakage of the product must be avoided.

                          Guidelines and statutory payments for submitting tenders 

 as per existing instructions.

Daily wage rate  is exclusive of Weekly off, Holiday and Leave Wage.

Wage  rates as on date

 S W     : Rs. 121.60  per day  Inclusive of weekly off.

S S W  :  Rs. 137.75    “                         "

S  W    :  Rs. 155.50    “                         "      

i) Leaves and Holidays

+   11  days  paid  holidays  /  per  year

+   18   paid  leaves / per  year.

ii)   P F and  E S I  contributions  wages

PF @  13.61 %  and  ESI  @  4.75  %  of  basic  wages should be contributed by the contractor on above daily wages.

CONTRACTOR                                                          ISSUING/ACCEPTING AUTHORITY

                                                    P R I C E    B I D

             SCHEDULE   ‘A’

                                                                             

 Tender Notice No. HY/FCD/OT-02/07-08         

                                                                            

  Dated: 04.05.07
                                                                             

  Item No. 1
Name of work: Development works in and around of Admn. Building –Interiors at main entrance of
                                lobby – Civil,  Interiors, Electrification, Lighting, audio visuals, acces control system 
                                and air conditioning. etc.                                                   
	 Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	1a
	DISMANTLING WORKS

Dismantling of Miscellaneous items, clearing them away from a site and storing them in the location indicated by Site in-charge upto an initial lead of 30M & lift of 3M

Removing Existing Door and Window frames on the Front and Rear side walls
	6.00
	Each
	
	
	

	b
	Dismantling of Brick walls below entrance Windows
	75.00
	One C ft
	
	
	

	c
	Dismantling of Staircase railing
	125.00
	One R Ft.
	
	
	

	d
	Removing Staircase Flooring and Skirtings
	398.00
	OneS ft
	
	
	

	e
	Entrance Wall and Porch Marble claddings
	675.00
	Each
	
	
	

	f
	Removing Entrance Steps Flooring
	75.00
	OneS ft
	
	
	

	g
	Dismantling of Landscaped area in Porch
	250.00
	One S ft
	
	
	

	h
	Removing Portico Flooring
	1830.00
	One S ft
	
	
	

	i
	Removing Electrical fittings, Switches etc
	100.00
	Each
	
	
	

	j
	Scrapping, Cleaning walls and any other surfaces to take new paint
	5500.00
	One S ft
	
	
	

	Contractors                                                                                                       Issuing / Accepting Authority

Cont..

	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	2a
	CIVIL WORKS

Brickmasonry for Walls in 1st class bricks in CM 1:6  using 1st class Wire cut bricks laid in staggered coursed with Frog faced upwards, and saturated with water; Cost including all materials, Conveyance, labour, curing, scaffolding complete.
	868.00
	One C ft
	
	
	

	b
	Plastering to newly constructed walls in CM 1:4, sponge finished to existing Plaster level with sufficient provision to take Luppam coat. Rate including cost of all materials, Labour, Conveyance, Curing, Scaffolding complete.
	992.00
	OneS ft
	
	
	

	c
	Screed concrete for Porch flooring below dismantled portion in 1:4:8 Screed mortar finished to a rough finish to take new flooring. Rate including cost of all materials, Labour, Conveyance, Curing, Scaffolding complete.
	77.00
	OneC Ft.
	
	
	

	1a
	INTERIOR WORKS – FLOORINGS

Supply and fixing of  2'x2' Vitrified Tiles of Premium Quality, and Specified Make for Internal Floorings, to be laid over the existing  stone floor with  Approved make Tile Adhesive, laid to a neat and Uniform level with 3mm Groove between Tiles by providing Spacers and filling the Joints with matching Shade Epoxy tile Grout. Rate including Cost of all materials, Conveyance, Labour and cleaning, Covering the finished flooring with Plastic sheets and 8mm th. POP layer and subsequent Cleaning and Acid wash after completion of all works. Consider Basic rate of Tile Rs. 85 to 90/- per SFT (Refer Flooring Plan Nos. 6, 9 and 10).
MAKE: NITCO/ASIAN/RAK  
	2250.00
	One S ft
	
	
	

	b
	4" Skirting as above
	450.00
	One S ft
	
	
	

	C
	Supply and fixing of Flooring in Jet Black Polished Granite, 18 mm thick including cutting, fixing and edge polishing. Rate includes cost of all materials, labour, conveyance complete.
	 
	 
	
	
	

	c i 
	Staircase Treads and Risers
	280.00
	OneR ft
	
	
	

	c ii
	Mid Landing
	98.00
	One S ft
	
	
	

	c iii
	Flooring Borders in Lobbies
	64.00
	OneS ft
	
	
	

	c iv
	Window Sills
	18.00
	One S ft
	
	
	

	Contractors                                                                                                       Issuing / Accepting Authority

Cont..

	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	 c v
	Entrance Steps & Risers
	168.00
	One S ft
	
	
	

	c vi
	Entrance Platform

(Refer Flooring Plan Nos. 6, 8 and 7)
	72.00
	OneS ft
	
	
	

	d
	Supply & fixing of Multicolor Flamed/Polished Granite 18 mm thick for flooring,  in Porch laid to specified Design including cutting, champering, rounding, polishing etc. complete.
	2100.00
	OneS ft
	
	
	

	2a
	WALL CLADDINGS IN STONE

Supply & fixing of 12 mm thick vitrified stone as per design for entrance Wall Cladding Stone as per design. Consider Basice Rate of Stone Rs. 350 to 450/- per SFT (Refer Elevation Drawing, Plan No. 2 for Detail).
	675.00
	OneS ft
	
	
	

	b
	Supply & fixing of 2 coloured Italian Marble, 18 mm thick, First Quality in selected design for Lift Wall Cladding including cutting, fixing and edge polishing, rounding etc. complete. (Refer Plan No. 5, Elevation 7)
	120.00
	OneS ft
	
	
	

	c
	Aluminium Composite panelling to Porch: Supply & fixing of Aluminium Composite Panel (ACP), 3 mm thick in required colours for interiors/exteriors consisting of two layers of aluminium skins of 0.25 mm thick sandwitching a thermo plastic core in continuous lamination process with PVDF coating for interior/exterior grades ensuring long colour and no fungal attacks. Base frame work with aluminium sections shall be fixed over the brick work and the above aluminium panels shall be fixed to the frame work as cladding.
It includes cost of labour, materials, accessories, adhesives, scaffolding, wastages, transport, taxes, fixing into a neat finish in aesthetic point of view, without any undulations in facias.
MAKE: ALCOPLA/DURABUILD/URO/ALEX
Columns (Refer Elevation Drawing, Plan No. 1 for detail)
	1000.00
	OneS ft
	
	
	

	d
	Supply & fixing of Jet Black polished Granite for Cladding to corner Squre Columns including cutting, fixing and edge polishing etc.complete.
	312.00
	OneS ft
	
	
	

	Contractors                                                                                                       Issuing / Accepting Authority

Cont..

	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	3a
	RAILINGS, DOORS & GLASS WORKS

Supply & fixing of Staircase Railings in SS Posts , SS Hand rail and 10mm Toughened Glass as per drawings (Refer Drawings, Plan No.4,Elevation. 6) 2'9" Height, STEEL: SS-A304
Toughend Glass: AIS
	34.00
	OneR ft
	
	
	

	b
	Supply & fixing of 5'0" Wide Double Door on the Rearside with 75x200mm thick BT wood frame and Solid core flush Door finished with Black Wenge Veneer and Melamine Polished and provided with 350x600mm 10mm Glass inserts, cost including necessary Hardware Floor Springs & Locks complete. (Refer Drawing Plan No. 1)MAKE: Flush Door - KUTTY
VENEER: ARCHID/TRUWOOD/JACKSON 
	50.00
	OneS ft
	
	
	

	c
	Front Entrance Fixed Glass Supply & fixing of fixed glass windows at front entrance with 10mm Toughened Glass fixed with Aluminium 'U' Channels, 1.50 mm thick and glasses shall be sealed with Silicone Sealant. (Refer drawings, Plan No. 3 and Elevation 3)
MAKE: Toughend Glass: AIS
Aluminum Section: JINDAL
	84.00
	OneS ft
	
	
	

	4
	DOUBLE LEAVED FULLY GLAZED PATCH FITTING DOOR

Supply, Fabricating & fixing DOUBLE swing fully glazed door consisting of
Number of Leaves : 2.Panel : 12mm thick toughened clear glass fixed on approved make floor spring and approved patch fittings
Hardware :Handle : Brushed SS 'D' type 450mm
Floor Spring : 2 Nos, Door Stopper  : SS Floor Mounted.Door  Lock : Patch Lock 1 Nos
Make : Toughend Glass-AIS,Patch fittings : Dorma/Hafele (Refer drawings, Plan No. 3 and Elevation 2)
	42.00
	One S ft
	
	
	

	5
	Supply, Providing & fixing of Aluminium framework using 50 mm x 50 mm x 1.2 mm thick extruded aluminium box sections placed at 600 mm c/c horizontally and vertically and forming a grid size of 600 mm x 600 mm. The framework is to be adequately anchored in RCC slab for a firm support. Then supply and fixing of  12mm thick MDF board on both sides of aluminium frame work upto the false ceiling level. Then supply, providing and fixing of 12 mm toughened glass as a glazed partitions and doors with Steam Beize framework of 100 x 20 mm making a 4 mm groove between the joints for partitions and door hardwares like floor spring, patch fittings, bottom locks, 'D' handles with specified sizes and design of etching on partitions and doors complete in all respects.
Make : Toughend Glass-AIS
Patch fittings : Dorma/Hafele
	243.00
	One S ft
	
	
	

	Contractors                                                                                                       Issuing / Accepting Authority

Cont..

	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	6
	Supply & fixing of automatic sliding main entrance door operation (two leaves) full set with clear toughened glass complete with installation, testing and commissioning as per manufacturer's specifications. MAKE: Dorma / Hafele (Refer drawings, Plan No. 3 and Elevation 3)
	52.00
	OneS ft
	
	
	

	7a
	LAMINATE PANELING

Supply, Fabrication and fixing of  extruded aluminium box section framework for wall / column paneling to consist  of required size at spacing not exceeding 600mm both ways (horizontal and vertical) . Frame work formed using 50mm x 25mm x 1.2mm thick extruded aluminium 'L'.Paneling to the framework to be cladded with 12mm thick ply from all sides and finished in approved laminate necessary cutouts  to be given for LAN & ELECTRIC points.MAKE: PLYWOODS -ARCHID/ SHARON /CENTURY
LAMINATE: BLOOM/DELTA/GREENLAM
(Refer drawings, Plan No. 4 and Elevation 4)
	220.00
	OneS ft
	
	
	

	b
	Supply, Fabrication and fixing of extruded aluminium box section framework for pillars of required size at spacing not exceeding 600mm both ways (horizontal and vertical). Frame work formed using 50mm x 25mm x 1.2mm thick extruded aluminium 'L'. The above framework shall be cladded with Stainless steel sheet panelling, 0.8 mm thick.
Satin finish: SS 304
(Refer drawings, Plan No. 4 and Elevation 4)
	121.00
	OneS ft
	
	
	

	c
	Supply, Fabrication and fixing of extruded aluminium box section framework for staircase wallpanelling of required size at spacing not exceeding 600mm both ways (horizontal and vertical). Frame work formed using 50mm x 25mm x 1.2mm thick extruded aluminium 'L'. The above framework shall be cladded with Stainless steel sheet panelling, 0.8 mm thick.
Satin finish: SS 304
(Refer drawings, Plan No. 4 and Elevation 4)
	420.00
	OneS ft
	
	
	

	Contractors                                                                                                       Issuing / Accepting Authority

Cont..

	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	8a
	VENEER PANELING 

Supply, Fabricating and fixing extruded aluminium box section framework for wall / column paneling to consist of required size at spacing not exceeding 600mm both ways (horizontal and vertical). Frame work formed using 50mm x 25mm x 1.2mm thick extruded aluminium 'L'. Paneling to the framework to be cladded with 8mm thick ply and cladded with approved veneer (BEM (Birds Eye Maple)-DYED) and finished in melamine polish, Paneling to have 3mm grooves at regular intervals with 3mm thick Stainless Steel inlay.
MAKE: PLYWOOD -  RCHID / SHARON/ CENTURY.VENEER: ARCHID/ TRUWOOD/ JACKSONS-MELAMINE: ASIAN, ICI, MRF.
	115.00
	OneS ft
	
	
	

	b
	Supply & fixing Double skin Wall partition 4" thick with medium teak framework of wood scantlings of size 75 mm x 40 mm as verticals and horizontals at an intervel of 450 mm c/c shall be made. The above framework shall be cladded with 12mm thick BWR plywood finished with approved veneer (BEM (Birds Eye Maple)-DYED) and finishing with Melamine Polish.
MAKE: PLYWOOD - ARCHID/SHARON/CENTURY
VENEER: ARCHID/TRUWOOD/JACKSONS
MELAMINE: ASIAN, ICI, MRF.
	216.00
	OneS ft
	
	
	

	c
	Supply & fixing of Veneer panelling for Staircase Dado including base frame shall be made with 18 mm thick BWR plywood of size 75 mm x 18 mm as verticals and horizontals at an interval of 450 mm c/c. Over the frame work, 9 mm thick BWR plywood shall be fixed for fixing of veneer panelling. Veneer panelling and shall be finished with malamine polish.
MAKE OF ENEER: ARCHID/ TRUWOOD / JACKSONS
	174.00
	OneS ft
	
	
	

	Contractors                                                                                                       Issuing / Accepting Authority

Cont..

	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	9a
	GYPSUM FALSE CEILING Supply, Providing and fixing suspended false ceiling consisting of 12.5mm thick Gypsum plaster board suspended on G1 frame work with staggered joints. G1 framework to consist of G1 perimeter channels 0.55mm thick 20mm x 30mm along perimeter of false ceiling of ceiling.Screw fixed to wall / partition with nylon sleeves and screws @ 600mm C/C. Suspending G 1 intermediate channels of size 0.9mm thick 45mm x 15mm from the soffit at max dist 1220mm c/c with ceiling angle 0.55mm thick 25mm x 10mm fixed to soffit using proprietary supplied G1 cleats and steel expansion fastners. Ceiling section 0.55mm thick web size 51.5mm and flanges 26mm each and 10.5mm lips are fixed to perpendicular to intermediate channel @457mm c/c using connecting clips. Boards are to be joined and finished so as to have a flush look which includes finishing the tapered and square edges of the gypsum board with joining compound paper tape and 2 coats of primer suitable for gypsum board. (As per the recommendations/practic.
MAKE: INDIA Gypsum / Boral Plaster

	3056.00
	OneS ft
	
	
	

	b
	Supply, fabrication and fixing Central Dome with Lighting Fins in POP. Approximate diameter of the dome is 11'.(Please refer deatiled drawing & sectional details of Plan No. 12)
	1.00
	 L S
	
	
	

	c
	Supply & fixing of Wood Ceiling in Portico with 4mm Veneer fixed on plywod panelling. Plywood panelling with 19 mm BWP grade plywood shall be fixed to the ceiling.
(Refer Drawing, Plan No. 2 and Elevation 1)
MAKE: PLYWOOD - CENTURY
VENEER: CENTURY - ELASTIC
	525.00
	Sft
	
	
	

	10
	PAINTING WORKS

SOFT SHEEN ENAMEL PAINT (LUSTER FINISH)

The surface of wall or ceiling to be painted shall be prepared to the satisfaction of the Interior Architects and shall be applied with 2 coats of primer, 2 coats of putty and touch-up putty if required to achieve a smooth finish. The surface shall be painted with 2 coats of Matt finish soft sheen enamel paint of approved make. The texture effect to be achived using rollers as approved by the architects. Rate shall include cost of all materials, labour, paints, scaffolding, thinner etc. complete.
MAKE: PUTTY – Altek / Birla Wall Care
PAINT: ICI/ASIAN/NIPPON
	 
	 
	
	
	

	Contractors                                                                                                       Issuing / Accepting Authority

Cont..

	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	a
	On Masonry Walls
	1650.00
	OneS ft
	
	
	

	b
	On False ceiling
	4500.00
	OneS ft
	
	
	

	11a
	SOFA (RECEPTION LOBBY)

Providing and supplying sofa made out of 75 x 32mm silver wood frame work, anti-terminate treated with intermediate braces, 50mm wide imported elastic straps @ 75mm c/c, springs with jute covers, 75mm thick rubber and 25mm thick superior U-foam, to take proper shape and curve and upholstered in leather complete (Cost of leather Rs. 600/- mt).
(Refer Drawing, Plan No. 4 and Elevation 4) for 3 seater sofa - Make: Godrej
	5.00
	1 set
	
	
	

	 11b
	 -do-  for 2 seater
	2.00
	1 set
	
	
	

	12a
	CENTRE TABLE - RECTANGULAR SHAPED
Dim : 900mm x 450mm x 450mm height
Providing fabricating & placing in position of centre table made out of 8mm thick clear toughened glass top supported over 'L' shaped 50mm thick ply boxed supports connected through 2 rows of 20mm dia SS pipes as detailed. The glass top shall have 25mm wide bevelling and seated over 4 nos. of vacuum rubbers. All the exposed faces of ply boxed support shall be finished with 4mm thick approved veneer, stained to approved colour and melamine polished. –Make: Godrej
	3.00
	Each
	
	
	

	b
	SIDE TABLE - SQUARE SHAPED
Dim : 450mm x 450mm x 450mm ht.
Providing fabricating & placing in position of centre table made out of  8 mm thick clear toughened glass top supported over 'L' shaped 50mm thick ply boxed supports connected through 2 rows of 20mm dia SS pipes as detailed. The glass top shall have 25mm wide beveling and seated over 4 nos. of vacuum rubbers. All the exposed faces of ply boxed support shall be finished with 4mm thick approved veneer, stained to approved colour and melamine polished. Make: Godrej
	9.00
	Each
	
	
	

	Contractors                                                                                                       Issuing / Accepting Authority

Cont..

	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	13a
	MISCELLANEOUS :

Supply and fixing of 3m Frosted film for Glass Panels as per design
	400.00
	OneS FT
	
	
	

	b
	SS Signages in brush finish steel as per design
	16.00
	Each
	
	
	

	14a
	ELECTRIFICATION & WIRING 

Supply & Fixing of Copper wiring, by making grooves in concrete, floors, walls wherever necessary, providing PVC conduits and drawing cables to new Switchboards at locations as per design make: Finolex/LAPP
1.5 sq.mm


	800.00
	One

RM
	
	
	

	 b)
	   2.5 sq.mm- Make-Finolex/LAPP
	500.00
	RM
	
	
	

	 c)
	   4.0 sq.mm Armoured cable MAKE: Finolex/LAPP
	200.00
	RM
	
	
	

	15a
	Supply & fixing of Modular Plate switches including MS Box, Back Plate, Cover plate including making cavity in walls, and fixing the above Switch boards in position. 

 16 A Switches
	30.00
	NOS
	
	
	

	 b)
	   5 A Plug Sockets
	30.00
	NOS
	
	
	

	 c)
	 16 A Plug Sockets
	10.00
	NOS
	
	
	

	d)
	  MDS Distribution board including 3P Main
	2.00
	 ONE SET
	
	
	

	
	Switch and necessary MCBs including connecting wires, commissioning and testing MAKE: ROMA/NORTH WEST

MCB's: MDS/ABB/ANCHOR/SIEMENS
	 
	PER 1 GANG
	
	
	

	16 a
	Supply & Installation of the following Lighting Fixtures- a) 2X36w Ceiling mounted 2'x2' Mirror Optic fixtures.
 Make:  WIPRO-WVP73236 NS C
	16.00
	Each
	
	
	

	b)
	- do -  2X18W Ceiling Mounted fixture.
Make: WIPRO GCP 10218
	41.00
	Each
	
	
	

	c)
	-do-  2X18W Ceiling Mounted fixture.
Make: WIPRO GCP 10118
	30.00
	Each
	
	
	

	Contractors                                                                                                       Issuing / Accepting Authority

Cont..

	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	17
	Supply & fixing of 2 Ton Cassette Type ceiling mounted Split Airconditioners - Daikin make with complete installation, testing and commissioning as per manufacturers guidelines and specifications'
	4.00
	Each
	
	
	

	18
	AUDIO VISUAL EQUIPMENT Supply, Installation, Testing and Commissioning of the Following Audio Visual Equipment TH- 65PHD8WK - PANASONIC TELEVISION-with PDA and Wireless- Television- with PDA and Wireless & LAN connectivity with Safety standards to meet with AS/NZS60065 & IEC 60065 with NTSC or PAL Playback

	2.00
	Each
	
	
	

	B
	Denon Integrated Amplifier 
	1.00
	Each
	
	
	

	C
	PSW12 Polk Audio sub US make.
	1.00
	Each
	
	
	

	D
	FXI 3 2 Way 3-Speaker surround speakers
	2.00
	Each
	
	
	

	E
	DRAGA Video Cable for VGA - Germany
	50.00
	RMT
	
	
	

	F
	Sommer Speaker Cable - 2.5 Sq.mm
	100.00
	RMT
	
	
	

	G
	Monster- RCI Cable US make
	1.00
	Each
	
	
	

	19
	Supply & fixing of Access Control Systems- Biometric Multizone Access Control including Installation and connectivity software for 4 DOORS(  Refer Enclosed Specifications)

MAKE: ZICOM
	 4.00 
	LS
	
	
	

	
	Penalty:  0.5% of the   gross  value  of  work  will  be   levied for every weeks delay  by  the  agency,  subject to maximum of 10 % value of the work.
	                                  TOTAL


	

	CONTRACTOR(S)                                                                                              ISSUING /ACCEPTING AUTHORITY


 Note:   1.  In case of difference between quoted rates of agency. In figures and words, higher rate will be taken 

                  for comparison and lowest rate will be  considered while awarding the work.

 2.   The contractor shall quote rates for all the items.   In case of any item missing in quoting the entire offer   

       will  be rejected.  Incomplete offer will be rejected.  

            3.   The rate quoted is for the finished item in all respects, inclusive of all applicable taxes & service tax.
            4.   The agencies are advised to familiarise with the nature of work by inspecting the site before quoting. 

            5.   Bills / material entry passes should be shown as proof for making payment to the agency. 

            6.   Agency shall visit the site before submitting the offer and any clarifications required, same will be  

                  clarified     by Factory Civil department.
            7. Concept design developed is available with Factory Civil department. Agency shall contact personally to  

                visit the department to view the concept design through VCD and a copy of CD will be given if required.
            8. All materials and workmanship to be used during execution of work shall be best quality and top class in  

                 aesthetic view.
            9 The total work will be monitored by our consultant architect as per the conceptional drawing, 
               specifications laid down in the schedule.
      10. The agency should affix his signature at the end of each page of the document with Rubber   Seal
CONTRACTOR(S)



ISSUING / ACCEPTING
AUTHORITY


Note:

1. The quantities are shown above are approximate and liable for variation. 

2. All BHEL General Conditions of the Contract shall be applicable.

3. Any statutory increase in the labour wages during the period of execution shall be borne by the agency.  The agency shall quote the rates considering the possible labour escalation also.

4. The agency should affix his signature at the end of each page of the document with Rubber Seal
5. The rates quoted shall be finished items of work including all lifts, leads and other incidental charges mentioned in the General Conditions  of the Contract, unless otherwise specified.

6. The department reserves the right to spilt and ward the work to more than one agency.

7. The contractor should follow all the safety precautions while executing the work.

8. The contractor or his authorised representative shall be always present at the work site.

9. The contractor shall submit the daily progress report to the Engineer-in-charge. 

10. The contractor should engage labours who should not be less than 18 (eighteen) years age.

11. All the bills of contractors will be cleared by Finance Department subject to production of “Clearance Certificate” by the contractors in respect of compliance of all statutory requirement, issued by I R section of Human Resource Department.

12. All the materials brought inside are to be  entered  at CISF gates and supplied to site by contractor for using in works.

SIGNATURE OF CONTRACTORS(S) 


ACCEPTING AUTHORITY.

BHARAT  HEAVY  ELECTRICALS  LIMITED
     RAMACHNADRAPURAM : : HYDERABAD – 32.

SCHEDULE : “B”

ISSUE OF STORES TO THE CONTRACTOR

    The following materials will be issued to the contractor unless otherwise specified in any term in the SCHEDULE ‘A’ by BHEL.

	Sl.

No.
	Particulars
	Issue Rate

Rs.
	Place of issue

	1

2
	Cement in Non Returnable 50 Kg bags.

Mild steel Rounds & Tor steel all Diameters.
	One Bag

One 

M T
	Rs.180/-

Rs.25,000/-
	At BHEL central stores at Ramachndrapuram or any other place specified within the pre4mises.

-do-


FREE ISSUES:    Oxygen gas, acetylene and raw structural steel at BHEL stores.

a) It will be the responsibility of the contractor to submit his demands for stores in 

      writing at least 7 days in advance of the actual requirements.

b) Issue of all stores in subject to the extent of their availability at the place of issue noted above.  The contractor should bring any of the materials shown above in case the BHEL desire so.  The contractor shall not be entitled to any claim or compensation for non-supply of the materials, for delay in the supply of stores under any circumstances.

c) The materials will be issued only during the working hours.  The contractors should have to transport them to site of work at his own cost as soon as there are issued to him.

d) Where cost of stores issued is recoverable from the contractors, recoveries will be made from the running bills for the gross quality issued and not for the net measured quantity of finished work.

e)  The contractor shall from time to time, render proper account of all materials issued to him by BHEL.  If he fails to do so, no further issues of the materials will be made to him and he shall be held responsible for any delay in the execution of the work which may occur on this account. 

f) Where doors, windows, pipes, fittings, specials, glass, paints or others items are issued free of cost to the contractor, the contractor will have to make good at his own cost any loss or damage to part or whole of the items issued to him as above. 




   Contd.….2

:: 2 ::

g) All surplus material in good    condition  whether  issued  free  of cost or on cost  recovery  basis and  which are not returned to the BHEL Central Stores and also quantities of materials consumed in excess of the actual requirements shall be charged for at punitive rates which will be 100% more than the issue rates of BHEL.  The decision of the Senior Engineer / Civil as to the extend to which the materials have been rendered surplus or have been consumed in excess of the actual requirements shall be final and binding on the contractor.

h) CEMENT
For the purpose of determining the actual requirement of cement, the theoretical consumption of cement as per Annexure “D”  of General Conditions of contract shall be considered by the Senior Engineer / Civil.

The contractor shall construct store shed for storing cement, at his own cost and required site will be shown by the engineer-in-charge.  Contractor shall store cement as directed by the Engineer-in-charge and shall maintain the record by entering day to day consumption and receipts.  The contractors shall dismantle the temporary shed as soon as completion of work.  Final bill will be forwarded subject to above conditions and certification by stores-in charge of factory civil department.

i) STEEL

Steel will be issued at lengths as stocked by the Bharat Heavy Electricals Limited.  The surplus steel is represented by the difference between the quantity received and the quantity required and utilised on the work with an allowance of 5% towards scrap.  The scrap will be the property of the contractor, The contractor   will be responsible for the removal from the site in time as directed by the Senior Engineer / Civil.  The cut pieces and surplus returned shall not be shorted than three meters in length.

SIGNATURE OF CONTRACTORS(S) 


ACCEPTING AUTHORITY.

BHARAT  HEAVY  ELECTRICALS  LIMITED
  RAMACHNADRAPURAM : : HYDERABAD – 32.

SCHEDULE :  “ C ”

SERVICES : VIZ.,  WATER AND ELECTRICITY TO THE SITE OF CONTRACTOR.

1. WATER:

Water required for construction purpose shall be supplied by Bharat Heavy Electricals Limited and chat Rs.15.00 per 1,000 liters.  The supply will be made at a convenient point to the determined by the Senior  Engineer (Civil) and Contractor has to make his own arrangements to distribute the water to places  where required  including cost of providing and fixing water meters.  The charges for consumption of water will be as under, where water meters could not be provided by the contractor and prior permissions for the same has to be obtained in writing from the Senior Engineer / Civil.

i) On the total value of periodical

maintenance items of building

………..

0.25%

ii) On the total value of other Civil works 
………..

0.50%

iii) On the total value of road works

………...

0.75%

Note:  
In respect of items (i) & (ii), only items where water is consumed on the 

         
work, will be considered for arriving at the total value.


In respect of item (iii) only the value of work on picking metal, earth work.  

Asphalting will be excluded from the total value of road works.

2. ELECTRICITY:

Electricity current if required will be supplied at a convenient metered point to be determined by the Senior Engineer.  Any extension required to the different work sites will have to be arranged by the Contractor him self.  Energy consumed will be metered and charges at Rs. 4.95 (Rupees Four & Paise Ninety five only) per unit.  Where meter could not be provided. Current charges will be recovered at 70 units per each Tonne of structural steel fabrication work done.

 SIGNATURE OF CONTRACTORS(S) 


ACCEPTING AUTHORITY.

SPECIAL CONDITIONS

1. Time is the essence of contract and the    specified time of completion is  upto 4  months  which will be reckoned from the date of  commencement of work.

2. These special conditions  supplement the conditions to tenders and contracts and the General  conditions of contract and form part of the contract documents.  Where these special conditions are at variance with the General conditions of contract, these special conditions shall prevail. 

3. All rates quoted shall be finished work in site inclusive of all leads, lifts and other incidental charges and those in general conditions.

4. Before quoting his rates of the work, the tenderer shall inspect the site of   work and  the quarries from which various materials are to be brought and should satisfy  himself about the nature and scope of work to be executed and quality of materials procurable from the quarries. In every case the materials shall confirm to the relevant APSS and shall be got approved by the Engineer-in-charge before they are used on the work.  The Bharat Heavy  Electricals  Limited will not, however after acceptance of a contract rate, pay extra charges for any other reason, in case the contractor is found later on to have misjudged the nature and scope of the work and also the availability of materials.

5. The tenderer is not allowed to alter the specifications of the unit of work noted in the Schedule-A For the sake of uniformity in comparison of tenders, the tenders should not add any conditions of their own. Tenders not complying with these conditions are liable to be rejected.

6. The issues of materials are governed by the conditions specified in Schedule-B. All other materials shall be supplied by the contractor himself and the rates for the relevant items are inclusive of all such supplies.

7. The cement concrete work plain and reinforced shall be executed as per IS: 456 (latest).  A tentative sketch/drawing of work is available in the office, which is intended to give  a general idea of the work  to be executed and is liable for modifications during the actual execution based on the designs prepared and approved by the Competent Authority.

8. The rate quoted for Reinforced Cement  Concrete items shall include smooth finishing of exposed faces.  The top surfaces of roof slab shall be laid to specified slope and mortar that comes to surface due to vibrations shall be trawled so as to obtain smooth and even surface..

Contd.…2

:: 2 ::

9. The paint to be used shall be of standard make and shall be approved by the Engineer-in-charge before applying.

10. The tenderer should specify the plant and machinery such as pan mixer, vibrators, steel shuttering etc,. that he possesses and is going to use them on the work.

11. The Andra Pradesh Standard Specification/ I.S. Specifications, those in Schedule-A shall be for all items of works. Wherever there is difference between the A.P.S.S. and I. S. Specifications , the later shall prevail.

12. The Manager(Civil) reserves the right to deviate either by addition or by deduction from the schedule of items of work given in the tender document after awarding the work.

13. In case of any difference between agreement wording and detailed drawings the interpretation of the  Manager(Civil) shall be final and binding on the contractor.

14. The final acceptance of work in all items are subject proper behavior after testing regardless of whether the items are paid for or not.

15. All debris and surplus materials shall be cleared from the site a and when directed by the Engineer-in-charge. Any temporary structure/stores made by the contractor for the work shall be demolished and site cleared before payment of final bill.

 SIGNATURE OF CONTRACTORS(S) 


ACCEPTING AUTHORITY.

Enterprise Access 2 door controller TCP/IP 

	1. Technical Specifications for Access Controller 

	
	
	

	SI
	Specifications
	Required

	1
	Application 
	Suitable for outdoor/indoor applications 

	2
	Power Supply 
	Inbuilt power supply 

	
	
	230 V AC ± 100/0, 50 HZ 

	3
	Readers Support 
	2 Readers per controller 

	4
	Database 
	Card Support =6000 

	
	
	Transaction Support =7000 

	
	
	Access code per card =3 

	
	
	Access Levels per controller = 8 

	
	
	Unlimited Master Access Levels 

	
	
	Time Zones = 30 

	
	
	Free Time Zone = 1 

	
	
	Pin Prox Free Time Zone =1 

	
	
	Time Intervals per time zone =2 

	
	
	Holidays = 30 

	5
	DOTL 
	DOTL configuration capability 

	6
	Door Open Time 
	4 door open times capability per controller 

	7
	Door Force Open 
	Door forced open capability 

	8
	Local Anti-pass back 
	Capability to force local anti-pass back 

	9
	Communication 
	TCPIIP 

	10
	Number of input/output points 
	Inputs 
	

	
	
	1. 
	Lock for Door 1 & Door2 

	
	
	2. 
	Door alarm for Door 1 & Door2; Buzzer 

	
	
	
	Output 

	
	
	3. 
	Tamper alarm on board; Buzzer output 


	
	
	4. Auxiliary outputs 4 Nos.

5. Lock & auxiliary outputs are potential Contacts with ratings

0.5 amp for 230 V AC

1.0 amp for 24 V DC

Outputs

1. DOTL for Door 1 & Door 2

2. Egress switch for Door 1 & Door 2

3. Fire input from fire panel.

4. Auxiliary inputs 4 nos.

5. All inputs are optically isolated & operated.

On 12 V DC

	11
	Backup Power Supply
	Sufficient for 4 Hours for controller

	12
	Reader Interface
	Weigend Reader / Pin Prox    Motorola, HID

Smart card reader with RS-485/RS232 o/p make: Philips RD-560

	13
	Battery Backup
	Battery specification:

Lead acid maintenance free Battery 12V/7AH

	14
	Facility Code Management
	Uses facility code and card number to activate Cards



	Optional Interface:
	

	· LCD Display

With Weighned/Smart card Reader

· Biometric Reader

ZICOM make/with any Weighned output


