## Sheet1
TOWN ADMINISTRATION DE4PARTMENT BHEL - Jhansi
BHEL/JHS/TA/Watersupply/ no /2006-07/KDG
25-01-07
Subject: - Operarion and Maintenance of watersupply Pumphouse no-2 in Township for
the year 2007-08
There are four pumphouses in Township and one in Factory area for Watersupply. Operaters / Helpers are deputed in all Three shifts in each of the Pumphouse as per requirement. The required manpower is -21 nos (Including releaver), however the manpower available through HR department is only -15 nos.
Inview of above facts, As per the approval of Sr DGM - HR a model contract was prepared for operation and maintenance of PH no-2 on the guidelines recd from ED (HR & CC) Corporate office vide their letter no AA/HR/LLX/17 Date 27-01-06 (Peruse approval for last year is placed at flag-'A" and Letter placed at flag-"B"in file) for the period of 11months (Start from Ist May 2006 to 31March 2007). For which amount sums to Rs1.92lakhs against estimate of Rs2.55lakhs
The above contract is going to expire on 31-03-07 and the contractor M/s RR Construction Khailar is willing to extand the same for next year (ie. From 01-04-07 to 31-03-08) at the same rates (ie. Rs192000/11=Rs17455/- per month, for 12 months ie. Rs17460X12=Rs209460/- (inclusive of Service Tax)
Therefore it is proposed that the work may be alloted to M/s RR Constructions Khailar for the year 2007-08 (Starts from 01-04-07 to 31-03-08) for Rs209460/- Including Service Tax.
The amount of Rs209460/- spent towards the same may be booked under budget code head no768. Total commitment / Expenditure comes to Rs-----/- including this proposal against the senction amount of Rs-----/-
This propsal is submitted for administrative approval and financial concurrence,
(H S Gulhati)
G F/Man Township
Engineer - Civil
Manager - CPR & TA
Manager - Finance
AGM - HR

## Sheet2
BHARAT HEAVY ELECTRICALS LIMITED, Jhansi
TOWN ADMINISTRATION DEPARTMENT
Estimate Labour supply for Operation and Maintenance of PH-2 & 4for Watersupply in township
Details of daily wage payment to workers For the period from 1.4.07 to 31.3.08
| SI.No. | Description | USW | SSW | SW
| 1 | Basic pay for month | 750 | 880 | 977
| 2 | DA per month | 1500 | 1620.46 | 1860.39
| 3 | Total per month | 2250 | 2500.46 | 2837.39
| 4 | Net Wages per day (assuming) 26 days | 86.54 | 96.17 | 109.13
| 5 | Bonos @ 8.33% | 7.21 | 8.01 | 9.09
| 6 | OT @ 8% | 6.92 | 7.69 | 8.73
| 7 | PF @ 13.61% | 11.78 | 13.09 | 14.85
| 8 | ESI @ 4.75% | 4.11 | 4.57 | 5.18
| 9 | Dress and shoes@ 5% | 4.327 | 4.8085 | 5.4565
| 10 | Gross wages per Rs. | 120.887 | 134.3385 | 152.4365
| Total USW required |  |  | 6 person per day
| Total manday per person per annum for the period of one year (12 months 12 x 25 =300 mandays per year) |  |  |  | 1800
| Rate |  |  | Rs. | 120.887
| Sub Total A |  |  | Rs. | 217596.6
| Contigency @ 3% on Sub Total "A" |  |  |  | 6527.898
| Income tax 2.24%,Service tax 12.24% ,Security 2% and Prafit 10% =26.48% |  |  |  | 57619.5797
64147.4777
| Total "A" + "B" |  |  |  | 281744.0777
| Say Rs.(in lakhs) |  |  |  | 2.82
BHARAT HEAVY ELECTRICALS LIMITED, Jhansi
TOWN ADMINISTRATION DEPARTMENT
Estimate Labour supply for Operation and Maintenance of PH-2 & 4for Watersupply in township.
Details of daily wage payment to workers For the period from 1.4.07 to 31.3.08
| SI.No. | Description | USW | SSW | SW
| 1 | Basic pay for month | 2600 | 2964 | 3290
| 2 | DA per month as on 30-09-06 | 114.56 | 130 | 144.96
| 3 | DA per month as on 31-03-07 | 169.35 | 193.06 | 214.29
| 4 | % increment in DA duering last six month | 0.52 | 0.52 | 0.52
| 5 | % increment in DA duering next six month | 0.79 | 0.79 | 0.79
| 6 | Average increment dering the year | 0.66 | 0.66 | 0.66
| 7 | Average DA during the year | 281.12 | 320.48 | 355.72
| 8 | Total per month | 2881.12 | 3284.48 | 3645.72
| 9 | Net Wages per day (assuming) 26 days | 110.8123 | 126.3262 | 140.22
| 10 | Bonos @ 8.33% | 9.2307 | 10.523 | 11.6803
| 11 | OT @ 8% | 8.865 | 10.1061 | 11.2176
| 12 | PF @ 13.61% | 15.0816 | 17.193 | 19.0839
| 13 | ESI @ 4.75% | 5.2636 | 6.0005 | 6.6604
| 14 | Gross wages per Rs. | 149.2531 | 170.1487 | 188.8623
| Total USW required |  |  | 4 person per day
Four person per day in all seven days of week
| Total manday per person per month for the period of Nine month from 01-07-07 to 31-03-08 (9 months 9 x 30 = 270 mandays per year) |  |  |  | 1080
| Rate |  |  | Rs. | 149.2531
| Sub Total A |  |  | Rs. | 161193.345
| Total USW required |  |  | 1 person per day
One person per day in six days of week
| Total manday per person per month for the period of Nine month from 01-07-07 to 31-03-08 (9 months 9 x 25 = 234 mandays per year) |  |  |  | 234
| Rate |  |  | Rs. | 149.2531
| Sub Total B |  |  | Rs. | 34925.2248
| Total SSW required |  |  | 1 person per day
One person per day in six days of week
| Total manday per person per month for the period of Nine month from 01-07-07 to 31-03-08 (9 months 9 x 25 = 234 mandays per year) |  |  |  | 234
| Rate |  |  | Rs. | 170.1487
| Sub Total C |  |  | Rs. | 39814.795
| Sub Total D (Total A+B+C) |  |  |  | 235933.3648
| Add premimum @12% (Profit and other expenditure for Sub Total D) Sub Total E |  |  |  | 28312.0038
Security / EMD / Stamp duty 2% and Prafit including I-Tax 10% =12%
| Sub Total F (Total D+E) |  |  |  | 264245.3685
| Add Service tax @12.30% Sub Total G |  |  |  | 32502.1803
| Total F+G |  |  |  | 296747.5489
| Say Rs.(in lakhs) |  |  |  | 2.95

## Sheet4
BHARAT HEAVY ELECTRICALS LIMITED JHANSI
CIVIL ENGINEERING DEPARTMENT
ESTIMATE
Name of Work Operation and maintenanace of water supply in Township and factory for year 2007-08
s no | DESCRIPTION OF ITEM
ITEM NO. 1 | Operation of pumps for making direct water supply in quarters in township as detail given in schedule E from sumpwells as per direction of engineer incharge and as per schedule . This works includes preventive maintenace such as greasing , change of glane doory and Cleaning , priming work , required valve operation , monitering water pressure/ level indicator , maintenace of foot valve filteration plant operation valves , chlorinization system , general maintenace of all pipe line and fitting and valve required for above operation( foot valve to overhead tank ) . The glane doory, leather , grease or other small consumable items( not any fittings) required for maintaining the work shall be arranged by the contractor .The payment shall be made on the basis of measurement in register/logbook recorded by contractor or his supervisor /authorized person and verified daily by BHEL supervisor . | 1 | 2.5 | 365 | 912.5 | hours
ITEM NO. 2 | Operation of pumps for taking direct water from open wells /borewells in township as detail given in schedule E (Openwell -4, Borewell with submersible -2 ) as per direction of engineer incharge and as per schedule. This works includes preventive maintenace such as greasing, change of glane doory and Cleaning , priming work , required valve operation , monitering water pressure/ level indicator , maintenace of foot valve ( only for open well ) , general maintenace of all pipe line and fitting and valve required for above operation( foot valve to delivery point ) . The glane doory, leather , grease or other small consumable items( not any fittings) required for maintaining the work shall be arranged by the contractor .The payment shall be made on the basis of measurement in register/logbook recorded by contractor or his supervisor /authorized person and verified daily by BHEL supervisor . The deduction for over flow of water from tanks is to be done per overfloow @ Rs 500/- . | 4 | 6 | 365 | 8760 | hours
ITEM NO. 3 | To change all type of horizontle pumps in open well on labour basis as per direction of engneer incharge. Necesary work such as to open all connections, screws, install required maintained pump after, greasing, change of glane doory, Cleaning, rejoint the connections and tight the screw and priming the work and general required work including the scope of work. The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. roots or any other item that are chocking the sewer line. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. | 1 | 11 | 2 | 22 | nos
ITEM NO. 4 | To change all type of submersible pumps/jet pumps in bore well on labour basis as per direction of engneer incharge . Necesary work such as to open all connections , screws , open and taking out all pipes , maintenance of foot valve , install required maintained pump after , greasing , change of glane doory ,Cleaning , rejoint the connections , connection of all pipes and tight the screw and priming the work and general required work including the scope of work . The glane doory, leather , grease or other small consumable items( not any fittings) required for maintaining the work shall be arranged by the contractor ..roots or any other item that are chocking the sewer line . The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor /authorized person and verified daily by BHEL supervisor . | 1 | 11 | 6 | 66 | nos
ITEM NO. 5 | To change all type of valves complete (dia from 150mm to 400 mm dia) on labour basis as per direction of engneer incharge. Necesary work such as to open all connections, screws, open and taking out vaves, general maintenance, install required maintained valve, greasing, change of glane doory, chamber cleaning, rejoint the connections, connection, tightening the screws and general required work including the scope of work. The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. | 1 | 1 | 12 | 12 | nos
ITEM NO. 6 | Maintenance of all type of water supply pipe line complete (Dia from 25mm to 80mm dia) on labour basis as per direction of engneer incharge. Necesary work such as excavation refilling, dismentaling concrete work, to open connections, screws, open and taking out pipe line if required, general maintenance, rejoint the connections, tightening the screws and general required work including the scope of work. The other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor /authorized person and verified daily by BHEL supervisor. | 1 | 12 | 2 | 24
ITEM NO. 7 | Operation of fountain pumps in township as detail given in schedule E (one in near club bundela, near Swagat park -01 nos, Guesthouse 03) as per direction of engineer incharge and as per schedule. This works includes preventive maintenace such as cleaning, greasing of motor, change of glane doory, priming work, required valve operation, monitering water pressure, maintenace of foot valve, general maintenace of all item related to fountain and fitting and valve required for above operation (foot valve to delivery point). The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in register / logbook recorded by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. | 1 | 2 | 335 | 670 | hours
ITEM NO. 8 | Maintenance of fire hydrant point complete on labour basis as per direction of engneer incharge. Necesary work such as General cleaning to open connections, open and taking out pipe line if required, general maintenance, rejoint the connections, tightening the screws etc. The other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. | 1 | 2 | 30 | 60 | nos
ITEM NO. 9 | Maintenance and general cleaning of water supply valve chambers in factory and township on labour basis in every six month as per direction of engneer incharge . Necesary work such as General cleaning and mainteance of valve . The other small consumable items( not any fittings) required for maintaining the work shall be arranged by the contractor .The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor /authorized person and verified daily by BHEL supervisor . | 2 | 2 | 12 | 48 | nos
ITEM NO. 10 | House keeping of pump houses in factory and township on labor basis in monthly payment basis as per direction of engneer incharge. PH-2 & 4 Necesary work such as General cleaning inside, out side, overhead tanks, under ground tanks, filteration plant, pipe line, chambers, open area, and other equipment, keeping material at proper place, material handling and mainteance of valves, pumps etc complete. The other small consumable items required for above work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified weekly by BHEL supervisor. | 2 | 1 | 12 | 24 | monthly
ITEM NO. 11 | House keaping of open wells, borewells, jet pumps in factory and township on labour basis in monthly pay ment basis as per direction of engneer incharge . Necesary work such as General cleaning inside , out side , pipe line, chambers ,open area , and other equipment , keeping material at proper place ,and mainteance of valves, pumps etc complete . The other small consumable items required for above work shall be arranged by the contractor .The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor /authorised person and verified weekly by BHEL supervisor. | 1 | 12 | 4 | 48 | monthly
Abstract of Cost
Item no | Item | Unit | Quantity | Rate (Rs) | Amount (Rs)
1 | Operation of pumps for making direct water supply in township | Hours | 912.5 | 30 | 27375
2 | Operation of pumps for taking water from open well /borewell | Hours | 8760 | 6 | 52560
3 | Replacement horizontle pump in open well on labour basis | nos | 22 | 750 | 16500
4 | Replacement submersible /jet pump on labour basis | nos | 66 | 450 | 29700
5 | Replacement of all type valve -200 to 400 mm dia on labour basis | nos | 12 | 450 | 5400
6 | Maintenance of all type water supply pipe lines (200 to 400 mm dia)on labour basis | nos | 24 | 600 | 14400
7 | Operation and maintenance of fountain in township mm dia on labour basis | hour | 670 | 30 | 20100
8 | Maintenance of fire hydrant points | nos | 60 | 187 | 11220
9 | Maintenance and general cleaning of chamber in fy and t/ship . | nos | 120 | 105 | 12600
10 | House keeping and general maintenance of pump house in factory and Township. | Monthly | 60 | 600 | 36000
11 | House keeping open well /bore well in fy and t/ship . | Monthly | 300 | 82 | 24600
| Sub - Total-"A" |  |  |  | 250455
| Add 5% Premium on old rates |  |  |  | 12522.75
| Sub - Total-"B" |  |  |  | 262977.75
| Add Service tax 12.24% |  |  |  | 30655.692
| Total |  |  |  | 293633.442
| ( K.D.Gupta) |  |  | ( H.S.Gulhati )
| Engineer-Civil |  |  | GF / Man -TA
BHARAT HEAVY ELECTRICALS LIMITED JHANSI
CIVIL ENGINEERING DEPARTMENT
ESTIMATE (Revised)
Name of Work Operation and maintenanace of water supply in Township and factory for year 2007-08
s no | DESCRIPTION OF ITEM
ITEM NO. 1 | Operation of pumps for making direct water supply in quarters in township as detail given in schedule E from sumpwells as per direction of engineer-in-charge and as per schedule. This works includes preventive maintenace such as greasing, change of glane doory and Cleaning, priming work, required valve operation, monitering water pressure / level indicator, maintenace of foot valve filteration plant operation valves, chlorinization system, general maintenace of all pipe line and fitting and valve required for above operation (foot valve to overhead tank). The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in register / logbook recorded by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. | 1 | 2.5 | 270 | 675 | hours
ITEM NO. 2 | Operation of pumps for taking direct water from open wells / borewells in township as detail given in schedule E (Open well -09, Bore well with submersible -2) as per direction of engineer-in-charge and as per schedule. This works includes preventive maintenace such as greasing, change of glane doory and Cleaning, priming work, required valve operation, monitering water pressure / level indicator, maintenace of foot valve (only for open well), general maintenace of all pipe line and fitting and valve required for above operation (foot valve to delivery point). The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor.The payment shall be made on the basis of measurement in register / logbook recorded by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. The deduction for over flow of water from tanks is to be done per overfloow @ Rs 500/-. | 11 | 6 | 270 | 17820 | hours
ITEM NO. 3 | To change all type of horizontle pumps in open well on labour basis as per direction of engneer-in-charge. Necesary work such as to open all connections, screws, install required maintained pump after, greasing, change of glane doory, Cleaning, rejoint the connections and tight the screw and priming the work and general required work including the scope of work. The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. roots or any other item that are chocking the sewer line. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. | 1 | 3 | 9 | 27 | nos
ITEM NO. 4 | To change all type of submersible pumps / jet pumps in bore well on labour basis as per direction of engneer in charge. Necesary work such as to open all connections, screws, open and taking out all pipes, maintenance of foot valve, install required maintained pump after greasing, change of glane doory, Cleaning, rejoint the connections, connection of all pipes and tight the screw and priming the work and general required work including the scope of work. The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. roots or any other item that are chocking the sewer line. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. | 1 | 5 | 9 | 45 | nos
ITEM NO. 5 | To change all type of valves complete (dia from 150mm to 400 mm dia) on labour basis as per direction of engneer-in-charge. Necesary work such as to open all connections, screws, open and taking out vaves, general maintenance, install required maintained valve, greasing, change of glane doory, chamber cleaning, rejoint the connections, connection, tightening the screws and general required work including the scope of work. The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. | 1 | 2 | 9 | 18 | nos
ITEM NO. 6 | Maintenance of all type of water supply pipe line complete (Dia from 25mm to 80mm dia) on labour basis as per direction of engneer incharge. Necesary work such as excavation refilling, dismentaling concrete work, to open connections, screws, open and taking out pipe line if required, general maintenance, rejoint the connections, tightening the screws and general required work including the scope of work. The other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor /authorized person and verified daily by BHEL supervisor. | 1 | 3 | 9 | 27
ITEM NO. 7 | Operation of fountain pumps in township as detail given in schedule E (one in near club bundela, near Swagat park -01 nos, Guesthouse 03) as per direction of engineer-in-charge and as per schedule. This works includes preventive maintenace such as cleaning, greasing of motor, change of glane doory, priming work, required valve operation, monitering water pressure, maintenace of foot valve, general maintenace of all item related to fountain and fitting and valve required for above operation (foot valve to delivery point). The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in register / logbook recorded by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. | 1 | 2 | 234 | 468 | hours
ITEM NO. 8 | Maintenance of fire hydrant point complete on labour basis as per direction of engneer incharge. Necesary work such as General cleaning to open connections, open and taking out pipe line if required, general maintenance, rejoint the connections, tightening the screws etc. The other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. | 1 | 2 | 30 | 60 | nos
ITEM NO. 9 | Maintenance and general cleaning of water supply valve chambers in factory and township on labour basis in every six month as per direction of engneer incharge . Necesary work such as General cleaning and mainteance of valve . The other small consumable items( not any fittings) required for maintaining the work shall be arranged by the contractor .The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor /authorized person and verified daily by BHEL supervisor . | 2 | 2 | 9 | 36 | nos
ITEM NO. 10 | House keeping of pump houses in factory and township on labor basis in monthly payment basis as per direction of engneer incharge. PH-1; 2; 3 & 4 Necesary work such as General cleaning inside, out side, overhead tanks, under ground tanks, filteration plant, pipe line, chambers, open area, and other equipment, keeping material at proper place, material handling and mainteance of valves, pumps etc complete. The other small consumable items required for above work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified weekly by BHEL supervisor. | 4 | 1 | 9 | 36 | monthly
ITEM NO. 11 | House keaping of open wells, borewells, jet pumps in factory and township on labour basis in monthly pay ment basis as per direction of engneer incharge . Necesary work such as General cleaning inside , out side , pipe line, chambers ,open area , and other equipment , keeping material at proper place ,and mainteance of valves, pumps etc complete . The other small consumable items required for above work shall be arranged by the contractor .The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor /authorised person and verified weekly by BHEL supervisor. | 1 | 6 | 9 | 54 | monthly
Abstract of Cost
Item no | Item | Unit | Quantity | Rate (Rs) | Amount (Rs)
1 | Operation of pumps for making direct water supply in township. | Hours | 675 | 30 | 20250
2 | Operation of pumps for taking water from open well / borewell. | Hours | 17820 | 6 | 106920
3 | Replacement horizontle pump in open well on labour basis. | nos | 27 | 750 | 20250
4 | Replacement submersible / jet pump on labour basis | nos | 45 | 450 | 20250
5 | Replacement of all type valve -200 to 400 mm dia on labour basis. | nos | 18 | 450 | 8100
6 | Maintenance of all type water supply pipe lines (200 to 400 mm dia) on labour basis. | nos | 27 | 600 | 16200
7 | Operation and maintenance of fountain in township on labour basis | hour | 468 | 30 | 14040
8 | Maintenance of fire hydrant points | nos | 60 | 187 | 11220
9 | Maintenance and general cleaning of chamber in factory and township. | nos | 36 | 105 | 3780
10 | House keeping and general maintenance of pump house in factory and Township. | Monthly | 36 | 600 | 21600
11 | House keeping of open well / bore well in factory and township. | Monthly | 54 | 82 | 4428
| Sub - Total-"A" |  |  |  | 247038
| Add 5% Premium on old rates |  |  |  | 12351.9
| Sub - Total-"B" |  |  |  | 259389.9
| Add Service tax 12.30% |  |  |  | 31904.9577
| Total |  |  |  | 291294.8577
| ( K.D.Gupta) |  |  | ( H.S.Gulhati )
| Engineer-Civil |  |  | GF / Man -TA

## Tender
Page no 01 of 13
BHARAT HEAVY ELECTRICALS LIMITED, JHANSI
TOWN ADMINISTRATION DEPARTMENT
Phone no 0510 2412582 Fax no 24122120 |  |  |  | Name of work - Operation and Maintenance of Pump House no-2 for water supply in Township For year 2007-08
Email kdgupta@jhs.bhel.co.in
web site www.bhel.com/bhel/tender/login.bhp.
(Tender document may be available on above website and can be downloaded also )
Tender No BHEL/ JHS / TA / 02 /07-08 Date 13-06-07
ITEM RATE TENDER
FOR
Operation and Maintenance of Pump House no-2 for water supply in Township For year 2007-08
1 | To be submitted by 13.00 Hrs on 03-07-07 to ADM - Security Gate.
2 | Tenders (Technical bid only) shall be opened in the presence of tenderers who may be present, at 14.00 Hrs on 03-07-07 in the office of Sr Mgr-MM and Price bid shall be opened latter.
Issue to contractor
(hereinafter referred to as the Company / Corporation)
Name of contractor …………………………
I / We have read and examined the following documents related to the Work of
Name of work - Operation and Maintenance of Pump House no-2 for water supply in Township For year 2007-08
The tender consists of the following 2 parts .
( 1 ) Technical cum Commercial Bid with Part A & B
( 2) Price bid
Both these bids have to be enclosed in separate envelops and subscribed "TECHNICAL CUM COMMERCIAL BID" and "PRICE BID" as appropriate .
Technical cum commercial bid (Ten Pages - Page no 2 to10) consisting following Parts and schedules
Part A -- Check list of enclosers. (page no 2 to 3)
Part B -- Notice Inviting tender (Page no 4 to 5)
Price bid (Three page - page no 14 to 17) consisting schedule of quantity (Total 11no items)
In consideration of I / We being invited to tender, I / We agree to keep the tender open for acceptance for Ninety (90) days from the due date of submission there of and not to make any modifications in its terms and conditions which are not acceptable to the Company / Corporation.
A cash of Rs 10,000/- is hereby forwarded in BHEL Cash receipt Pay order or demand draft only as earnest money. If I / we fail to keep the tender open as aforesaid or make any modifications in the terms and conditions of the tender which are not acceptable to Company / Corporation. I / we agree that the Company / Corporation shall, without prejudice to any other right or remedy, be at liberty to forfeit the earnest money absolutely. Should this tender be accepted, I / we hereby agree to abide by and fulfill all the terms, conditions and provision aforesaid documents.
If, after the tender is accepted, I / we fall to commence the execution of the works as provided in the Conditions, I / We agree that the Company / Corporation shall, without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money absolutely.
| Witness……………… |  |  |  |  | Signature……………..
| Date …………………… |  |  |  |  | in the capacity of ………
| Address…. …………………. |  |  |  | Duly authorized to signature the tender on behalf of ( in block Capitals )
Page no 2 of 13
BHARAT HEAVY ELECTRICALS LIMITED, JHANSI
TOWN ADMINISTRATION DEPARTMENT
Phone no 0510 2412582 Fax no 24122120
web site www.bhel.com/bhel/tender/login.bhp.
Tender No BHEL/ JHS / TA / 02 /07-08 Date 13-06-07
(Tender document may be available on above website and can be downloaded also)
Name of work - Operation and Maintenance of Pump House no-2 for water supply in Township For year 2007-08
TECHNICAL BID (TOTAL 09 PAGES - Pages no 02 to 10)
(PART A & PART B)
PART A : Checklist / Minimum qualification criteria
The following are the essential requirements to be fulfilled in order to qualify for price bidding.
I. | Legal requirements
Sl No . | DESCRIPTION |  | Requirement | Essental / Desirable | Valid Registration no | Valadity upto | Enclosed copy detail
a. Labour laws -
| (1) Employee's PF & misceeleneous provision act, 1952 |  | Valid registation | Essentail
( 2) Labour Licence nd other requirement in case of contractor working in BHEL, Jhansi and deploying 20 or more labour
(3) ESI Number & date
II. | Taxation requirements
| (1) Income tax act |  | PAN No. | Desirable
| ( 2) Trade Tax |  | Valid Registation no. | Desirable
| (3) Service tax |  |  | Essentail
III. | BHEL works policy requirements
| EMD |  | Rs 10,000/- in the form of Cash / Payorder / Demand draft. | Essentail
| Accepotance of Terms & conditions - |  | Signature on all pages without conditions of contractor | Desirable
IV. | Financial soundness |  | Pl. Attatch the requirred documents and fill up column no 4.
s no | Document |  | Essentail / Desirable |  | Enclsed (yes / no)
1 | Income tax returs for last 3 years. |  | Desirable
2 | Value of total similar works completed in each of last 3 years. The maximum value of works completed in any of 3 years should be equal or greater than estimated value of this tender. |  | Essential
3 | Value of single largest similar completed work in each of last 3 years. The contractor should have successfully at least one similar work equal to 50 % of total estimated cost of this tender. |  | Essential
V. | Technical competence
sl no | Item |  | Minimum Quantities |  | Essential /desirable |  | Can be arranged (yes / no)
a. Ability to arrange required plant & machinery
1 | Tractor trolley (tripping type) |  | 1 |  | desirable
b. Ability of Technical & skilled manpower
1 | Supervisor with sanitization trade qualification. |  | 1 |  | Essential
Note : Non Fulfillment of any / all of the above requirements can entail disqualification of the bidder.
| (Signature, seal & date of issuing authority) |  |  | All the above conditions accepted
(Signature, seal & date of contractor)
Page no 03 of 13
BHARAT HEAVY ELECTRICAL LIMITED, JHANSI
TOWN ADMINISTRATION DEPARTMENT
NOTICE INVITING TENDERS
(Applicable to all types of contracts )
Name of work - Operation and Maintenance of Pump House no-2 for water supply in Township For year 2007-08
Phone no 0510 2412582 Fax no 0510 2412120 Email kdgupta@bhel.jhs.co.in
web site www.bhel.com/bhel/tender/login.bhp.
(Tender document may be available on above website and can be downloaded also)
| Tender Notice No |  | BHEL/JHS/ TA / 02 /07-08 |  |  | Dated 13-06-07
1 | Tenders are invited on behalf of the BHARAT HEAVY ELECTRICAL LIMITED JHANSI for Sanitation work on labour basis in township. The work is estimated to cost Rs 2.95 Lakhs. This estimate, however is given merely as a rough guide.
2 | The tender shall be in the prescribed Form.
3 | The works are required to be completed within Nine Months from the fifteen day after the date on which the Engineer-in-charge issues written orders to commence the work or from the date of handing over of the site, whichever is later, in accordance with the phasing, if any, indicated by the Company / Corporation in the tender documents. the site is expected to be handed over on or about immediately.
4 | Normally contractors whose names are borne on the approved list of contractors of MES, CPWD, PWD, RLY, BHEL etc for the area in with the work lies and within whose financial category the estimated amount falls will be permitted to tender. Not more than one tender shall be submitted by a contractor or by a firm of contractors.
No two or more concerns in which an individual is interested as a Proprietor and / or a partner shall tender for the execution of the same works, if they do so all such tenders shall be liable to be rejected.
5 | The Mgr-CPR shall be the Accepting Officer her in after referred to as such for the purpose of this contract .
6 | Applications for issue of tender documents shall be submitted to Mgr-CPR& TA so as to reach his office not later than 15.00Hrs on 30th June 2007.
8 | Tender documents consisting of plans, specifications, Schedule (s) of quantity of the various classes of work to be done, the conditions of contract and other necessary documents will be open for inspection and sold on payment of Rs 200/- on or before 30-06-07.
9 | Copies of other drawings and documents pertaining to the work (s) signed for the purpose of identification by the Accepting Officer or his accredited representative and samples of materials to be arranged by the contractor will be open for inspection by tenderness at Township civil during working hours between the dates mentioned in above clause No 8.
10 | Tenderers are advised to inspect and examine the site and its surroundings and subsoil (so far as it is practicable), the form and nature of the site, the means of access to the site the accommodation they may be require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or effect their tender. A tenderer shall be deemed to have full knowledge of the site, whether he inspect it or not and no extra charges consequent on any mis - understanding or otherwise shall be allowed.
11 | Submission of a tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plants etc will be issued to him by the company corporation and local conditions & other factors bearing on the execution of the works.
12 | A tenderer should quote in figures as well as in word rate(s) tendered. The amounts for each item should be worked out and the requisite totals given. Special care in figures only in such a way that inter pole ration is not possible. The total amount shall be written both in figures and in words. In case of figures the words Rs should be written before the figure of rupees and the worlds "paisa" after the decimal figures e.g. Rs2.15 and in case of words, the words 'Rupees' should precede and the words 'paisa' should be written at the end. Unless the rate is in whole rupees and followed by the word "only" it should invariably be up to two places of decimal.
Page no 04 of 13
13 | All rates shall be quoted on the tender form.
14 | The work shall be awarded to me technically accepted overall lowest bidder. The quantity maintained in the tender shall be used for comparative statement calculation and award of work. The Actual quantities can vary during the course of the contract.
16 | Tenders shall be received by ADM security gate up to 13.00 hours on the 03-07-07 and shall be opened at 03-07-07 at 14.00 Hrs on the same day in the presence of tendereres who may be present.
17 | The tender shall be accompanied be earnest money (unless exempted from depositing it) of Rs 25,000/- in BHEL cash receipt (as permissible under Income Tax Act) pay order or Demand draft only of BHEL Jhansi by state Bank of India or a Nationalized bank or any Scheduled Bank, a contractor exempted from depositing earnest money in individual cases shall attach with tender an attested copy of the letter exempted him from depositing earnest money and shall produce the original when called upon to do so.
18 | On acceptance of tender earnest money will be treated as part of the security.
19 | The tenderer, whose tender is accepted (unless exempted), shall permit the company / corporation at the time of making any payment to him for work done under the contract to deduct towards security deposit such sum as will along with the amount of earnest money already deposited amount to 10 % on the gross amount of the bill till the sums so deducted incomplete.
20 | Bharat Heavy Electrical ltd. Jhansi will return the earnest money, where applicable, to every unsuccessful tenderer on the request of the tenderer and after award of the work now successful bidder.
21 | A tenderer shall submit the tender which satisfies each and every essential condition laid down in this notice, failing which the tender will be liable to be rejected.
23 | The Bharat Heavy Electrical Ltd. Jhansi reserve to themselves the right of accepting the whole or any part of the tender and tenderer shall be bound to perform the same at his quoted rates.
24 | Sales Tax or any other tax on materials in respect of this contract shall be payable by the contractor and the company / corporate on will not entertain any claim what so ever in this respect.
25 | This notice of tender shall form part of the contract documents.
( K.D.Gupta)
|  | .13-06-07 |  |  |  | Engineer - TA
Page no 05 of 13
BHARAT HEAVY ELECTRICALS LIMITED, JHANSI
TOWN ADMINISTRATION DEPARTMENT
ITEM RATE TENDER
FOR
Name of work - Operation and Maintenance of Pump House no-2 for water supply in Township For year 2007-08
1 | To be submitted by 13.00 Hours on 03-07-07 to ADM - Security Gate.
2 | Tenders shall be opened in the presence of tenderers who may be present, at 14.00 Hours on 03-07-07 in the office of Sr Mgr - MM.
Issue to contractor
(hereinafter referred to as the Company / Corporation)
Name of contractor ………
I / We have read and examined the following documents related to the construction of
Name of work - Operation and Maintenance of Pump House no-2 for water supply in Township For year 2007-08
(a) | Notice Inviting tender
(b) | Schedule A, B and C.
(e) | General Conditions of contract including Contractor's labour Regulation, Model Rules for labour Welfare and Safety Code appended to these conditions.
(f) | Special conditions
(in words ) …….. Or at such other rates as may be fixed under the terms and conditions of the contract and within the period (s) of completion as stipulated in Schedule F.
In consideration of I / We being invited to tender, I / We agree to keep the tender open for acceptance for Ninety (90) days from the due date of submission there of and not to make any modifications in its terms and conditions which are not acceptable to the Company / Corporation.
A cash of Rs10,000/- is hereby forwarded in BHEL Cash receipt Pay order or demand draft only as earnest money. If I / we fail to keep the tender open as aforesaid or make any modifications in the terms and conditions of the tender which are not acceptable to Company / Corporation.
If, after the tender is accepted, I / we fall to commence the execution of the works as provided in the Conditions, I / We agree that the Company / Corporation shall, without prejudice to any other right or remedy be at liberty to forfeit the said earnest money absolutely.
| Witness……………… |  |  |  | Signature……………..
| Date …………………… |  |  |  | in the capacity of ………
| Address…. …………………. |  |  | Duly authorized to signature the tender on behalf of (in block Capitals)
Page no 06 of 13
SCHEDULE " A "
SCHEDULE OF MINIMUM WAGES
( See Conditions 53 & 53 A )
| SL NO. | Category of labour |  |  |  | Wages per day | Remarks
| 1 | 2 |  |  |  | 3 | 4
As per minimum wages act applicable to this region as notified time to time by UP Govt.
TERMS & CONDITIONS FOR DEPLOYMENT OF CONTRACT LABOUR ON WORKS CONTRACT
Works Contracts shall only be awarded for the works as mentioned in Annexure-I, on the following terms and conditions.
1 | LABOUR LICENSE AND CLEARANCE CERTIFICATE
1.1 | Contractor should possess valid labour license for the Maximum nos. of contract labours deployed on any day from the competent authority for carrying out the various activities certificates in respect of ESI, PF and Income Tax form respective enforcement authorities.
1.2 | No. of labours in no case should exceed the quantity mentioned in the license If the license is for less than the quantity of labours mentioned in the work order, it should be amended and renewed immediately.
2 | PROVIDENT FUND AND ESI
2.1 | The contractor must have Provident fund Code No. of his own from RPFC, Kanpur and must ensure Provident Fund deduction in respect of Contract Labours engaged by him from the first day their deployment and he must also give matching contribution towards Provident fund.
2.2 | The contractor should ensure ESI facilities to his workers (i.e. his firm should have ESI code No. of its own ESI card from ESI authorities, Jhansi to extend medical facilities to his labours and family members).
2.3 | PF CONTRIBUTION :
| Employee's Contribution |  |  |  | Employer's Contribution
| 12% of Normal WAGES PAID |  |  | PF Contribution |  | 3.67 %
|  |  |  | Insp. Admn Charges |  | 1.1 %
|  |  |  | Admn/Insp. Charges |  | 0.01 %
|  |  |  | Employer EPF |  | 8.33 %
|  |  |  | EDLI Charges |  | 0.5 %
|  |  |  | Total |  | 13.61 %
The contractor shall submit a copy of latest PF returns and inspection reports from statutory author authorities along with a copy of challans for having deposited PF contributions each month.
2.4 | ESI CONTRIBUTION :
| Employee's Contribution |  |  |  | Employer's Contribution
| 1.75 % of gross wages |  |  |  |  | 4.75 % of gross wages
The contractor shall submit a copy of latest ESI returns and inspection reports from statutory author authorities along with a copy of challans for having deposited ESI contributions each month.
2.5 | ISSUE OF IDENTITY CARD BY ESI
The contractor shall arrange for filling of family declaration forms in respect of their contract labours. These forms duly filled should be deposited in ESI office for issue of identity Card to every contract labour by ESI.
3 | APPOINTMENT AND TERMINATION OF CONTRACT LABOUR
3.1 | Contractor shall pay all the liabilities / dues to their worker arising out of engagement / termination of their services.
3.2 | Issue of identification / Employment card.
As per Contract labour (R & A) Act-1970, the contractor has to issue employment card within 3 days from the date of deploying of a labour in the format prescribed under the Act. A stamp size photograph shall be affixed on the employment card. The card apart from prescribed information's, shall, also, contain the Wo number. The period of validity of the pass, PF A/c number and ESI A/c number. A copy of such card shall be deposited with CISF and another copy shall be deposited with contract labour Cell.
3.3 | Issue of Tokens
On award of a work contract the contractor shall request Contract Labour Cell to advice CISF for issuing the required number of entry tokens for his employees.
On the basis of above communication from Contract labour cell, CISF shall issue tokens to the contractor on daily basis. This shall be the duty of the contractor to collect these tokens for entry and deposit back to CISF on exit of his employees on daily basis.
3.4 | Maintenance of register
The contractor shall maintain a register which shall comprise the details about the labours deployed by them in the format prescribed under the contractor labour (R & A) Act, 1970.
3.5 | Disciplinary action
The contractor shall take disciplinary action as per "Model Standing Orders" on the advise of the contracting Officer.
Page no 07 of 13
3.6 | The contractor shall not employ any person who has either not completed him 18th year of age or more than 60years of age.
4 | ATTENDANCE AND WAGES
4.1 | Compilation of attendance and computation of wages ;
at the end of month (i.e. Closing on the 24th of every month) the contractor shall collect the attence from the contracting department raise the bills to the contracting department, before 28th of each month. The contractor shall prepare the bill taking into account the regular attendance / holidays / leaves / Extra days worked etc. the contracting department shall then verify the bills, ensure stautory deductions and send it to finance for payment to the contractor.
4.2 | Payment of wages
The contractor should company with the minimum wages Act and wages in no case should be less the wages notified by the Govt. of UP from time to time. The payment of wages to contract labour shall be made in presence of Executive / Supervisor of concerned department and a certificate to this effect should be indicated by such authorities on the wage sheet.
Contractor is supposed to pay the wages to all his workers on / before tenth of every month despite of cheque release or not from BHEL. Failure to this may lead a penalty of Rs300/- per day
4.3 | Leave with wages to contract labour:
Guidelines as per UP factories Rules 1950 should be observed with regard to crediting / a ailment of leave registers as prescribed under the said rules should be maintained by the contractor.
5 | Indemnity bond /compliance of legal provisions
5.1 | The contractor shall at all times indemnify the company / corporation against al claims, damages or compensation under the provision of Factories Act -1948 Contract Labour (R & A) Act -1970, payment of wages Act -1936 minimum Wages Act -1948, Payment of bonus Act- 1965, Employees Provident Fund and mis c Act -1952, Employees state insurance Act 1948 Employees Provdent Fund and misc Act 1952, Employees state Insurance Act 1948 Employer's Liability act -1938, Workman's Comsation Act 1923. Industrial Dispute Act 1947. Maternity Benfit Act -1961, Inter-state migrant Workmen Act 1979, payment of Gratuity Act 1972 or any modification there of any other law relating there to and rules made there under from time to time or as consequence of any accident or injury to any workman or other persons in or about the work whether in the employment of contract / or not, save and execpt wheter such accident or injury has resulted from any Act of the Company / corporation, its agents, or servants, and also, agaisnt all costs / charges and expenses of any suit, action or proceeding paid to compomise or settle any such claims.
5.2 | BHEL Management shall have a right to deduct from the money due to the contractor any sum required or estimated to be required for making good the loos suffered by a worker or workers by season of non fulfilment of the conditions of the contract for the benfit of workers, non payment of wages or of deduction made from his or their wages which are not justified by the terms of the contract of non observance of the said Contract labour Regulations.
6 | OBLIGATIONS OF THE CONTRACTOR TOWARDS CONTRACT LABOUR
6.1 | LABOUR WELFARE:
The contractor shall comply with the provisions of contract labour act (R & A) 1970 in respect of welfare as appended to these conditions or rules framed by Government from time to time for the protection of health, for making sanitary arrangement and safety provisions at his own expenses comply with or cause to be complied with model Rules for labour welfare.
Contractor should issue uniform to all his employees. Failure in issueing unform may cause panelty of Rs300/- per month.
7 | GENERAL TERMS AND CONDITIONS
7.1 | In case of no satisfactory performance of the contract, BHEL shall have a right of forfeiting the security deposit. In case of any dispute, decision of concerened Head of Department will be final.
7.2 | The work shall be supervised by the contractor or through his authorised represetatives on day to day basis.
7.3 | The contractor shall compensate BHEL for any loss or damage to the plant / property, material of BHEL due to his workmen / represtatives negligence or therwise during execution of the work.
7.4 | In the event of contractor abandoning the work, or BHEL revoking the contract, BHEL shall have a right to get the incomplete work completed at contrctor's risk and cost. BHEL shall have a right to terminate the contract at any time assigning any reason there of.
7.5 | The contractor shall get the character antecedents of contract labour verified from the DM and intimate the same to the Management.
7.6 | The contractor will deposit 10% of the contract bill as security deposit with principal Employer. The principal Employer will have liberty to use this security amount to discharge any legal obligations otherwise due to be undertaken by the contractor under any law as applicable from time to time.
| Signature of Issuing officer |  |  |  | Signature of Contractor
Page no 08 of 13
SCHEDULE "B"
SPECIAL CONDITIONS OF CONTRACT
1 | The BHEL GENERAL CONDITIONS OF CONTRACT shall be an integral part of this contract except condition no 9(d), 34.A.2, 34.A.3, 34.A.4, 34.A.5, 34.A.6, 34.A.8, 34A.9, 34.A.10, 34.A.11, 34.A.12, 51.1(b), 51.2, 51.3, 52.1, 53(b).2, 53(c), 53(d), 53(e) & 53(e)1 as deleted.
2 | The Special Conditions of Contract (SCC) shall have overriding priority over General Conditions of Contract (GCC). Whenever there is any contradiction between the GCC and SCC, the SCC shall be treated as final.
3 | The Workman Compensation Act, its implications, licensing and liabilities of Minimum Wages Act will be entirely the responsibility of the contractor.
4 | The workers should be trained enough for the work and should be engaged on approval of the engineer-in-charge.
5 | No minor worker will be allowed to work.
6 | The contractor is advised to take insurance policy to cover accident risk under Workmen's Compensation Act in respect of workmen engaged by him.
7 | The contractor shall be wholly responsible for the behavior of his workmen with the office staff and with the residents of the township.
8 | Contractor will have to ensure that the work places are entirely cleaned.
9 | The contractor shall take necessary precautions for the safety of his workmen.
10 | The Engineer-in-charge will have full right to discontinue any of the workmen engaged by the contractor, incase the performance / behavior of the workers is considered unsatisfactory.
11 | Being work of emergency nature the contractor has to provide suitable arrangement in case of any of his worker fail to perform duty due to any reason.
12 | In case any time contractor fail to arrange the work BHEL will deduct the expenses to make alternate arrangement for the same.
13 | Failure to comply with any of the above conditions can result in termination of the contract, forfeiture of the security deposite, Penalties as may be decided and and future blacklisting.
14 | Work shall be carried through out round the year without intruption due to any Sunday / Holiday round the clock and contractor has to make suitable arrangement for the same without any extra compensation.
15 | The contractor shall take proper care to avoid any damage to BHEL property. If any damage does take place, the contractor will be fully responsible for the same. The decision of Engineer - in - charge is such case shall be final and binding on contractor.
16 | Income Tax shall be recovered as per the applicable laws. Presently income tax @2.266% of gross value of bill will be recovered from the contractor's bills.
17 | All necessary other recoveries like Trade tax, security deposit etc. shall be made from the bills.
18 | The EMD of Rs10,000/- deposited by the successful bidder shall be released after deposit of security deposit or adjusted in Security.
19 | The contractor should quote their rates item rate basis.
20 | The security deposit shall be released after successful completion of defect liability period of one month after comletion of complete work (Nine month work).
21 | The contractor has to obtain registration no service tax code & account code etc from commissionarate of central exise and service tax, Kanpur without which tender shall not be issued. He shall have to comply with the requirement of the commissionate.
22 | The payment shall be made on the basis of mesurement only as per unit given in schedule. The contractor or his supervisor / authorised person maintaned a register and entery the work / measurement immidiatly and verified daily / after the work by BHEL supervisor.
23 | The contractor or his representative will have to report between 7.00 AM to 9.00 A M in Township civil office on each working in day during the period of the contract in order to take instructions for the work from the supervisor or Engineer-in-charge. Failure to report and take instruction shall intake a pelality of rs Rs 50/- per working day.
Page no 09 of 13
26 | The contract may be awarded on overall lowest basis only
28 | Payment of stamp duty on security deposite as per stamp duty act 1998 shall be payable by contractor.
30 | The contractor shall make his own arrangement for his residing the supervisor near by the township for execution / interest of work. If available the BHEL can provide the accommodation at commercial rent (electric charge and water charge extra) as per rule.
31 | Security deposite shall be recoverd @10% from the running bills. 50% of total security deposite shall be collected before start of the work and balance may be recovered from running bills
32 | The payment shall be made on the basis of mesurement only as per unit given in schedule. The contractor or his supervisor / authorised person maintaned a register and entery the work / measurement immidiatly and verified daily / after the work by BHEL supervisor.
33 | The work is only labour basis and the all items required in work shall be arranged by the BHEL and contractor shall provide the requirement of items well in advance.
34 | The contractor or his representative will have to report between 7.00 AM to 9.00 A M in Township civil office on each working in day during the period of the contract in order to take instructions for the work from the supervisor or Engineer-in-charge. Failure to report and take instruction shall intel a pelality of Rs50/- per working day. This shall be permitted for a maximum of 30 days in a year othervice action may be inititated to terminate the contract and delist the contract.Incase leave is to be availed be the existing supervisor the contractor will have to provide alternate supervisor. Leave can be availed under exeptional circustances only.
| Signature of issuing officer |  |  |  | Signature of Contractor
Page no 10 of 13
SCHEDULE "C"
REFERENCE TO GENERAL CONDITIONS OF CONTRACT
Condition No .
3 (b) |  | Accepting Authority |  |  | AGM - HR
3 (i) |  | Market Rate percentage addition to cover overheads and profit. |  |  | 10 Percent
9 |  | Earnest money : security deposit
|  | (a) Estimated cost of the works |  |  | Rs 2,95,000/-
|  | (b) Earnest money - |  |  | Rs 10,000/-
(c) Security deposit The rate of security deposite as below.
|  | 10% of the amount upto Rs10lakh |  |  | Rs 29,500/-
12 |  | Suspension of work
12 (b) (ii) |  | Percentage payable to cover Contractors indirect expenses for suspension exceeding thirty days and not exceeding 3 months. | 10 percent
(c ) |  | Percentage payable to cover Contractor's indirect expenses for suspension exeeding 3 months. | 10 percent
16 |  | Distribution return of number and description by trade of workman employed on works to be submitted to Engineer - in - charge. | Fortnightly
32 |  | Authority competent to reduce compensation amount |  |  | Mgr -CPR
33 |  | Defects liability period. |  |  | 1 months
34-A |  | Limit of amount in respect of any claim which contractor may recover directly from insurer. |  |  | Rs 10,000/-
51 |  | Interim bills |  |  | Monthly
53/53A |  | Schedule A |  |  | Insert in schdule A minimum wages fixed by central or state Government
54 |  | Loans |  |  | NA
(a) |  | Interest per annum on sum advanced for purchase of plant and equipment. |  |  | NA
(b) |  | ditto as lumpsum advance Recovery to be effected |  |  | NA
55 (a) |  | Bonus admissible for early completion |  |  | as applicalbe
(b) |  | Maximum bonus admissible |  |  | Nil
57 |  | Authority for appointing arbitrator |  |  | Unit Head
| Sign of Contractor |  |  |  | Issuing Officer
Page no 11 of 13
Tender No BHEL/ JHS /TA / 02 /07-08 Date 26-04-07
Work Contract Title
a) | Name of contractor
b) | Name of Propriter / Partner
c) | Phone no
d) | Address
PRICE BID Part "A" (Total 3 Pages from 12 to14)
Sl No | DESCRIPTION |  |  | Unit | Qty | Offered Rate (Rs) | Amount (Rs) | Remark
Item No. 01 | Operation of pumps for making direct water supply in quarters in township as detail given in schedule E from sumpwells as per direction of engineer-in-charge and as per schedule. This works includes preventive maintenace such as greasing, change of glane doory and Cleaning, priming work, required valve operation, monitering water pressure/ level indicator, maintenace of foot valve filteration plant operation valves, chlorinization system, general maintenace of all pipe line and fitting and valve required for above operation (foot valve to overhead tank). The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in register/logbook recorded by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. |  |  | hours | 912.5
Item No. 02 | Operation of pumps for taking direct water from open wells / borewells in township as detail given in schedule E (Openwell -4, Borewell with submersible -2) as per direction of engineer-in-charge and as per schedule. This works includes preventive maintenace such as greasing, change of glane doory and Cleaning, priming work, required valve operation, monitering water pressure / level indicator, maintenace of foot valve (only for open wel ), general maintenace of all pipe line and fitting and valve required for above operation (foot valve to delivery point).The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor.The payment shall be made on the basis of measurement in register / logbook recorded by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. The deduction for over flow of water from tanks is to be done per overfloow @Rs 500/- |  |  | hours | 8760
Item No. 03 | To change all type of horizontle pumps in open well on labour basis as per direction of engneer-in-charge. Necesary work such as to open all connections, screws, install required maintained pump after, greasing, change of glane doory, Cleaning, rejoint the connections and tight the screw and priming the work and general required work including the scope of work. The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. roots or any other item that are chocking the sewer line. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. |  |  | nos | 22
Item No. 04 | To change all type of submersible pumps / jet pumps in bore well on labour basis as per direction of engneer-in-charge. Necesary work such as to open all connections, screws, open and taking out all pipes, maintenance of foot valve, install required maintained pump after, greasing, change of glane doory, Cleaning, rejoint the connections, connection of all pipes and tight the screw and priming the work and general required work including the scope of work. The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. roots or any other item that are chocking the sewer line. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. |  |  | nos | 66
page no 12 of 13
Item No. 05 | To change all type of valves complete (dia from 150mm to 400 mm dia) on labour basis as per direction of engneer incharge. Necesary work such as to open all connections, screws, open and taking out vaves, general maintenance, install required maintained valve, greasing, change of glane doory, chamber cleaning, rejoint the connections, connection, tightening the screws and general required work including the scope of work. The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. |  |  | nos | 12
Item No. 0 6 | Maintenance of all type of water supply pipe line complete (Dia from 25mm to 80mm dia) on labour basis as per direction of engneer incharge. Necesary work such as excavation refilling, dismentaling concrete work, to open connections, screws, open and taking out pipe line if required, general maintenance, rejoint the connections, tightening the screws and general required work including the scope of work. The other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. |  |  | nos | 24
Item No. 0 7 | Operation of fountain pumps in township as detail given in schedule E (one in near club bundela, near Swagat park -01 nos, Guesthouse 03) as per direction of engineer incharge and as per schedule. This works includes preventive maintenace such as cleaning, greasing of motor, change of glane doory, priming work, required valve operation, monitering water pressure, maintenace of foot valve, general maintenace of all item related to fountain and fitting and valve required for above operation (foot valve to delivery point). The glane doory, leather, grease or other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in register / logbook recorded by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. |  |  | hours | 670
Item No. 08 | Maintenance of fire hydrant point complete on labour basis as per direction of engneer incharge. Necesary work such as General cleaning to open connections, open and taking out pipe line if required, general maintenance, rejoint the connections, tightening the screws etc. The other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. |  |  | nos | 60
Item No. 09 | Maintenance and general cleaning of water supply valve chambers in factory and township on labour basis in every six month as per direction of engneer-in-charge. Necesary work such as General cleaning and mainteance of valve. The other small consumable items (not any fittings) required for maintaining the work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified daily by BHEL supervisor. |  |  | nos | 48
page no 13 of 13
Item No. 10 | House keeping of pump houses in factory and township on labor basis in monthly payment basis as per direction of engneer incharge. PH-2 & 4 Necesary work such as General cleaning inside, out side, overhead tanks, under ground tanks, filteration plant, pipe line, chambers, open area, and other equipment, keeping material at proper place, material handling and mainteance of valves, pumps etc complete. The other small consumable items required for above work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorized person and verified weekly by BHEL supervisor. |  |  | monthly | 24
Item No. 11 | House keaping of open wells, borewells, jet pumps in factory and township on labour basis in monthly pay ment basis as per direction of engneer-in-charge. Necesary work such as General cleaning inside, out side, pipe line, chambers, open area, and other equipment, keeping material at proper place, and mainteance of valves, pumps etc complete. The other small consumable items required for above work shall be arranged by the contractor. The payment shall be made on the basis of measurement in recorded in register by contractor or his supervisor / authorised person and verified weekly by BHEL supervisor. |  |  | monthly | 48
| Sub-Total "D" |  |  |  |  | Rs
BASIS OF OFFER
Sl no | Description | [5 empty] | SSW | USW
1 | Minimum Wages per day |  |  |  |  | Rs | 126.33 | 110.81
2 | PF / EDLI / Pension Contribution by contractor @13.64% |  |  |  |  | Rs | 17.19 | 15.08
3 | ESI Contribution by contractor @4.75% |  |  |  |  | Rs | 6 | 5.26
4 | Total amount payable to each manday |  |  |  |  | Rs | 149.52 | 131.15
5 | No. of days expected for fulfillment of contract |  |  |  |  | no | 234 | 1314
6 | No of labour expected to be deployed |  |  |  |  | no | 234 | 1314
7 | Total expenditure on account of labour deployement = (sl.5 x sl.6) = Rs.---/- |  |  |  |  | Rs | 34987.68 | 172331.1
| Total Expenditure for USW + SSW (Sub - Total "A") |  |  |  |  | Rs | 207318.78
8 | Contractor commission for fulfillment of work described = ----- % of sl no 8 above and to meet incidental charges including supervision, financing cost, stamp duty, charges, safty equipment for labour, wages for leave period as per UP Factories Rules, etc |  |  |  |  | Rs
9 | Value of the Cotract payable to the bidder / Price offer (Amount at sl.no 8 + sl.no 9) |  |  |  |  | Rs
Remarks
I) | Service tax shall be payble extra over and above the value of the offer price quoted above at sl.no.10 at the rates applicable (Presently@12.36%)
II) | Payment of statutory bonus @8.33% (Max Rs2500/- per year) will be reimbursed by BHEL as per clause no.6.0 of general terms and condition at annexture "G"
Note / Conditions for Price Bid
I) | Technical Bid and Price bid should be submitted in saperate sealed envelops, in case the bids are found in one single envelope the "BIDS" are liable to be rejected.
II) | All the blank spaces in price bid at sl.no.01, 09 & 10 of the price bid format should be filled by the contractor, If any fixed figure in thye price bid format is changed than the bid shall be summerririly by passed
Note / Conditions for Price Bid
I) | Technical Bid and Price bid should be submitted in saperate sealed envelops, in case the bids are found in one single envelope the "BIDS" are liable to be rejected.
II) | All the blank spaces in price bid at sl.no.01, 09 & 10 of the price bid format should be filled by the contractor, If any fixed figure in thye price bid format is changed than the bid shall be summerririly By-Passed.
III) | The Figure at sub-total "D" sould be matching / tally with figure at Sl no-9. If these two values are different, then the offer shall be by passed.
IV) | If any other addition is made or any condition is added by the Bidder in the Price Bid Format then the offer shall be By-Passed.
I / We agree with above and all other terms and condition of the contract.
| Date- |  |  | Name & Signature with Office seal