TENDER BOX IS KEPT AT 02 ANNEXE, GF (M&S   DEPT)    FOR    DROPPING FILLED TENDERS 

(THE TENDER IS IN TWO PARTS- PART ‘A’  CONSISTS Technical  Cum Commercial    & PART ‘B’ is  for  PRICE BID – should be kept  in   SEPARATE COVERS)

B H A R A T  H E A V Y  E L E C T R I C A L S  L I M I T E D

RAMACHANDRAPURAM: : HYDERABAD – 502032

: (M&S DEPARTMENT/ P&C)

Telephone No. 040-23182739       FAX NO. 040 – 2302 0185  email id: gjrao@bhelhyd.co.in

TENDER NOTICE NO.    M&S/P&C/2007/15                          DATED: 28.06.2007    
Tender  in two parts (Techno Commercial & Price Bid) will be received by the undersigned   in sealed cover from the contractors satisfying the prequalification requirements. 
Cover should be legibly appeared  with  tender notice number &  tender date,  name of the work and due date of tender opening.   Also indicate techno commercial bid  or price bid  on the  cover.    Tenders  will be opened at 13.30 hrs on the due date in the presence of tenderer’s or their authorized representatives in BHEL, Ramachandrapuram, Hyderabad
      1.         Name of work
:  Replacement of defective cable/ providing alternative supply  from 36/11 substation to works canteen
2.      Earnest Money Deposit

:    Rs. 10,000/-

3.      Time of Completion


:   2  Months  
4.   Estimated Cost:


Rs 1.33 Lakhs
5.      Maintenance period


:   Nil   Months 
6.     Last date for   Sale of tender document / download    :   16.07.2007
7.       Last date of receipt of tenders

:   17.07.2007   upto 11.00 Hrs.

8.      Date and time of opening of tenders
:   17.07.2007    at 13.30   Hrs.

9.      Cost of tender documents

:   Rs. 250/-

Submitted by  M/s 

         (G.Janardhan Rao)

Sr.Manager/ M&S (P&C)

TENDERERS ARE REQUESTED TO SIGN AND PUT SEAL ON ALL PAGES OF TENDER DOCUMENT

EMD: An amount of Rs10,000/- ( Rupees Ten  Thousand only) towards EMD shall be paid in cash at BHEL Cash office or by Demand Draft/ Bankers cheque drawn in the name of M/s Bharat Heavy Electricals Limited” payable at Hyderabad and shall be enclosed to the tender bid. No other means of payment will be accepted, no interest on EMD will be payable.         Cash office timings:   09.30 AM  to 11.30 AM  &   1.30 PM to 3.30 PM

PRE QUALIFICATION                      

I.
The following conditions have to be satisfied by the tenderer.  Documentary proof to be enclosed   with tender bid.   In case the agency fails to enclose the following documentary proof with tender,  the tender will be liable for rejection.
A)   
For Civil / Electrical/Mechanical Works:

i) Average Annual financial turnover during the last 3 years, ending 31s March of the previous financial   year, should be at least 30% of the estimated cost.

ii) Experience of having successfully completed   wiring  works  during last 7  years ending last day of month previous to the one;      should be either of the following:-

a) Three similar  or   cable laying  works-  completed works costing not less than the amount equal to 40% of the estimated cost ( Rs53,200/-).

Or

b) Two similar or cable laying works  - completed works   costing not less than the amount equal to 50 % of the estimated cost( Rs66,500/-)..

Or

c) One similar or  cable laying works  completed   costing not less than the amount equal to 80% of the estimated cost( Rs106,400/-).
iii) Penalty:  0.50 % of the gross value of work will be levied for every week’s delay by the agency subject to a maximum of 10 % value of the work for the above works.

iv) Statutory codes on the name of the firm submitting the tender

i) ESI Code

ii) PAN No.
iii)        Electrical Licence  upto  – 11000 Volts  grade  can be either valid or under renewal

a) PF Code  ( optional but should be produced with first bill claim if obtained fresh) 

b)   Labour licence (Central / State Government)   should be submitted before commencement of work. (only if employing more than twenty persons). Valid or under renewal  labour licence ( under section 12(1) of R&A  Act 1970

TENDERING PROCESS

A. Tender box is kept in 02 Annexe Ground floor  M&S (P&C Section) of BHEL, R.C.Puram, Hyderabad – 502 032; tenders can be dropped    before the due date & Time

B. The bids shall be submitted in two parts.

1. Technical & Commercial bid.      2.
Price   bid.

a) 
Technical & Commercial Bid:  The envelop shall contain the Technical & Commercial Bid as per the enclosed technical bid proforma with relevant documents like copies of ESI, PF code (if available), Labour license (if available), PAN No, & Experience, turnover  etc;   Saral ( IT) along with Profit & Loss  account copies duly  certified by chartered accountant for the 3 previous years ( TO MEET TURNOVER POINT).  Tender cost & EMD.  The envelop shall be super scribed “Technical bid    ------  ( name of work)
b)
The second envelope shall contain only the price bid to be quoted   Actual or approximate on any account.    Any other information in the price bid shall not be considered and the quotation is likely to be rejected.  The envelope shall be sealed and super scribed “Price Bid”       -----    ( name of work)
   c)    Both the above two envelopes shall be kept into another sealed cover. price bid document shall be signed by the tenderer at the bottom of the page. The cover shall be super-scribed with Quotation for -  ( name of work )”   and shall be addressed to Sr.Manager / M&S( P&C), 02 Annexe Ground Floor, Bharat Heavy Electricals Limited, Ramachandrapuram, Hyderabad – 502 032 to reach on or before by 11.00hrs on due date     and it should also contain from address, Tender No.                                     &   Tender due date:               
C. The requisitions for tender documents should be sent to  Sr.Manager / M&S(P&C), 02 Annexe Ground Floor, BHEL, Ramachandrapuram, Hyderabad – 502 032 along with Demand Draft / Bankers Cheque for Rs.250/- drawn in favor of “Bharat Heavy Electricals Limited, Hyderabad” payable at Hyderabad or payment of cash in BHEL cash office.  

D.  No other mode of payment will be accepted.  If tender documents are downloaded from our website:http://www.bhel.com the cost of the tender documents Rs.250/- by way of demand drafts & Bankers Cheque should be submitted along with the technical bid.  BHEL is not responsible for any postal delay.  The tenders will be opened in BHEL R.C.Puram Hyderabad- 32 on tender due date at 13.30hrs in presence of those tenderer who choose to be present.

E. EMD:    Demand Draft / Bankers  Cheque  or cash receipt obtained from BHEL cash office should be enclosed.
F. Date of opening of price bids will be intimated after technical suitability.

G. In case the agency has not satisfied all the conditions along with documentary proof, the tender will be rejected. Work experience documents:   Contractor  should be able to produce  1/2/3   work experience certificates obtained in the last 7 years from any reputed organization for value indicated in the pre qualification.
H. Tenders received mixed as technical & Price bid documents ( combined bid)   with out putting in individual envelops , the tender  shall be rejected.

I. Lowest offer will be decided on   the basis of  total  cost to BHEL.

Tender Documents  :

   Tender can be downloaded from BHEL official website. Tender cost is applicable even though  download from BHEL WEBSITE.

         Cash office timings:   09.30 AM to 11.30 AM &   1.30 PM to 3.30 PM
Other Conditions:

i) Tender bids without EMD & Tender cost  are liable for rejection.

ii) BHEL reserves the right to reject any or all tenders in part or in full without assigning any reason.

iii) Rates should be quoted for all items in price bid ( Annexure- II ),  any gaps if found,  tender will get rejected and will not be scrutinized.  hence proper care should be taken before dropping in the tender box 

1. TECHNO-COMMERCIAL BID offer should contain full set of signed tender document, copies of  licence,  statutory codes,   experience, turnover copies etc.  &    Cash Receipt or DD or Bankers cheque  for   EMD    &  Tender Cost   

 2. Price Bid in a separate cover.    
ANNEXURE-I

BHARAT HEAVY ELECTRICAS LIMITED

RAMACHANDRAPURAM:: HYDERABAD-502 032

M&S DEPARTMENT / PLANNING & CO-ORDINATION

TECHNO- COMMERCIAL BID        (PART-I)

Tender Notice No               :  
M&S/P&C/2007/15
THIS IS AN INDIVISIBLE WORKS CONTRACT AND THE CONTRACTOR SHALL FILL  REMARKS COLUMN AGAINST ALL ITEMS 
This tender schedule must be submitted along with the General Conditions, Special conditions etc. enclosed herewith duly signed and stamped on each page.    Any deviations / deletions etc.  should be brought out separately in your letter pad and need to be enclosed to  tender documents.

To be filled up by the Bidder

Part-A

TECHNICAL CUM COMMERCIAL BID

Name of the Contractor             :

Full Address:

Contact person:

Phone / Fax:

Mobile no:

Name of work                   :  Replacement of defective cable/ providing alternative supply  from 36/11 substation to works canteen


Description



   Contractor’s Acceptance/ Remarks.

	1.
	Experience   

(Details should be furnished )

name of the work undertaken:

value of work:

worked in which company/ organization:

year of work completion: 

work experience certificate  obtained from whom:

(enclose a separate sheet if necessary)

--  please refer  prequalification 
3 works  / 2 works  / 1 work

3

2

1


	

	2
	PF CODE NO ( if available) :
	

	3.
	ESI CODE NO:
	

	4
	LABOUR LICENCE NO  under section12 (1) of   R&A 1970 & Validity( either valid or under renewal should indicate):
	

	5
	Electrical Licence   upto 11000 volts    Grade – 
& validity  ( either valid or under renewal)
	

	6
	 Acceptance of Completion Time   in  2  months
	

	7
	Validity:  Minimum 90 days from technical bid opening date.
	

	8
	EMD  Rs10,000/-    Cash receipt/ bankers cheque  No & date  Details
	

	9
	Tender cost Rs 250/-   Cash receipt / bankers cheque/ DD   No & date details 
	

	10
	Security Deposit clause:     acceptance ( Details see under terms and conditions clause 22 )
	

	11
	PAN No:
	

	12
	Service Tax Regn  No:  ( if available) 
	

	13
	Whether Price quoted is inclusive of all duties and firm during contract period. 

	

	  14
	PAYMENT TERMS:
  Payment after completion  of  work in all respects.   Bill should be entered in measurement book with all details. Release of payment may take about 15 days from all clearances.
	

	  15
	PENALTY:  0.5% of the contract value per week or part there of upto a maximum of 10% of the contract value shall be levied if delayed 
	

	   16


	General conditions    acceptence  – technical questionnaire ( see in the foot Note)
	

	    17
	Decision of BHEL Representative shall be final in the matter of inspection at any stage
	

	18
	All items will be carried out as per   Price bid  Annexure-II 
	

	19
	Annual turnover  during last 3 years                     ( Rs39,900/- average per year)

05-06  year-  

04-05
03-04

	Amount Rs.


Imp:  Lowest offer will be decided on total cost to BHEL 
Note /  Special Conditions: 

           1) Items like Cable and Combination Fuse switches will be supplied by BHEL .

           2) Supply of Items like Insulation tapes , Cable joining kits ,  Crimping Lugs , Sand , bricks , Rough stones , Pipes etc  are in Contractors scope.

           3)  Safety of workers is sole responsibility of Contractor.

           4) Contractor shall possess valid Electrical license ( LT ) , and shall employ only qualified  LT jointer for cable joining purpose.

           5) If the cable joints fails while making , testing , Commissioning or during maintenance period the Contractor shall bear all the expenses for                making new joints including the cost of jointing kits.

           6) The contractor shall bring all the tools and measuring equipments  like Megger ,  AVO meter , Hydraulic crimping tool.

I. OBLIGATIONS OF THE CONTRACTORS   
1. If the tender is made by an individual, it shall be signed with his full name and his address shall be furnished.  If it is made by firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, also furnish the name and address of each member of the firm.  If the tender is made by a corporation, it shall be signed by a duly authorized Officer who shall produce with the tender, satisfactory evidence of his authorization.  Such tendering corporation/firm is required to furnish evidence of its existence along with bid.

2. The EMD will be refunded to the unsuccessful Tenderers on application after rejection of the tender is intimated.  The earnest money will be retained in the case of the successful tenderers and either of the cases will not carry any interest.  It will be dealt with as provided in the conditions attached to the tender.

3. Whenever a tender is to be accepted, the tenderer, whose tender is under consideration, shall attend the Office of " Officer Inviting the Tender " on the date fixed by written intimation to him.  He shall forthwith, upon intimation being given to him by the " Officer Inviting the Tender” for acceptance of his tender, complete the execution of the agreement by signing all documents connected therewith.  Failure to do so and not to commence the work within one month from the date of intimation shall entail forfeiture of the earnest money.

4. Tenderers shall persue carefully the instructions and directions to the parties given in the tender document and the conditions there of and all other relevant documents before quoting the rates for the work.  The approximate quantity of work to be executed under each class is given in the schedule.  The quantities are given with a view to enable tenderer to quote his overall rate for each class of work in the tender form and for a uniform comparison of tenders.  It shall be definitely understood that the schedule is liable to alterations at the discretion of accepting authority.

5. Tenderers shall keep the offer valid for a period of 90 days from the date of opening of tender.  After submitting the tender, he will not recall his offer or modify the terms and conditions thereof.  Should the tenderer fail to observe or comply with the foregoing stipulations, the EMD shall be forfeited.

6. Tenderers have to quote their rates in the tender schedule legibly written in figures  and those not submitted in proper form are liable for rejection.

7. The submission of tender shall be strictly in accordance with the terms and conditions stipulated in this tender notice.  No counter conditions will be acceptable or valid.

8. Contractor shall be deemed to have included in his tender price of all the plant, machinery and appliances required for the purpose of all operations connected with the work embraced under the contract to secure a satisfactory quality of work and rate of progress which in the opinion of the " Contract Signing Officer" will ensure the completion of the work within the time specified.

9. BHEL is having every right to split the schedule and to award the work to single or more parties on the lowest offered rates basis.

10. BHEL is having right to call the lowest bidder for price negotiations, if the rate or amount quoted by contractor is felt on higher side. In such cases contractor should attend negotiations with full details.  

11.  If BHEL feels to continue the contract, BHEL may request the contractor for extending the contract for one more year with same terms and conditions.

12. The rates quoted by the contractor should be firm for the contract period.  There shall be no revision in contract rates during the period of the contract, there after extension if any.  

13. BHEL reserves the right to terminate the contract at any stage without assigning any reason.

14. The contractor must have phone facility at his office/ residence or cellular phone for proper communication.

15. Withdrawal from contract during contract period in BHEL will entail forfeiture of security deposit.

16. The contract agreement shall be entered with BHEL, Ramachandrapuram, and Hyderabad on valid non judicial stamp paper of the value of Rs100/- to be purchased by the contractor at his own cost.

17. Labour engaged by the contractor should be disciplined & exhibit good behavior in dealing with employees of BHEL. Any misbehavior or conduct of any Peron engaged by the contractor is not good, contractor shall change that person immediately or else it may even lead to termination of the contract & security deposit will be forfeited as penalty.

18. The Executing Officer shall ensure the execution of work on quantifiable basis taking into account equipment and machinery deployed rather than availability of technicians.

19. Disputes, grievances between the contractor and his labour, will have to be settled by the contractor only.

20. The labour employed by the contractor, if found in abetting any of fellow labour or contractors or any BHEL employee, the same shall be considered as an act of indiscipline.  Such laborers shall be removed from the services of the contractor, on the advice of BHEL.  Further the contractor shall initiate every necessary action in accordance with the relevant Laws, Rules & Regulations and enactments of state and Central Governments.

21. Earnest Money Deposit:  

Earnest Money is to be paid by each tenderer to ensure that the tenderer does not refuse to execute the work after it is awarded to him.  The rate of earnest money deposit shall be as per tender schedule. 

          Upto Rs   5  Lakhs --                           Rs10,000/-

          EMD by the Tenderer will be forfeited as per Tender Documents if

         i)    After opening the tender, the tenderer revokes his tender within the validity period or increases his earlier quoted rates.

         ii)     The tenderer does not commence the work within the period as per LOI / Contract. In case the LOI / contract is silent in this regard then within 15 days after award of contract.

             EMD shall not carry any interest

22.    Security deposit:   

      Security Deposit should be collected from the successful tenderer.  The rate of Security Deposit will be as below:

Upto Rs. 10 lakhs



10%

The security Deposit should be collected before start of the work by the contractor.

Security Deposit may be furnished in any one of the following forms 

  i)       Cash (as permissible under the Income Tax Act)

 ii)        Pay Order, Demand Draft in favor of BHEL.

iii)
       Local cheques of scheduled banks, subject to realization.

i) Securities available from Post Offices such as National Savings Certificates, Kisan Vikas     Patras etc.        (Certificates should be held in the name of Contractor furnishing the security and duly pledged in favour of BHEL and discharged on the back).

ii) Bank Guarantee from Scheduled Banks / Public Financial Institutions as defined in the Companies Act subject to a maximum of 50% of the total security deposit value.  The balance 50% has to be remitted either by cash or in the other form of security. The Bank Guarantee format should have the approval of BHEL. 

iii) Fixed Deposit Receipt issued by Scheduled Banks / Public Financial Institutions as defined in the Companies Act. The FDR should be in the name of the contractor,  A/C BHEL, duly discharged on the back. 

iv) Security deposit can also be recovered at the rate of 10% from the running bills. However in such cases at least 50% of the Security Deposit should be collected before start of the work and the balance 50% may be recovered from the running bills.                                                                                                                                                                         

v) EMD of the successful tendered shall be converted and adjusted against the security deposit.

             The security deposit shall not carry any interest. 
Security deposit shall be refundable on expiry of guarantee period, for refund claim with clearance certificate from party is essential.

	    
	
	

	23.  WAGE SLIP, employment card    etc to the technicians/  supervisors/ engineers  have to

 be arranged by the contractor.
	

	24     PF Remittances should be made before 7th of succeeding month for workmen   engaged,  copy

	must be produced in HR (Personnel) dept along with list of persons engaged and contributions made   for obtaining HR Clearance  and also to the site incharge 

(as per EPF clause).

25. Contractor shall provide to his employees all tools, tackles and equipments to carry out the job at his own cost.

26. Contractor shall provide safety appliances at his own cost which may be required under

        the statute or otherwise.

27. Contractor shall provide all material at his cost as mentioned in the contract to his 

         employees for carrying out the job

28.   Payments will be made to the contractor after completion of work   carried out

         by him and on   submission of bill..

29 Any future wage raise on account of DA Increase/ Wage revision by AP Government

 may be met by the contractor himself. BHEL will not reimburse the differential 

in rate of DA  or Wages. 

30. All payments will be subject to deduction of income tax at source as per 

Income Tax    (Present rate of TDS is 2.26%).


	
	
	


31.   The issue of materials is governed by the conditions specified in the schedule-II (If any).  All other materials shall be supplied by the contractor himself and the rates for the relevant items are inclusive of all such supplies.

32.      BHEL reserves the right to deviate either by addition or by deletion from the schedule of items of work given in the tender document after awarding the work.

PRICE BID

                                                                              Annexure- II                                                                                            
Schedule  of Work :                                          
Name of the Work : Replacement of defective cable from 36/11 Sub station  to works canteen and providing  alternate supply from 08  Substation  to Woks Canteen  .

	Sl. No. 
	Description of work
	Unit
	Qty.
	Rate in Rs.
	Amount in Rs.

	1.

a)

b)
	Earth work excavation for cable Trench of 800 MM width X 1 Meter depth

In all soils except hard rock.

By cutting across the roads , railways tracks.
	R Meters.

R Meters
	520

85
	
	

	2.
	Supply and joining , Laying of RCC Pipes of Size 9” ( 225 MM ) Inner dia , 2 Metres length , NP3 ( Non Pressure class 3 RCC Pipes ) along with suitable collars as per IS 458 with latest amendments in the cable trenches against the item No. 1 b) for running cables freely ( Quotation shall include closing the pipes at both ends with cement mortar using collar wherever necessary )
	Nos. 
	35
	
	

	3.
	Laying of  Armoured , PVC Insulated , Sheathed  Aluminium  cables of size 3 ½Core 300 Sq. MM  ,    in the above excavated cable trenches which includes shifting of cable drums from store to site and including material handling from store etc. ( Two parallel cable will be run in the trenches ) 
	R Meters
	1290
	
	

	4.
	Supply and execution of 415 V , LT Heat Shrinkable end cable Termination with suitable copper lugs for 3 ½Core X 300 Sq. MM LT cables with proper earthing as per site requirement. The termination shall be of Indoor type.
	Nos. 
	8
	
	

	5.
	Supply and execution of 415 V , LT Heat Shrinkable Straight through terminations for  3 ½Core X 300 Sq. MM Armoured Aluminium  LT cable in the cable trenches  with proper earthing as per site requirement including the meggering the cables before and after the termination.  The termination shall be of outdoor type.

The jointers shall have experience in heat shrinkable kits , the jointer kit  from OEM and M/s Raychem is preferable.
	Nos.
	1
	
	


Page total Rs
Page 1 of 2 
	Sl. No. 
	Description of work
	Unit
	Qty.
	Rate in Rs.
	Amount in Rs.

	6.
	Supply and spreading of sand all around the cable to a thickness of 100 mm , supply and laying bricks  all along  the cable on both sides , supply and laying rough shaded stones of one meter / 800 MM width with one inch thickness on top of bricks for item 1 a) and 1 b)
	R Meters
	520
	
	

	7
	Removal of 200 Amps / 315 Amps Combination fuse switch unit along with bus bar connections.
	Nos.
	2
	
	

	8.
	Modification of existing MD board and  installation of 500 Amps CFS unit with top entry and bottom entry etc.
	Nos.
	2
	
	

	9.
	Connection of Cable end joints to Bus bar of 36/11 Sub station and 08 Substation
	Nos.
	2
	
	

	10.
	Filling of soil in the excavated trenches after placing cable , spreading sands , laying bricks  and putting rough shaded stone on top of the bricks 
	R Meters
	605
	
	

	                                                                                                                                            Total Amount 
In Words: Rupees
	


Page 2 of 2 

