## Annexure-V SI checklist
S.No | Server Infrastructure with the following specification is required by BHEL | Vendors Compliance Yes / NO | Remark | [6 empty] | Document Reference
1 | Unix Servers (one each at Primary & DR Sites)
1 | Specify the Make and Model of the Server
2 | Confirm that the two servers are of the same make and model
3 | Specify the Processor
4 | Confirm that the processor is 64 bit RISC / EPIC Processor
5 | Specify the Clock speed of the CPU
6 | Specify the maximum number of Processors accommodated in the server
7 | Is the SAPS bench mark of the offered model published in SAPS web site?
8 | If not, confirm that Certificate from SAP Competence Centre is submitted.
9 | Confirm that the benchmark is for SD - 2tier SAPS
10 | Confirm that the benchmark is for Fully populated (processors) server
11 | Confirm that the benchmark is for Unix Operating System
12 | Confirm that the benchmark is for SAPS ECC 5.0 / 6.0
13 | Confirm that the benchmark is for Oracle RDBMS
14 | Specify the published/certified SAPS benchmark rating of the server
15 | SAPS per processor
16 | All interface cables required for the solution are included in scope of supply
I/O Slots
17 | All I/O slots are hot pluggable
18 | All adapters are hot swappable
19 | All Fibre Channel Adapters have at least 4 Gbps bandwidth.
20 | All SCSI adapters are Ultra III SCSI/SAS
21 | All Ethernet adapters are 1000 Mbps with RJ45 interface
22 | There shall be no single point of failure while using multiple port/function adapters.
23 | If multiple port/function adapters are used, the cumulative bandwidth of the adapter shall be less than 70% of the I/O slot bandwidth.
Memory
24 | Type of memory used in the model whose SAP benchmark is published
25 | Confirm that memory is DDR2 SDRAM
26 | Advanced ECC protected?
27 | Specify the memory to processor ratio in the reference model
28 | Specify the memory offered
29 | Ratio of memory to processor in the offered Server
Partitions
30 | Can each server support at least 12 partitions?
31 | Can the processors and memory of any partition be logically assigned to any other partition by the system administrator with out reboot of source or target partitions?
32 | Does each partition run its own independent Operating System kernel?
Disc Drives
33 | At least 2 internal discs with each partition for OS mirroring
34 | 15K rpm 146 GB disc drives
35 | hot-swappable
36 | 2 no of FC / SCSI Ultra III/SAS controllers
Other Server accessories
37 | Rack mountable System console with each Server
38 | 17" TFT Monitor with keyboard and mouse
39 | System console capable of Server administration
40 | System console capable of partition configuration
41 | System console capable of administration of any partition
42 | Do the above functions require any special hardware?
43 | Are such special hardware included in the scope of supply?
44 | 5 Common sets of removable media drives DVD-RW Drives and 4mm, 40 GB DAT Drives internal/external
45 | Confirm that the drives are sharable across partitions without reboot.
46 | SCSI DVD-RW drive (specify speed)
47 | SCSI DAT (4mm, 40/72 GB) drive
48 | DVD-RW and DAT drives are configurable dynamically to any partition by the system administrator
49 | Provision for input from more than one power source
50 | Redundant hot-swappable Power Supplies
Campus Wide LAN connectivity
51 | Are all partitions connected through Gigabit Ethernet switches at each site to the campus wide LAN / WAN as shown in the schematic diagram.
52 | Are the Gigabit Ethernet adapters of each partition connected to either of the switches
Clustering
53 | Clustering as per the schematic diagram provided
54 | Configured for both automatic fail-over and automatic fail-back.
55 | Independent redundant heart-beat communication links between the clusters
Disaster Recovery
56 | The databases in the primary server and DR server are to be replicated synchronously
57 | Confirm that all the software and hardware such as the Multi-protocol Router required for block level replication of the storages are included in the supply
58 | The software required for the data synchronization by periodically transferring the log files from the Primary site to the Disaster Recovery site and updating in the Disaster Recovery site storage and as well as other way round shall also be supplied
59 | The time delay is less than one hour
Server software
60 | Independent operating system kernel for each partition.
61 | Latest version of 64-bit OEM Unix Operating System for each partition
62 | Capable of running 64-bit SAP ECC Version 5.0 or higher version.
63 | Capable of running 64-bit Oracle v9.2 RDBMS or higher version
64 | At least 12 copies of the OEM Unix operating system with each server.
65 | Support for unlimited users by Unix OS
66 | GUI based system software
67 | Partition Management with Dynamic configuration
68 | System administration
69 | Clustering Software
70 | Client software to administer the servers from Window desktops.
71 | Print Manger with advanced spooling features with each server
72 | Support for SAP enabled Load sharing of Application servers
Please Furnish the Partition-wise Processors, Gigabit Ethernet adapter, Fibre channel adapters, Ethernet adapters for Heart-beat communication, SCSI / FC adapters for OS disc drives, SCSI for DVD-RW/DAT drives offered. If Multiport, multifunctional adapters are used, details on I/O slot-wise adapter deployment shall also be furnished.
S.No | Partition Description | No of Processors (initial supply) | SAPS offered | No of processors expandable to | Ethernet Ports |  |  | Fibre Channel adapter | Heart-beat Ethernet adapter | SCSI / FC adapter For OS Drives | SCSI for DVD-RW/ DAT | Total no of I/O slots / adapters
[5 empty] | 10Gigabit Ethernet Ports | Gigabit Ethernet adapter
[6 empty] | Public LAN | Dedicated LAN
Server at Primary Site ( Informatics Centre)
1 | oracle dB
2 | oracle App 1
3 | ERP dB
4 | ERP App 1
5 | ERP App 2
6 | ERP QA
7 | BIW dB
8 | BIW App 1
9 | BIW QA
10 | Backup 1
Total
Server at Disaster Site ( 03 Annex)
1 | oracle dB Failover
2 | oracle App 2
3 | ERP dB Failover+CI
4 | ERP App 3
5 | ERP App 4
6 | ERP dev
7 | BIW dB Failover+CI
8 | BIW App 2
9 | BIW dev
10 | Backup 2
Total
S.No | Description | Vendors Compliance Yes / NO | Remark | [6 empty] | Document Reference
2 | SAN Storage (one each at Primary & DR Sites)
1 | Latest Technology and Monolithic
2 | RAID support 5, 1 + 0
3 | 4 Gbps host interfaces
4 | 341 disc spindle of 146GB 15K rpm including adequate hot spares at each site
5 | 16 or more Fibre Channel host interfaces to connect to both SAN switches.
Data Cache
6 | 64 GB Cache
7 | Cache expandable to 128 GB
8 | The write cache de-staged immediately to disk, in case of power failure
Other features
9 | Load sharing using multipathing for all partitions with multiple connectivity
10 | License for at least 12 server partitions
11 | SAN storage system level mirroring for 10000 GB Data
12 | SAN storage system level replication for 10000 GB Data
Expandability
13 | 20% with respect to number of Disc Drives
SAN Software
14 | If the software modules for providing the features mentioned below requires special hardware, the same are included in the scope of supply?
15 | GUI based system software
16 | Multipathing software License for at least 10 server partitions shall be provided
17 | The fibre channel paths shall work on load sharing and fail-over basis using multi-pathing software
18 | Storage configuration and Management
19 | Performance Monitoring and Management
20 | License for Local/Point-in-time/ Flash copy software with all available options including provision for taking full copy and incremental copy of 10000 GB of data
21 | Remote data replication with all available options including synchronous and asynchronous replication of 10000 GB of data
22 | Centralised storage management
23 | The remote copy and local copy shall be at storage system level.
3 | SAN Switches (Two each at Primary & DR Sites)
1 | 48 port SAN Switches
2 | 4 Gbps ports
3 | Out of 48 ports, 8 Ports shall be Long haul to dive a distance of 5 Km.
4 | Tape Library (Back-up Device) (one each at Primary & DR Sites)
Tape Library with Gen4 LTO drives - 2 Nos.
1 | Specify the LTO FC drive Gen 3 or Gen 4
2 | If Gen 3 LTO FC drive is supplied initially, will it be replaced with Gen 4 drive?
3 | If Gen 4 FC drives are supplied, confirm the supply of Tape library with 100 tapes without pass-through mechanism
4 | Redundant Power supply
5 | 100 tapes / 200 tapes( in case of Gen 3) included in the scope of supply
6 | 50 cleaning tapes included in the scope of supply
Tape Library with Gen3 LTO drives - 2 Nos.
1 | The Tape libraries shall have 8 Gen 3 LTO fibre channel drives.
2 | Shall be capable of supporting at least 200 tapes without pass through mechanism.
3 | The tape libraries shall have redundant power supply.
4 | The LTO tape drives shall be connected with 8 Nos. of 4Gbps Fiber Channel ports to the SAN Switches, and the FC ports on the Servers for tape connectivity have to be doubled.
5 | 200 Gen 3 LTO Tape media and 20 head cleaning tapes also shall be supplied with each of the Tape library.
Back-up Software
1 | License for taking backup of data residing in all the partitions
2 | Specify the Back-up software offered
3 | Single solution for supporting multiple operating systems and application
4 | Back-up software shall support tape replication.
5 | Support for scheduled and policy based back-ups.
6 | Support for automated back-up
7 | Support on-line back-up of Oracle/SAP
8 | Support multiple simultaneous client sessions for back-up and restore
9 | Back end RDBMS for efficient management of data on backup
10 | Support features like Point-in-time back up/ restore and Archive /retrieve
11 | Support back-up over LAN and SAN
12 | Support for backup of data from Windows, Novell, Linux Servers
13 | Enterprise management capability
14 | Scalable
15 | Integration with Enterprise Management software such as HP Openview, Tivoli, Unicenter TNG etc.
5 | Racks (at Primary & DR Sites)
1 | Confirm the supply of rack to house Servers, storage, LAN, SAN switches, system console, etc
2 | Confirm the supply of mounting hardware, cable managers, power stripes, jack panels and patch chords required for housing the equipment.
3 | Specify the number of cooling fans in each rack
6 | Archival Appliance (at Primary & DR Sites)
1 | The Archival System shall have Two UDO2 drives with a library capacity of 80 slots.
2 | The Media type shall be of UDO2 and shall be supplied with 200 Nos. of UDO2 (60GB each) write once media
3 | The RAID cache (Disk Drives) shall be of 2TB capacity
4 | The interfaces shall be of Gigabit Ethernet and all the Software to be supplied along with licenses to port on Unix platform.

## Annexure-VII DC Check list
Sl no | BHEL Specification | UOM | Vendor Response | Remarks
1 | Civil & interiors works : Data centre Layout design and implementation which includes false ceiling, false flooring, partitions, fire rated door , painting etc | ls
2 | Electrical Power distribution: Supply, installation and commissioning of Main LT panel, UPS DB C DB, UPS output wiring, raw power wiring, lighting , wiring and light fittings, power points, earthing, earthing strip, cable raceways, computer wiring, point wiring, server wiring, desktop wiring, piping and conduting | Lot
3 | Precision A/C units: Precision air handling units DX based for Server Room - Supply, installation and commissioning of 4 x 10TR capacity precision units for server farm area (minimum low side work considered) and 2 X 5.TR for DR Site | Set
4 | UPS system: 60 Kva x 2 nos. with 2 hour battery back up dual bus configuration with load bus synchronisation in Data Center. And 2 X 40 kVA for the DR Site. And 1 X 15kVA with half an hour battery back for 50-60 DESKTOPS in Data Center
5 | Access control system using biometric, proximity combination for DC, Server room and UPS critical levels | Lot
6 | Fire detection system : analogue addressable fire alarm system with cross zoning. Intelligent system of VIEW as an addon to this. | Lot
7 | Fire suppression system- FM 200 for server room including seamless cylnder, valve assembly, FM 200 agent, , electronic control, discharge nozzle, flexible hose, MS contanier strap, piping as per ASTM A-106, sch 40, | Lot
8 | CCTV - Surveillance system - with DVR, Camera, monitor power supply etc., | Lot
9 | Water leak detection system for Server /network room only with Panel, tape sensor and cables | Lot
10 | Rodent Control system for server room and Network room only with Satelite units, panels and cabling for DC & DR | Lot
11 | VESDA | lot
12 | Building Management System | lot
13 | Safety Iron Locker 90 ltr | unit
14 | Project Management Charges for DC implementation
15 | DG Set with AMF Panel: 380 kVA

## Annexure-VII Civil-PR
Sl no | BHEL Specification | UOM | Qty | Vendor Response | Remarks
A | Ceiling
1 | False celing using Armstrong/ USG/AMF or equivalent Boards | Sqft | 3685
B | Flooring
2 | Raised Acess Flooring for server & Network area using Unitile/ NITCO tiles with 600x600 tiles on pedstal 24" and stingers in G.I. The tiles to have antistatic Laminate | Sqft | 1215
3 | MAKE: MODI Antistatic Vinyl flooring for UPS Room | Sqft | 200
4 | Other office area using virtified tiles 600x600m size of Naveen/Nitico or equivalent | Sqft | 2470
C | Partitions
MAKE: IMPACT/ PINLKINTON Fire Rated Partially Glazed Partition for Server Room using Fire Rated Glass with Heavy Duty Aluminium Sections
5 | Fire Rated Partially Glazed Partition | sqft | 128
6 | MAKE: LEGRAND Double Skin Gypsum Board Partition Reinforced with GI Sheets on both sides full height with GI Heavy Sections sections with 12mm Gypsum Board . | Sqft | 1672
D | Doors
Fire Rated Doors
7 | Godrej / Sakthimet Fire Rated Doors for Server Room without view panelview panel | sqft | 98
view panel
8 | Glazed door with 12mm ASHAI/ SAINT GOBAINglass with Hard wood twin style frame work on Top & Bottom with Deco Paint Finsih with SS Handles and floor spring | Sqft | 98
9 | Other Doors for UPS Room, using Double Skin Plywood with Handles SS Hinges and door Closer | Sqft | 35
E | Furniture
10 | MAKE: WIPRO/ EUROPATCH Modular Workstations for NOC, Office Area, Manager Room and Staging Room with Pedestals | No | 20
11 | MAKE: WIPRO/ FEATHERLITE Chairs for ROC, Security etc Room Featherlite/Euro/Eurosat or equivalrnt | No | 20
F | Miscellaneous
12 | Tile Puller to remove cementitious Tiles | Nos | 1
13 | Vertical Blinds | Sqft | 80
14 | RAMPS/STEPS for Server Room Network Room | Sqft | 98
15 | MAKE: ASIAN / NEROLAC Painting on Walls with 3 coats of Plastic Emulsion on top of putty work on walls and partitions | Sqft | 7960
16 | Storage in NOC,Office Area etc | Sqft | 600
17 | P.O.P Punning of average thickness 1/2" over wall | Sqft | 1900
18 | Display Boards in NOC | Nos | 1
19 | Miscllaneous Civil works like dismantling closing of windows etc | ls | 1
20 | Cleaning of site at regular intervels | ls | 1

## Annexure-VII Civil-DR
Sl no | BHEL Specification | UOM | Qty | Vendor Response | Remarks
A | Ceiling
1 | False celing using Armstrong/ USG/AMF or equivalent Boards | Sqft | 1380
B | Flooring
2 | Raised Acess Flooring for server & Network area using Unitile or equivalent Cementitieous tiles with 600x600 tiles on pedstal 24" and stingers in G.I. The tiles to have antistatic Laminate | Sqft | 600
3 | Antistatic Vinyl flooring for UPS Room | Sqft | 150
4 | Other office area using virtified tiles 600x600m size of Naveen/Nitico or equivalent | Sqft | 630
C | Partitions
Fire Rated Partially Glazed Partition for Server Room using Fire Rated Glass with Heavy Duty Aluminium Sections
5 | Fire Rated Partially Glazed Partition | sqft | 0
6 | Double Skin Gypsum Board Partition Reinforced with GI Sheets on both sides full height with GI Heavy Sections sections with 12mm Gypsum Board . | Sqft | 200
D | Doors
Fire Rated Doors
7 | Godrej / Sakthimet Fire Rated Doors for Server Room without view panelview panel | sqft | 35
8 | Glazed door with 12mm glass with Hard wood twin style frame work on Top & Bottom with Deco Paint Finsih with SS Handles and floor spring | Sqft | 91
9 | Other Doors for UPS Room, using Double Skin Plywood with Handles SS Hinges and door Closer | Sqft | 35
E | Furniture
10 | Modular Workstations for NOC, Office Area, Manager Room and Staging Room with Pedestals | No | 20
11 | Chairs for ROC, Security etc Room Featherlite/Euro/Eurosat or equivalrnt | No | 12
F | Miscellaneous
12 | Tile Puller to remove cementitious Tiles | Nos | 1
13 | Vertical Blinds | Sqft | 40
14 | RAMPS/STEPS for Server Room Network Room | Sqft | 40
15 | Painting on Walls with 3 coats of Plastic Emulsion on top of putty work on walls and partitions | Sqft | 2100
16 | Storage in NOC,Office Area etc | Sqft | 200
17 | P.O.P Punning of average thickness 1/2" over wall | Sqft | 700
18 | Display Boards in NOC | Nos | 0
19 | Miscllaneous Civil works like dismantling closing of windows etc | ls | 1
20 | Cleaning of site at regular intervels | ls | 1

## Annexure-III Price Bid
Item No | Item Description (For supply & commissioning at BHEL Hyderabad) | Item Qty | Outright Purchase (including AMC upto 5th year) |  |  |  |  | 5 Year Finance Lease Option
|  |  | Unit Price inclusive of Taxes & duties | Specify % of Tax & Duties | Warranty Period in no of years | AMC charges after Warranty Period including tax | Total Price including Taxes, Duties and AMC | Principle for total qty. | Interest value | Maintenance Charges | Lease / Service tax (%) | Lease / Service tax (Value) | Total 5 year Rental including Tax | Total Quarterly Rental including Tax | AMC after 5 year lease period (specify % of outright price)
|  | a | b | c | d | e | f=(axb)+(5-d)e | g | h | i | j | k | l=g+h+i+k | m= l/20 | n
PART-A
1 | Unix Servers | 2
2 | SAN Storage | 2
3 | SAN Switches | 4
4 | Tape Library (Back-up Device) | 2
5 | Racks ( set) | 1
6 | Archival Appliance | 2
Total for Part-A
PART-B
1 | Total for Part-B (Creating Data Centre Environment for both Sites) | 1
Grand Total for Part-A and Part-B
I | Delivery Period: FIRM 10 Weeks from Date of LOI |  | Accepted / Not accepted
II | BHEL Terms & Conditions |  | Accepted / Not accepted
III | Comprehensive Insurance Covered: |  | Accepted / Not accepted
IV | Price: FIRM inclusive of all Taxes, Levies & Duties |  | Yes/No (indicate the % Taxes, Levies and Duties)
* | Out right purchase price |  | = | F.O.R Destination Cost + ED + CST
| F.O.R Destination Cost |  | = | Price Ex-works + Packing & Forwarding + Freight & Insurance
Warranty period in case of outright purchase is 2 years from the date of commissioning.
(Signature of Authorised Person with seal)

## Annexure-III DC Total
Sl no | BHEL Specificationv (for Both sites) | UOM | Unit Rate | Amount
1 | Civil & interiors works : Data centre Layout design and implementation which includes false ceiling, false flooring, partitions, fire rated door , painting etc | ls
2 | Electrical Power distribution: Supply, installation and commissioning of Main LT panel, UPS DB C DB, UPS output wiring, raw power wiring, lighting , wiring and light fittings, power points, earthing, earthing strip, cable raceways, computer wiring, point wiring, server wiring, desktop wiring, piping and conduting | Lot
3 | Precision A/C units: Precision air handling units DX based for Server Room - Supply, installation and commissioning of 4 x 10TR capacity precision units for server farm area (minimum low side work considered) and 2 X 5.TR for DR Site | Set
4 | UPS system: 60 Kva x 2 nos. with 2 hour battery back up dual bus configuration with load bus synchronisation in Data Center. And 2 X 40 kVA for the DR Site. And 1 X 15kVA with half an hour battery back for 50-60 DESKTOPS in Data Center
5 | Access control system using biometric, proximity combination for DC, Server room and UPS critical levels | Lot
6 | Fire detection system : analogue addressable fire alarm system with cross zoning. Intelligent system of VIEW as an addon to this. | Lot
7 | Fire suppression system- FM 200 for server room including seamless cylnder, valve assembly, FM 200 agent, , electronic control, discharge nozzle, flexible hose, MS contanier strap, piping as per ASTM A-106, sch 40, | Lot
8 | CCTV - Surveillance system - with DVR, Camera, monitor power supply etc., | Lot
9 | Water leak detection system for Server /network room only with Panel, tape sensor and cables | Lot
10 | Rodent Control system for server room and Network room only with Satelite units, panels and cabling for DC & DR | Lot
11 | VESDA | lot
12 | Building Management System | lot
13 | Safety Iron Locker 90 ltr | unit
14 | Project Management Charges for DC implementation | ls
15 | DG Set with AMF Panel: 380 kVA | 1
Total Amount
Note: For lease retal price evaluation purpose, the quantities mentioned above for supply and installations are considered. For lease rentals payments, the supply qunatities and the actual installation qunatities shall be taken into consideration.

## Annexure-III DC Civil-Primary
Sl no | BHEL Specification | UOM | Qty | Unit Rate | Amount
A | Ceiling
1 | False celing using Armstrong/ USG/AMF or equivalent Boards | Sqft | 3685
B | Flooring
2 | Raised Acess Flooring for server & Network area using Unitile/ NITCO tiles with 600x600 tiles on pedstal 24" and stingers in G.I. The tiles to have antistatic Laminate | Sqft | 1215
3 | MAKE: MODI Antistatic Vinyl flooring for UPS Room | Sqft | 200
4 | Other office area using virtified tiles 600x600m size of Naveen/Nitico or equivalent | Sqft | 2470
C | Partitions
MAKE: IMPACT/ PINLKINTON Fire Rated Partially Glazed Partition for Server Room using Fire Rated Glass with Heavy Duty Aluminium Sections
5 | Fire Rated Partially Glazed Partition | sqft | 128
6 | MAKE: LEGRAND Double Skin Gypsum Board Partition Reinforced with GI Sheets on both sides full height with GI Heavy Sections sections with 12mm Gypsum Board . | Sqft | 1672
D | Doors
Fire Rated Doors
7 | Godrej / Sakthimet Fire Rated Doors for Server Room without view panelview panel | sqft | 98
view panel
8 | Glazed door with 12mm ASHAI/ SAINT GOBAINglass with Hard wood twin style frame work on Top & Bottom with Deco Paint Finsih with SS Handles and floor spring | Sqft | 98
9 | Other Doors for UPS Room, using Double Skin Plywood with Handles SS Hinges and door Closer | Sqft | 35
E | Furniture
10 | MAKE: WIPRO/ EUROPATCH Modular Workstations for NOC, Office Area, Manager Room and Staging Room with Pedestals | No | 20
11 | MAKE: WIPRO/ FEATHERLITE Chairs for ROC, Security etc Room Featherlite/Euro/Eurosat or equivalrnt | No | 20
F | Miscellaneous
12 | Tile Puller to remove cementitious Tiles | Nos | 1
13 | Vertical Blinds | Sqft | 80
14 | RAMPS/STEPS for Server Room Network Room | Sqft | 98
15 | MAKE: ASIAN / NEROLAC Painting on Walls with 3 coats of Plastic Emulsion on top of putty work on walls and partitions | Sqft | 7960
16 | Storage in NOC,Office Area etc | Sqft | 600
17 | P.O.P Punning of average thickness 1/2" over wall | Sqft | 1900
18 | Display Boards in NOC | Nos | 1
19 | Miscllaneous Civil works like dismantling closing of windows etc | ls | 1
20 | Cleaning of site at regular intervels | ls | 1
Total Amount
Note: For lease retal price evaluation purpose, the quantities mentioned above for supply and installations are considered. For lease rentals payments, the supply qunatities and the actual installation qunatities shall be taken into consideration.

## Annexure-III DC Civil-DR
Sl no | BHEL Specification | UOM | Qty | Unit Rate | Amount
A | Ceiling
1 | False celing using Armstrong/ USG/AMF or equivalent Boards | Sqft | 1380
B | Flooring
2 | Raised Acess Flooring for server & Network area using Unitile or equivalent Cementitieous tiles with 600x600 tiles on pedstal 24" and stingers in G.I. The tiles to have antistatic Laminate | Sqft | 600
3 | Antistatic Vinyl flooring for UPS Room | Sqft | 150
4 | Other office area using virtified tiles 600x600m size of Naveen/Nitico or equivalent | Sqft | 630
C | Partitions
Fire Rated Partially Glazed Partition for Server Room using Fire Rated Glass with Heavy Duty Aluminium Sections
5 | Fire Rated Partially Glazed Partition | sqft | 0
6 | Double Skin Gypsum Board Partition Reinforced with GI Sheets on both sides full height with GI Heavy Sections sections with 12mm Gypsum Board . | Sqft | 200
D | Doors
Fire Rated Doors
7 | Godrej / Sakthimet Fire Rated Doors for Server Room without view panelview panel | sqft | 35
8 | Glazed door with 12mm glass with Hard wood twin style frame work on Top & Bottom with Deco Paint Finsih with SS Handles and floor spring | Sqft | 91
9 | Other Doors for UPS Room, using Double Skin Plywood with Handles SS Hinges and door Closer | Sqft | 35
E | Furniture
10 | Modular Workstations for NOC, Office Area, Manager Room and Staging Room with Pedestals | No | 20
11 | Chairs for ROC, Security etc Room Featherlite/Euro/Eurosat or equivalrnt | No | 12
F | Miscellaneous
12 | Tile Puller to remove cementitious Tiles | Nos | 1
13 | Vertical Blinds | Sqft | 40
14 | RAMPS/STEPS for Server Room Network Room | Sqft | 40
15 | Painting on Walls with 3 coats of Plastic Emulsion on top of putty work on walls and partitions | Sqft | 2100
16 | Storage in NOC,Office Area etc | Sqft | 200
17 | P.O.P Punning of average thickness 1/2" over wall | Sqft | 700
18 | Display Boards in NOC | Nos | 0
19 | Miscllaneous Civil works like dismantling closing of windows etc | ls | 1
20 | Cleaning of site at regular intervels | ls | 1
Total Amount
Note: For lease retal price evaluation purpose, the quantities mentioned above for supply and installations are considered. For lease rentals payments, the supply qunatities and the actual installation qunatities shall be taken into consideration.

## Annexure-VIII Inputs&Summary
Outright Purchase - 5 yrs Using Borrowed Funds
Assumptions:
a) | Net Cost of Asset (Rs.) |  | Interest Rate (BHEL Corporate MTLR) p.a. | 12%
b) | Tenor (Qtrs) | 20
c) | Depreciation (WDV) % as per I Tax Act | 60%
d) | Insurance | 1.33%
| -amount | 0
e) | Tax Rate (%) | 33.99%
f) | Maintainence charges (Qtrly in Arrears)
| Annual | 0
g) | Salvage Value after 5 yrs (As a %age of Net Cost of Asset ) | 0%
Summary
Amount in Rupees
|  | PV of Outflows | PV of Tax Benefits | Net Outflows
| Outright Purchase ( Using Borrowed Funds ) | 0 | 0 | 0
Note:
Input figures may pl be cross checked.

## Annexure-VIII Depreciation
Depreciation
Initial Investment |  | 0
Rate of depreciation |  | 60
Year | Opening | Depreciation | Closing
| Balance | (WDV) | Balance
I | 0 | 0 | 0
II | 0 | 0 | 0
III | 0 | 0 | 0
IV | 0 | 0 | 0
V | 0 | 0 | 0
VI | 0 | 0 | 0
VII | 0 | 0 | 0
0

## Annexure-VIII Borrow Funds
Outright Purchase Using Borrowed Funds
Monthly Principal and Interest Payment
Cost of Assest |  |  | 0
Rate |  |  | 12%
Tenor (Qtrs) |  |  | 20
| Month | Opng. Balance | EMI | Principal | Interest | Clsg.Balance | Maintenance | Insurance | PV factor | PV of Outflow (EMI+Insu+Maint) | Tax Benefit | PV of Tax Benefit
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97087 | 0 | 0 | 0
| 2 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9426 | 0 | 0 | 0
| 3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.91514 | 0 | 0 | 0
| 4 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.88849 | 0 | 0 | 0
| Year I |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0
| 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86261 | 0 | 0 | 0
| 6 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.83748 | 0 | 0 | 0
| 7 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.81309 | 0 | 0 | 0
| 8 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.78941 | 0 | 0 | 0
| Year II |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0
| 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76642 | 0 | 0 | 0
| 10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.74409 | 0 | 0 | 0
| 11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.72242 | 0 | 0 | 0
| 12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.70138 | 0 | 0 | 0
| Year III |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0
| 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.68095 | 0 | 0 | 0
| 14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66112 | 0 | 0 | 0
| 15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.64186 | 0 | 0 | 0
| 16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62317 | 0 | 0 | 0
| Year IV |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0
| 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.60502 | 0 | 0 | 0
| 18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.58739 | 0 | 0 | 0
| 19 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.57029 | 0 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.55368 | 0 | 0 | 0
| Year V |  | 0 | 0 | 0 |  | 0 | 0 | 0.55368 | 0 | 0 | 0
|  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0