## CCTV Price Bid
Item No | Item Description (For supply & commissioning at BHEL Hyderabad) | Item Qty | Outright Purchase (including AMC upto 5th year) |  |  |  |  | 5 Year Finance Lease Option
|  |  | Unit Price inclusive of Taxes & duties | Specify % of Tax & Duties | Warranty Period in no of years | AMC charges after Warranty Period including tax | Total Price including Taxes, Duties and AMC | Principle for total qty. | Interest value | Maintenance Charges | Lease / Service tax (%) | Lease / Service tax (Value) | Total 5 year Rental including Tax | Total Quarterly Rental including Tax | AMC after 5 year lease period (specify % of outright price)
|  | a | b | c | d | e | f=(axb)+(5-d)e | g | h | i | j | k | l=g+h+i+k | m= l/20 | n
1 | Camera - High Resolution color cameras alongwith suitable mounting system including civil works - Make BOSCH / ACTI / PELCO / ZICOM/ Honeywell | 29 Nos
2 | Outdoor PTZ Cameras with 25Xoptical zoom with controller alongwith suitable mounting system including civil works Make : BOSCH / ACTI / PELCO | 3 Nos
3 | 16 channel DVR system (PC based) with software in CD form Make : BOSCH / ACTI / PELCO / ZICOM / Honeywell | 2 Nos
4 | 20.1" LCD Flat Panel display monitor Make : BOSCH / ACTI / PELCO / ZICOM / Honeywell / LG / Samsung | 1 No
5 | 21" color Video CRT monitor Make : BOSCH / ACTI / PELCO / ZICOM | 9 Nos
6 | A suitable sheet metal control panel to house 8Nos. Of CRT Monitor and other Hardware | 1 No
7 | PC Workstation Make : HP / IBM / DELL | 1 No
8 | Remote client viewing software | 1 No
9 | On-line UPS with 1Hour back-up with Maintenance free batteries :
| a) 1KVA | 9 Nos
| b) 5KVA | 1 No
10 | Video Manager / quad unit specifications as per Annexure-I Make : BOSCH / ACTI / PELCO / ZICOM / Honeywell (if not built in the system) | 1 set
11 | Cost of making a provision to view any of the 32 cameras on a PC in the office of Assitant Commandant / CISF located at J-Gate with password protection other than locating the monitors in the control room at Main gate. Supply of PC, any other harware and or / Software , network components / connectivity required, etc shall be in vendor's scope | 1 set
12 | Cost of accessories like repeaters, connectors, video amplifiers, patch leads, patch connectors, conduits, network components, sockets and any harware / software, necessary excavation works etc. | 1 set
13 | Supply & Laying of Fibre optic, Power & Control Cables. This includes excavation, suitable pipes across roads, laying of cables in suitable conduits and reflling excavated trench. | 3700 Mtrs
14 | Installation & commissioning charges | 1 set
I | Delivery Period: FIRM 10 Weeks from Date of LOI |  | Accepted / Not accepted
II | BHEL Terms & Conditions |  | Accepted / Not accepted
III | Comprehensive Insurance Covered: |  | Accepted / Not accepted
IV | Price: FIRM inclusive of all Taxes, Levies & Duties |  | Yes/No (indicate the % Taxes, Levies and Duties)
* | Out right purchase price |  | = | F.O.R Destination Cost + ED + CST
| F.O.R Destination Cost |  | = | Price Ex-works + Packing & Forwarding + Freight & Insurance
Warranty period in case of outright purchase is 2 years from the date of commissioning.
(Signature of Authorised Person with seal)