# BHARAT HEAVY ELECTRICALS LIMITED					Date: ____________________

Heavy Power Equipment Plant, Ramachandra puram,			    Due Date: ____________________

Hyderabad-502 032. INDIA.						  Supplier Qtn. No.: ____________________

Phones: 23182250/ 23020173, 23182043							Date: ____________________

# Fax Purchase Dept.: 040 –23020173, 23021910 & 23021954

E-mail; burre@bhelhyd.co.in

## TENDER DOCUMENTS TO BE FILLED BY THE SUPPLIER FOR SUPPLY OF

ACCELERATED WEATHER CHAMBER FOR LABS ( M207 CG7P0062/BRK)

| ### ADDRESS OF THE SUPPLIER: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| TELEPHONE Nos: |  |  |  |  |  |  |
| FAX Nos.: |  |  |  |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |
|  |  | Name of the Part | Description of BHEL Specification | Offered | Deviation | Remarks |
| 1.0 |  | Compliance |  |  |  |  |
|  | 1.1 |  | Equipment Shall be compliant to international standards. |  |  |  |
|  | 1.2 |  | Shall be Easy to install, use and practically maintenance free. |  |  |  |
| 2.0 |  | Chamber |  |  |  |  |
|  | 2.1 | Technology | Test chambers incorporate the latest light technology to ensure the consistency and repeatability in the simulation of realistic natural outdoor weathering conditions. |  |  |  |
|  | 2.2 | Capacity | Chamber capacity: Min of 450 liters. |  |  |  |
|  | 2.3 | Panels | Chamber capacity: min of 40 test panels of 3” x 6” |  |  |  |
|  | 2.4 | Calibration | Automatic Calibration facility shall be provided for error free calibration. |  |  |  |
|  | 2.5 | Condensation | Shall be Capable of producing condensation. |  |  |  |
| 3.0 |  | Systems |  |  |  |  |
|  | 3.1 |  | Automatic Fault recognition alarm |  |  |  |
|  | 3.2 |  | Should be able to produce any cycle practically (UV alone or Condensation alone). |  |  |  |
|  | 3.3 |  | Automatic shut down timer with audible alarm shall be incorporated.. |  |  |  |
|  | 3.4 |  | Programmable Microprocessor Controller shall be incorporated to control the irradiance, heating and flooding cycles and also for programming the test parameters |  |  |  |
| 4.0 |  | Temperature |  |  |  |  |
|  | 4.1 | #### Range | Temperature range: 450C - 800C (Min) |  |  |  |
|  | 4.2 | #### Display | Display of Temperature and RH of chamber and irradiance during the will be preferable.. |  |  |  |
| 5.0 |  | #### Lamp life | Lamps shall be last for long time, min 1500 hrs |  |  |  |
| 6.0 |  | #### Water spray system | Water spray system shall be incorporated in the equipment for spraying the water with water level controller and drain. Display of water temperature is preferable. |  |  |  |
| 7.0 |  | #### Irradiance |  |  |  |  |
|  | 7.1 | #### Uniformity | Irradiance shall be uniform in the cabin |  |  |  |
|  | 7.2 | #### Alarm system | In –built alarm system for low irradiance shall be provided. |  |  |  |
|  | 7.3 | #### Radiometer | Radiometer shall be supplied with equipment for calibration of solar irradiance system |  |  |  |
| 8.0 |  | #### RS 232 port | RS 232 port shall be provided in system to transfer the data. |  |  |  |
| 9.0 |  | #### Power supply | Power supply: 230 V AC, 50Hz |  |  |  |
| 10.0 |  | #### Inspection | The supplier shall test the equipment as per the standard inspection and test procedure of the company and demonstrate the capabilities included in this specification in the presence of BHEL representatives before dispatch. |  |  |  |
| 11.0 |  | #### Experience | The supplier shall have a minimum experience of 5 years in manufacturing accelerated weather chambers and should have supplied at least 10 equipment of the model quoted |  |  |  |
| 12.0 |  | #### No. of Installations | The supplier shall submit a users' list for the model quoted including the names of the user contact persons, telephone numbers and e mail addresses. |  |  |  |
| 13.0 |  | #### Training | Training on operation for a period of 1to 2 days for 2 persons shall be provided. |  |  |  |
| 14.0 |  | #### Service | The supplier shall explain in detail how the after sales service will be organized. The number of service engineers trained, qualified and experienced to attend service calls and details about ready availability of spares shall be mentioned. Time taken for service engineers to reach the site upon receipt of breakdown call shall be indicated and assured |  |  |  |
| 15.0 |  | #### Safety | The equipment shall fulfill safety regulation and guidelines |  |  |  |
| 16.0 |  | #### Commissioning | Installation and Commissioning shall be carried out at BHEL works |  |  |  |
| 17.0 |  | #### Spares | Spares for 2 years of trouble free operation shall be quoted. |  |  |  |
| 18.0 |  | #### Warranty | 18 months from date of commissioning |  |  |  |
| 19.0 |  | #### Manual | 3 sets of operation and maintenance manuals shall be provided |  |  |  |
| 20.0 |  | #### AMC | Supplier shall quote the AMC charges for 5 years after warranty period. |  |  |  |