## CASETTE AC
Supply/Installation/Prove out of 10 nos. of 4.0 TR Cassette type A.C units in our 6-Axis Taping Hall false ceiling.
Pre-Qualification of Bidders:
1. Only manufacturer of CASSETTE type Air Conditioners to quote.
2. Shall have established and proven service after sales set up at Hyderabad for atleast 3 years.
Taping Hall: 18 Mtrs X 18 Mtrs size and 8.0 Mtrs false roof Height.
SN | DESCRIPTION | UNIT |  | RATE | Total AMOUNT
I | AC EQUIPMENT |  | TOTAL
1 | Supply of Ceiling casette type Air conditioners of capacity 4.0 TR consists of condensing units with compressor, condenser coil, condenser fan motor and evaporator unit with blower section, coil section etc | Nos | 10
SUBTOTAL FOR EQPT
Taxes
AC EQUIPMENT - TOTAL
II | ANCILLARY WORKS
4 | Refrigerant piping - Hard Drawn Copper (assuming 15 Rmt / Circuit) | Rmt
5 | Electrical Cabling & Earthing (Internal) | Rmt
6 | Condensor brackets on wall | set | 10
7 | Drain Piping - PVC heavy | Rmt
9 | Testing & Commissioning | Nos | 10
Taxes