# Item: FUME EXTRACTOR FOR LABORATORY

(M207 CG6P0159)

Specification:

- Fume extractor for temperature calibration Lab to extract fumes emitted from Laboratory Temperature Calibration bath (Liquid bath fluid Silicone oil).

- Extractor Suction – 60 CFM/ MINUTE (approx.)

- The unit shall be made of SS material of 20 /22 gauge.

- Suction shell size   300 X 200 X 150 mm.

- Blower –centrifugal dulvin type,  450mm size;

- Impeller 225 mm dia  non corrosive “Poly propylene”

- Motor 0.5HP single phase 230 V AC power.

- Mounting of Motor and blower shall be on Heavy base plate.

- Ducting from shell to blower and blower to exhaust  : 100 mm dia –SS

- Rain hood for exhaust pipe

- 2 meters of outlet with clamps/ fittings

- Installation  of fume extractor shall be done by supplier at  Laboratory, BHEL, Hyderabad  (Plumbing, fixing, powering up & demo)

- Guarantee	: The item shall be guaranteed for 12 months from             installation & commissioning