P R I C E    B I D

             SCHEDULE   ‘A’

                                                                             

 Tender Notice No. HY/FCD/OT-08/2007-08         

                                                                            

  Dated:   08.10.2007

                                                                             

  Item No. 5

Name of work:  Providing machine foundation for CNC  vertical lathe 60/70 of OM ltd in 51 block 

                                (new bay)

	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	1 

(a)
	Earth work excavation in all soils except rock requiring blasting for an initial lead of 10M including strutting, shoring if any and dressing the bottom of excavation to receive concrete etc., complete. 

Within an initial depth of 1.00M
	120.00

Cu.m
	One

Cu.m
	
	
	

	b)
	Extra depth of  1.00 M or part there of ie., (-1.00  to     - 2.00 M)
	120.00

Cu.m
	One

Cu.m
	
	
	

	c)
	Extra 2nd additional depth of 1.00 M  i.e., (-2.00 to -3.00 M)
	120.00

Cu.m
	One

Cu.m
	
	
	

	d)
	----do---- 3rd addl. depth i.e., (-3.00 to    - 4.00 M).
	62.50

Cu.m
	One

Cu.m
	
	
	

	2.
	Excavation in hard rock for foundations, trenches including stacking and disposing upto a lead of 2.00 Km – (40% voids will be deducted from stack measurements).Requiring wedging and chiseling. Blasting not allowed.
	50.00

Cu.m
	One

Cu.m
	
	
	

	3.
	Conveyance of surplus earth upto a lead of 2.00 Km including levelling etc., complete.
	318.00

Cu.m
	One

Cu.m
	
	
	

	4.
	Back filling the foundations with excavated soils in layers of 6”, watering consolidation by ramming / rolling etc.  (degree of compaction should be 85% to 90% proctor density).
	104.00

Cu.m
	One

Cu.m
	
	
	

	5.
	Providing P.C.C 1:4:8 with 20 mm down graded granite metal for levelling course under foundations including machine mixed and consolidation tamping, curing etc., complete.
	11.00

Cu.m
	One

Cu.m
	
	
	

	6.
	Providing and laying vibrated R.C.C (1:1.5:3:0.5) using 20 mm and down graded hard granite metal including machine mixed, placing in position, levelling compaction with vibrator for all leads, lifts / heights etc., complete but excluding cost of steel reinforcement and shuttering charges.
	240.00

Cu.m
	One

Cu.m
	
	
	

	    CONTRACTOR(S)                                                                              ISSUING / ACCEPTING  AUTHORITY

                                                                                                                                                                  Contd..P2


	Sl 

No.
	Description
	Qty
	Unit
	Rate in Figs   

     Rs
	Rate in Words

         Rs.
	Amount

	7
	Providing steel / 12 mm plywood shuttering including necessary scaffolding, bolts, nuts etc. for R.C.C works at all levels.  
	240.00

Sq.m
	One

Sq.m
	
	
	

	8
	Providing M.S / Tor steel reinforcement for foundations, rafts, pedestals, beams, slabs, cable trenches etc., cutting, bending, tying grills with binding wire etc., complete including cost of binding wire at all levels.
	24.00

MT
	One

MT
	
	
	

	9
	Fabrication and fixing inserts in concrete wall with lugs of required dia welded to the insert plates and MS angles to top corners of the concrete. (Strl. Steel and gases required for work will be issued by BHEL at their stores free of cost).
	0.50

MT
	One

MT
	
	
	

	10
	Grouting bolt pockets with FOS ROC compound as per specification. FOS ROC compound will be issued free of cost by BHEL.
	1.00

Cu.m
	One

Cu.m
	
	
	

	11
	Applying to the concrete surface with Epoxy paint two coats of approved colour and brand. Epoxy paint will be issued by BHEL at their stores free of cost).
	280.00

Sq.m
	One

Sq.m
	
	
	

	12
	Supplying and fixing position 40 mm thick fibre glass covered by cotton cloth (netted) fixed in position and covered with aluminium perforated sheet above the insulation for the foundation including fixtures and accessories and cost of all materials, labour etc., complete.  Rock wool shall be of standard quality.
	63.00

Sq.m
	One

Sq.m
	
	
	

	13
	Supply and fixing in position 60 mm thick / 30 mm thick in two layers thermocoal including cost of materials, labour ete., complete.
	63.00

Sq.m
	One

Sq.m
	
	
	

	
	
	                                  TOTAL  : In Fig

	


Rupees in words: 
CONTRACTOR(S)                                                   ISSUING /ACCEPTING OFFICER
