BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM::HYDERABAD – 502 032::502 032 INDIA

Phone No: 0091- 040- 23182250, 23020173

Fax No: 0091- 40- 23021910, 23020173

E-mail : burre@bhelhyd.co.in

Technical specifications Three phase, DC Rectifier unit:

Three phase, DC Rectifier unit in air cooled construction suitable for
indoor use in a maximum ambient temp of 45 deg.C and portable.

Input: 415 volts +/-10%, 3 phase, 50 Hz
Output: Manually operated from 0 to 300 volts DC, steplessly variable at
any current up to a maximum of 30 Amps.

Duty: Continuous.

Insulation: Class B

Ripple content: 5%.

DC voltmeter & Ammeter to monitor

Main ON indicating lamp.