BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM::HYDERABAD – 502 032::502 032 INDIA

Phone No: 0091- 040- 23182250, 23020173

Fax No: 0091- 40- 23021910, 23020173

# TECHNICAL SPECIFICATION FOR VARIABLE SPEED DOUBLE DISC POLISHING MACHINE

1. The proposed Variable speed double disc polishing machine is required for    metallography Sample preparation

2.The Variable speed polisher shall have

--8 inch double disc polisher

--Corrosion proof cabinet

--Corrosion resistant washbowl free flow drain

--Variable speed 50-1000rpm

--0.5HP DC motor

--Flexible water jet with control valve

--Aluminum wheel 8 inch

--Holding spring, Holding ring.

3.Supplier shall give a technical catalogue of the proposed equipment along with quotation.

4.Three sets of operating instructions shall be furnished with the Variable speed polisher/Grinder.

5.BHEL Engineer carries the pre-inspection of the Variable speed polishing machine at supplier’s work place.

6.Supplier’s engineer shall commission Variable speed polishing machine at BHEL.

7.Supplier shall be responsible for service after sale.

8.The Variable speed polisher/Grinder shall be guaranteed for trouble free/satisfactory operation for a period at least 12 months from the date of commissioning.