BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM::HYDERABAD – 502 032::502 032 INDIA

Phone No: 0091- 040- 23182250, 23020173

Fax No: 0091- 40- 23021910, 23020173

E-mail : burre@bhelhyd.co.in

# TECHNICAL SPECIFICATION FOR MOUNTING PRESS

1.The proposed Mounting press is required to mount the small metallographic samples for easier handling and further polishing.

2.The Mounting press shall have

--Hydraulic/Pneumatic mounting press

--Digital temperature indicator and timer

--1200W mould heater

--Steel cabinet with hydraulic/pneumatic system

--Range of sample sizes accommodated 1inch, 1 ¼ inch, 1 ½ inch, 2 inch mould sizes (Inter changeable)

--Necessary accessories and consumables.

3.Supplier shall give a technical catalogue of the proposed equipment along with quotation.

4.Three sets of operating instructions shall be furnished with the Mounting press.

5.BHEL Engineer carries the pre-inspection of the Mounting press at supplier’s work place.

6.Supplier shall be responsible for service after sale.

7.The Mounting press shall be guaranteed for trouble free/satisfactory operation for a period at least 12 months from the date of commissioning.