BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM::HYDERABAD – 502 032::502 032 INDIA

Phone No: 0091- 040- 23182250, 23020173

Fax No: 0091- 40- 23021910, 23020173

# TECHNICAL SPECIFICATIONS  FOR BELT GRINDER

1.The proposed Belt grinder is required for Coarse grinding of metallographic samples.

2.The Belt grinder shall have

--0.5HP (minimum) single-phase motor

--Constant tension spring loaded

--Idler pulley mechanism

--Simplified belt release mechanism

--Tabletop model

3. Supplier shall give a technical catalogue of the proposed equipment along with quotation.

4.Three sets of operating instructions shall be furnished with the Belt grinder.

5.BHEL Engineer carries the pre-inspection of the Belt grinder at supplier’s work place.

6.Supplier’s engineer shall commission Belt grinder at BHEL.

7.Supplier shall be responsible for service after sale.

8.The Belt grinder shall be guaranteed for trouble free/satisfactory operation for a period at least 12 months from date of commissioning.