BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM::HYDERABAD – 502 032::502 032 INDIA

Phone No: 0091- 040- 23182250, 23020173

Fax No: 0091- 40- 23021910, 23020173

E-mail : burre@bhelhyd.co.in

# TECHNICAL SPECIFICATION FOR PORTABLE METALLURGICAL MICROSCOPE

1. The proposed Portable Metallurgical Microscope is required for micro-examination of heavier castings and forgings without destructing them at sites/ shop floors.

2. The Portable Metallurgical Microscope shall have

--Illuminator with transformer

--Monocular tube: 50x30mm movable

--Lamp cable for illuminator

--Triple nosepiece

--Eyepiece: 10x & 15x

--Objectives: 5x, 10x, 40x

--Line cable

--Tungsten lamp (6v, 15w)

--Stage micrometer

--Dust cover, Instruction manual

--C mount for CCD camera

--printer to print micro photographs.

3. Supplier shall give a technical catalogue of the proposed equipment along with quotation.

4. Three sets of operating instructions shall be furnished with the Portable Metallurgical Microscope.

5. BHEL Engineer carries the pre-inspection of the Portable Metallurgical Microscope at supplier’s work place.

6. Supplier shall be responsible for service after sale.

7.The Portable Metallurgical Microscope shall be guaranteed for trouble free/satisfactory operation for a period at least 12 months from the date of commissioning.