## Notes
|  | Price Bid format [for Main Supply ] |  | Annexure -[1] of PY 56295
|  | Junction Box |  | Rev 00
Project: Nalco Damanjodi 18.5 MW STG + 300 TPG Boiler Project
BHEL ENQUIRY NO : |  |  | Vendor Offer ref no:
Ref. date: |  |  | Ref. date:
NOTES ::
1 | This document details the price schedule format for the enquiry. No other format will be entertained. Applicable taxes and duties shall be indicated separately in commercial offer.
2 | Duly signed & stamped un-priced price schedule format shall be submitted by vendor in the technical offer as a token of concurrence that price schedule would be submitted in this format. Any tampering / modification / additions, etc. are NOT allowed and not considered binding and is liable for rejection of the offer.
3 | Bidders shall be evaluated on overall L1 basis.
4 | For addition/reduction of quantity, unit rate quoted in the present offer shall be considered during ordering and shall be valid up to execution of the contract to the extent of +10% and -30% of order Value. These would include the cost up to engineering, installation of the item, wiring up in the panel and seamless integration with main system at works/site without any cost implications. All accessories required for this purpose shall be included in the price quoted.
5 | Billing will be as per BOM of actual supplied main equipment (including accessories & services) & spares.
6 | Unit Rates of the individual package items shall be derived by multiplying the "Unit Price Fixing Factor" with the Lumpsum Price quoted. Unit Rates of the Individual items thus arrived, shall be binding on the bidder, in case of any repeat order/Ammendment of order as per BHEL policies. Observations / Objections, if any, of the Bidder, to the "Unit Price Fixing Factor" shall be brought to the notice of BHEL, during Pre-Bid Stage. No Observations / Objections shall be enterained after the Techno-Commercial Bid is opened.

## NALCO (hidden)
|  | Price Bid format [for Main Supply + Mandatory Spares] |  |  |  | Annexure -[1] of PY 56144
|  | SWAS System |  |  |  | Rev 00
Project: Nalco Damanjodi 18.5 MW STG + 300 TPG Boiler Project
S. No | Material Code | Item Description | Quantity [I] | UNITs | Unit Rate (Rs. ) [II] | TOTAL PRICE (Rs.) [I*II] | Weightage (%) for Calculation of Line Item Prices by BHEL Weightage of each item /unit price fixing factor (Refer Note-14) (%) | Remarks
[A] | SWAS System [MAIN Supply]
1 | PY9756144009 | pH Sensor | 8 | No's |  |  | 2.88
2 | PY9756144270 | pH transmitter (4-20mA + HART) (Dual Channel) | 4 | No's |  |  | 1.6
3 | PY9756144025 | Specific Conductivity Sensor | 6 | No's |  |  | 2.22
4 | PY9756144149 | Specific Conductivity Transmitter (4-20mA + HART) (Dual Channel) | 3 | No's |  |  | 1.21
5 | PY9756144033 | Cat-ion Conductivity sensor with 1 cat-ion exchange column | 1 | No's |  |  | 0.4
6 | PY9756144173 | Cat-ion Conductivity Transmitter (4-20mA + HART) | 1 | No's |  |  | 0.44
7 | PY9756144017 | Do2 sensor | 3 | No's |  |  | 2.79
8 | PY9756144114 | Do2 Transmitter (4-20mA + HART) (Dual Channel) | 2 | No's |  |  | 2.1
9 | PY9756144211 | Silica analyzer + transmitter (4-20mA) (Multi Stream) | 1 | No's |  |  | 6.88
10 | PY9756144467 | Phosphate Transmitter (4-20mA + HART) | 1 | No's |  |  | 11.41
11 | PY9756144475 | Hydrazine nalyser + transmitter (4-20mA + HART) | 1 | No's |  |  | 13.53
|  | HMI display-21" + Printer for online monitoring along with furniture. | 1 | Set
12 | PY9756144483 | Chloride analyser + transmitter (4-20mA) [Multi Stream] | 1 | No's |  |  | 27.13
13 | PY9756144491 | Sodium analyzer + Transmitter (4-20mA + HART) | 1 | No's |  |  | 4.9
14 | PY9756144610 | Sample handling system for Main STEAM (Saturated) | 1 | Set |  |  | 1.7
15 | PY9756144602 | Sample handling system for Main STEAM (Superheated) | 1 | Set |  |  | 2.89
16 | PY9756144726 | Sample handling system for Condensate (GSC Drain drain / Pure Condensate / Polished Condensate / RLNG Heater condensate / Blow down line) | 1 | Set |  |  | 1.34
17 | PY9756144629 | Sample handling system for HHP Drum Water | 1 | Set |  |  | 1.51
18 | PY9756144700 | Sample handling system for Feed water (Deaerator outlet) | 1 | Set |  |  | 2
19 | PY9756144718 | Sample handling system for Condensate (CEP outlet/ CST inlet/ Cooling water) | 4 | Set |  |  | 5.36
20 | PY9756144513 | SHELF LIFE ITEMs / CONSUMABLEs required at the time of commissioning as per cl. 9 of PY 56144 | 1 | Set |  |  | 0.57
21 | PY9756144521 | SHELF LIFE ITEMs / CONSUMABLEs required after commissiong (in 1st lot) as per cl. 9 of PY 56144 | 1 | Set |  |  | 0.57
22 | PY9756144530 | SHELF LIFE ITEMs / CONSUMABLEs required after commissiong (in 2nd lot) as per cl. 9 of PY 56144 | 1 | Set |  |  | 0.57
MAIN SUPPLY Total prices ( Sub-total of [A] ) (Rs.) :: | [7 empty] | --------- [ 1 ]
[B] | Supervision of Erection & Commissioning [Vendor Services]
1 | PY9856144850 | Supervision of Erection & Commissioning Services charges at site including lodging, boarding, local travel, insurance, etc. [Unit Rate = Per man day charges] | 12 | Days |  |  | 3.9
2 | PY9856144868 | Supervision of Erection & Commissioning visit charges [i.e. travel expenses like travel to & fro from vendors work to site, clearance charges like visa fee, etc.] [Unit rate = per visit travel expenses] | 3 | Visits |  |  | 2.1
Vendor SERVICES Total prices ( Sub-total of [B] ) (Rs.) :: | [7 empty] | --------- [ 2 ]
Total prices for overall L1 evaluation ( [1] + [2] (Rs.) ::

## Price format
|  | Price Bid format [for Main Supply ] |  |  |  | Annexure -[1] of PY 56295
|  | Junction Box |  |  |  | Rev 00
Project: Nalco Damanjodi 18.5 MW STG + 300 TPG Boiler Project
S. No | Material Code | Item Description | Quantity [I] | UNITs | Unit Rate (Rs. ) [II] | TOTAL PRICE (Rs.) [I*II] | Weightage (%) for Calculation of Line Item Prices by BHEL Weightage of each item /unit price fixing factor (Refer Note-6) (%) | Remarks
[A] | Junction Box
1 | PY9756295031 | JB-WP-48, 12 I/L-1/2" x 2 O/L 1.5" | 150 | No's |  | 0 | 63.88
2 | PY9756295058 | JB-EP-48,12 I/L 1/2" X 2 O/L 1.5" | 28 | No's |  | 0 | 16.13
3 | PY9756295112 | JB-WP-24,6 I/L 1/2" X 2 O/L 1" | 32 | No's |  | 0 | 8.02
4 | PY9756295082 | JB-EP-24,6 I/L 1/2" X 2 O/L 1" | 17 | No's |  | 0 | 5.96
5 | PY9756295120 | Miniature JB-WP-12,1 I/L 1/2" X 2 O/L 1/2" | 20 | No's |  | 0 | 2.51
6 | PY9756295090 | Miniature JB-EP-12,1 I/L 1/2" X 2 O/L 1/2" | 20 | No's |  | 0 | 3.51
[6 empty] | 0 |  | --------- [ 1 ]
Total prices for overall L1 evaluation ( [1] (Rs.) ::