BHARAT HEAVY ELECTRICALS LIMITED

RAMACHANDRAPURAM::HYDERABAD – 502 032::502 032 INDIA

Phone No: 0091- 040- 23182250, 23020173

Fax No: 0091- 40- 23021910, 23020173

Specification for Laser Distance Meter:

1    Item Description                   : Laser Distance Measurement

2   Measuring Range                  :  0.05meters to 200 meters

3.   Accuracy                               :  + / - 1.5mm

- Ambient Temp                      .   5 to 50 Deg. Centigrade.

- Display                                  : Measured values should be able to read easily

even in dark( Dim light).

- Ingress protection                 : Minimum  IP 54.

7.	  Model                                :  With target plates.

8    Commissioning                      : At BHEL, Hyderabad free of cost

9    Spares                                    : If any shall be quoted for five year for trouble

free operations.

- Warranty                               :  Minimum 24 months shall be provided.

Scope of Supply                               :  Standard supply containing Main Unit,

Target Plate