## Enq
BHARAT HEAVY ELECTRICALS LTD.,
|  | RAMACHANDRAPURAM | [5 empty] | E N Q U I R Y |  |  | SHEET……OF …….
HYDERABAD - 500 032.
ANDHRA PRADESH - INDIA.
[7 empty] | PH.NO:040-2318 4259 | PURCHASE DEPARTMENT
Fax No. 040-2318 6011
SUPPLIER CODE: |  |  |  | ENQUIRY |  |  |  | AMENDMENT |  |  | NO. OF ITEMS.01
|  |  |  | Enquiry No. |  |  | DATE: | No. |  | Date.
|  |  |  | M2/13/6000001912/UKR |  | 19.12.2013
THIS IS ONLY A REQUEST FOR QUOTATION AND NOT AN ORDER.
DUE DATE
QUOTATION.
09.01.2014
Kindly note that visiting hours are only after 14.30 hrs. unless with a prior appointment.
Please specirfy on all your Correspondece/Envelopes/Telexes addressee's name, designation
department and our reference for our prompt action.
ENQ | INDENT | INDT. | MATERIAL CODE/
Sl.No. | (MPR)No. | Sl.No. | DRAWING.NO |  | DESCRIPTION SPECIFICATION. |  |  |  | UNIT | QTY
1 | 6000001912 | 10 | CG2083912438 |  | ROCKWELL HARDNESS TESTING MACHINE |  |  |  | NO. | 1
NOTE :
1) Two part bid only.
2) TECHINICAL SPECIFICATIONS AND COMMERICIAL TERMS &
CONDITIONS AS PER ENCLOSURE.
REMARKS
Instructions: Offers are invited to to submit in two parts and the follwing procedure shall be followed, | [11 empty] | for AND ON BEHALF OF
a) Part-I: Techno cum Commercial bid:
1. Consisting of complete technical details, catalogues, drawings and all commercial terms. Money values shall not be indicated. (i.e.unpriced bid.)
b) Part-II: Price Bid:
1. Consisting of prices for the items enquired. Preconditions for the prices will not be accepted.
2. The Technical cum Commercial offer will be opened first, discussed, finalised and only then the price bid of technically acceptable offers will be opened.
3. In the event, if there is any change in scope of supply/technical specifications, the bidder can submit revisd price bid before price bid due date. The supplier should indicate on the cover "Revised Price Bid".
4. If you are not interested/or not in a position to participate in the tender, please sent REGRET Letter exlpaining the reasons for not participating, before the tender due date.
5. The material offered should be strictly in confirmance with the specification enclosed.
6. Offers can also be submitted through e-mail by mailing to tenderbox@bhelhyd.co.in, before due date. | [11 empty] | BHARAT HEAVY ELECTRICALS LTD.,
SPECIAL ATTENTION:
DEAR SIR, Please submit your lowest quotation in sealed cover superscribed with enquiry.No & date
subject to our terms and conditions attached for the above materials so as to reach us on or before
due date by 11.00 a.m. and the Tenders will be opened at 13.00 Hours.
If our enquiry.no. tender due date are not superscribed on the tender cover, your offer
shall be summanly rejected. Also quote enquiry.No. date and enquiry SL.NO. in all | [11 empty] | V.UDAY KUMAR
correspondence for prompt action. | [11 empty] | Officer/PUR-CG
R E V . N O.1
H Y - 1 7 0 0 1

## specs
| BHARAT HEAVY ELECTRICALS LIMITED |  | Indent No. :
| Heavy Power Equipment Plant, Ramachandrapuram, |  | Date :
| Hyderabad - 502 032. INDIA. |  | Enquiry No. :
| Phones : |  | DueDate :
| Purchase Dept. : Fax: | Vendor Qtn. No.:
| E-mail : |  | Date:
TENDER DOCUMENTS TO BE FILLED BY THE Vendor FOR SUPPLY OF[1 No.]
Analouge Type Rockwell Hardness Testing Machine
ADDRESS OF THE Vendor : |  | ADDRESS OF THE INDIAN AGENTS:
TELEPHONE NOS.: |  | TELEPHONE NOS.:
FAX NOS.: |  | FAX NOS.:
E-MAIL ADDRESS : |  | E-MAIL ADDRESS:
NOTE:
1. Vendor shall submit complete information against each clause of the specification given below point by point.
2. The Vendor should fill the "Offered" Column in compliance to specified requirements and also "Deviations" column, where there is deviation from the requirement. Duly filled specification cum compliance certificate should be submitted along with the bid. Inadequate, incomplete, ambiguous or unsustainable information against any of the clauses of the specifications/requirements shall be treated as non-compliance
3. The offer and all the documents enclosed with bid should be in English language only.
4. The main equipment and accessories required for the machine to be offered.
Sl.No. | Description for BHEL Requirement | Offered | Deviations | Remarks
Purpose:
Analouge Type Rockwell Hardness Testing machine as per ASTM E18 hardness testing of components after carburizing in Rockwell Scale shall be quoted
1 | Technical details
a) Load Requirements in Kgf :60,100,150 Kgf Any other load in addition to the above . with in range is acceptable.
b) Operating cycle:Manual
c) Machine should have measurable rannge with callibration:21-68 HRC & 41-99.5 HRB
d) Resolution: 1 Rockwell scale
e) Maximum Test Height:250mm(minmum)
f) Depth of throat:150mm (minimum)
g) Maximum size of Machine:500mm(length)x250mm(width)x900mm(height)
h) Testing table size:dia 200 mm(minimum)
i) Items required for machine foundation should be offered by supplier
j) Standard test blocks with calibration certificates
k) Equipment should be calibrated after installation
l) Vendor shall provide details of standard accessories supplied along with machine
m) Accessories for the calibration of the system shall be provided.
n) Price of the machine shall include standard accessories
2 | Standard Accessories must include following items:
a) Rockwell Diamond indenter-1No.
b) Testing Table dia 50mm-1No.
c) Testing Table dia 40 mm with V groove for round job dia 6 mmto 45 mm-1No.
d) Steel Ball Indenter 1/16''- 1No.
e) Test Block HRC-1No.
f) Test Block HRB-1No.
g) Allen Spanner-3No.
h) Clamping Device-1No.
i) Rubber Bellow-1No.
j) PVC cover for Machine-1No.
k) Instructional Manual -1No.
3 | Spares required :Unit Rate to be quoted separately for each item mentioned below
a)Diamond indenter 120º-1No
b) Steel ball indenter 1/16'' -1 No
4 | The Vendor shall furnish technical catalogue of the proposed equipment alongwith quotation and customers reference in India for the above equipment.
5 | Five sets of operating instruction manuals/schematic drawing shall be sent alongwith civil foundation plan.
6 | BHEL engineers will inspect above equipment prior to shipment at Vendor 's works. It is the resposibility of the Vendor to prove all conditions of specification by providing required samples & tools at Vendor works. Sufficient advance inspection call to be given to BHEL and shall make necessary arrangements for the predespatch inspection,However BHEL will bear expenditure of travelling,boarding & loadging of the BHEL inspector.
7 | ERECTION & COMMISIONING
7.1 | Vendor to take full responsibilty for carrying out the erection, startup, testing of the system, it's control & all types of other supplied equiment/accessories etc. Service requirement like power shall be provided by BHEL at only one point to be indicated by Vendor in their foundation / layout drawing. Other requirement like helping manpower shall be provided by BHEL.
7.2 | Vendor shall erect and commission the above machine at BHEL Hyderabad. Suitable training on all operational aspects and routine maintenance to be given by Vendor to BHEL engineers.
7.3 | The offer shall include following modality for erection & commisioning of the machine:
i. Complete erection and commisioning on turnkey basis.
ii. The Vendor shall do commisioning and provide necessary training to BHEL personnel and guidance during commisioning, Vendor has to repeat all geometrical accuracy tests, for which all tools etc. are to be arranged by the vendor at their risk.
iii. All foundation bolts/ anchoring materials/fixators/levelling shoes etc. required for final erection of the machine shall be provided by the Vendor along with basic machine.
8 | FOUNDATION:
8.1 | Foundation Design: In case any special foundation is required for installing the machine, detailed foundation drawings to be offered . The vendor should agree to supply 5 copies of machine layout and drawings within one month of placement of LOI/Order.
9 | GUARANTEE
9.1 | The machine shall be guaranteed for satisfactorily and trouble free service for at least 24 months from the date of commissioning and final acceptance. Any spare required during the guarantee period shall have to be arranged by the Vendor at free of cost.
10 | The Vendor shall explain in detail how the after sales service will be organised. The number of service engineers trained , qualified and experienced to attend service calls and details about ready availability of spares Shall be mentioned. Time taken for service engineers to Reach the site upon receipt of break down call shall be Indicated and assured.
11 | QUALIFICATION REQUIREMENTS:
11.1 | The Vendor shall have a minimum experience of 5 years in manufacturing of ASTM hardness testing machine as per ASTM E18 and should have supplied at least 2 equipment’s of the model quoted to various reputed organisations preferably in India.
11.2 | The Vendor shall submit a Reference List of Customers for the model quoted including the names of the user contact persons, telephone numbers and e mail addresses.
11.3 | Performance Certificate from CUSTOMERS (minimum 2 Customers) with full contact details of CONTACT PERSON shall be submitted preferably in India.
12 | If any thing missing in the above specifications it has to be strictly meet latest standard of ASTM E18.
13 | PACKING
13.1 | Rigid packing to be made for all items of complete machine, all accessories and other supplied items to avoid any damage/loss in transit. When machine is dispatched in containers, all small loose items shall be suitably packed in boxes. Packing list to be provided in the box

## T&C
STANDARD TERMS & CONDITIONS FOR PROCUREMENT OF CAPITAL EQUIPMENT [FORMAT TO BE FILLED-UP BY THE SUPPLIER]
VENDORS HAVE TO OFFER THEIR TERMS IN THE ALLOTED COLUMN AND SHALL IDENTIFY DEVIATIONS DISTINCTLY.
| S/N | BHEL Standard Terms | Supplier Confirmation | Deviation
| 01 | Terms of Delivery:
| (a) | Indigenous Supplies : FOR - Destination means FOR - B.H.E.L. Hyderabad stores. (Packing & Forwarding, Freight & Insurance are in Supplier's scope i.e. included in the quoted prices) . Ex-works is not acceptable.
| (b) | Foreign Supplies : Foreign supplies have to be made on Incoterm CIF basis (i.e. Inclusive of Sea/Air worthy packing and inclusive of all freight and Insurance upto Mumbai Sea Port . Foreign supplies will be loaded with 2.1% towards inland freight & insurance from Mumbai to BHEL Hyderabad stores for tender evaluation purpose. Notes: i)Offer with terms of delivery other than CIF are liable for rejection. ii)Trans-shipment strictly not permitted.
| ( c) | In case,any shortage is noticed viz-viz PO requirement in the main equipment/spares,such shortage shall be replenished by supplier on FOR destination basis without any cost implication to BHEL i.e. Custom Duty and freight charges etc.upto destination for such short supplies shall be borne by the supplier. Please also note that any short supply will attract imposition of penalty on the total P.O. value.(Supply+E&C).
| 02 | Delivery Period:
Bidder shall quote their earlier schedule with respect to the date of PO, which is as per terms of delivery. The delivery period in no case shall be linked with extraneous conditions/stipulations such as approval of drawings.
| 03 | Payment Terms : Offer with deviations to BHEL Payment Terms will be loaded as under.a)Bench Mark Prime Lending Rate (BPLR) of SBI as applicable on the scheduled date of Tender Opening +2%, for the amount and period of relaxation sought by the bidder.b)On account of payment through LC, if insisted by bidder, bank charges shall also be loaded for the deviation in i)opening of LC by BHEL ii)period and amount of LC, as per the prevailing bank rates. Payment terms mentioned here under for Indigenous and Imported Offers.
c | (a) | Terms of payment for Indigenous Offer.
Despatch of Goods on door delivery basis only. Goods despatched with documents presented through Bank will be loaded with corresponding bank charges.
100% payment will be made on 45th day from the date of Goods Receipt, subjected to successful demonstration or training of equipment with submission of commissioning report.
d | (b) | Terms of payment for Foreign Offer
100% Payment will be made through L.C. , which shall be opened 1 month before the confirmed date of dispatch, valid for three months and is encashable against Shipping Documents, submission of Pre-inspection Report of BHEL.
| 4 | Warranty / Guarantee Period: Equipments shall be guaranteed against workmanship, materials used, design and performance should be for a period of 24 months from the date of commissioning of equipment.
Loading Factor for non-acceptance of Guarantee Period: Less than 24 months from commissioning will attract loading of AMC charges for difference of quote with warranty / guarantee period. Example : If a Supplier provides 18 months guarantee period, in place of 24 months, then the difference of 6 months will be loaded with AMC charges of 4% per annum for difference period of 6 months i.e. 2% of total cost will be loaded for evaluating lowest bidder.
| 5 | Penalty for Delay in "Supply" : Delay in supply beyond the quoted delivery period will attract Penalty at a rate of 0.5% per week subject to max. of 10% of total PO value .In case any bidder is not accepting the above penalty for delayed supply the offer the bidder shall be loaded as follows.
Loading Factor for non-acceptance of Penalty Clause: It will attract maximum 10% loading on the offer and accordingly proportionate percentage will be loaded for accepting less percentage of penalty clause. Example : If the Supplier has accepted for maximum 5% penalty clause, then balance 5% will be loaded on supply value for evaluating lowest bidder.
| 7 | Erection & Commissioning (E & C) Schedule: Supplier to specify clearly the time period for erection & commissioning of the equipment starting with opening of cases against their supervision.
| 8 | Erection & Commissioning (E & C) Charges: Erection & Commissioning value will include services to be rendered at BHEL like Erection, Commissioning, Job proving, perfomance testing, training to opertors etc. E&C value should be quoted separately by bidders.
| 9 | Essential / Mandatory Spares: Supplier to specify clearly the charges of Essential / Mandatory Spares in the form of Extra only (Itemized break-up shall be given). Requirement of technical specification need to be complied with.
| 10 | Validity: Supplier to mention clearly the validity of the offer [Minimum 180 days from tender opening date].
| 11 | Risk Purchase: If the vendor fails to deliver the goods beyond penalty period specified in the Purchase Order, BHEL will be entitiled to terminate the contract and to purrchase elsewhere at the risk and cost of the supplier either the whole of the goods or any part which the supplier has failed to deliver or dispatch within the delivery period mentioned in the Purchase Order. BHEL reserves the right not to consider offers from vendors not accepting the above Risk Purchase terms
| 12 | PDI inspection :- PDI Invitation shall be given two months before the Purchase order delivery date and PDI shall be completed 15 days before the P.O. delivery date. Vendor to Confirm.
| 13 | Commercial Terms and conditions quoted in any place other than this format, including in vendors General Terms and Conditions enclosed, if any, shall be summarily ignored and be invalid for evaluation of Bids.
| 14 | BHEL is not responsible for any postal delays. Please submit your offer without seeking time extensions. Vendor has to give valid justification for their plea for extension and BHEL reserves the right to reject the request without any correspondence on the issue.
| 15 | Bidders shall quote applicable Taxes and Duties (i.e. Excise Duty, CST/VAT) in the form of extra only. If Excise Duty is not applicable please specify it NIL or NA.
| 16 | BHEL reserves the right to reject or load the offerswhich are deviating to BHEL Technical specifications and standard terms and conditions.
| 17 | Bidder can also submit his offer through email at his own risk. However such email offers shall be sent through tenderbox@bhelhyd.co.in. Supplier shall have no claim on e-mail offers sent on any other e-mail id. BHEL in no way responsible for non recept of offers sent through e-mail due to server breakdown/Internet failure/transmission error etc. Incase of e-mail offers =vendor name, address including contact details shall be mentioned.
| 18 | BHEL has a right to cancel the order for delay in supply beyond penalty period without any monetory or legal obligations.
| 19 | All disputes arising in connection with the contract shall be settled by mutual consultation. If no aggrement is reached the dispute shall be settled in accordance with the provisions of arbitrations and Concillation act, 1996 and the rules made thereunder. The dispute shall be referred for arbitration to any arbitrator to be appointed by the head of the unit, BHEL-Hyderabad. The award of the arbitratorshall be final and binding on both the parties. The venue of the Arbitration shall be Hyderabad in India. The award given by the arbitrator shall be a speaking award and in english language. All questions, disputes, differences arising under, out of or in connection with this contract shall be exclusive jurisdiction of Sangareddy/Hyderabad courts, Andhra Pradesh.
Note : The bidders should comply with the above Terms & Conditions. Non-adherence may lead to rejection.