| BHEL, R.C.PURAM, HYDERABAD. T & C SUB CONTRACT TECHNO-COMMERCIAL BID FORMAT |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ENQUIRY NUMBER & DATE BHEL/HYD/OT3/VALVE CASING ASSLYS DT.28.06.11 |  | NAME OF THE VENDOR |  | ADDRESS: |  |
| DUE DATE FOR OPENING: 21.07.11 |  | TELEPHONE NO: |  | E-MAIL |  |
| TYPE OF BID: TWO PART |  | CONTACT PERSON |  | Your Offer no. |  |
| ITEM DETAILS : NO OF ENQUIRY ITEMS : 6 |  |  |  |  |  |
| S.NO | DESCRIPTION (MATL CODE) | DRAWING NO | QTY (NOS) |  | SCOPE OF WORK |
| VC1 | HP STOP VALVE ASSLY. OF 150 MW(3.2 SQ.MTS) STEAM TURBINES | REFER SCOPE OF WORK | 24 |  | REFER PAGE NO: 2 to 5 |
| VC2 | HP CONTROL VALVE ASSLY. OF 150 MW(3.2 SQ.MTS) STEAM TURBINES | REFER SCOPE OF WORK | 24 |  | REFER PAGE NO:6 to 7 |
| VC3 | IP STOP VALVE ASSLY. OF 150 MW(3.2 SQ.MTS) STEAM TURBINES | REFER SCOPE OF WORK | 24 |  | REFER PAGE NO:8 to 11 |
| VC4 | IP CONTROL VALVE ASSLY. OF 150 MW (3.2 SQ.MTS) STEAM TURBINES | REFER SCOPE OF WORK | 24 |  | REFER PAGE NO:12 to 13 |
| VC5 | HP OVERLOAD VALVE ASSLY. OF 150 MW(3.2 SQ.MTS) STEAM TURBINES | REFER SCOPE OF WORK | 12 |  | REFER PAGE NO:14 to 17 |
| VC6 | VALVE BLOCK ASSEMBLY OF 80MW (2.8 SQ.MTS) STEAM TURBINES | REFER SCOPE OF WORK | 10 |  | REFER PAGE NO:18 to 27 |

NOTE: For Sl.no.VC1 to VC4 , 2 assemblies are consisting of 1 set .

SL.NO.VC1

HP STOP VALVE ASSLY. OF 150 MW(3.2 SQ.MTS) STEAM TURBINES

- Refer the following drgs.

- 1-11202-62006-00 (PGMA 11202/exe-I)

- 1-11202-62006-00 (PGMA 11207/exe-II)     stop valve assly.(SSV 160-140)

- 0-11222-62006-00 (PGMA 11222/exe-I)

- 0-11222-62006-01 (PGMA 11281/exe-II)        Valve Casing assly.
Note:  diffuser, valve seat, threaded ring, angle rings, welded nipples, locking pin, hydro test details are available /given in this drg.

- 0-11222-62005-00 (PGMA 11222/exe-I)

- 0-11222-62005-01 (PGMA 11281/exe-II)        Valve Casing machining

- 2-11222-62004-00 (------do------)Hydraulic P.T arrangement

- 3-30100-51407-00 (------do------)Hydraulic P.T data for HP valve body

- Part  list details (WBS BOM) of  particular workorder/customer

2    Free issue of raw materials/castings/forgings/SD items (finish machining in vendor's

scope ) by BHEL:-

| h SL NO. | PART NO. | DRG NO. | DESCRIPTION | SPECIFICATION | QTY /SET |
| --- | --- | --- | --- | --- | --- |
| 1 | 112/22002 | 31122262014-00 | VALVE SEAT | HY10665/dia250X105 | 1+1 |
| 2 | 22003 | 21122262003-00 | DIFFUSER | HY10665/ dia 400x1140 | 1+1 |
| 3 | 22004 | 31122262015-00 | THREADED RING | AA19308/FORGING | 1+1 |
| 4 | 22022 | 31122262020-00 | ANGLE RING | HY19393/.FORGING | 1+1 |
| 5 | 22023 | 31122262017-00 | THREADED RING | HY10665/dia300X105 | 1+1 |
| 6 | 22027 | 31122262022-00 | REDUCER | HY19487/FORGING(P91) | 1+1 |
| 7 | 22034 | 41122262018-00 | REDUCER | HY19478/FORGING(P91) | 1+1 |
| 8 | 112/02011 | 11120262003-00 | VALVE COVER | HY10665/dia 400/680 | 1+1 |
| 9 | 02015 | 31120262005-00 | VALVE CONE | HY10767/dia 200/130 | 1+1 |
| 10 | 02021 | 31120262003-0 | THREADED RING | HY10767/ Dia 180x130 | 1+1 |
| 11 | 02022 | 31120262004-00 | STELLITE BUSH | Dia 99/dia34x130 (SD) | 1+1 |
| 12 | 02024 | 41120262004-00 | THREADED RING | HY10767/dia 120/37 | 1+1 |

| 13 | 02025 | 31120262006-00 | STELLITE BUSH | Dia 85/dia35x105 (SD) | 1+1 |
| --- | --- | --- | --- | --- | --- |
| 14 | 02027 | 31120262007-00 | SEAL RING | NIMONIC-80A | 1+1 |
| 15 | 02028 | 31120262008-00 | STELLITE BUSH | Dia 87/dia35x93 (SD) | 1+1 |
| 16 | 02029 | 31120262009-00 | THREADED RING | AA19308/FORGING | 1+1 |
| 17 | 02033 | 21120262004-00 | VALVE SPINDLE | HY10767/ DIA 90X 1025 | 1+1 |
| 18 | 02037 | TC9751203058 | SEAL RING CLOSED | TC51203-05/ Dia 40/60x10 | 1+1 |
| 19 | 02041 | TC9751203147 | SEAL RING CLOSED | TC51203-14/ Dia 140/160x10 (SD) | 1+1 |
| 20 | 02051 | 11120262005-00 | INTERMEDIATE PIECE | HY19571/ CASTING | 1+1 |

b) Finish machined valve casing upto Hydraulic pressure testing stage (without PT) will be

supplied by BHEL.

Note:- Reducer welding, stress relieving , X-ray testing and hydraulic pressure testing will be under vendor/supplier's scope.

- Major machining & handling facilities required:

- Horizontal boring machine (spindle Ø 130 or Ø 160).

- CNC lathe m/c’s (for m/cing valve seats, valve covers, spindles etc).

- Overhead crane with 2 hooks at least 15-5 tons capacity.

- 5 cans to handle and storage liquid nitrogen.

- Electrical pads/ induction heating equipment for heating and expanding the valve casing for diffuser fitting.

- Fixtures for lowering the diffuser & threaded ring during shrink fitting.

- Scope of work at vendor/ supplier :-

- Procurement of all the balance raw materials as per "part list details" for PGMAs 11202 & 11207 (except the above mentioned  free issue materials at point II).

- Finish m/cing of all the parts as per individual part drawingaincluding special coatings like CCP,Stellite-6 and NiCr082 deposition wherever it is required for PGMA’s 11202 & 11207 (stop valve assly. parts) and free issue matrerials mentioned at the point II.

- Procurement  of the  raw materials as per "part list details" for PGMAs 11281 & 11222 as mentioned below in the table below for preparation carrying out the Hydraulic pressure testing.

- Finish m/cing of all the loose parts as per individual part drawings including coatings like CCP,Stellite-6 and NiCr082 deposition for PGMA’s 11222 & 11281 for Hydraulic pressure testing and locking the diffusers, threaded rings and valve seats as mentioned in below table.

| SL NO. | PART NO. | DRG NO. | DESCRIPTION | SPECIFICATION | QTY /SET |
| --- | --- | --- | --- | --- | --- |
| 1 | 22007 | 41122262003-00 | PROTECTION TUBE | HY10666/dia71x205 | 1+1 |
| 2 | 22008 | 41122262004-00 | CONNECTION | HY10666/dia110X195 | 2+2 |
| 3 | 22009 | 41122262005-00 | CONNECTION | HY10666/dia71X185 | 2+2 |
| 4 | 22011 | 41122262006-00 | CONNECTION | HY10666/dia71X155 | 1+1 |
| 5 | 22012 | 41122262007-00 | SCREW PLUG | HY10663/dia50X52 | 1+1 |
| 6 | 22013 | 41122262008-00 | SCREW PLUG | HY10666/dia71X78 | 4+4 |
| 7 | 22014 | 41122262009-00 | PARALLEL PIN | HY10767/dia33X83 | 2+2 |
| 8 | 22015 | 41122262010-00 | PARALLEL PIN | HY10767/dia32X95 | 1+1 |
| 9 | 22016 | 41122262011-00 | PARALLEL PIN | HY10767/dia32X108 | 1+1 |
| 10 | 22017 | 41122262012-00 | BOLT | HY10767/dia32X101 | 1+1 |
| 11 | 22018 | HY7161094453 | WASHER SEALING | 35X43X2 | 1+1 |
| 12 | 22019 | HY1072339129 | SHIM SS | RECT 8X75 | 2+2 |
| 13 | 22021 | 41122262013-00 | BLIND FLANGE | AA10620/dia200X80 | 1+1 |
| 14 | 22024 | 41122262015-00 | PIN | HY10767/dia25X93 | 1+1 |
| 15 | 22025 | 41122262016-00 | HEX.SOC SET SCREW | HY10767/dia25X35 | 1+1 |
| 16 | 22026 | 41122262017-00 | BLANKING PLATE | AA10119/dia40X200 | 1+1 |
| 17 | 22028 | 31122262021-00 | WELD-IN SLEEVE | HY10666/dia71x160 | 1+1 |
| 18 | 22035 | 41122262019-00 | BLANKING PLATE | AA10119/PL40XDia 120 | 1+1 |

5.      Hydro test preparation :

- Blue matching of protection tubes/ nipples/ connections to the corresponding holes in the casing and welding & D.P check

- Welding of blind flange to the reducer in the valve casing as per drg.

21122262004-00

- Assemble/ prepare the active parts valve covers and blinding flanges (fixture item) on the valve casing for P.T as per drg. 33010051407-00.

Carryout hydro test to a pressure of 197 ata and hold it for a period of 30 minutes as per drg. 3-30100-51407-00.

- Dismantle the active & blinding flanges from valve casing and dry the body thoroughly with compressed air.

- Load the casing on H.B m/c and clamp.

- Cut off/ machine off the welded nipples faces and welded blind flange, carry out face machining and weld edge preparation as per drg.

6.      Diffuser & valve seats shrink fitting preparation:

- Arrange/ keep the HP valve casing suitably in position on the height blocks as required.

- Wind the electrical pads/ induction heating element for expansion the valve casing at diffuser seating area.

- Arrange the liquid nitrogen in the tin/tank and dip the diffuser & valve seat for shrink fitting.

- Carryout diffuser & valve seat shrink fitting in position as per Tech. instructions no : TT 30101

- Assemble the threaded ring and tighten the diffuser as soon as shrink fitting activity is over.

- Drill, ream & tap the holes and lock the diffuser, threaded ring, valve seats with locking pins as per drg. 0-11222-62006-00/01.

7.    HP stop valve assly.

- Assemble all the parts in their respective positions for elements/

sub-assly./ main assly. Independently as per Tech. instruction no: TT30101  and mount the whole assly. on the valve casing by maintaining clearances and lifts as shown in the drg.

8.   Painting & preservation :

- Carryout painting as per grade____________ specified in there.

9. Transport  Fixture:

- Preparation / manufacturing of fabricated transport fixture  as per drg. enclosed herewith ( structural raw- matls. in vendor/supplier scope) and mount the whole assembled HP/IP valve casing on this fixture and despatch.

SL.NO.VC2

HP CONTROL  VALVE  ASSLY. OF 150 MW(3.2 SQ.MTS) STEAM TURBINES

1.Refer the following drgs.

1) 1-11223-62007-00 (PGMA 11223/exe-I)

2) 1-11223-62007-00 (PGMA 11226/exe-II)     control valve assly.

3) 0-11222-62006-00 (PGMA 11222/exe-I)

4) 0-11222-62006-01 (PGMA 11281/exe-II)        Valve Casing assly

5) Part list details of particular workorder/customer.

2.Free issue of raw materials/castings/forgings/SD items (finish machining in vendor's scope) by BHEL.

| SL NO. | PART NO. | DRG NO. | DESCRIPTION | SPECIFICATION | QTY /SET |
| --- | --- | --- | --- | --- | --- |
| 1 | 112/23011 | 11122362003-00 | VALVE COVER | HY10665/dia 400/655 | 1+1 |
| 2 | 23016 | 31122362002-00 | STELLITE BUSH | Dia 172/dia142x145(SD) | 1+1 |
| 3 | 23017 | 11122362001-00 | VALVE CONE WITH SPINDLE | HY10767/ DIA 160X 1110 | 1+1 |
| 4 | 23018 | 41120262004-00 | THREADED RING | HY10767/dia 120/37 | 1+1 |
| 5 | 23019 | 31122362003-00 | STELLITE BUSH | Dia 80/dia35x105 (SD) | 1+1 |
| 6 | 23021 | 31120262007-00 | SEAL RING | NIMONIC-80A | 1+1 |
| 7 | 23022 | 41122362001-00 | BUSH | TC51204-67/dia 65/dia 35x51 | 1+1 |
| 8 | 23025 | 31120262009-00 | THREADED RING | AA19308/FORGING | 1+1 |
| 9 | 23027 | TC9751203058 | SEAL RING CLOSED | TC51203-05/ Dia 40/60x10 (SD) | 1+1 |
| 10 | 23028 | TC9751203147 | SEAL RING CLOSED | TC51203-14/ Dia 140/160x10 (SD) | 1+1 |
| 11 | 23031 | 31120262008-00 | STELLITE BUSH | Dia 87/dia35x93 (SD) | 1+1 |
| 12 | 23035 | 41122362001-01 | STELLITE BUSH | dia 65/35x31 | 1+1 |
| 13 | 23041 | 11123262005-00 | INTERMEDIATE PIECE | HY19571/ CASTING | 1+1 |

- Finish machined valve casing will be supplied by BHEL for control valve assembly.

3.      Major machining & handling facilities required:-

1)Horizontal boring machine (spindle Ø 130 or Ø 160).

2)CNC lathe m/c’s (for m/cing valve seats, valve covers, spindles etc).

3)Overhead crane with 2 hooks at least 15-5 tons capacity.

4)Fixtures for lowering the assembled control valve in the valve casing.

4.Scope of work at Vendor/Supplier

  - Procurement  of balance raw materials as per "part list details" for pgma's 11223 &

11226 (except the above mentioned free issue materials  at point - II).

  - Finish m/cing of all the parts as per their individual part drawings including special coatings like CCP, Stellite-6 and NiCr082 wherever it is required for pgma's 11223 &11226 along with free issue materials mentioned at point -II.

5. HP control valve assly.

Assemble all the parts in their respective positions for elements/sub-assly./ main assly. Independently as per Tech. instruction no: TT30102 and mount the whole assly. on the valve casing by maintaining clearances and lifts.
The whole assly. Duly inspected and certified by BHEL at sc works

6.Painting & preservation :

Carryout painting as per grade_____________ specified in the drg.

7.Transport  Fixture:

Preparation / manufacturing of fabricated  transport fixture  as per drg. enclosed herewith ( structural raw- matls. in  vendor/ supplier  scope) and mount  the whole assembled HP valve casing on this fixture and despatch.

SL.NO.VC3

IP STOP VALVE ASSLY. OF 150 MW(3.2 SQ.MTS) STEAM TURBINES

1.Refer the following drgs.

  - 1-11320-62006-00 (PGMA 11320/exe-I)

  - 1-11320-62006-00 (PGMA 11332/exe-II)     IP stop valve assly.

3)  0-11321-62003-00 (PGMA 11321/exe-I)

4)  0-11321-62003-01 (PGMA 11381/exe-II)       IP Valve Casing assly.

Note:  diffuser, valve seat, threaded ring, angle rings, welded nipples, locking pins, hydro test details are available /given in this drg.

1)  0-11321-62002-00 (PGMA 11321/exe-I)

2)  0-11321-62002-01 (PGMA 11381/exe-II)      IP Valve Casing machining

1)       2-11321-62002-00   (  ----do----  )   Hydraulic P.T arrangement

  - 3-30100-44008-00   ( ----do---    )   Hydraulic P.T data for IP valve body

  - Part list details (WBS BOM) of particular work order/customer

2.Free issue of raw materials/castings/forgings/SD items ( finish machining in vendor's scope) by BHEL:-

| SL NO. | PART NO. | DRG NO. | DESCRIPTION | SPECIFICATION | QTY/SET |
| --- | --- | --- | --- | --- | --- |
| 1 | 113/20003 | 11132062003-00 | VALVE COVER | HY19573/CASTING | 1+1 |
| 2 | 20011 | 21132062001-00 | VALVE CONE | HY10665/Dia 400x178 | 1+1 |
| 3 | 20014 | 31132062003-00 | THREADED RING | AA10620 Dia 180x168 | 1+1 |
| 4 | 20016 | 31132062004-00 | STELLITE BUSH | Dia 107/dia44x171 (SD) | 1+1 |
| 5 | 20019 | 41132062001-00 | THREADED RING | HY10767 /Dia 160x50 | 1+1 |
| 5 | 20021 | 31132062005-00 | STELLITE BUSH | Dia 120/dia45x137 (SD) | 1+1 |
| 6 | 20025 | 31132062007-00 | STELLITE BUSH | Dia 100/dia45x121 (SD) | 1+1 |
| 7 | 20031 | 21132062003-00 | VALVE SPINDLE | HY10767/ DIA 90X 1200 | 1+1 |
| 8 | 20039 | TC9751203155 | SEAL RING CLOSED | TC51203-15/ Dia 50/70x10 | 1+1 |
| 9 | 20042 | 1132062005-00 | INTERMEDIATE PIECE | HY19571/ CASTING | 1+1 |
| 10 | 113/21004 | 31132162019-00 | VALVE SEAT | AA19308/FORGING | 1+1 |
| 11 | 21005 | 21132162003-00 | DIFFUSER | AA19308/FORGING | 1+1 |
| 12 | 21011 | 31132162020-00 | THREADED RING | AA19308/FORGING | 1+1 |
| 13 | 21016 | 31132162023-00 | ANGLE RING | AA19308/FORGING | 1+1 |
| 14 | 21017 | 31132162022-00 | THREADED RING | AA19308/FORGING | 1+1 |
| 15 | 21026 | 31132162024-00 | REDUCER | AA19308/FORGING | 1+1 |

  - Finish machined valve casing upto Hydraulic pressure testing stage (without PT) will be supplied by BHEL.

Note:- Reducer welding, stress relieving , X-ray testing and hydraulic pressure testing will be under vendor/supplier's scope.

3.Major machining & handling facilities required:

1)Horizontal boring machine (spindle Ø 130 or Ø 160).

2)CNC lathe m/c’s (for m/cing valve seats, valve covers, spindles etc).

3)Overhead crane with 2 hooks at least 15-5 tons capacity.

4)5 cans to handle and storage liquid nitrogen.

5)Electrical pads/ induction heating equipment for heating and expanding the valve casing for diffuser fitting.

6)Fixtures for lowering the diffuser & threaded ring during shrink fitting.

4.Scope of work at vendor/ supplier :-

1)Procurement of  balance raw materials as per "part list details" for PGMAs 11320 & 11332 (except the above mentioned  free issue materials at point  II).

2)Finish m/cing of all the parts as per their individual part drawings including special coatings like CCP, Stellite-6 and NiCr082 deposition wherever it is required for PGMA’s 11320 & 11332(stop valve assly.parts) and also free issue matrerials mentioned at        point II.

3)Procurement  of raw materials for pgmas 11321 & 11381  as  mentioned below in the table , for preparation and carrying out the Hydraulic pressure testing.

| SL NO. | PART NO. | DRG NO. | DESCRIPTION | SPECIFICATION | QTY/SET |
| --- | --- | --- | --- | --- | --- |
| 1 | 113/21006 | 41122262006-00 | CONNECTION | HY10666/dia71x155 | 1+1 |
| 2 | 21007 | 41132162002-00 | CONNECTION | HY10666/dia110X235 | 1+1 |
| 3 | 21008 | 41122262005-00 | CONNECTION | HY10666/dia71X185 | 2+2 |
| 5 | 21009 | 41122262008-00 | SCREW PLUG | HY10666/dia71x78 | 3+3 |
| 6 | 21010 | 41132162003-00 | CYLINDRICAL PIN | HY10767/ Dia 32x66 | 2+2 |
| 7 | 21012 | 41132162004-00 | PROTECTION TUBE | HY10666/ Dia 71x 170 | 1+1 |
| 8 | 21014 | 41132162007-00 | CYLINDRICAL PIN | HY10767/ Dia 32x103 | 1+1 |
| 9 | 21018 | 41122262015-00 | PIN | HY10767/dia25X93 | 1+1 |
| 10 | 21019 | 41122262016-00 | HEX.SOC SET SCREW | HY10767/dia25X35 | 1+1 |
| 10 | 21020 | 41122262007-00 | SCREW PLUG | HY10663/dia50X52 | 1+1 |
| 11 | 21021 | HY1072339129 | SHIM SS | RECT 8X75 | 1+1 |
| 12 | 21022 | 41132162008-00 | CYLINDRICAL PIN | HY10767/ Dia 32x112 | 1+1 |
| 13 | 21023 | HY7161094453 | WASHER SEALING | Dia35/43x2 | 1+1 |
| 14 | 21024 | 41132162009-00 | PLUG | HY10663/ Dia 32x 31 | 1+1 |
| 15 | 21025 | 41132162010-00 | PLUG | HY10663/ Dia25x 26 | 1+1 |
| 16 | 21028 | 41132162001-00 | BLANKING PLATE | AA10119/dia405XPL 40 | 1+1 |
| 17 | 21032 | 41122262013-00 | BLIND FLANGE | AA10620/ Dia 200x80 | 1+1 |
| 18 | 21034 | 41122262001-00 | STUD | AA10620/ Dia 40X155 | 8+8 |
| 19 | 21035 | 41122262002-00 | CAP NUT | HY10663/DIA 50X73 | 8+8 |

- Finish m/cing of parts as per their individual part drawings for pgmas 11321 & 11381 as mentioned in the below table for blinding  on the casing  for hydraulic pressure testing and locking the diffusers, threaded rings and valve seats.

- Hydro test preparation :

- Blue matching of protection tubes/ nipples/ connections to the corresponding holes in the casing and welding & D.P check

- Welding of blind flange to the reducer in the valve casing as per drg. 2-11321-62002-00

- Assemble/ prepare the active parts valve covers and blinding flanges (fixture item) on the valve casing for P.T as per drg.

3-30100-44208-00.

- Carryout hydro test to a pressure of 197 ata and hold it for a period of 30 minutes as per drg. 3-30100-44208-00.

- Dismantle the active & blinding flanges from valve casing and dry the body thoroughly with compressor  air.

- Load the casing on H.B m/c and clamp.

- Cut off/ machine off the welded nipples faces and welded blind flange, carry out face machining and weld edge preparation as per drg.

- Diffuser & valve seats shrink fitting preparation:

- Arrange/ keep the IP valve casing suitably in position on the height blocks as required.

- Wind the electrical pads/ induction heating element for expansion the valve casing at diffuser seating area.

- Arrange the liquid nitrogen in the tin/tank and dip the diffuser & valve seat for shrink fitting.

- Carryout diffuser & valve seat shrink fitting in position as per Tech. instructions no : TT 30103

- Assemble the threaded ring and tighten the diffuser as soon as shrink fitting activity is over.

- Drill, ream & tap the holes and lock the diffuser, threaded ring, valve seats with locking pins as per drg. 0-11321-62003-00/01.

- Also blue match the angle ring& threaded ring and  maintain the clearance, drill and ream and lock the pin in position as per drawing.

8.IP stop valve assly.

- Assemble all the parts in their respective positions for elements/sub-assly./ main assly. Independently as per Tech. instruction no: TT30103  and mount the whole assly. on the valve casing by maintaining clearances and lifts as shown in the drg.

9.Painting & preservation :

- Carryout painting as per grade__________ specified in the drg.

10.Transport  Fixture:

- Preparation / manufacturing of fabricated transport fixture  as per drg. enclosed herewith ( structural raw- matls. in vendor/supplier scope) and mount the whole assembled IP valve casing on this fixture and despatch.

SL.NO.VC4

IP CONTROL  VALVE  ASSLY. OF 150 MW (3.2 SQ.MTS) STEAM TURBINES

1.Refer the following drgs.

- 1-11322-62006-00 (PGMA 11322/exe-I)

- 1-11322-62006-00 (PGMA 11333/exe-II)            control valve assly.

- 0-11321-62003-00 (PGMA 11321/exe-I)

- 0-11321-62003-01 (PGMA 11381/exe-II)            Valve Casing assly

- "Part list details" of particular workorder/customer.

2.Free issue of raw materials/castings/forgings/SD items ( finish machining in vendor's scope ) by BHEL.

| SL NO. | PART NO. | DRG NO. | DESCRIPTION | SPECIFICATION | QTY /SET |
| --- | --- | --- | --- | --- | --- |
| 1 | 113/22003 | 11132262001-00 | VALVE COVER | HY19573/CASTING | 1+1 |
| 2 | 22012 | 31132262002-00 | STELLITE BUSH | TC51204-74 / Dia 345/304x 369 | 1+1 |
| 3 | 22014 | 11132262003-00 | VALVE CONE WITH SPINDLE | STAA05497019 (SD-item) | 1+1 |
| 4 | 22015 | 41132262001-00 | THREADED RING | HY10767/dia 120 X37 | 1+1 |
| 5 | 22021 | 31132262004-00 | STELLITE BUSH | Dia 75/45 x 25 | 1+1 |
| 6 | 22023 | TC9751203155 | SEAL RING CLOSED | TC51203-15/ Dia 50/70x10 | 1+1 |
| 7 | 22024 | TC9751203155 | SEAL RING CLOSED | TC51203-15/ Dia 50/70x10 | 1+1 |
| 8 | 22025 | 31132262005-00 | STELLITE BUSH | Dia 95/45 x 105 | 1+1 |
| 9 | 22035 | 11132262004-00 | INTERMEDIATE PIECE | HY19571/ CASTING | 1+1 |

Finish machined valve casing will be supplied by BHEL for control valve assembly.

3.    Major machining & handling facilities required:-

1)Horizontal boring machine (spindle Ø 130 or Ø 160).

2)CNC lathe m/c’s (for m/cing valve seats, valve covers, spindles etc).

3)Overhead crane with 2 hooks at least 15-5 tons capacity.

4)Fixtures for lowering the assembled control valve in the valve casing.

4. Scope of work at Vendor/Supplier

1)Procurement of all the balance raw materials as per "part list details" for pgma's 11322 & 11333 (except the above mentioned free issue materials  at point - II).

2)Finish m/cing of all the parts as per their individual part drawings including special coatings like CCP, Stellite-6 and NiCr082 wherever it is required for pgma's 11322 &11333 along with free issue materials mentioned at point -II.

5. IP control valve assly.

- Assemble all the parts in their respective positions for elements/sub-assly./ main assly. Independently as per Tech. instruction no: TT30104 and mount the whole assly. on the  IP valve casing by maintaining clearances and lifts.

- The whole assly will be duly inspected and certified by BHEL-QC at sc works

6.  Painting & preservation :

Carryout painting as per grade_____________ specified in the drg.

7.    Transport  Fixture:

Preparation / manufacturing of fabricated  transport fixture  as per drg. enclosed herewith ( structural raw- matls. in  vendor/ supplier scope) and mount  thewhole assembled IP valve casing on this fixture and despatch.

SL.NO.VC5

HP OVERLOAD VALVE ASSLY. OF 150 MW(3.2 SQ.MTS) STEAM TURBINES

1.Refer the following drgs.

  - 1-11206-62001-00 (PGMA 11206)            ... Over load valve assly.(STV125-140)

  - 0-11203-62003-00 (PGMA 11203)            ... Valve casing m/c ing.

  - 0-11203-62002-00 (PGMA 11203             ...  Valve Casing assly.
Note:  diffuser, valve seat, threaded ring, angle rings, welded nipples, locking pin, hydro test details are available /given in this drg.

  - 2-11203-62002-00 (------do------)Hydraulic P.T arrangement

  - Note:  Reducer, spool piece and blanking plate welding details to the valve casing are given in this drg.

  - 3-30100-51408-00 (------do------)Hydraulic P.T  protocol

  - Part  list details (WBS BOM) of  particular workorder/customer

2.Free issue of raw materials/castings/forgings/SD items (finish machining in vendor's scope ) by BHEL:-

| SL NO. | PART NO. | DRG NO. | DESCRIPTION | SPECIFICATION | QTY /SET |
| --- | --- | --- | --- | --- | --- |
| 1 | 112/03004 | 21120362001-00 | DIFFUSER | HY10665/DIA400X1140 | 1 |
| 2 | 03006 | 31120362004-00 | THREADED RING | AA19308/FORGING | 1 |
| 3 | 03021 | 31120362005-00 | ANGLE RING | HY19393/FORGING | 1 |
| 4 | 03023 | 31120362006-00 | THREADED RING | HY10665/dia300X105 | 1 |
| 5 | 03027 | 41122262018-00 | REDUCER | HY19478/FORGING | 2 |
| 6 | 112/06002 | 11120662002-00 | VALVE COVER | HY10665/dia 400x655 | 1 |
| 7 | 06016 | 31122362002-00 | STELLITE BUSH | Dia 172/dia142x145 (SD) | 1 |
| 8 | 06017 | 21122362001-00 | VALVE CONE WITH SPINDLE | HY10767/ DIA 160X 1110 | 1 |
| 9 | 06018 | 41120262004-0 | THREADED RING | HY10767/ Dia 120x37 | 1 |
| 10 | 06019 | 31122362003-00 | STELLITE BUSH | Dia 80/dia35x105 (SD) | 1 |
| 11 | 06021 | 31120262007-00 | SEAL RING | NIMONIC-80A | 1 |
| 12 | 06022 | 41122362001-00 | STELLITE BUSH | Dia 65/dia35x51 (SD) | 2 |
| 13 | 06025 | 31120262009-00 | THREADED RING | AA19308/FORGING | 1 |
| 14 | 06027 | TC9751203058 | SEAL RING CLOSED | TC51203-05/ Dia 40/60x10 | 2 |
| 15 | 112/06028 | TC9751203147 | SEAL RING CLOSED | TC51203-14/ Dia 140/160x10 (SD) | 3 |
| 16 | 06031 | 31120262008-00 | STELLITE BUSH | Dia 87/dia35x93 (SD) | 1 |
| 17 | 06035 | 41122362001-01 | STELLITE BUSH | Dia 65/dia35x51 (SD) | 2 |
| 18 | 06041 | 11122362005-00 | INTERMEDIATE PIECE | HY19571/ CASTING | 1 |
| 19 | 112/09002 | 31120362003-00 | PIPE(SPOOL PIECE) | HY19487/FORGING(P91) | 2 |

  - Finish machined valve casing upto Hydraulic pressure testing stage (without PT) will be supplied by BHEL.

Note:- Reducers, spool pieces welding, stress relieving , X-ray testing ,nipples welding and hydraulic pressure testing will be under vendor/supplier's scope.

3.Major machining & handling facilities required:

- Horizontal boring machine (spindle Ø 130 or Ø 160).

- CNC lathe m/c’s (for m/cing, valve covers, spindles, stellite bushes etc).

- Overhead crane with 2 hooks at least 15-5 tons capacity.

- 5 cans to handle and storage liquid nitrogen.

- Electrical pads/ induction heating equipment for heating and expanding the valve casing for diffuser fitting.

- Fixtures for lowering the diffuser & threaded ring during shrink fitting.

4.Scope of work at vendor/ supplier :-

- Procurement of all the balance raw materials as per "part list details" for PGMA 11206  (except the above mentioned  free issue materials at point II).

- Finish m/cing of all the parts as per individual part drawings  including special coatings like CCP,Stellite-6 and NiCr082 deposition wherever it is required for PGMA 11206  (over load valve assly. parts) and the free issue matrerials mentioned at the point II.

- Procurement of the raw materials as per "part list details" for PGMA 11203 as mentioned in the table below for preparation and carrying out the Hydraulic pressure testing.

- Finish m/cing of all the loose parts as per individual part drawings including any special coating / nitriding involves  for PGMA 11206 for Hydraulic pressure testing and locking the diffusers and threaded rings  as mentioned in below table.

| SL NO. | PART NO. | DRG NO. | DESCRIPTION | SPECIFICATION | QTY/SET |
| --- | --- | --- | --- | --- | --- |
| 1 | 112/03010 | 41122262004-00 | CONNECTION | HY10666/dia110X195 | 1 |
| 2 | 03011 | 41122262005-00 | CONNECTION | HY10666/dia71X185 | 1 |
| 3 | 03012 | 41122262007-00 | SCREW PLUG | HY10663/dia50X52 | 1 |
| 4 | 03013 | 41122262008-00 | SCREW PLUG | HY10666/dia71X78 | 2 |
| 5 | 03014 | 41120362020-00 | PARALLEL PIN | Hy10767/DIA32X105 | 1 |
| 6 | 03016 | 41120362021-00 | PARALLEL PIN | HY10767/dia32X118 | 1 |
| 7 | 03018 | 41122262012-00 | BOLT | HY10767/dia32X101 | 1 |
| 8 | 03019 | HY7161094453 | WASHER SEALING | 35X43X2(SD) | 1 |
| 9 | 03020 | HY1072339129 | SHIM | AA10739/S 0.3X8X75 | 2 |
| 10 | 03025 | 41122262015-00 | PIN | HY10767/dia25X93 | 1 |
| 11 | 03026 | 41122262016-00 | HEX.SOC SET SCREW | HY10767/dia25X35 | 1 |
| 12 | 03028 | 41122262019-00 | BLANKING PLATE | AA10119/DIA130 | 2 |

- Hydro test preparation :

- Blue matching of protection tubes/ nipples/ connections to the corresponding holes in the casing and welding & D.P check

- Welding of blind flange to the reducer in the valve casing as per drg.

2-11203-62002-00  by following WPS mentioned in the drg.

- Assemble/ prepare the active parts valve covers and blinding flanges (fixture item) on the valve casing for P.T as per drg. 33010051408-00.

- Carryout hydro test to a pressure of ... ata and hold it for a period of 30 minutes as per drg.  3-30100-51408-00.

- Dismantle the active & blinding flanges from valve casing and dry the body thoroughly with compressed air.

- Load the casing on H.B m/c and clamp.

- Cut off/ machine off the welded nipples faces and  blind flange, carry out face machining and weld edge preparation as per drg.

- Diffuser shrink fitting preparation:

- Arrange/ keep the Overload  valve casing suitably in position on the height blocks as required.

- Wind the electrical pads/ induction heating element for expansion the valve casing at diffuser seating area.

- Arrange the liquid nitrogen in the tin/tank and dip the diffuser  for shrink fitting.

- Carryout diffuser  shrink fitting in position as per Tech. instructions no : TT 30101

- Assemble the threaded ring and tighten the diffuser as soon as shrink fitting activity is over.

- Drill, ream & tap the holes and lock the diffuser, threaded ring,  with locking pins as per drg. 01120362002-00.

- Also blue match threaded ring and angle ring,maintain the clearances

and drill ,ream & lock the pin with screw as per drg. 01120362002-00

- Overload Valve Assly.

- Assemble all the parts in their respective  positions for elements/sub-assly./ main assly. Independently as per Tech. instruction no: TT....  and  mount the whole assly. on the valve casing by maintaining clearances and lifts as shown in the drg.

- Painting & preservation :

- Carryout painting as per grade____________ specified in there.

- Transport Fixture:  Preparation / manufacturing of fabricated transport fixture (structural raw- matls. in vendor/supplier scope) and mount the whole assembled overload valve casing on this fixture and despatch.

SL.NO.VC6

Valve Block Assembly  of 80MW (2.8 sq.mts) steam turbines

1.Refer the following drgs.

| S.No | PGMA | PGMA Description | Header Material |
| --- | --- | --- | --- |
| 1 | 30501 | STOP VALV(H)ASSY WITH TESTER | 13050100004-00N1 |
| 2 | 30501 | STOP VALVE (H-TYPE)-3-R | 13050200004-00N2 |
| 3 | 30501 | CYLINDER WITH TEST PISTON-3R | 13050300010-00 |
| 4 | 30509 | STEAM STRAINER-R | 13050900006-00N3 |
| 5 | 30511 | SIG DEVICE FOR STOP VALVE-R | 03051100002-22 |
| 6 | 30512 | SIG DEVICE FOR STOP VALVE-L | 03051100002-23 |
| 7 | 30513 | 3-WAY TESTING VALVE CONNS-R | 43051300002-00 |
| 8 | 30546 | HP GOV VALVES -4(RIGHT) | 03054700003-00N3 |
| 9 | 30547 | HP GOV VALVES ASSY-4(RIGHT) | 03054700003-00 |
| 10 | 30548 | HP GOV VALVES -4(LEFT) | 03054700003-00N4 |
| 11 | 30549 | HP GOV VALVES ASSY-4(LEFT) | 03054700003-00 |
| 12 | 30560 | VALVE BLOCK ASSEMBLY-4 (RIGHT) | X30560-80MWSTG |
| 13 | 30563 | VALVE BLOCK (RIGHT) | 03056300006-02 |
| 14 | 30564 | VALVE BLOCK (LEFT) | 03056400003-02N1 |
| 15 | 30565 | VALVE BLOCK ASSEMBLY -4 (RIGHT) | 03056400002-00N1 |
| 16 | 30566 | VALVE BLOCK ASSEMBLY -4 (LEFT) | 03056400002-00 |
| 17 | 30570 | VALVE BLOCK ASSEMBLY-4 (LEFT) | X30570-80MWSTG |
| 18 | 30581 | STOP VALV(H)ASSY WITH TESTER-L | 13050100004-00N1 |
| 19 | 30582 | STOP VALVE (H-TYPE)-3-L | 13050200004-00N2 |
| 20 | 30583 | CYLINDER WITH TEST PISTON-3L | 13050300010-00 |
| 21 | 30584 | STEAM STRAINER-L | 13050900006-00N3 |
| 22 | 30587 | 3-WAY TESTING VALVE CONNS-L | 43051300002-00 |
| 23 | 30603 | H P PILOT VALVE- RIGHT | S03060300011-00N1 |
| 24 | 30611 | H P SERVOMOTOR- RIGHT | 03061100007-00 |
| 25 | 30614 | DAMPING DEVICE- RIGHT | 33061400003-04 |
| 26 | 30657 | GOVERNOR SPECIFIC PARTS- R | 3065703180665 |
| 27 | 30684 | MTG OF DAMPER FOR HP SERVOMTR | 13056300001-04N4 |
| 28 | 30691 | H P PILOT VALVE- LEFT | S03060300011-00N1 |
| 29 | 30691 | HP SERVOMOTOR-LEFT | 03061100007-00 |
| 30 | 30691 | DAMPING DEVICE- LEFT | 33061400003-04 |
| 31 | 30691 | GOVERNOR SPECIFIC PARTS- L | 3065703180665 |
| 32 | 30691 | MTG OF DAMPER FOR HP SERVOMTR | 13056300001-04N4 |

Part  list details (WBS BOM and particular PGMA) of  particular workorder/customer

2.Free issue of raw materials/castings/forgings/SD items (finish machining in vendor's scope ) by BHEL:-

| S.No | Header Material | Material No | Description | Material Code | Qty |
| --- | --- | --- | --- | --- | --- |
| 1 | 03056300006-02 | 03056300006-02P1 | VALVE BLOCK CASING 90 (RIGHT) | TC9212203523 | 1 |
| 2 | 03056300006-02 | 33056300014-00 | PIPE (INLET) | TC9507846026 | 1 |
| 3 | 03056300006-02 | 33056300017-00 | PIPE | TC9518746044 | 1 |
| 4 | 03056300006-02 | 33056300017-00 | PIPE | TC9518746044 | 1 |
| 5 | 03056400003-02N1 | 03056400003-02P1N1 | VALVE BLOCK CASING 90 (LEFT) | TC9212203523 | 1 |
| 6 | 03056400003-02N1 | 33056300014-00 | PIPE (INLET) | TC9507846026 | 1 |
| 7 | 03056400003-02N1 | 33056300017-00 | PIPE | TC9518746044 | 1 |
| 8 | 03056400003-02N1 | 33056300017-00P11 | PIPE | TC9518746044 | 1 |
| 9 | 03061100007-00 | 13061110008-00CI | INTERMEDIATE PIECE(M-11-598) | HALB | 2 |
| 10 | 03061100007-00 | 13060310005-00CI | BOTTOM COVER(M-11-553) | HALB | 2 |
| 11 | 03061100007-00 | 43061100033-00 | SCALE | TC9717014108 | 2 |
| 12 | 03061100007-00 | 03061100007-00(POS.No 51) | DU-BUSH MB1012 DU(SUD) | TC9751213088 | 2 |
| 13 | 03061100007-00 | 03061100007-00(POS.No 52) | DU-BUSH MB1012 DU(SUD) | TC9751213088 | 2 |
| 14 | 03061100007-00 | 03061100007-00(POS.No 53) | DU-BUSH MB1212 DU(SUD) | TC9751213100 | 2 |
| 15 | 03061100007-00 | 03061100007-00(POS.No 54) | DU-BUSH MB1215 DU(SUD) | TC9751213118 | 2 |
| 16 | 03061100007-00 | 03061100007-00(POS.No 55) | PROT ROLLER BRG,NATR10,D30/10XL15(SUD) | TC9051207042 | 2 |
| 17 | 03061100007-00 | 03061100007-00(POS.No 56) | LEVER JOINT HD WITH INT THR,DURBAL EF 10(SUD) | TC9051611013 | 2 |
| 18 | 03061100007-00 | 03061100007-00(POS.No 57) | LEVER JOINT HD WITH INT THR,DURBAL EF10L(SUD) | TC9051611021 | 2 |
| 19 | 03061100007-00 | 03061100007-00(POS.No 59) | HYDRAULIC CYLINDER DIA250MM(SUD) | TC9051701012 | 2 |
| 20 | 03061100007-00 | 03061100007-00(POS.No 64) | DILO COUPLING M1B 4R G 1/8"(SUD) | TC9756106271 | 4 |
| 21 | 13050300010-00 | 13050300011-00 | CYLINDER 280 | TC9110306013 | 2 |
| 22 | 13050300010-00 | 23050310002-00 | PISTON 280 | TC9110346589 | 2 |
| 23 | 13050300010-00 | 43050300007-00 | CYL CMPRSN SPRING 4-11-6806 | TC9751401461 | 2 |
| 24 | 33061400003-04 | 43061400022-11 | DAMPING DEVICE G 3/4" | TC9754259038 | 2 |
| 25 | 33061400003-04 | 33061400003-04(POS.NO 6) | DT PRL MALE STUD COUPLG 3/4",SS,G2B 16G(SUD) | TC9756106182 | 2 |
| 26 | 43051300002-00 | 43051300002-00(POS.NO 3) | 3WAY BALL COCK +THR CONN,13MM,25KG/CM2(SUD) | TC9051113013 | 2 |
| 27 | 43051300002-00 | 43051300002-00(POS.NO 4) | DT PRL MALE STUD COUPLING 1/2",SS,G1B12G(SUD) | TC9756106069 | 6 |
| 28 | 43051300002-00 | 43051300002-00(POS.NO 5) | DT ANGLE SWIVEL,BF,G1/2",SS,SB1W16G(SUD) | TC9756102063 | 2 |
| 29 | 3.0657E+12 | 3065703180665(POS.NO 5) | LEVER JOINT HD WITH EXT THR,DURBAL EM25R(SUD) | TC9051609159 | 1 |
| 31 | 03051100002-22 | 03051100002-22(POS.NO 6) | LEVER JOINT HD WITH EXT THR,DURBAL EM 10(SUD) | TC9051609051 | 2 |
| 32 | 03051100002-22 | 03051100002-22(POS.NO 14) | LIMIT SWITCH +NORM ROLR LEVER IN WP ENCL(SUD) | TC9751907012 | 2 |
| 33 | 03051100002-23 | 03051100002-23(POS.NO 14) | LIMIT SWITCH +NORM ROLR LEVER IN WP ENCL(SUD) | TC9751907012 | 2 |
| 34 | 03051100002-23 | 03051100002-23(POS.NO 6) | LEVER JOINT HD WITH EXT THR,DURBAL EM 10(SUD) | TC9051609051 | 2 |
| 35 | 03054700003-00N3 | 13054800001-01 | LEVER S = 200 | TC9216933011 | 1 |
| 36 | 03054700003-00N3 | 43054800013-00 | VALVE CONE I DIA90X10 | HY1070267694 | 1 |
| 37 | 03054700003-00N3 | 43054600051-00 | VALVE CONE | HY1070267309 | 1 |
| 38 | 03054700003-00N3 | 43054600052-00 | VALVE SEAT DIA 90 | AA1060220300 | 2 |
| 39 | 03054700003-00N3 | 43054200051-01 | BUSH | TC9751204011 | 2 |
| 40 | 03054700003-00N3 | 03054700003-00N3 (POS.NO 12/3) | SEALING RING OPEN 20/32X6(SUD) | TC9751202027 | 4 |
| 41 | 03054700003-00N3 | 03054700003-00N3 (POS.NO 12/4) | SEALING RING CLOSED 20/32X6(SUD) | TC9751203023 | 8 |
| 42 | 03054700003-00N3 | 43054200052-01 | BUSH | TC9751204020 | 2 |
| 43 | 03054700003-00N3 | 03054700003-00N3 (POS.NO 21) | DISC SPRING OD25 ID12.2 H1.29(SUD) | TC9751408024 | 40 |
| 44 | 03054700003-00N3 | 03054700003-00N3 (POS.NO 24) | SPH PLAIN BRG,SKF GE 35CS-2Z,D35/52XB25 | TC9051208030 | 1 |
| 45 | 03054700003-00N4 | 13054800001-01 | LEVER S = 200 | TC9216933011 | 1 |
| 46 | 03054700003-00N4 | 43054600050-00 | VALVE CONE | HY1070267309 | 1 |
| 47 | 03054700003-00N4 | 43054600051-00 | VALVE CONE | HY1070267309 | 1 |
| 48 | 03054700003-00N4 | 43054600052-00 | VALVE SEAT DIA 90 | AA1060220300 | 2 |
| 49 | 03054700003-00N4 | 43054200051-01 | BUSH | TC9751204011 | 2 |
| 50 | 03054700003-00N4 | 03054700003-00N4 (POS.NO 12/3) | SEALING RING OPEN 20/32X6(SUD) | TC9751202027 | 4 |
| 51 | 03054700003-00N4 | 03054700003-00N4 (POS.NO 12/4) | SEALING RING CLOSED 20/32X6(SUD) | TC9751203023 | 8 |
| 52 | 03054700003-00N4 | 43054200052-01 | BUSH | TC9751204020 | 2 |
| 53 | 03054700003-00N4 | 03054700003-00N3 (POS.NO 24) | DISC SPRING OD25 ID12.2 H1.29(SUD) | TC9751408024 | 40 |
| 54 | 03054700003-00N4 | 03054700003-00N4 (POS.NO 24) | SPH PLAIN BRG,SKF GE 35CS-2Z,D35/52XB25 | TC9051208030 | 1 |
| 55 | 3.0657E+12 | 3065703180665(POS.NO 5) | LEVER JOINT HD WITH EXT THR,DURBAL EM25R(SUD) | TC9051609159 | 2 |
| 56 | S03060300011-00N1 | 03060300012-00N1 | SLEEVE CASING 63 (WZ) | 03060710001-00CI | 2 |
| 57 | S03060300011-00N1 | 43060310005-00 | BUSH | TC9110303316 | 2 |
| 58 | S03060300011-00N1 | 33060310004-00 | BUSH | TC9110303324 | 2 |
| 59 | S03060300011-00N1 | S03060300011-00N1(POS.NO 22) | CYL CMPRSN SPRING 4-11-8471(SUD) | TC9751401712 | 2 |
| 60 | S03060300011-00N1 | 13060300007-00 | TOP COVER (WZ) | 13060310009-00CI | 2 |
| 61 | S03060300011-00N1 | S03060300011-00N1(POS.NO 29/4) | GEAR BOX VENTILATION FILTER R-1/2"(SUD) | TC9051312040 | 2 |
| 62 | S03060300011-00N1 | S03060300011-00N1(POS.NO 31) | SLOT TYPE FLOW CONTROL VALVE DVE/AVE 12(SUD) | TC9751283027 | 2 |
| 63 | S03060300011-00N1 | S03060300011-00N1(POS.NO 32) | SLOT TYPE FLOW CONTROL VALVE DVE/AVE 16(SUD) | TC9751283035 | 2 |
| 64 | S03060300011-00N1 | S03060300011-00N1(POS.NO 37) | NIPPEL FOR QUICK CONNECT COUPLING(SUD) | TC9751282004 | 4 |
| 65 | S03060300011-00N1 | S03060300011-00N1(POS.NO 39) | TURCON STEP SEAL 12MM(SUD) | TC9851302015 | 2 |
| 66 | S03060300011-00N1 | S03060300011-00N1(POS.NO 40) | ABSTREIFER TYPE SA-12-20-4-6(SUD) | TC9851284017 | 2 |
| 67 | 13050200004-00n2 | 33050610001-01 | VALVE COVER ALTERNATIVE 01 | TC9212207006 | 2 |
| 68 | 13050200004-00n2 | 13050200005-03 | INTERMEDIATE PIECE | TC9212246001 | 2 |
| 69 | 13050200004-00n2 | 43050200034-00 | VALVE CONE | HY1070267325 | 2 |
| 70 | 13050200004-00n2 | 33050200020-00 | SEGMENTED RETAINING RING | TC9519350535 | 2 |
| 71 | 13050200004-00n2 | 33050210002-00 | BUSH | TC9110303260 | 2 |
| 72 | 13050200004-00n2 | 13050200004-00n2(POS.NO 47) | TAR-PTFE ABSTRIEFER 3-03-032(SUD) | TC9751332028 | 8 |
| 73 | 13050200004-00n2 | 13050200004-00n2(POS.NO 56) | CLAMPING SLEEVE 6X40(SUD) | TC9751605059 | 4 |
| 74 | 13050200004-00n2 | 13050200004-00n2(POS.NO 57) | CLAMPING SLEEVE 6X60(SUD) | TC9751605067 | 2 |
| 75 | 13056300001-04N4 | 13056300001-04N4 (POS 10) | DISC SPRING OD25 ID12.2 H1.29(SUD) | TC9751408024 | 128 |

3.Major machining & handling facilities required:

- Horizontal boring machine (spindle Ø 130 or Ø 160).

- CNC lathe m/c’s (for m/cing valve seats, valve covers, spindles etc).

- Overhead crane with 2 hooks at least 15-5 tons capacity.

4.Scope of work at vendor/ supplier :-

- Procurement of all the balance raw materials as per "part list details" for PGMAs 305xx and 306xx (except the above mentioned  free issue materials at point II).

- Finish m/cing of all the parts as per individual part drawingaincluding special coatings like CCP,Stellite-6 and NiCr082 deposition wherever it is required for  PGMA’s 305xx,306xx(Stated at Point I), and free issue matrerials mentioned at the point II.

5.Hydro test preparation :

- Blue matching of protection tubes/ nipples/ connections to the corresponding holes in the casing and welding & D.P check

- Welding of blind flange to the reducer pipe  in the valve casing as per drg.

- Assemble/ prepare the active parts valve covers and blinding flanges (fixture item) for P.T as per drawing of the respective part.

- Carryout hydro test to a pressure of  ---ata and hold it for a period of --  minutes as per drg. 43010042308 for valve block 03056400003-02N1 and 03056300006-02

- Dismantle the active & blinding flanges from valve block and dry the body thoroughly with compressed air.

- Cut off/ machine off the welded nipples faces and welded blind flange, carry out face machining and weld edge preparation as per drg.

6. Stop valve assly.

- Assemble all the parts in their respective positions for elements/sub-assly./ main assly. Independently as per Tech. instructions  and mount the whole assly. on the valve block casing by maintaining clearances and lifts as shown in the drg.

7.HP.Gov Valves Assembly

- Assemble all the parts in their respective positions for elements/sub-assly./ main assly. Independently as per Tech. instructions and mount the whole assly. on the valve block casing by maintaining clearances and lifts as shown in the drg.

8. HP.Valve Block Assembly

- Assemble all the parts in their respective positions for elements/sub-assly./ main assly. Independently as per Tech. instructions  and mount the whole assly. on the valve block casing by maintaining clearances and lifts as shown in the drg

9.HP Servo motor and Pilot Valve:-

- Assemble all the parts in their respective positions for elements/sub-assly./ main assly. Independently as per Tech. instructions  and mount the whole assly. on the valve block casing by maintaining clearances and lifts as shown in the drg.

10.Painting & preservation :

- Carryout painting as per grade_HY0674162_ specified in there.

11.Transport  Fixture:

- Preparation / manufacturing of fabricated transport fixture  as per drg. enclosed herewith ( structural raw- matls. in vendor/supplier scope) and mount the whole assembled valve block assembly on this fixture and despatch.

Note:- Raw materials which are not in the free issue from BHEL,  are to be procured by the vendor only.

| (B) ELIGIBILITY CRITERIA - TECHNICAL REQUIREMENTS |  | VENDOR RESPONSE / COMMENTS |
| --- | --- | --- |
| B1 | VENDOR SHOULD HAVE THE FOLLOWING MACHINES. - Horizontal boring machine (spindle Ø 130 or Ø 160). 2) CNC lathe m/c’s (for m/cing valve seats, valve covers, spindles etc). (VENDOR SHOULD GIVE THE DETAILS OF THE MACHINE SUCH AS BRAND NAME YEAR OF MANUFACTURE.) |  |
| B2 | VENDOR SHOULD HAVE THE FOLLOWING FACILITIES FOR HANDLING. - Overhead crane with 2 hooks at least 15-5 tons capacity. - 5 cans to handle and storage liquid nitrogen. - Electrical pads/ induction heating equipment for heating and expanding the valve casing for diffuser fitting. - Fixtures for lowering the diffuser & threaded ring during shrink fitting. (VENDOR SHOULD GIVE THE DETAILS FOR THE HANDLING FACILITIES SUCH AS BRAND NAME YEAR OF MANUFACTURE.) |  |
| (C) ELIGIBILITY CRITERIA - COMMERCIAL REQUIREMENTS |  | VENDOR RESPONSE / COMMENTS |
| C1 | VENDOR SHOULD HAVE ACHIEVED AN AVERAGE TURNOVER OF RS: 2 Crores DURING LAST 3 YEARS. |  |

| (D) TERMS & CONDITIONS |  |  | SUPPLIER OFFER /COMMENTS FOR COMMERCIAL TERMS |
| --- | --- | --- | --- |
| D1 | Scope of work and material supply | Refer page no.2 to 24 |  |
| D2 | Distribution of quantities based on tender priorities | This tender is for manufacturing of Valve casing assemblies. The order will be placed on technically suitable lowest vendor.(L1 vendor) for 60% of the quantity. Balance 40 % quantity will be ordered on L2 vendor, subject to acceptance of L1 rate. If the rate of L1 vendor is not accepted by the L2 vendor, other vendors will be considered in order of tender priority for ordering this 40% quantity. In case other vendors not accepting the L1 rates, total quantity may be given to L1 vendor based on BHEL requirement. |  |
| D3 | Bank guarantee towards value of BHEL material. | In the event of placement of order, vendor is required to furnish a bank guarantee amounting to Rs.5 lakhs. The format of the bank guarantee indicating the amount, the validity period and other terms shall be sent before sending of the material. The material will be dispatched after submission of bank guarantee. |  |
| D4 | Inspection | Inspection to be done by BHEL approved inspecting agency (For indigenous vendors is M/s. LLOYDS Register of Asia (LRA) and for Overseas vendors M/s.LLOYDS / BEREAU VERITAS / BNV / TUV ). Inspection charges shall be included in the price quoted by the vendor. |  |
| D5 | Delivery Terms | The finished item should be sent to be BHEL R.C.Puram on FOR destination basis with transportation charges in vendors scope. |  |
| D6 | Validity | 90 DAYS FROM THE DATE OF OPENING OF PRICE BID |  |

| (D) TERMS & CONDITIONS |  |  | SUPPLIER OFFER /COMMENTS FOR COMMERCIAL TERMS |
| --- | --- | --- | --- |
| D7 | Payment terms | 1) Despatch of Goods on door delivery basis only. Goods despatched with documents presented thro'Bank will not be accepted and the offer will be rejected. 2) 100% payment will be made on receipt and acceptance of materials within 90 days from the date of despatch / Invoice. 3) Payment to SSI Units (Registered with BHEL) will be made on receipt and acceptance of materials within 45 days from the date of despatch / invoice. SSI certificate is to be enclosed along with offer. 4) Payment against proforma invoice will not be considered and the offer will be rejected. 5) In no case BHEL shall accept to pay advance / Liability towards interest. 6) Offers with deviation to the above payment terms will be LOADED at 18% . 7) For foreign vendors LC will be opened 30 days prior to despatch . |  |
| D8 | Penalty | Penalty will be applicable for delayed supplies @0.5% per week upto a maximum of 10% of total P.O. value. For undelivered portion of material for non acceptance / deviation in acceptance of the penalty clause, the charges shall be loaded to Basic Price accordingly. ( for example, if penalty clause is not accepted, a loading of 10% will be made on the basic price. if penalty is accepted to a maximum of 5% a loading of 5% will be made on the basic price) |  |
| D9 | Defects | On receipt of Finished items at destination, if any manufacturing defects are noticed, the same shall be attended by the vendor at his own cost , without any delay. |  |
| D10 | Defects , after receipt of finished components | BHEL reserves the right to accept or reject any offer partly or fully at its discretion without assigning any reason. |  |
| D11 | Transportation | TO & FRO is in Vendor Scope |  |
| D12 | Delivery Period | Delivery should be 90 days from the date of last free issue materials by BHEL for indigenous vendors and subsequent units at 30 days thereafter. 120 days for the date of last free issue materials by BHEL for foreign vendors and subsequent units at 30 days thereafter. |  |
| D13 | Excise duty / CST/VAT | Excise Duty/CST/VAT applicable shall be clearly indicated. Further the TIN number ( in respect of VAT applicability ) also to be mentioned in your offers. BHEL will not consider any consequential taxes ( which are not mentioned) claimed by the vendors after submission of offer Price bid shall be evaluated on total cost to BHEL basis after considering all applicable taxes and duties. |  |
| D14 | Force majure clause | Force majure clause will be applicable only in case of earthquakes, floods, riots or any act of God beyond control of the contractor. Breakdown of equipment shall not be considered as force majure |  |
| D15 | Arbitration | Arbitration : all disputes arising out of this contract shall be referred to the Executive director BHEL R.C.Puram Hyderabad 502032, or his authorized representative for arbitration and his decision shall be final and binding. |  |
| D16 | Jurisdiction | Jurisdiction : In case of any suit or other legal proceedings arising under or relating to the contract, the courts at Sangareddy, Medak district Andhra Pradesh only shall have the jurisdiction and this will be resorted only after exhausting the arbitration clause as above. |  |
| D17 | Other General Terms and Conditions | Acceptance to all other BHEL general terms and conditions as mention in the enquiry / guidelines document. |  |
| Note Drawings soft copies will be issued to the vendor by the Sub Contract department Signature |  |  | Signature Stamp Seal |