------------------------------------------------------------------------------------------------------------------------------------------------------------------------

BHARAT HEAVY ELECTRICALS LTD.

PIPING CENTRE, CHENNAI – 17

PURCHASE DEPARTMENT

------------------------------------------------------------------------------------------------------------------------------------------

12.11.2021

PQR for the procurement of snubbers for Bhusawal and Yadadri Projects

| S. No | Pre-qualification Requirements(PQR) | Documents to be submitted | Bidder Comments |
| --- | --- | --- | --- |
| 1 | Bidder shall be capable of designing and manufacturing of maintenance free hydraulic snubber for power plant operations according to international/national standards of repute like EN 13480-3, ASME section III subsection NF, RCC-M subsection H, KTA 3205-3, MSS SP58, VGB R510L, SVDB guidelines | Self-Declaration & product catalogue of the vendor |  |
| 2 | Bidder shall be an established manufacturer of snubbers for more than 3 years and should be in continuous business | Supply reference (Minimum 1 no each in the following category a & b) with PO copy & Dispatch documents like invoice with LR/BL. a) More than 3 years from the date of tender notification. b) within 3 years from the date of tender notification |  |
| 3 | Snubbers designed and supplied from the vendor works shall be in operation for more than 1 year in minimum 2 thermal power plants. | Self declaration for commissioning along with corresponding PO copy and dispatch documents like invoice with LR/BL. |  |
| 4 | Bidder shall have the capacity to design and manufacture entire size range of snubbers(as per the data sheet) at their own plant. Bidder to furnish the process flow chart/write up on the manufacturing of snubbers along with the list of machinery. | Self declaration of size range, List of machinery and manufacturing process flow chart |  |
| 5 | Bidder shall have the testing facility to perform functional test for snubbers | List of testing facilities and one functional test report for supply reference furnished in Sl no 2 |  |
| 6 | Bidder must have valid ISO: 9001 certification | Copy of ISO 9001 certificate |  |
| 7 | Firm should have made a turnover of at least Rs. 25 Lakhs for anyone of last 3 audited Financial Year (FY 2020-21, 2019-20 or 2018-19). In case of foreign bidder, financial turnover shall be an equivalent of Rs. 25 Lakhs in their regional currency. For indigenous Start-ups and MSE bidders alone, financial turnover of Rs. 25 lakhs is relaxed to Rs. 12.5 lakhs. | 1. Indigenous bidders shall submit audited Company Financial statement- Balance Sheet and P&L statement for the past 3 years (FY 2020-21, 2019-20 and 2018-19) meeting financial turnover criteria. |  |
|  | For foreign bidder, exchange rate as on the date of Part I opening will be considered for arriving equivalent turnover in INR. | 2. In case of foreign bidder, recent credit rating report issued by any reputed third party business rating agency like D&B, Credit reform will be accepted in place of the above. |  |

Note-

- Only the bids fulfilling PQR will be considered for further Techno-Commercial evaluation.

- Bidders proposing to avail Startup and MSE relaxations shall submit applicable documentary proof along with Pre-Qualification bid. In case the required documents are not submitted by the bidder, no relaxation will be provided. Relaxations are subject to bidder meeting technical and quality criteria of the PQR.

- For Startups – Certificate of Recognition by Department of Industrial Policy & Promotion.

- For MSE – Copy of UDHYAM registration certificate.

- Notwithstanding anything stated above, BHEL reserves the right to assess the capabilities and capacity of the bidder to perform the contract in the overall interest of BHEL.

- BHEL reserves the right to check the authenticity of the PQ details furnished. In any case if the submitted details are found to be falsified, such erring vendors will be dealt as per extant guidelines of BHEL’s suspension of Business Dealings.