PRICE BID            SCHEDULE A ( Schedule of Quantity  )

SECTION A

| Sl No. | CPWD DSR 2007 item No. | Short discription of items( Refer DSR 07 for detailed description) |  |  | Unit | Qty | QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item | Amount (Rs) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2.6.1 / 64 | Earth work in excavation |  |  | m3 | 12250 |  |  |
| 2 | 2.7.1 / 64 | Earth work in ordinary rock |  |  | m3 | 9850 |  |  |
| 3 | 2.7.3 / 64 | Earth work in hard rock |  |  | m3 | 2150 |  |  |
| 4 | 2.10.1.3/65 | Excavating trenches for pipes, cables, etc |  |  | m | 750 |  |  |
| 5 | 2.25/67 | Back filling |  |  | m3 | 5400 |  |  |
| 6 | 1.1.2/54 | Carrige of earth |  |  | m3 | 14250 |  |  |
| 7 | 4.1.9/79 | C C (1:4:8) |  |  | m3 | 2135 |  |  |
| 8 | 5.1.3/88 | RCC (1:2:4) in foundation |  |  | m3 | 1430 |  |  |
| 9 | 5.2.2 / 88 | RCC (1 : 1.5 : 3) in slab |  |  | m3 | 370 |  |  |
| 10 | 5.9.1/89 | Shuttering in foundation |  |  | m2 | 3850 |  |  |
| 11 | 5.9.3/89 | Shuttering in slab |  |  | m2 | 300 |  |  |
| 12 | 7.6+7.8/109 | CR masonary |  |  | m3 | 340 |  |  |
| 13 | 6.4.2/99 | Brick masonary 1:6 |  |  | m3 | 1700 |  |  |
| 14 | 11.3.1/172 | C C Flooring 1:2:4, 40mm thick |  |  | m2 | 1150 |  |  |
| 15 | 16.1/240 | Preparation of subgrade |  |  | m3 | 800 |  |  |
| 16 | 16.3.1/240 | Supply of aggregate 90mm |  |  | m3 | 90 |  |  |
| 17 | 16.3.2/240 | Supply of aggregate 45mm |  |  | m3 | 90 |  |  |
| 18 | 8.10/12 | Supplu of moorum |  |  | m3 | 25 |  |  |
| 19 | 16.4/240 | Laying of WBM 90mm |  |  | m3 | 90 |  |  |
| 20 | 16.4/240 | Laying of WBM 45mm |  |  | m3 | 90 |  |  |
| 21 | 13.3.2/201 | Plaster 20mm 1:6 |  |  | m2 | 865 |  |  |
| 22 | 13.33.2/204 | Pointing 1:3 |  |  | m2 | 740 |  |  |

| Sl No. | CPWD DSR 2007 item No. | Short discription of items( Refer DSR 07 for detailed description) | Unit | Qty | QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item | Amount (Rs) |
| --- | --- | --- | --- | --- | --- | --- |
| 23 | 10.11/164 | P/F steel window | kg | 500 |  |  |
| 24 | 10.19/165 | MS holding down bolt | kg | 21632 |  |  |
| 25 | 11.36/177 | Ceramic tiles | m2 | 240 |  |  |
| 26 | 18.10.1/292 | P/L GI pipes 15mm dia | m | 146 |  |  |
| 27 | 18.10.3/292 | P/L GI pipes 25mm dia | m | 300 |  |  |
| 28 | 18.31.1.2/296 | Sluice valve 100mm | nos | 8 |  |  |
| 29 | 19.6.4/316 | RCC pipes 300mm dia | m | 650 |  |  |
| 30 | 19.6.2/316 | RCC pipes 150mm dia | m | 180 |  |  |
| 31 | 19.7.1.1/317 | Main holes | nos | 25 |  |  |
| 32 | 9.21.1/140 | Flush door shutter | m2 | 32 |  |  |
| 33 | 17.4.4/263 | Urinal automatic flushing cistern | nos | 4 |  |  |
| 34 | 17.7.1/264 | P/F Wash basin | nos | 11 |  |  |
| 35 | 17.1.1/263 | P/F WC seat | nos | 11 |  |  |
| 36 | 13.37.1/204 | White washing | m2 | 5500 |  |  |
| 37 | 4.1.6/79 | CC 1:3:6 in Foundation | m3 | 300 |  |  |
| 38 | 13.1.2/201 | Plaster 12mm 1:6 | m2 | 6360 |  |  |
| 39 | 13.2.2/201 | Plaster 15mm 1:6 | m2 | 7700 |  |  |
| 40 | 13.41.1/204 | Oil bound distemper | m2 | 16150 |  |  |
| 41 | 19.6.5/316 | RCC Pipe 450 mm | m | 480 |  |  |
| 42 | 12.8/187 | Providing Polyproplene 6mm thk sheet | m2 | 1550 |  |  |
| 43 | 5.3/88 | RCC 1:2:4 in beam | m3 | 30 |  |  |
| 44 | 18.71.2/304 | P/L CI double flanged pipe | m | 230 |  |  |
| 45 | 11.38/178 | Ceremic glaged floor tiles | m2 | 110 |  |  |
| 46 | 15.43.2/229 | Bituminous road | m2 | 100 |  |  |

| Sl No. | CPWD DSR 2007 item No. | Short discription of items( Refer DSR 07 for detailed description) | Unit | Qty | QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item | Amount (Rs) |
| --- | --- | --- | --- | --- | --- | --- |
| 47 | 5.9.6/89 | Shuttering in column | m2 | 70 |  |  |
| 48 | 5.24/92 | Rendering on top of roof (1:2) | m2 | 271 |  |  |
| 49 | 13.44.1/204 | Snowcem | m2 | 13830 |  |  |
| 50 | 11.26.1/176 | Kota stone flooring | m2 | 240 |  |  |
| 51 | 22.1.1/345 | Water Proofing | m2 | 1220 |  |  |
| 52 | 22.2.1/345 | Water Proofing invertical | m2 | 2250 |  |  |
| 53 | 5.1.2/88 | RCC (1:1.5:3) in foundation | m3 | 2415 |  |  |
| 54 | 15.2.1 / 226 | Desmetalling Cement Concrete | m3 | 42 |  |  |
| 55 | 5.9.2/89 | Shuttering in walls | m2 | 5140 |  |  |
| 56 | 11.5/172 | CC flooring 1:2:4, 62mm thick | m2 | 1575 |  |  |
| 57 | 15.3/226 | Demolishing RCC | m3 | 16 |  |  |
| 58 | 15.5/226 | Extra for cutting reinforcement bars | m2 | 25 |  |  |
| 59 | 1.1.1/54 | Carrige of Building rubbish | m3 | 4 |  |  |
| 60 | 21.1.2.1/337 | P/F Aluminium Doors, Windows, Ventilators | Kg | 3050 |  |  |
| 61 | 21.2.1/337 | P/F 12mm thick pre-leminated particle board | m2 | 10 |  |  |
| 62 | 21.3.1/338 | P/F 4mm thick glass glazing in aluminium door, window, vantilator | m2 | 530 |  |  |
| 63 | 21.4.1/338 | P/F double action hydrolic floor spring of approved brand with stainless steel cover plate | Each | 14 |  |  |
| 64 | 19.6.7/316 | RCC Pipe 600m dia | m | 200 |  |  |
| 65 | 2.27/67 | S / Filling Sand | m3 | 1190 |  |  |
| 66 | ______ | Item not covered above but as per DSR 2007 | LS | Rs 900000 | Percentage above or below to be quoted here...............% above / below (strike off word which is not applicable) |  |
| Sl No. | CPWD DSR 2007 item No. | Short discription of items( Refer DSR 07 for detailed description) | Unit | Qty | QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item | Amount (Rs) |
| 67 | 16.13.1/241 | Cutting road and making good the same bituminous portion. | m3 | 30 |  |  |
| 68 | 16.33.1/244 | 2.5 cm premix carpet | m2 | 7750 |  |  |
| 69 | 16.40/246 | P/Laying Seal coat | m2 | 7750 |  |  |
| 70 | 5.33/93 | Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of specified grade for reinforced cement concrete work including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement. including Admixtures in recommended proportions as per IS 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer - in - charge. M-25 grade reinforced cement concrete by using 410kg. of cement per cum of concrete. All work up to floor V level. | m3 | 800 |  |  |

| SECTION B |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| NON DSR ITEMS |  |  |  |  |  |  |
| Sl No. | Item No. | Discription of items | Unit | Qty | QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item | Amount (Rs) |
| 71 | Ex. - 1 | Providing & fixing in position including fabricating and erecting structural steel works at all heights comparising sag rods floor beams, columns, girders, bracings, purlins with channels and angles gutters with M.S. Plates, M.S. Flat supports including all connections as per detailed drawings connected steel works etc. cleats, gusset plates all bolts, nuts washers base platessanchor bolts etc. as per detailed drawings cutting welding and painting 1 coats of red oxide primer before erection & 2 coats of synthetic enamel paint of approved brand & colour after erection complete . Advani made electrodes super bond 'S' 5013 grade or other approved make equivalent make electrodes are to be used. All bolts nuts washers, gas, electrodes, paints are in contractor's scope. Fabrication to be done as per I.S. Codes of latest revision. Structural steel will be provided free of cost by BHEL from BHEL store. | NA | NA | NA | NA |
|  | a) | Only fabrication with free issue of structural steel by BHEL. | Kg | 1605000 |  |  |
|  | b) | Only erection. | Kg | 1605000 |  |  |

| Sl No. | Item No. | Discription of items | Unit | Qty | QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item | Amount (Rs) |
| --- | --- | --- | --- | --- | --- | --- |
| 72 | Ex. - 2 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete. REINFORCEMENT TO BE PROVIDED BY BHEL, FREE OF COST FROM BHEL STORE. Thermo - Mechanically treated bars / mild steel. Binding wire of approved quality / guage to be provided by contractor. | Kg | 400000 |  |  |
| 73 | Ex. - 3 | CC (1:2:4) flooring 150 mm thick hardener topping under layer 138mm thick cement concrete 1:2:4 and top layer 12mm thick cement hardener consisting of mix 1:2 ( 1 cement hardener mix 2 stone aggregate 6mm nominal size, hardening compound is mixed @ 2 liter. | m2 | 4420 |  |  |
| 74 | Ex. - 4 | Providing & laying GI pipes 100mm dia 'B' class (inside shops on steel columns / walls) approved by engineer incharge including all fittings, such as Tees, elbows, sockets, etc clamping, cutting, welding, etc at the height of 6m. | m | 1000 |  |  |
| 75 | Ex. - 5 | CC (1:2:4) flooring 200 mm thick hardener topping under layer 188mm thick cement concrete 1:2:4 and top layer 12mm thick cement hardener consisting of mix 1:2 ( 1 cement hardener mix 2 stone aggregate 6mm nominal size, hardening compound is mixed @ 2 liter. | m2 | 4000 |  |  |
| 76 | Ex. - 6 | Removal of AC sheet (1.5 M to 3.0 M) including stacking at site, bolts & nuts will be deposited at store. | m2 | 630 |  |  |

| Sl No. | Item No. | Discription of items | Unit | Qty | QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item | Amount (Rs) |
| --- | --- | --- | --- | --- | --- | --- |
| 77 | Ex. - 7 | Refixing of AC sheet (1.5 M to 3.0 M). The bolts, nuts & washers will be supplied by BHEL free of cost. | m2 | 40 |  |  |
| 78 | Ex. - 8 | Dismantalling of existing steel structures including cutting, as per direction of engineer incharge. | MT | 5 |  |  |
| 79 | Ex. - 9 | Re-erection of existing steel structures including cutting, welding, alignment, etc as per direction of engineer incharge. | MT | 5 |  |  |
| 80 | Ex. - 10 | P/Laying 5mm polymeric flooring including application of epoxy based primer on concrete floor, application of epoxy screed sealer coat and PU / CTU based top coat (1000 microns) as per direction of Engineer -in- charge. | m2 | 3600 |  |  |
| 81 | Ex. - 11 | Pressure grouting below base plates, foundation bolts, including pockets, with capital GP2, SIKA grout 214 or equivalent including cleaning, vibrating, etc. complete. Mortar is to be machine mixed 1:1 by weight (1 part GP2 or SIKA grout 214 : 1 part duly weight (1 part GP2 or SIKA grout 214 : 1 part duly washed stone aggregate 6mm & down gauge. Mimimum 200mm head of pressure. | m3 | 4 |  |  |

| Sl No. | Item No. | Discription of items | Unit | Qty | QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item | Amount (Rs) |
| --- | --- | --- | --- | --- | --- | --- |
| 82 | Ex. - 12 | Supplying and fixing of Trackdek Hi-rib single skin bare galvalume / Zincalume sheets of 0.5 mm thick. One Meter width and length upto 12M with factory cut and fixing to the roof shall be crest fixed to roof purlins with number 12-14 x 55 mm long polymer coated galvanized hex-head self drilling screws with integral washers and EPMD seals (4 fasteners per support) for sheet etc., complete as directed. (Including cost of galvalume sheets). - for roofing-Plain. | m2 | 20865 |  |  |
| 83 | Ex. - 13 | Transparent Polycarborate Sheet | m2 | 1490 |  |  |
| 84 | Ex. - 14 | Patch repair of existing floor with epoxy hardner , to bring it to smooth surface and P/Laying 5mm polymeric flooring including application of epoxy based primer or concrete floor, application of epoxy screed sealer coat and PU / CTU based top coat. (1000 microns) as per direction of Engineer -in- charge. | m2 | 1440 |  |  |
| (To be filled in by the contractor) Sub- total of section “B”= |  |  |  |  |  |  |
| (To be filled in by the contractor) Sub- total of section “A”= |  |  |  |  |  |  |
| (To be filled in by the contractor) Total of [section “A”+ section “B”]= |  |  |  |  |  |  |