## PRICEBID-MAIN SHEET
PRICE SCHEDULE
NAME OF PROJECT: |  | 2X660 MW UDANGUDI STPP |  |  | Fill yellow cells only
NAME OF PACKAGE: |  | VENTILATION SYSTEM |  |  | Vendor Name
TECHNICAL SPECIFICATION: |  | PE-TS-435-554-A002
Scope |  |  |  |  | Supply |  |  | Service |  | Taxes
S. No. | DESCRIPTION |  | UOM | QTY | Total Ex-Works (excluding GST) (INR) | Freight in % | Total Freight | Unit Price (INR) | Total Price (INR) | GST type | GST rate in % | GST amount in INR | Total Price Including Freight & GST (INR)
1 | Total lump sum firm price for Supply part, Services part and Mandatory spares comprising of design (i.e. preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable) fill of lubricants & consumables, mandatory spares alongwith spares for erection, startup and commissioning as required, forwarding, proper packing, shipment and delivery at site, unloading, handling, in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site and carrying out Performance guarantee / Functional / Demonstration tests at site (As applicable), training of customer/ client O&M staff and handover in flawless condition of the package to the end customer complete with all accessories, for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. |  | LOT | 1 | [8 empty] | 0
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Total lump sum firm price for Supply part comprising of manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of lubricants & consumables along with spares for erection as required, start-up and commissioning spares as required, forwarding, proper packing, shipment and delivery at site for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Break-up as per Annexure-I) |  | LOT | 1 | 0 |  | 0 | NA |  |  |  | 0 | 0
2.2 | Total lumpsum firm prices for Services part comprising of service part for unloading, handling, transportation & storage at site, in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site and carrying out Performance guarantee / Functional / Demonstration tests at site (As applicable), training of customer/client O&M staff (if applicable) and handover in flawless condition of the package to the end customer complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Break-up as per Annexure-I) |  | LOT | 1 | NA |  |  | 0 | 0 |  |  | 0 | 0
2.3 | Total lumpsum firm price for Mandatory spares comprising of manufacture, fabrication, assembly, inspection / testing (as applicable) at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per tender technical specification above, amendment & agreements till placement of order. (Price break up of mandatory spares is to be furnished as per Annexure- II) |  | LOT | 1 | 0 |  | 0 | NA |  |  |  | 0 | 0
2.4 | Total lumpsum firm price for Engineering Charges comprising of Design (i.e. Preparation and submission of drawing /documents including “As Built” drawings and O&M manuals) and engineering as per tender technical specification above, amendment & agreements till placement of order. (Refer Note-3 below) |  | Lot | 1 | NA |  |  |  | 0 |  |  | 0 | 0
Note: 1.) Bidder to quote the Prices in ‘figures’ along with corresponding ‘words’. 2) * Engineering Charges (quoted against Sl no 2.4) shall not be more than 5% of supply price (excluding freight and GST) quoted at sl no 2.1, failing which breakup shall be adjusted accordingly from supply price for ordering. 3) Please note that the complete engineering of the package is in the scope of bidder as per the tender requirement. However, for the payment purpose bidder to note that 50% of price as per sl. no. 2.4 shall be made against basic engineering (i.e. Preparation, submission & approval in Cat 1 of basic drawing/ documents as indicated in tender specification) and the remaining payment shall be made for the balance engineering part on pro-rata basis.

## ANNEXURE-I
PRICE SCHEDULE ANNEXURE - I PRICE BREAKUP (FOR MAIN PLANT, ESP AND OTHER AUX BUILDINGS)
NAME OF PROJECT: |  | 2X660 MW UDANGUDI STPP
NAME OF PACKAGE: |  | VENTILATION SYSTEM
TECHNICAL SPECIFICATION No: |  | PE-TS-435-554-A002
SL NO | DESCRIPTION | Qty | UOM | SUPPLY |  | SERVICES
|  |  |  | Unit Ex-works duly packed (INR) | Total Ex-works duly packed (INR) | Unit E&C Price (INR) | Total E&C Price (INR)
1 | Sheet metal type air washer unit with centrifugal fan (DIDW) with motor, pumps with motors, air washer internals, inlet air louvers, filters, piping as per IS:1239, Part-I (heavy class galvanised), valves, nozzles, level switch, temp indicators, back wash arrangement, galvanised drain piping, etc as per specification of minimum capacity 2,50,000 CMH. Each air washer has 2 no centrifugal fan ( 2 x 50% duty) of capacity 1,25,000 CMH at min. 90 mm SP. | 8 | NO |  | 0 |  | 0
2 | Unitary air filtration unit with centrifugal fan (SISW) with motor, pumps with motors, filters, UAF internals, piping as per IS: 1239 pt I (heavy class galvanised), valves for auto start of standby equipment, nozzles, level switch, pressure switches, Temp. indicators, back wash arrangement, galvanised drain piping etc. as per specification of capacity 40,000 CMH. Each UAF has 2 no centrifugal fan (2 x 50% duty) of capacity 20,000 CMH at min. 75 mm SP. | 4 | NO |  | 0 |  | 0
3* | Supply air ducting (finished) for above area complete with dampers, grills (with VCD & without VCD), supports (painted) and all accessories as specified.
3.1* | Finished GSS (zinc coating 275 gms/sq.m) Ducting with support structure etc.
a)* | 18 G | 5000 | SQM* |  | 0 |  | 0
b)* | 20 G | 3500 | SQM* |  | 0 |  | 0
c)* | 22 G | 7000 | SQM* |  | 0 |  | 0
d)* | 24 G | 3100 | SQM* |  | 0 |  | 0
3.2* | MS Duct With Epoxy paint for battery room. | 1000 | SQM* |  | 0 |  | 0
3.3* | MS Grilles with VCD | 160 | SQM* |  | 0 |  | 0
3.4* | MS Grilles without VCD | 10 | SQM* |  | 0 |  | 0
3.5* | Exposed duct insulation with fibre glass insulation as per specifications. | 2000 | SQM* |  | 0 |  | 0
3.6* | Wall mounted dampers (gravity operated) for different areas. | 40 | SQM* |  | 0 |  | 0
3.7* | Inlet Louvers | 300 | SQM* |  | 0 |  | 0
3.8* | Volume control dampers | 110 | SQM* |  | 0 |  | 0
3.9* | FIRE DAMPER
a)* | Fire damper | 25 | SQM* |  | 0 |  | 0
b)* | Motorized Actuator with single phase power supply for the above Fire damper with auto resetting, limit switches, indication lamps etc | 30 | Nos.* |  | 0 |  | 0
c)* | Fusible Link type Fire Damper | 20 | SQM* |  | 0 |  | 0
4* | Roof extractor units (axial flow type) with hood, disconnect switch and all accessories as specified. Following fan shall have 15 mmwc static pressure.
a)* | Capacity 50,000 CMH with Motor rating 5.5 KW | 26 | Nos.* |  | 0 |  | 0
b)* | Capacity 40,000 CMH with Motor rating 5.5 KW | 6 | Nos.* |  | 0 |  | 0
c)* | Capacity 20,000 CMH with Motor rating 2.2 KW | 27 | Nos.* |  | 0 |  | 0
5* | Axial flow supply fans with pre and fine filter (wall mounted) complete with casing, TEFC sq cage induction motors & mounting frame, MS rain protection cowl, bird screen and all other accessories (suitable for 415V/3-phase supply). Following fan shall have 30 mmwc static pressure.
a)* | Capacity 10,000 CMH with Motor rating 2.2 KW | 2 | Nos.* |  | 0 |  | 0
b)* | Capacity 7,500 CMH with Motor rating 1.5 KW | 16 | Nos.* |  | 0 |  | 0
c)* | Capacity 6,000 CMH with Motor rating 1.1 KW | 12 | Nos.* |  | 0 |  | 0
d)* | Capacity 4,000 CMH with Motor rating 0.75 KW | 3 | Nos.* |  | 0 |  | 0
6* | Axial flow supply fans with pre filter (wall mounted) complete with casing, TEFC sq cage induction motors & mounting frame, MS rain protection cowl, bird screen and all other accessories (suitable for 415V/3-phase supply) as specified. Following fan shall have 20 mmwc static pressure.
a)* | Capacity 10,000 CMH with Motor rating 1.5 KW | 5 | Nos.* |  | 0 |  | 0
b)* | Capacity 7,500 CMH with Motor rating 1.1 KW | 7 | Nos.* |  | 0 |  | 0
c)* | Capacity 6,000 CMH with Motor rating 1.1 KW | 8 | Nos.* |  | 0 |  | 0
d)* | Capacity 4,000 CMH with Motor rating 0.75 KW | 4 | Nos.* |  | 0 |  | 0
7* | Axial flow exhaust fans (Bifurcated type, spark proof construction, wall mounted) complete with casing, flame proof motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3-phase supply) as specified. Following fan shall have 15 mmwc static pressure.
a)* | Capacity 15,000 CMH with Motor rating 2.2 KW | 16 | Nos.* |  | 0 |  | 0
b)* | Capacity 10,000 CMH withMotor rating 1.5 KW | 6 | Nos.* |  | 0 |  | 0
c)* | Capacity 7,500 CMH with Motor rating 1.1 KW | 1 | Nos.* |  | 0 |  | 0
d)* | Capacity 4,000 CMH with Motor rating 0.55 KW | 5 | Nos.* |  | 0 |  | 0
e)* | Capacity 2,000 CMH with Motor rating 0.55 KW | 20 | Nos.* |  | 0 |  | 0
8* | Axial flow exhaust fans (Wall mounted) complete with casing,TEFC sq cage induction motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3-phase supply) as specified.Following fan shall have 10 mmwc static pressure.
a)* | Capacity 15,000 CMH with Motor rating 1.1 KW | 43 | Nos.* |  | 0 |  | 0
b)* | Capacity 10,000 CMH with Motor rating 0.75 KW | 13 | Nos.* |  | 0 |  | 0
c)* | Capacity 7,500 CMH with Motor rating 0.55 KW | 3 | Nos.* |  | 0 |  | 0
d)* | Capacity 6,000 CMH with Motor rating 0.55 KW | 12 | Nos.* |  | 0 |  | 0
e)* | Capacity 4,000 CMH with Motor rating 0.55 KW | 21 | Nos.* |  | 0 |  | 0
f)* | Capacity 2,000 CMH with Motor rating 0.37 KW | 7 | Nos.* |  | 0 |  | 0
9* | Exhaust fan (propeller type) completes with induction motor & mounting frame MS rain protection cowl, bird screen and all other accessories as specified (suitable for 240V/ 1 phase). Following fan shall have 5 mmwc static pressure.
a)* | Capacity 1200 CMH with Motor rating 100 watts | 174 | Nos.* |  | 0 |  | 0
10* | Handling arrangement for Ventilation system.
a)* | Manual operated trolley, platform trolley of 1 ton capacity with base area 2mx1.5m. | 2 | Nos.* |  | 0 |  | 0
b)* | 1T chain pulley block with travelling trolley | 4 | Nos.* |  | 0 |  | 0
11 | Total lumpsum price for special tools & tackles for maintenance inclusive of packing forwarding, transportation up to site, etc. (Bidder shall submit item-wise price break-up-As per Appendix A). | 1 | LOT | 0 | 0 | NA | NA
12 | Total lumpsum price for commissioning spares inclusive of packing forwarding, transportation up to site, etc. (Bidder shall submit item-wise price break-up-As per Appendix B). | 1 | LOT |  | 0 | NA | NA
13 | FIELD INSTRUMENTS like pressure gauge, pressure transmitter, differential pressure switch, temperature indicator, levelswitch and other instrument required for Ventilation System.
13.1* | Differential pressure switch | 12 | Nos* |  | 0 |  | 0
13.2* | Pressure Indicator | 44 | Nos* |  | 0 |  | 0
13.3* | Pressure Transmitter | 88 | Nos* |  | 0 |  | 0
13.4* | Level Transmitter | 12 | Nos* |  | 0 |  | 0
13.5* | Temperature indicator | 12 | Nos* |  | 0 |  | 0
13.6* | Humidistat | 24 | Nos* |  | 0 |  | 0
13.7* | Any other instruments | 1 | LOT* |  | 0 |  | 0
14* | Local control panel for local operation of each air washer and UAF anongwith their accessories for hooking up with DCS | 10 | Nos* |  | 0 |  | 0
15 | Cable tray, condutes, junction box and any other item etc required for completion of Ventilation system | 1 | LOT |  | 0 |  | 0
16* | Providing full support during FAT of DDCMIS, preparation of control scheme, and commissining of DDCMIS as per relevent specification. | 10 | Mandays* | NA | NA |  | 0
17 | Any other item not indicated above, but required to make the system complete in all respects. | 1 | LOT |  | 0 |  | 0
| TOTAL |  |  |  | 0 |  | 0
NOTES
1 | The bidder shall furnish unit rates for variable item (marked *) for necessary adjustment (plus or minus) variation during detailed engg. stage. The unit rates quoted above shall be considered for adjustment and no separate unit rates shall be quoted. Unit rates shall be valid throughout the contract. Final qty. shall be paid as per actual measurment at site for erection for all the variable items.
2 | Price format shall not be changed by the bidder as the bidder may get disqualified by doing so.
3 | Any cell left blank in the unpriced schedule shall be treated as “Quoted” and is included in total price.
4 | The BOQ mentioned above shall be read in conjunction with technical specification requirement. Any other item required as per technical specification but not specifically indicated in above BOQ, shall deemed to be inculded in total prices quoted by bidder. No additional price shall be payable against such items.
Particulars of bidder / authorised representative
| Name | Designation |  |  | Signature | Date | Company Seal

## APPENDIX-A
PRICE SCHEDULE APPENDIX-A Special tools & tackles for maintenance
NAME OF PROJECT: |  | 2X660 MW UDANGUDI STPP
NAME OF PACKAGE: |  | VENTILATION SYSTEM
TECHNICAL SPECIFICATION No: |  | PE-TS-435-554-A002
SL NO | DESCRIPTION | UOM | Qty | Unit Ex-works duly packed (INR) | Total Ex-works duly packed (INR)
1 | Measuring tape | NO | 1 |  | 0
2 | Tachometer | NO | 1 |  | 0
3 | Double ended spanner | SET | 1 |  | 0
4 | Ring spanners | SET | 1 |  | 0
5 | Gasket punch | NO. | 1 |  | 0
6 | Center punch | NO. | 1 |  | 0
7 | Hammer with wooden handles | NO. | 1 |  | 0
8 | Scissors for sheet metal cutting | NO. | 1 |  | 0
9 | Torch light (suitable for 2 cells) | NO. | 1 |  | 0
10 | Multimeter | NO. | 1 |  | 0
11 | Anemometer | NO. | 1 |  | 0
12 | Compound pressure gauge | NO. | 1 |  | 0
13 | Slide wrench 8” | NO. | 1 |  | 0
14 | Slide wrench 10” | NO. | 1 |  | 0
15 | Slide wrench 6” | NO. | 1 |  | 0
16 | Box spanner set | SET | 1 |  | 0
17 | Screw driver set | SET | 1 |  | 0
18 | Align key set | SET | 1 |  | 0
19 | MS tool box | NO | 1 |  | 0
| TOTAL |  |  |  | 0
NOTES
1 | ABOVE IS THE MINIMUM LIST. ANY OTHER TOOL / TACKLE REQUIRED FOR THE SYSTEM SHALL ALSO BE PROVIDED BY THE BIDDER AS PER SYSTEM / CUSTOMER REQUIREMENT WITHOUT ANY COMMERCIAL & DELIVERY IMPLICATION TO BHEL.
Particulars of bidder / authorised representative
| Name | Designation | Signature | Date | Company Seal

## APPENDIX-B
PRICE SCHEDULE APPENDIX-B Commissioning spares
NAME OF PROJECT: |  | 2X660 MW UDANGUDI STPP
NAME OF PACKAGE: |  | VENTILATION SYSTEM
TECHNICAL SPECIFICATION No: |  | PE-TS-435-554-A002
SL NO | DESCRIPTION | UOM | Qty | Unit Ex-works duly packed (INR) | Total Ex-works duly packed (INR)
1 | FAN BELTS | SET | 1 |  | 0
2 | PRESSURE GAUGE | NO | 1 |  | 0
3 | TEMPERATURE GAUGE | NO | 1 |  | 0
4 | FILTER | SET | 1 |  | 0
| TOTAL |  |  |  | 0
NOTES
1 | ABOVE IS THE MINIMUM LIST. ANY OTHER COMMISSIONING SPARE REQUIRED FOR THE SYSTEM SHALL ALSO BE PROVIDED BY THE BIDDER AS PER SYSTEM / CUSTOMER REQUIREMENT WITHOUT ANY COMMERCIAL & DELIVERY IMPLICATION TO BHEL.
Particulars of bidder / authorised representative
| Name | Designation | Signature | Date | Company Seal

## ANNEXURE-II
PRICE SCHEDULE ANNEXURE - II LIST OF MANDATORY SPARES
NAME OF PROJECT: |  | 2X660 MW UDANGUDI STPP
NAME OF PACKAGE: |  | VENTILATION SYSTEM
TECHNICAL SPECIFICATION No: |  | PE-TS-435-554-A002
S. No. | Description | UOM | Qty | AMOUNT (Ex-Works)
I | MECHANICAL
1 | Centrifugal Fans
A) | V-Belts | Set | 2 sets of each type
B) | Blower Bearing Sets | Set | 2 sets of each type
C) | Blower Motor Bearings | Set | 2 sets of each type
D) | Seal Gasket And Other Wear Out Parts In Sets | Set | 2 sets of each type
E) | Vibration Isolators | Set | 2 sets of each type
2 | Axial Fans
A) | Fan Bearings | Set | 2 sets of each type
B) | Fan Motor Bearing | Set | 2 sets of each type
C) | Dry Filters | Set | 2 sets of each type and size
3 | Air Washer System
A) | Water Strainers | Set | 2 sets of each size
B) | Spray Nozzles | Set | 2 sets of each size
C) | Water Repellant Type Filters | Set | 2 sets of each size
4 | Horizontal Centrifugal Pump | Set
A) | Impeller For Each of Pump Set | Set | 2 sets of each type
B) | Bearings | Set | 2 sets of each type
C) | Shaft Sleeves | Set | 2 sets of each type
D) | Bearings Motor | Set | 2 sets of each type
II | ELECTRICAL
1 | LT Motors of each type and rating
a) | Driving end bearing | Set | 1
b) | Non driving end bearing | Set | 1
c) | Terminal block for motors up to 30 Kw each rating | Nos. | 10
d) | Terminal block for motors above 30 Kw each rating | Nos. | 5
e) | Motors of each type & rating | Nos. | 10% of installed quantity or 1 –no is higher whichever is higher
2 | DC Motors of each type and rating
a) | Driving end bearing | Set | 1
b) | Non driving end bearing | Set | 1
c) | Carbon brushes of each type | Set | 10
d) | Brush assemblies of each type | Set | 2
e) | Terminal blocks of each type | Set | 2
f) | Motor of each type & rating | Nos. | 10% of installed qty or 1-no Whichever is higher
3 | Electrical actuator, complete assembly, of each rating | Nos. | 2
III | C&I
1 | Electromatic Safety Valves Pressure switches, local PB stations and solenoid Valves |  | 10% or 2 nos. of each type whichever is more.
2 | Temperature elements
2.1 | RTD’s of each type and length(with head assembly, terminal block & nipple) |  | 10% or 2 nos. of each type and length, whichever is more
2.2 | Thermocouples of each type like K-type, R-type, metal etc. (with head assembly, terminal block & nipple) |  | 10% or 2 nos. of each type and length which ever is more
2.3 | Thermowell for application like mill outlet temperature and SH/RH/Eco/ flue gas temp. in furnace |  | 10% or 2 nos. of each type and length whichever is more
2.4 | Temperature transmitters |  | 10% of each type and model
3 | Local Indicators like temperature gauges, pressure gauges, differential pressure gauges, flow gauges, flow meters etc., |  | 10% or 2 no. of each make, model and type whichever is more and for each plant (to be divided to various ranges in proportion to main of all make, model, type population)
4 | Process Actuated Switch Devices Includes all types of Pressure, differential pressure, flow, temperature, differential temperature, level switch Devices |  | 5% or 1 no. of each type and model whichever is more
5 | INSTRUMENTATION CABLE, INTERNAL WIRING & ELECTRICAL FIELD
5.1 | Pre fabricated cable of each type |  | 10% of installed quantity
5.2 | Pre fabricated cable connector of each type |  | 10% or 1 no. of each type and model, whichever is more.
5.3 | Other cables |  | 5% of each type, pair and size of actual installed quantity
6 | Electrical actuator, complete assembly, of each rating |  | 2 Nos.
| TOTAL |  |  | 0
NOTES
a) Mandatory spares listed in Price Schedule is bare minimum requirement. In case any additional mandatory spares requirement is covered elsewhere in the tender specification apart from specified above, same shall be deemed to have been covered in bidder’s scope of supply. b) One set corresponds to actual quantity of components and devices as installed for the equipment at Site. c) All mandatory spares shall be supplied as per the requirement of the specifications. In case any spare indicated in the specification is “not applicable” for particular equipment, then suitable applicable alternate spare has been offered / shall be supplied by the bidder without any financial implication." d) Any item which is quoted as “not applicable” by the bidder in the above list and is found to be “applicable” at a later date shall be supplied by the bidder without any commercial and delivery implication. e) Any cell left blank in the unpriced schedule shall be treated as “Quoted” and is included in total price.
Particulars of bidder / authorised representative
| Name | Designation | Signature | Date