## PROJECT INFO. (hidden)
| #REF! | #REF!
#REF!
#REF!
Date :
PROJECT INFORMATION
SL.NO | DESCRIPTION | DETAILS
1 | METEOROLOGICAL DATA
1.1 | MAXIMUM TEMPERATURE
1.2 | MINIMUM TEMPERATURE
1.3 | MAXIMUM RELATIVE HUMIDITY
1.4 | MINIMUM RELATIVE HUMIDITY
1.5 | AVERAGE ANNUAL RAINFALL
1.6 | SEISMIC ZONE (AS PER IS 1893)
1.7 | HEIGHT ABOVE MSL
2 | ELECTRICAL DATA
2.1 | AMBIENT TEMPERATURE FOR DESIGN OF ELECTRICAL EQUIPMENT | 40/50 deg. C
2.2 | RATED FREQUENCY
2.3 | FREQUENCY VARIATION
2.4 | AC VOLTAGE
2.5 | AC VOLTAGE VARIATION
2.6 | DC VOLTAGE
2.7 | DC VOLTAGE VARIATION
2.8 | FAULT LEVEL (KA/SEC)

## PART - B (hidden)
| TECHNICAL SPECIFICATION LT XLPE POWER CABLE 2X660MW ENNORE SEZ SUPERCRITICAL THERMAL POWER PROJECT |  | #REF!
#REF!
#REF!
Date : 25.04.2024
TECHNICAL DATA - PART - B (SUPPLIER DATA TO BE FURNISHED AFTER AWARD OF CONTRACT)
SL.NO |  | UOM | DETAIL
The following technical data shall be submitted by the manufacturer for each type and size of the cable for Employer's approval.
1.1 | Make
1.2 | Country of manufacturer
1.3 | Type designation
1.4 | Cable size | No. of Cores x mm2
1.5 | Rated Voltage | kV
1.6 | Base current ratings (*) based on Clause No. 3.0
1.6.1 | In air (Amp) | Amps
1.6.2 | In ground (Amp) | Amps
1.6.3 | ducts (Amp) | Amps
2.1 | CONDUCTOR
2.1.1 | No. of wires (min.) | Nos.
2.1.2 | Dia of wires | mm
2.1.3 | Approximate Diameter over conductor | mm
2.1.4 | Direction of lay of stranded layers
2.1.5 | Conductor resistance (DC) At 20 deg C(max.) | Ohm/Km
2.1.6 | Conductor resistance (AC)
2.1.6.1 | at 20 deg. C (Approx.) | ohm/Km
2.1.6.2 | at 90 deg. C (Approx.) | ohm/Km
2.1.7 | Reactance per phase at 50 Hz | ohm/Km
2.2 | PVC INSULATION
2.2.1 | Nominal thickness of insulation | mm
2.3 | INNERSHEATH
2.3.1 | Thickness of sheath | mm
2.3.2 | Approximate diameter over the laid up cores | mm
2.3.3 | Thickness of sheath (Min) | mm
2.4 | ARMOUR
2.4.1 | Type of material of armour
2.4.2 | Shape (Formed wire / Round wire)
2.4.5 | Dimension of formed wire / round wire | mm
2.4.6 | No. of armour formed wires / round wires | Nos.
2.5 | OUTERSHEATH
2.5.1 | Thickness of sheath | mm
2.6 | FINISHED CABLE DETAILS
2.6.1 | Overall diameter of cable | mm
2.6.2 | Tolerance on overall diameter | mm
2.6.5 | Weight per 1000 mtrs | kg
2.6.6 | Recommended min installation bending radii | mm
2.6.6 | Safe pulling force when pulled by pulling eye on the conductor | kg
2.7 | CABLE DRUM DETAILS
2.7.1 | Dimensions (Approx.)
2.7.1.1 | Flange diameter | mm
2.7.1.2 | Barrel diameter | mm
2.7.1.3 | Traverse | mm
2.7.2 | Weight of cable drum with Cables | kgs

## Drawing (hidden)
| TECHNICAL SPECIFICATION LT XLPE POWER CABLE 2X660MW ENNORE SEZ SUPERCRITICAL THERMAL POWER PROJECT | #REF!
#REF!
#REF!
Date :
COMPLIANCE DRAWING

## Perf Guarantees (hidden)
| TECHNICAL SPECIFICATION LT XLPE POWER CABLE 2X660MW ENNORE SEZ SUPERCRITICAL THERMAL POWER PROJECT | #REF!
#REF!
#REF!
Date :
PERFORMANCE GUARANTEES TO BE DEMOSTRATED AT SITE

## Sub Vendor (hidden)
| TECHNICAL SPECIFICATION LT XLPE POWER CABLE 2X660MW ENNORE SEZ SUPERCRITICAL THERMAL POWER PROJECT | #REF!
#REF!
#REF!
Date : 25.04.2024
SUB VENDOR LIST

## QUALITY PLAN (hidden)
| TECHNICAL SPECIFICATION LT XLPE POWER CABLE 2X660MW ENNORE SEZ SUPERCRITICAL THERMAL POWER PROJECT | #REF!
#REF!
#REF!
Date : 25.04.2024
QUALITY PLAN

## PAINTING (hidden)
|  | TECHNICAL SPECIFICATION LT XLPE POWER CABLE 2X660MW ENNORE SEZ SUPERCRITICAL THERMAL POWER PROJECT | [7 empty] | PE-TS-412-507-E002
Issue No: 01
Rev. No. 00
Date : 25.04.2024
PAINTING REQUIREMENT
Package | Condition | Surface Preparation | Primer Coat | No. of Coats | DFT (in Microns) | Intermediate Coat (in Microns) | No. of Coats | DFT (in Microns) | Final Coat | No. of Coats | DFT (in Microns) | Total DFT
| Plain Area | [10 empty] | 0

## Unpriced Schedule
PRICE SCHEDULE OF LOCAL MOTOR STARTERS FOR FRAMEWORK AGREEMENT (RATE CONTRACT)
Supplier Name: | [10 empty] | Annexure - Price Schedule
Sr. No. | Item Code | Item description | Unit | Quantity (metres) | UNIT PRICE (EX-WORKS) (Rs) | TOTAL PRICE (EX-WORKS) (Rs) | Freight Charges (excluding GST) @ __% of Total Ex-Works | Freight Charges (excluding GST) (Rs) | Applicable GST Rate @ __% (on "Total Ex-Works + Freight") | GST (Rs) | TOTAL F.O.R. SITE PRICE (Rs)
A | Main Supply
1 | 506-0140001-00-A | LOCAL MOTOR STARTERS 0.37 KW | NOS | 230 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
2 | 506-0140002-00-A | LOCAL MOTOR STARTERS 0.55 KW | NOS | 610 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
3 | 506-0140003-00-A | LOCAL MOTOR STARTERS 0.75 KW | NOS | 460 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
4 | 506-0140004-00-A | LOCAL MOTOR STARTERS 1.1 KW | NOS | 430 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
5 | 506-0140005-00-A | LOCAL MOTOR STARTERS 1.5 KW | NOS | 330 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
6 | 506-0140006-00-A | LOCAL MOTOR STARTERS 2.2 KW | NOS | 580 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
7 | 506-0140007-00-A | LOCAL MOTOR STARTERS 3.7 KW | NOS | 190 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
8 | 506-0140008-00-A | LOCAL MOTOR STARTERS 5.5 KW | NOS | 290 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
9 | 506-0140013-00-A | LOCAL MOTOR STARTERS 1.5 KW (FLAME PROOF) | NOS | 80 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
10 | 506-0140014-00-A | LOCAL MOTOR STARTERS 2.2 KW (FLAME PROOF) | NOS | 80 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
TOTAL PRICE IN INR | [5 empty] | X |  | #VALUE! |  | #VALUE! | #VALUE!
NOTES:-
1 | Supplier has to quote only Total Value 'X'. Based on this price, unit price shall be derived for all the items as per formula indicated above.
2 | Supplier to quote Freight charges in percentage of their quoted Total Ex-works Prices. Supplier to give single % of Freight charges considering anywhere in India in the Freight column.Suppliers have to give same % of Freight for each line item. Further, Supplier to quote non-zero Freight %.
3 | For type test requirements, please refer clause no. 5.2 of Technical Data -Part-A of the Technical Specication.

## COW
COST OF WITHDRAWAL
PROJECT:- | [5 empty] | Framework Agreement (Rate Contract)
PACKAGE :- | [5 empty] | LOCAL MOTOR STARTERS
TENDER ENQUIRY :-
NAME OF THE BIDDER
Sl. No. | Volume/Section | Page No. | Clause No. | Technical Specification/Tender Document No | Complete Description of Deviation | Cost of withdrawal of deviation to be entered by the bidder in | Reference of price Schedule of which Cost of Withdrawal of Deviation is applicable | Nature of cost of withdrawal of deviation (Positive/Negative) | Reasons for quoting deviation
1 | TECHNICAL DEVIATION
1.01
1.02
1.03
1.04
1.05
2 | COMMERCIAL DEVIATION
2.01
2.02
2.03
2.04
2.05

## PQR_Fin (hidden)
| #REF! | #REF!
Issue No. 01
Rev. No. 00
Date : 25.04.2024
PRE QUALIFICATION REQUIREMENT (FINANCIAL)