## PRICE FORMAT
PRICE SCHEDULE OF OF AIR RELEASE VALVES FRAMEWORK AGREEMENT
Enquiry No:
[12 empty] | Bidder's Name: | [25 empty] | Annexure: Price Schedule
1 | 2 | 3 | 4 | 5 | 6 |  |  | 7 | 8 | 9 | 10 | 11 | 12 | 13 |  | 14 | 15 |  |  | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35
SL NO. | TAG NOS. | TYPE OF VALVE | SIZE mm (NB) | OPERATION | PARAMETERS |  |  | SERVICE | RATING, DESIGN & TESTING CODE | BODY MATERIAL | TRIM MATERIAL | END CONN | SPECIAL FEATURES | MATCHING PIPE OD X THK |  | MAIN VALVES QTY WITHOUT COMMISSIONING SPARES NOS. | COMMISIONING SPARES |  |  | MANDATORY SPARES (COMPLETE VALVES) Nos. | %Allocation of Main Valves Total price | Unit Ex-works Price of Main Valves | Total Ex-works Price of Main Valves | %Allocation of Commissioning (cover gasket) Spares of Total price of commissioning spares | %Allocation of Commissioning (HP Float) Spares of Total price of commissioning spares | %Allocation of Commissioning (LP Float) Spares of Total price of commissioning spares | Unit Ex-works PRICE OF Commissioning (cover gasket) Spares | Total Ex-works PRICE OF Commissioning (cover gasket) Spares | Unit Ex-works OF Commissioning HP Float) Spares | Total Ex-works OF Commissioning HP Float) Spares | Unit Ex-works OF Commissioning LP Float) Spares | Total Ex-works OF Commissioning LP Float) Spares | Unit price of mandatory spares (same as main valves) | Total price of mandatory spares (same as main valves) | FREIGHT CHARGES (EXCLUDING GST) @ % OF TOTAL EX WORKS (% to be quoted) (INR) | FREIGHT CHARGES WITHOUT GST | Applicable GST Rate % (on "Total Ex-Works +Freight ") | GST (INR) | TOTAL F.O.R. SITE PRICE (INR)
[5 empty] | DESIGN PRESSURE KG/CM2(G) | OPERATING PRESSURE KG/CM2(G) | TEMP( DEG C) | [6 empty] | MM | MM |  | COVER GASKET (SET) | HP FLOAT (Nos.) | LP FLOAT (Nos.)
1 | SHALL BE INFORMED DURING PROJECT SPECIFIC PO | AIR RELEASE VALVE | 200 | Auto | 5.5/6.12 | 1.0-3.0 | 60 | COOLING WATER SYSTEM | PN 1.0 IS:14845 FOR ARV | IS : 210 Gr FG 260 | REFER TECHNICAL DATA SHEET | FLANGED | WITHOUT ISOLATING GATE VALVE | 219.1 | 6 | 228 | 228 | 11 | 11 | 36 | 64.4001 | 0 | 0 | 50.4907 | 3.6142 | 3.6142 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0
2 | SHALL BE INFORMED DURING PROJECT SPECIFIC PO | AIR RELEASE VALVE | 150 | Auto | 10 | 1.5-6.0 | 60 | PLANT WATER SYSTEM | PN 1.0 IS:14845 FOR ARV | IS : 210 Gr FG 260 |  | FLANGED | WITHOUT ISOLATING GATE VALVE | 166.5 | 5.4 | 151 | 151 | 24 | 24 | 35 | 31.871 | 0 | 0 | 24.7213 | 5.8931 | 5.8931 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0
3 | SHALL BE INFORMED DURING PROJECT SPECIFIC PO | AIR RELEASE VALVE | 150 | Auto | 13 | 2.0-8.5 | 60 | PLANT WATER SYSTEM | PN 1.6 IS:14845 FOR ARV | IS : 210 Gr FG 260 |  | FLANGED | WITHOUT ISOLATING GATE VALVE | 166.5 | 5.4 | 10 | 10 | 2 | 2 | 2 | 2.3217 | 0 | 0 | 1.8006 | 0.54024 | 0.54024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0
4 | SHALL BE INFORMED DURING PROJECT SPECIFIC PO | AIR RELEASE VALVE | 100 | Auto | 10 | 1.5-6.0 | 60 | PLANT WATER SYSTEM | PN 1.0 IS:14845 FOR ARV | IS : 210 Gr FG 260 |  | FLANGED | WITHOUT ISOLATING GATE VALVE | 115 | 5.4 | 15 | 15 | 2 | 2 | 2 | 1.4071 | 0 | 0 | 2.4558 | 0.21829 | 0.21829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0
[15 empty] | TOTAL | 404 | 404 | 39 | 39 | 16: 75; 17: 100; 30: 0; 32: 0; Annexure: Price Schedule 34: 0; Annexure: Price Schedule 35: 0
NOTES
1. PRICES OF COMMISSIONING SPARES TO BE QUOTED SEPARATELY BY THE SUPPLIER. IT SHALL NOT BE CLUBBED WITH THE UNIT PRICE OF MAIN VALVES. 2. BUOYANCY OF FLOATS SHALL ENSURE EFFECTIVE SEALING OF LARGE ORIFICE AT THE GIVEN OPERATING PRESSURE RANGE. THE PROJECT SPECIFIC VALUES SHALL BE PROVIDED DURING PROJECT PO PLACEMENT. 3. VALUE IS TO BE FILLED ONLY IN CELL HIGHLIGHED "YELLOW". UNIT PRICE OF ALL ITEMS SHALL BE DERIVED BY BHEL AS PER % ALLOCATION SPECIFIED. SPARES PRICES SHALL ALSO BE DERIVED BY BHEL AS PER % ALLOCATION SPECIFIED. 4. FURTHER, SINCE MANDATORY SPARES IS COMPLETE VALVES, THE UNIT PRICE OF SAME SHALL BE CONSIDERED SAME AS MAIN VALVES. ACCORDINGLY, TOTAL PRICE OF MANDATORY SPARES SHALL BE CALCULATED AUTOMATICALLY (MARKED IN GREEN) 5. UNIT PRICE DERIVED AS ABOVE, SHALL BE BINDING FOR ANY QUANTITY VARIATION, WHICH IS AT THE DISCRETION OF THE BUYER. 6. SUPPLIER TO GIVE SINGLE % OF FREIGHT CHARGES CONSIDERING ANYWHERE IN INDIA IN THE FREIGHT COLUMN. 7. SUPPLIERS TO MENTION APPLICABLE GST RATE ON (TOTAL EX-WORKS + FREIGHT) IN THE SPECIFIED CELLS OF PRICE SCHEDULE. HOWEVER, MAY PLEASE NOTE THAT GST SHALL NOT BE CONSIDERED IN THE EVALUATION. 8. REST OF THE PRICES SHALL BE DERIVED BY BHEL IN LINE WITH ALLOCATION FIXED FOR EACH ITEM. THERE IS FORMULA APPLIED IN PRICE SCHEDULE FORM AVAILABLE IN E-PROCUREMENT PORTAL. AS SOON AS, SUPPLIER FILLS THE CELLS FOR TOTAL EX-WORKS, FREIGHT PERCENTAGE AND GST PERCENTAGE, REST VALUES FOR E.G. UNIT EX WORKS – ITEM WISE, TOTAL EX WORKS – ITEM WISE, F.O.R. SITE PRICE – ITEM WISE WILL FILLED AUTOMATICALLY. SUPPLIERS CAN ALSO VALIDATE AND CROSS CHECK THE SAME BY USING CHECK FORMULA BUTTON. 9. FOR BETTER CLARITY TO THE SUPPLIERS WHERE VALUE IS TO BE FILLED IS KEPT OPEN IN PRICE FORM AT E-PROCUREMENT PORTAL AND FOR OTHER COLUMNS IT WILL BE LOCKED (WHICH SHALL BE DERIVED BY BHEL AS PER ALLOCATION FIXED AGAINST EACH ITEM). 10. SUPPLIER TO ESSENTIALLY QUOTE PRICES AGAINST EACH LINE ITEM OF THE BOQ IN THE RESPECTIVE COLUMNS. 'NIL', 'FREE OF COST', 'ZERO' ETC. SHALL NOT BE MENTIONED FOR ANY LINE ITEM OF THE BOQ. IN SUCH CASE, LIQUIDATED DAMAGES SHALL BE LEVIED ON THE TOTAL ORDER/ CONTRACT VALUE INSTEAD OF UNDELIVERED PORTION OF THE ORDER/ CONTRACT. ALSO, IF PRICE OF ANY LINE ITEM (X) IS MENTIONED 'INCLUDED' IN ANY OTHER LINE ITEM (Y), THEN IN CASE OF DELAY IN DELIVERY OF ITEM (X), LD SHALL BE APPLICABLE ON VALUE OF ITEM (Y)." | [17 empty] | Total Price Ex-works of main valves
Total Price Ex-works of commissioning spares
[18 empty] | Total Price Ex-works of Mandatory Spares | 0

## COW
COST OF WITHDRAWAL
PROJECT:- | [5 empty] | Framework Agreement (Rate Contract)
PACKAGE :- | [5 empty] | AIR RELEASE VALVE
TENDER ENQUIRY :- | [5 empty] | 77/24/6032/MAZ
NAME OF THE BIDDER
Sl. No. | Volume/Section | Page No. | Clause No. | Technical Specification/Tender Document No | Complete Description of Deviation | Cost of withdrawal of deviation to be entered by the bidder in | Reference of price Schedule of which Cost of Withdrawal of Deviation is applicable | Nature of cost of withdrawal of deviation (Positive/Negative) | Reasons for quoting deviation
1 | TECHNICAL DEVIATION
1.01
1.02
1.03
1.04
1.05
2 | COMMERCIAL DEVIATION
2.01
2.02
2.03
2.04
2.05