## TOTAL PACKAGE
MAIN SHEET
NAME OF BIDDER :
NAME OF PROJECT: |  | 2X20 MW RAHUGHAT HYDRO ELECTRIC PROJECT (HEP)
NAME OF PACKAGE: |  | HVAC FOR HYDRO
TECHNICAL SPECIFICATION: |  | PE-TS-481- (571-13000-A)-A001
TENDER ENQUIRY NO :
[5 empty] | Supply | Service |  | Taxes
Sl. No. | DESCRIPTION |  | UoM | QTY | Total Ex-Works (excluding GST) (INR) | Unit Price (INR) | Total Price (INR) | GST type | GST rate in % | GST amount in Rs. | Total Price excluding Freight & including GST (INR)
1 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for Supply part, Supervision of erection & commissioning and Mandatory spares comprising of design (i.e. Preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants & consumables, mandatory spares along with spares for erection, start-up and commissioning as required, proper packing, supervision of erection & commissioning, Supervision of trial run at site and supervision of Performance guarantee/Functional / Demonstration tests at site (As applicable), training of customer/client O&M staff at site, maintenance and handover in flawless condition of the package to the end customer complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. |  | LOT | 1 | [6 empty] | 0
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Total lumpsum firm price inclusive of all prevailing taxes, duties and other levies for Design (i.e. Preparation and submission of drawing /documents including “As Built” drawings and O&M manuals) and engineering as per tender technical specification above, amendment & agreements till placement of order. (Refer Note-1 below) |  | Lot | 1 | NA |  | 0 |  |  |  | 0
2.2 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for Supply part comprising of manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of lubricants & consumables along with spares for erection as required, start-up and commissioning spares as required, proper packing for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Break-up as per Annexure-I) |  | Lot | 1 | 0 | NA |  |  |  |  | 0
2.3 | Total lumpsum firm prices inclusive of all prevailing taxes, duties and other levies for Services part comprising of Supervision of Erection & Commissioning, supervision of trial run at site and supervision of Performance guarantee tests at site, training of customer/client O&M staff at site and handover in flawless condition of the package to the end customer complete with all accessories, for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Break-up as per Annexure-II) |  | Lot | 1 | NA | 0 | 0 |  |  |  | 0
2.4 | Total lumpsum firm price inclusive of all prevailing taxes, duties and other levies for Mandatory Spares comprising of manufacture, fabrication, assembly, inspection / testing (as applicable) at vendor's & sub-vendor’s works, painting, proper packing & guarantee as per tender technical specification above, amendment & agreements till placement of order. (Price break up of mandatory spares is to be furnished as per Annexure- III) |  | Lot | 1 | 0 | NA |  |  |  |  | 0
2.5* | Total lumpsum firm prices inclusive of all prevailing taxes, duties and other levies for Maintenance Services including manpower, consumables, wear / tear parts, refrigerant / oil top up etc. for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Price break up of Maintenance Services is to be furnished as per Annexure- IV) |  | Lot | 1 | NA | 0 | 0 |  |  |  | 0
Note: 1) The Design and Engineering charges as mentioned above in S.No. 2.1* shall be as per GCC Rev 07. Please note that the complete engineering of the package is in the scope of bidder as per the tender requirement. However, for the payment purpose bidder to note that 50% of price as per sl. no. 2.1 shall be made against basic engineering (i.e. Preparation, submission & approval of basic drawing/ documents as indicated in tender specification) and the remaining payment shall be made for the balance engineering part on pro-rata basis.

## ANNEXURE-I
ANNEXURE-I
NAME OF BIDDER: |  | 0
NAME OF PROJECT: |  | 2X20 MW RAHUGHAT HYDRO ELECTRIC PROJECT (HEP)
NAME OF PACKAGE: |  | HVAC FOR HYDRO
TECHNICAL SPECIFICATION: |  | PE-TS-481- (571-13000-A)-A001
TENDER ENQUIRY NO : |  | 0
Sl. No. | DESCRIPTION | Quantity | UoM | Supply
|  |  |  | Unit Ex-Works (INR) | Total Ex-Works (INR)
BREAK-UP OF ITEMS MENTIONED AT S. NO. 2.2 OF MAIN SHEET
A | VENTILATION SYSTEM
1* | Double skin Air Handling Unit (Fan Filteration Unit, 1x100%) of minimum capacity 100,000 CMH and minimum 60 mmWG SP. consisting of centrifugal fan, TEFC sq cage induction motor, drive set, filters (pre & fine filter), VCD, flexible connection, Vibration isolation pads, foundation bolts, nuts & washers, Non Return damper and other accessories required for system completeness as per specifications to meet the fresh air requirement of Power House building. (AHU shall have 1x100% fan configuration) | 1 | No.* |  | 0
2* | Heating Kit for above AHU comprising strip heaters, safety controls, air-stat, contactors, frame work, thermostat & humidistat/ sensors etc. for above AHU room as per specification. | 1 | No.* |  | 0
3* | Exhaust Air Centrifugal Blowers (2X50 %) each having minimum capacity of 30,000 CMH and minimum 40 mmWG SP with TEFC squirrel cage induction motor, drive ser, bird screen, flexible connection, Vibration isolation pads, foundation bolts, nuts & washers and all other accesories required for system completeness and installation at site as per specifications and site requirement, to meet exhaust air requirement of Power House building | 2 | Nos.* |  | 0
4* | Centrifugal fan (1x100% ) of minimum capacity 16,000 CMH and minimum 50 mmWG SP. complete with casing, TEFC sq cage induction motors & mounting frame, pre-filters with filter mounting frame, inlet air louvers, bird screen, Vibration isolation pads, foundation/anchoring bolts (as required), bolts, nuts & washers, canvass connection, NRD and all other accesories required for system completeness and installation at site as per specifications and site requirement, to meet fresh air requirement of Butterfly Valve House. | 1 | No.* |  | 0
5* | Exhaust Air Centrifugal Blowers (1X100 %) each having minimum capacity of 3,000 CMH and minimum 30 mmWG SP with TEFC squirrel cage induction motor, drive ser, bird screen, flexible connection, Vibration isolation pads, foundation bolts, nuts & washers and all other accesories required for system completeness and installation at site as per specifications and site requirement, to meet exhaust air requirement of Butterfly Valve House. | 1 | No.* |  | 0
6 | Axial flow supply fans with pre and fine filter (wall mounted) complete with casing, TEFC sq cage induction motors & mounting frame, MS rain protection cowl, bird screen and all other accessories for system completeness as per specifications and site requirement. (suitable for 415V/3-phase supply). Following fans shall have min. 30 mmwc static pressure.
a)* | Capacity 4,000 CMH with Motor rating 0.75 KW | 2 | Nos.* |  | 0
7 | Axial flow exhaust fans (Bifurcated type, spark proof construction, wall mounted) complete with casing, flame proof motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3-phase supply) as specified for system completeness and installation st site as per specifications and site requirement.. Following fans shall have min. 15 mmwc static pressure.
a)* | Capacity 4,000 CMH with Motor rating 0.55 KW | 2 | Nos.* |  | 0
8 | Axial flow exhaust fans (Wall mounted) complete with casing,TEFC sq cage induction motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted for system completeness and installation st site as per specifications and site requirement.(suitable for 415V/3-phase supply) as specified.Following fan shall have min. 10 mmwc static pressure.
a)* | Capacity 2,000 CMH with Motor rating 0.37 KW | 1 | Nos.* |  | 0
9 | Exhaust fan (propeller type) completes with induction motor & mounting frame MS rain protection cowl, bird screen and all other accessories as specified for system completeness and installation st site as per specifications and site requirement. (suitable for 240V/ 1 phase). Following fan shall have min. 5 mmwc static pressure.
a)* | Capacity 1200 CMH with Motor rating 100 watts | 20 | Nos.* |  | 0
B | AIR CONDITIONING SYSTEM
1 | Air Cooled Precision Package AC Units (2x100%) complete with all accessories as specified. The precision AC unit shall be complete with all accessories like filters, flexible connection etc. required instrumentation etc and all other accessories for system completeness and installation at site as per specifications and site requirement for control building of Power House Building.
1.1* | 7.5 TR Net Capacity | 2 | Nos. |  | 0
1.2 | Fresh air fan (axial flow type), complete with motor, inlet cone, air filters (pre and fine), dampers etc. for above AC Area. | 1 | Lot. |  | 0
1.3* | Drain piping (GI) with necessary fittings upto nearest drain point with insulation as per specification
a)* | 50mm | 20 | Rmt* |  | 0
3 | AIR COOLED SPLIT UNITS consisting of outdoor unit (having compressor condenser coils with fan and motor), indoor unit (having evaporator coil, filter,fan with motor), interconnecting refrigerant piping as per site requirement & fittings with insulation, cordless remote, electrical power cord upto the nearest available point along with isolator / MCB, fixing frame for indoor and outdoor unit, Voltage Stablizer, insulated drain piping upto nearest drain etc. and all other accessories for system completeness and installation at site as per specifications and site requirement (Maximum avaiable BEE star Rating)
a)* | 2.0 TR capacity (non-ductable type, 240 V, 1 phase with isolation switch) i.e MCB & Voltage Stablizer of suitable rating as specified. | 6 | Nos*. |  | 0
b)* | 1.5 TR capacity (non-ductable type, 240 V, 1 phase ) with isolation switch , i.e. MCB & Voltage Stablizer of suitable rating as specified. | 6 | Nos*. |  | 0
4 | Oil filled room heaters of suitable ratings alongwith control system and assessories.
a)* | 2 kW | 3 | Nos*. |  | 0
b)* | 2.5 kW | 2 | Nos*. |  | 0
C | ITEMS COMMON FOR AIR CONDITIONING AND VENTILATION SYSTEM
1 | Supply air ducting (finished) for above areas complete with all accessories as required to complete ducting system.
1.1* | GSS (zinc coating 180 gms/sq.m) Finished Ducting complete with hangers, vanes, tie rods, gaskets, sealant, adhesive , nut, bolt, locknut, hilti, bracing and all other accessories as required for installation of ducting at site as per specifications and site requirement.
a)* | 18 G | 250 | SQM* |  | 0
b)* | 20 G | 200 | SQM* |  | 0
c)* | 22 G | 1000 | SQM* |  | 0
d)* | 24 G | 1850 | SQM* |  | 0
1.2* | MS Duct With Epoxy paint along with RETURN AIR DIFFUSERS / GRILLS without VCD (MS epoxy painted ) for battery room complete with hangers, tie rods, gaskets, sealant, adhesive , nut, bolt, lock nut, hilti, bracing and all other accessories as required for installation of ducting at site as per specifications and site requirement. | 50 | SQM* |  | 0
1.3* | Supply Air Grills with VCD (Extruded Aluminium powder coated ) complete with fixing frames, nuts, bolts, gaskets, washers etc. | 10 | SQM* |  | 0
1.4* | Return Air Grills without VCD (Extruded Aluminium powder coated ) complete with fixing frames, nuts, bolts, gaskets, washers etc. | 8 | SQM* |  | 0
1.5* | Supply air diffuser with VCD (Extruded Aluminium powder coated ) complete with fixing frames, nuts, bolts, gaskets, washers etc. | 2 | SQM* |  | 0
1.6* | Return air diffuser without VCD (Extruded Aluminium powder coated ) complete with fixing frames, nuts, bolts, gaskets, washers etc. | 2 | SQM* |  | 0
1.7* | Acoustic / Thermal insulation of supply air duct & return air duct with material and finish as per specifications, adhesives, jointing tape and all other required accessories for installation of insulation at site for AC System | 120 | SQM* |  | 0
1.8* | VOLUME CONTROL DAMPERS in GI construction as per specifications for supply / return ducts complete with fixing arrangement. | 18 | SQM* |  | 0
1.9* | Wall mounted dampers / louvers (gravity operated) along with all accessories for complete installation at site as per specifications | 5 | SQM* |  | 0
1.10* | Fresh air Inlet Louvres along with all accessories for complete installation at site as per specifications | 18 | SQM* |  | 0
1.11* | FIRE DAMPER / ON/OFF type MOTORIZED DAMPER / MOTORIZED VOLUME CONTROL DAMPERS
a)* | Fire damper with all other accessories required for system completenes and installation at site as per specifications | 10 | SQM* |  | 0
b)* | Motorized Actuator with single phase power supply for the above Fire damper with auto resetting, limit switches, indication lamps etc for the above fire damper with all accessories required for system completeness and installation at site as per specifications | 12 | NO* |  | 0
c)* | Fusible Link type Fire Damper with alll accessories required for system completeness and installation at site as per specifications | 4 | SQM* |  | 0
1.12 | Complete Structural work (painted) for routing & supporting of ducts, pipes, Fan Fixing and other equiments etc (through duct racks, bracket support, channels, angles, hilti etc.) along with bolting for fixing / anchoring, conrete fastners, grouting etc. | 1 | Lot. |  | 0
2 | Handling arrangement for Ventilation system.
a)* | 1T Chain Pulley Block without travelling trolley with tripod stand arrangment | 1 | NO* |  | 0
3 | FIELD INSTRUMENTS like gauges, transmitters, switces etc. for measuring of flow, temperature, pressure, differential pressure, level, humidity and other instrument required for local monitoring & control, Junction Box alongwith all hook up accessories for completeness of HVAC System as per specification. | 1 | Lot. |  | 0
4* | Local Control Panels along with fixing arrangement as per requirement for completeness of HVAC system. | 1 | NO* |  | 0
5* | Fibre optic Cable with its accessories from I/O Panel / Racks to Main DCS Panel of HVAC System | 20 | Mtr* |  | 0
6 | Elect LV switchboards, LPBS, local motor starters, cable trays, tray support, termination & jointing kit, cabling items, above ground earthing material, lt power cables, lt control cables, screened control cables etc. For completeness of HVAC system
6.1 | LV switchgear (panels, feeder modules, cabinet etc.) With base frame and angle/channel for floor mounting/ wall mounting & insulation mat
6.1.1* | Power house switchboard (400a, 415v, 3ph-4 wire, incomer power cable size - 1run-1c-300 sqmm (cu)/phase, 1run-1c-300 sqmm (cu) - neutral, floor mounted) with incomer & bus coupler and outgoing feeder with breaker/MCCB as applicable & Insulation mat | 1 | NO* |  | 0
6.1.2* | Dam Area - ACDB - 1 no (63a-1 no., 415v, 3ph-4 wire, incomer power cable size - 3.5c-35 sqmm (cu) for 63a) incoming & outgoing feeder with MCCB & Insulation mat | 1 | NO* |  | 0
6.2 | Local push button station (LPBS) for motor drives for Centrifugal Supply and Exhaust Fan | 1 | LOT |  | 0
6.3 | Local motor starter for supply and exhaust fans of smaller rating for local control | 1 | LOT |  | 0
6.4 | LT power cable | 1 | LOT |  | 0
6.5 | LT control cable | 1 | LOT |  | 0
6.6 | Screened (instrumentation) control cable | 1 | LOT |  | 0
6.7 | Cabling item (cable tray, tray support, clamps, tie, connector, cable glands & lugs, termination & jointing kit and cable junction box etc.) | 1 | LOT |  | 0
6.8 | Above ground earthing material | 1 | LOT |  | 0
7 | Total lumpsum price for special tools & tackles for maintenance inclusive of packing etc. (Bidder shall submit item-wise price break-up as per APPENDIX -A). | 1 | Lot. | 0 | 0
8 | Total lumpsum price for commissioning spares inclusive of packing etc. (Bidder shall submit item-wise price break-up as per APPENDIX - B). | 1 | Lot. | 0 | 0
9 | Any other item not indicated above, but required to make the system complete in all respect. | 1 | Lot. |  | 0
| Total |  |  |  | 0
NOTES:-
1. The bidder shall furnish unit rates for variable item (marked *) for necessary adjustment (plus or minus) variation during detailed engg. stage. The unit rates quoted above shall be considered for adjustment and no separate unit rates shall be quoted. Unit rates shall be valid throughout the contract. Final qty. shall be paid as per actual measurment at site for erection for all the variable items.
2. Price format shall not be changed by the bidder as the bidder may get disqualified by doing so.
3. Any cell left blank in the unpriced schedule shall be treated as "Quoted" and is included in total price.
4. The BOQ mentioned above shall be read in conjunction with technical specification requirement. Any item required as per technical specification but not specifically indicated in above BOQ, shall deemed to be inculded in total prices quoted by bidder. No additional price shall be payable against such items.

## ANNEXURE-II
ANNEXURE II: PRICE BREAKUP FOR SERVICE PART
NAME OF BIDDER: |  | 0
NAME OF PROJECT: |  | 2X20 MW RAHUGHAT HYDRO ELECTRIC PROJECT (HEP)
NAME OF PACKAGE: |  | HVAC FOR HYDRO
TECHNICAL SPECIFICATION: |  | PE-TS-481- (571-13000-A)-A001
TENDER ENQUIRY NO : |  | 0
Sl. No. | DESCRIPTION | Quantity | UoM | Supply
|  |  |  | Unit Ex-Works (INR) | Total Ex-Works (INR)
1 | Total lumpsum firm prices inclusive of all prevailing taxes, duties and other levies for Services part comprising of Supervision of Erection & Commisionin, supervision of trial run at site and supervision of Performance guarantee at site, training of customer/client O&M staff and handover in flawless condition of the package to the end customer complete with all accessories, for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. | 1 | LOT |  | 0
2 | Break Up Prices of 1.0
2.1* | Total lump sum prices for visits (should include travel expenses to/ fro site, visa/ insurance (if applicable), intermediary stay) for Supervision of erection and commissioning for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. | 4 | Nos. |  | 0
2.2* | Total lump sum prices for Supervision of erection and commissioning ( in days) for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. | 20 | days |  | 0
NOTES:-
1. No. of days at site defined at S.N. 2.2 above shall be calculated on the basis of presence at site (travel time is excluded). 2. No. of Visits and days for Site assessment during contract stage may vary depending on site requirement. Any variation in no. of visits & no. of days shall be exercised based on unit rate arrived from S.N. 2.1 & 2.2 above respectively.

## Appendix A
APPENDIX-A Special tools & tackles for maintenance
NAME OF BIDDER: |  | 0
NAME OF PROJECT: |  | 2X20 MW RAHUGHAT HYDRO ELECTRIC PROJECT (HEP)
NAME OF PACKAGE: |  | HVAC FOR HYDRO
TECHNICAL SPECIFICATION: |  | PE-TS-481- (571-13000-A)-A001
TENDER ENQUIRY NO : |  | 0
Sl. No. | DESCRIPTION | UoM | Quantity | Unit Ex-Works (INR) | Total Ex-Works (INR)
1 | FLAT D WRENCH - 6 MM TO 32 MM (12 Pcs) | SET | 1 |  | 0
2 | BOX WRENCHES - 6 MM TO 22 MM (14 Pcs) | SET | 1 |  | 0
3 | RING SPANNER - 6 MM TO 32 MM (12 Pcs) | SET | 1 |  | 0
4 | ALLEN KEYS - 2 MM TO 10 MM | SET | 1 |  | 0
5 | CRESCENT SCREW SPANNER | NO. | 1 |  | 0
6 | SCREW DRIVER | NO. | 1 |  | 0
7 | OFFSET SCREW DRIVER | NO. | 1 |  | 0
8 | INSULATED PLIER | NO. | 1 |  | 0
9 | TORCH LIGHT FOR 2 CELL | NO. | 1 |  | 0
10 | HAMMER 1 LB | NO. | 1 |  | 0
11 | OIL CAN | NO. | 1 |  | 0
12 | POCKET THERMOMETER - 0 TO 50 DEG. C) | NO. | 1 |  | 0
13 | INSULATION TAPE ROLL | NO. | 1 |  | 0
14 | STEEL FOOT RULE - 12" | NO. | 1 |  | 0
15 | FEELER GAUGE 9 BLADES | NO. | 1 |  | 0
16 | PIPE WRENCH | NO. | 1 |  | 0
17 | FLARE NUT (1/4") | NOS. | 6 |  | 0
18 | FLARING TOOL | NO. | 1 |  | 0
19 | TUBE CUTTER | NO. | 1 |  | 0
20 | GAS CHARGING PIPE | NO. | 1 |  | 0
21 | NITOGEN CHARGING ADAPTER | NO. | 1 |  | 0
22 | FREON PRESSURE GAUGE (2 1/2" DIA DIAL) ) 0 - 300 MM PSI | NO. | 1 |  | 0
23 | FREON PRESSURE GAUGE (2 1/2" DIA DIAL) ) 30 - 150 MM PSI | NO. | 1 |  | 0
24 | PSYCHRO METER | NO. | 1 |  | 0
25 | LOCK WITH KEY FOR TOOL BOX | NO. | 1 |  | 0
26 | RATCHET 1/4" | NO. | 1 |  | 0
27 | MS TOOL BOX | NO. | 1 |  | 0
28 | LOCK WITH KEY FOR TOOL BOX | NO. | 1 |  | 0
29 | HAND LAMP | NO. | 1 |  | 0
30 | GREASE GUN | NO. | 1 |  | 0
31 | GAS CHARGING KIT | NO. | 1 |  | 0
Total
NOTES:-
ABOVE IS THE MINIMUM LIST. ANY OTHER TOOL / TACKLE REQUIRED FOR THE SYSTEM SHALL ALSO BE PROVIDED BY THE VENDOR WITHOUT ANY COST IMPLICATION. Tools shall be supplied in Tool box

## Appendix B
APPENDIX-B Commissioning spares
NAME OF BIDDER: |  | 0
NAME OF PROJECT: |  | 2X20 MW RAHUGHAT HYDRO ELECTRIC PROJECT (HEP)
NAME OF PACKAGE: |  | HVAC FOR HYDRO
TECHNICAL SPECIFICATION: |  | PE-TS-481- (571-13000-A)-A001
TENDER ENQUIRY NO :
Sl. No. | DESCRIPTION | UoM | Quantity | Unit Ex-Works (INR) | Total Ex-Works (INR)
1 | FAN BELTS ( each type & size) | SET | 1 |  | 0
2 | PRESSURE GAUGE (for each type and range) | NO. | 1 |  | 0
3 | TEMPERATURE GAUGE (for each type and range) | NO. | 1 |  | 0
4 | FILTER (each size) | SET | 1 |  | 0
5 | Compressor oil | Lot | 1 |  | 0
6 | Refrigerant gas of each type in a non-returnable cylinders | Lot | 1 |  | 0
7 | Lubricants | Lot | 1 |  | 0
8 | Dry Nitrogen Cylinder | Lot | 1 |  | 0
| Total |  |  |  | 0
NOTES:-
ABOVE IS THE MINIMUM LIST. ANY OTHER COMMISSIONING SPARE REQUIRED FOR THE SYSTEM SHALL ALSO BE PROVIDED BY THE VENDOR WITHOUT ANY COST IMPLICATION.

## Annexure-III
ANNEXURE - III LIST OF MANDATORY SPARES
NAME OF BIDDER: |  | 0
NAME OF PROJECT: |  | 2X20 MW RAHUGHAT HYDRO ELECTRIC PROJECT (HEP)
NAME OF PACKAGE: |  | HVAC FOR HYDRO
TECHNICAL SPECIFICATION: |  | PE-TS-481- (571-13000-A)-A001
TENDER ENQUIRY NO : |  | 0
Sl. No. | DESCRIPTION | Quantity |  | Total Ex-Works (INR)
A | MECHANICAL
1 | Motor of each type used for the ventilation system to be supplied | 1 No. for each type and size
2 | Complete set of replacement bearing or bushings, including one of each size and type used in the motors or other rotating component of the equipment supplied under this item | 1 Set for each type and size
3 | 1 (one) set of all O-rings, packing and seals | 1 Set for each type and size
4 | 1 (one) set each of belt used | 1 Set for each type and size
5 | Air filter used | 100% of Filter Used
6 | Instrument of each type mounted | 1 No. for each type and size
7a | Power cables of each type and size | 10% of Installed Capacity
7b | Control & instrumentation cables of each type and size | 10% of Installed Capacity
7c | Communication cables of each type and size | 10% of Installed Capacity
8 | ACB of each used type. | 1 No. for each type and size
9 | Magnetic contactor of each used type. | 1 No. for each type and size
10 | MCCB of each ratings | 20 % of total number of each Rating or min. 1 nos. whichever is higher
11 | MCB of each ratings | 20 % of total number of each Rating or min. 1 nos. whichever is higher
12 | HRC fuse of used type | 50 % of total number of each used type
13 | Indicating lamps of used type. | 100 % of total number of each used type
14 | Selector switch of each type. | 1 No. for each type and size
15 | AC voltmeter | 1 No | No
16 | DC voltmeter | 1 No | No
17 | AC ammeter | 1 No | No
18 | DC ammeter | 1 No | No
19 | Under volatge relay | 1 No | No
20 | Key switch of each type. | 1 No. for each type
21 | Rubber gloves | 4 Pairs | Pairs
22 | Rubber aprons | 2 Nos. | Nos.
| Total |  |  | 0
NOTES:-
1) Mandatory spares listed in Price Schedule are bare minimum requirement. In case any additional mandatory spares requirement is covered elsewhere in the tender specification apart from specified above, same shall be deemed to have been covered in bidder’s scope of supply. 2) Wherever "set" is indicated, it shall mean complete replacement for one main equipment of similar size & capacity. 3) All Spares shall be supplied as per the requirement of the specifications. In case any spare indicated in the specification is “not applicable” for particular equipment, then suitable applicable alternate spare has been offered / shall be supplied by the bidder without any financial implication." 4) Bidder to write “Quoted / Not Applicable” against all items. Any item which is quoted as “not applicable” by the bidder in the above list and is found to be “applicable” at a later date shall be supplied by the bidder without any commercial and delivery implication. 5) For quantities indicated in percentage, fractions are to be rounded-off to next higher integer. 6) Any cell left blank in the unpriced schedule shall be treated as “Quoted” and is included in total price. 7) Bidder to note that even though there may be some spares which are repetitive at various sl.no mentioned above, bidder to ensure that prices are quoted against each sl.no. In case any cell is left blank in the unpriced schedule shall be treated as "quoted" and included in total price.

## ANNEXURE-IV
ANNEXURE IV: PRICE BREAKUP FOR ROUTINE MAINTENANCE / BREAKDOWN MAINTENANCE
NAME OF BIDDER: |  | 0
NAME OF PROJECT: |  | 2X20 MW RAHUGHAT HYDRO ELECTRIC PROJECT (HEP)
NAME OF PACKAGE: |  | HVAC FOR HYDRO
TECHNICAL SPECIFICATION: |  | PE-TS-481- (571-13000-A)-A001
TENDER ENQUIRY NO : |  | 0
Sl. No. | DESCRIPTION | Quantity | UoM | Supply
|  |  |  | Unit Ex-Works (INR) | Total Ex-Works (INR)
1 | Total lumpsum firm prices inclusive of all prevailing taxes, duties and other levies for Maintenance Services including manpower, consumables, wear / tear parts etc. for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. | 1 | LOT |  | 0
2 | Break Up Prices of 1.0
2.1* | Total lump sum prices for visits (should include travel expenses to/ fro site, visa/ insurance (if applicable), intermediary stay) for Maintenance Services for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. | 4 | Nos. |  | 0
2.2* | Total lump sum prices for Maintenance Services (in days) inclusive of manpower, consumables, wear / tear parts, refrigerant / oil top up etc. for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. | 16 | days |  | 0
NOTES:-
Note: 1. No. of days at site defined at S.N. 2.2 above shall be calculated on the basis of presence at site (travel time is excluded). 2. No. of Visits and days for Maintenance Services may vary depending on site requirement. Any variation in no. of visits & no. of days shall be exercised based on unit rate arrived from S.N. 2.1 & 2.2 above respectively. 3. Bidder to replace the items damage which are already covered under warranty as defined under Supply Part and detail as mentioned in BHEL NIT & tender technical specification, amendment & agreements till placement of order.