## MAIN SHEET
MAIN PRICE FORMAT
NAME OF PROJECT: |  | 5X800 MW TSGENCO YADADRI TPP STAGE I
NAME OF PACKAGE: |  | VENTILATION PACKAGE: BALANCE WORKS
TECHNICAL SPECIFICATION No: |  | PE-TS-417-554-A006
S. No. | DESCRIPTION |  | UNIT | QTY | HSN Code | SUPPLY |  |  | SERVICE |  | TAXES |  |  | Total Price incl Frieght and GST in Figures | Total Price incl Freight and GST in Words
[6 empty] | AMOUNT (Ex-Works) | Frieght in % | Freight in Amount | Unit Price (INR) | Total Price (INR) | GST Type | GST in % | GST in Amount
1 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for Supply part, Services part and Mandatory spares comprising of design (i.e. preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants, chemicals, reagents and consumables required for pre-commissioning, commissioning , performance testing and till one year of operation after handing over, mandatory spares alongwith spares for erection, start-up and commissioning as required, forwarding, proper packing, shipment and delivery at site, unloading, handling, transportation & storage at site, in-site transportation, assembly, erection & commissioning, final painting at site, minor civil and structural work, trial run at site and carrying out Performance guarantee / Functional / Demonstration tests at site, training of customer/client O&M staff and handover in flawless condition of the package to the end customer complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order |  | Lot | 1 | [9 empty] | 0
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Ventilation for Complete Plant (Balance Items)
2.1.1 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for Supply part of main area comprising of design (i.e. preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants, chemicals, reagents and consumables required for pre-commissioning, commissioning , performance testing and till one year of operation after handing over, alongwith spares for erection as required, start-up and commissioning spares as required, forwarding, proper packing, shipment and delivery at site for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order.(Price Break-up in Annexure-I) |  | Lot | 1 |  |  |  | 0 |  |  |  |  | 0 | 0
2.1.2 | Total lumpsum firm prices inclusive of all prevailing taxes, duties and other levies for Services part of main area comprising of service part for unloading, handling, transportation & storage at site, in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site and carrying out Performance guarantee / Functional / Demonstration tests at site, training of customer/client O&M staff and handover in flawless condition of the package to the end customer complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Price Break-up in Annexure-I) |  | Lot | 1 | [5 empty] | 0 |  |  | 0 | 0
2.1.3 | Total lumpsum firm price inclusive of all prevailing taxes, duties and other levies for Mandatory spares comprising of manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per tender technical specification above, amendment & agreements till placement of order. (Price break up of mandatory spares is to be furnished as per Annexure- II) |  | Lot | 1 |  |  |  | 0 |  |  |  |  | 0 | 0
Note:
1) | Lumpsum price quoted at Sl.no 1 shall be considered for evaluation, however separate LOA shall be placed for BALANCE WORK of Ventilation system for Complete plant of work defined in technical specification PE-TS-417-554-A006 and annexure of price schedule.
2 | Stage # 1 (Unit 1 &2) billing break up for Supply, Erection and commissioning and mandatory spares shall be submitted by bidder based on finalised BOQ arrived during detail engineering.
Particulars of bidder / authorised representative
| Name | Designation | Signature | Date |  | Company Seal

## Annexure-I
PRICE FORMAT ANNEXURE - I (COMPLETE PLANT -BALANCE WORKS)
NAME OF PROJECT: |  | 5X800 MW TSGENCO YADADRI TPS (STAGE I)
NAME OF PACKAGE: |  | VENTILATION SYSTEM - BALANCE WORKS
TECHNICAL SPECIFICATION No: |  | PE-TS-417-554-A006
SL NO | DESCRIPTION | Unit | Balance Qty Supply | Balance Qty Erection | Unit cost Supply | AMOUNT (Ex-Works) Supply | Unit cost E&C | AMOUNT E&C | Total AMOUNT (G+I)
1* | Sheet metal containerized type air washer unit with centrifugal fan (DIDW) with motor, pumps with motors, air washer internals, inlet air louvers, filters, piping as per IS:1239, Part-I (heavy class galvanised), valves, nozzles, level switch, temp indicators, back wash arrangement, galvanised drain piping, etc. as per specification of capacity 2,80,000 CMH. Each air washer has 2 no centrifugal fan ( 2 x 50% duty) of capacity 1,40,000 CMH at min. 85 mm SP. | NO | 8 | 8
1.1* | Centrifugal Fan (Capacity 140000 CMH at 85 MM WC) with Accessories | NO | 16 | 16
1.2* | Electric Motor 55 KW/4Pole for centrifugal fan 140000 CMH at 85 mm WC | NO | 16 | 16
1.3* | AWU double skin enclosure with accessories. | NO | 8 | 8
1.4* | Water tank | NO | 8 | 8
1.5* | Air Pre filter 610x610x50 - 72 Nos & 610x305x50 - 18 nos. in one set) | Set | 0 | 8
1.6* | Air Intake Louver | NO | 0.5 | 8
1.7* | Air washer accessories (Air Distribution plate,Spray piping,nozzles,eliminator etc). | Lot | 8 | 8
1.8* | Valves & Strainers for Air Washer Units | Lot | 1 | 1
1.8.1* | Gate Valve - 250 NB | NO | 16 | 16
1.8.2* | Gate Valve - 200 NB | NO | 8 | 8
1.8.3* | Gate Valve - 40 NB | NO | 32 | 32
1.8.4* | Globe Valve - 200 NB | NO | 16 | 16
1.8.5* | Non Return valve - 200 NB | NO | 16 | 16
1.8.6* | Butter Fly Valve - 200 NB (Motorized) | NO | 16 | 16
1.8.7* | Pot Strainer - 250 NB | NO | 16 | 16
1.9* | Centrifugal pump for Air Washer Unit (310 M3/HR at 30 M Head) | NO | 0 | 16
1.10* | Centrifugal pump motor for AWU of 45 KW/4Pole | NO | 16 | 16
2* | Unitary air filtration unit with centrifugal fan (SISW) with motor, pumps with motors, inlet air louvres, filters, UAF internals, piping as per IS: 1239 pt. I (heavy class galvanised), valves for auto start of standby equipment, nozzles, level switch, pressure switches, Temp. indicators, back wash arrangement, galvanised drain piping etc. as per spec. (Fan capacity 100,000 CMH at min. 60 mmwc static pressure) | NO | 4 | 4
2.1* | Centrifugal Fan (Capacity 1,00,000 CMH at 60 MM WC) with Accessories | NO | 4 | 4
2.2* | Electric Motor 30 KW/4Pole for centrifugal fan 1,00,000 CMH at 60 mm WC | NO | 2 | 4
2.3* | UAF single skin enclosure with accessories. | NO | 4 | 4
2.4* | Water tank | NO | 4 | 4
2.5* | Air Pre filter (610x610x50 - 30 Nos. in one set) | Set | 4 | 4
2.6* | Air Intake Louver | Set | 4 | 4
2.7* | Air washer accessories (Air Distribution plate,Spray piping,nozzles,eliminator etc). | Lot | 4 | 4
2.8* | Valves & Strainers for UAF Units | Lot | 4 | 4
2.8.1* | Gate Valve - 125 NB | NO | 8 | 8
2.8.2* | Gate Valve - 100 NB | NO | 4 | 4
2.8.3* | Gate Valve - 40 NB | NO | 16 | 16
2.8.4* | Globe Valve - 100 NB | NO | 8 | 8
2.8.5* | Non Return valve - 100 NB | NO | 8 | 8
2.8.6* | Butter Fly Valve - 100 NB (Motorized) | NO | 8 | 8
2.8.7* | Pot Strainer - 125 NB | NO | 8 | 8
2.9* | Centrifugal pump forUAF Unit (77 M3/HR at 30 M Head) | NO | 4 | 8
2.10* | Centrifugal pump motor for UAF Unit of 15 KW/4Pole | NO | 3 | 8
3* | Supply air ducting (finished) for above area complete with dampers, grills (with VCD & without VCD), supports (painted) and all accessories as specified.
3.1* | Finished GSS (zinc coating 180 gms/sq.m) Ducting with support structure etc.
a)* | 18 G | SQM | 4468 | 10200
b)* | 20 G | SQM | 2628 | 10400
3.2* | MS Duct With Epoxy paint for battery room. | SQM | 100 | 100
3.3* | MS Grilles with VCD | SQM | 120.89 | 210
3.4* | MS Grilles without VCD | SQM | 25 | 25
3.5* | Exposed duct insulation with fibre glass insulation as per specifications. | SQM | 155 | 4920
3.6* | Wall mounted dampers (gravity operated) for different areas. | SQM | 31 | 31
3.7* | Inlet Louvres | SQM | 353 | 353
3.8* | VOLUME CONTROL DAMPERS in GI construction as per specifications | SQM | 180 | 180
4* | FIRE DAMPER
a)* | Fire damper | SQM | 48.93 | 69
b)* | Motorized Actuator with single phase power supply for the above Fire damper with auto resetting, limit switches, indication lamps etc. | Nos. | 68 | 68
c)* | Fusible Link type Fire Damper | SQM | 20 | 20
5* | Roof extractor units (axial flow type) with hood, disconnect switch and all accessories as specified. Following fan shall have 15 mmwc static pressure.
5.1.1)* | Capacity 50,000 CMH with Motor | Nos. | 0 | 36
5.1.2)* | Cowl | Set | 0 | 36
5.1.3)* | Bird Mesh / gasket | Set | 36 | 36
5.1.4)* | Support Structure with nut, bolts,sleeves,grout etc to complete the system | Set | 39 | 39
5.2.1)* | Capacity 20,000 CMH with Motor | Nos. | 11 | 11
5.2.2)* | Cowl | Set | 11 | 11
5.2.3)* | Bird Mesh | Set | 11 | 11
5.2.4)* | Support Structure with nut, bolts,sleeves,grout etc to complete the system | Set | 11 | 11
6* | Axial flow supply fans with pre and fine filter (wall mounted fan filter unit) complete with casing, TEFC sq cage induction motors & mounting frame, MS rain protection cowl, bird screen and all other accessories (suitable for 415V/3‐phase supply). Following fan shall have 30 mmwc static pressure.
6.1.1)* | Capacity 10,000 CMH with motor | Nos. | 0 | 6
6.1.2)* | Cowl | Set | 2 | 25
6.1.3)* | Bird Mesh | Set | 25 | 25
6.1.4)* | Support Structure with nut, bolts,sleeves,grout etc to complete the system | Set | 25 | 25
6.1.5)* | Pre Filter | Set | 25 | 25
6.1.6)* | Fine Filter | Set | 25 | 25
6.2.1)* | Capacity 7,500 CMH with motor | Nos. | 9 | 9
6.2.2)* | Cowl | Set | 3 | 9
6.2.3)* | Bird Mesh | Set | 9 | 9
6.2.4)* | Support Structure with nut, bolts,sleeves,grout etc to complete the system | Set | 9 | 9
6.2.5)* | Pre Filter | Set | 9 | 9
6.2.6)* | Fine Filter | Set | 9 | 9
6.3.1)* | Capacity 6,000 CMH with motor | Nos. | 1 | 1
6.3.2)* | Cowl | Set | 1 | 1
6.3.3)* | Bird Mesh | Set | 1 | 1
6.3.4)* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 1 | 1
6.3.5)* | Pre Filter | Set | 1 | 1
6.3.6)* | Fine Filter | Set | 1 | 1
7* | Axial flow supply fans with pre filter (wall mounted wall mounted fan filter unit) complete with casing, TEFC sq cage induction motors & mounting frame, MS rain protection cowl, bird screen and all other accessories (suitable for 415V/3‐phase supply) as specified. Following fan shall have 20 mmwc static pressure.
7.1.1)* | Capacity 15,000 CMH with motor | Nos. | 17 | 17
7.1.2)* | Cowl | Set | 17 | 17
7.1.3)* | Bird Mesh | Set | 17 | 17
7.1.4)* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 17 | 17
7.1.5)* | Pre Filter | Set | 17 | 17
7.2.1)* | Capacity 10,000 CMH with motor | Nos. | 7 | 7
7.2.2)* | Cowl | Set | 6 | 7
7.2.3)* | Bird Mesh | Set | 7 | 7
7.2.4)* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 7 | 7
7.2.5)* | Pre Filter | Set | 7 | 7
7.3.1)* | Capacity 7,500 CMH with motor | Nos. | 6 | 6
7.3.2)* | Cowl | Set | 6 | 6
7.3.3)* | Bird Mesh | Set | 6 | 6
7.3.4)* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 6 | 6
7.3.5)* | Pre Filter | Set | 6 | 6
7.4.1)* | Capacity 6,000 CMH with motor | Nos. | 7 | 7
7.4.2)* | Cowl | Set | 7 | 7
7.4.3)* | Bird Mesh | Set | 7 | 7
7.4.4)* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 7 | 7
7.4.5)* | Pre Filter | Set | 7 | 7
8* | Axial flow exhaust fans (Bifurcated type, spark proof construction, wall mounted) complete with casing, flame proof motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3‐phase supply) as specified. Following fan shall have 15 mmwc static pressure.
8.1.1* | Bifurcated Fan Capacity 15,000 CMH with spark proof motor | Nos. | 13 | 13
8.1.2* | Cowl | Set | 5 | 27
8.1.3* | Bird Mesh | Set | 27 | 27
8.1.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 27 | 27
8.2.1* | Bifurcated Fan Capacity 10,000 CMH with spark proof motor | Nos. | 4 | 4
8.2.2* | Cowl | Set | 6 | 6
8.2.3* | Bird Mesh | Set | 6 | 6
8.2.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 6 | 6
8.3.1* | Bifurcated Fan Capacity 7,500 CMH with spark proof motor | Nos. | 1 | 1
8.3.2* | Cowl | Set | 1 | 1
8.3.3* | Bird Mesh | Set | 1 | 1
8.3.4* | Support Structure with nut, bolts,sleeves,grout etc to complete the system | Set | 1 | 1
8.4.1* | Bifurcated Fan Capacity 6,000 CMH with spark proof motor | Nos. | 4 | 4
8.4.2* | Cowl | Set | 8 | 8
8.4.3* | Bird Mesh | Set | 8 | 8
8.4.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 8 | 8
8.5.1* | Bifurcated Fan Capacity 4,000 CMH with spark proof motor | Nos. | 2 | 2
8.5.2* | Cowl | Set | 6 | 6
8.5.3* | Bird Mesh | Set | 6 | 6
8.5.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 6 | 6
8.6.1* | Bifurcated Fan Capacity Capacity 2,000 CMH with spark proof motor | Nos. | 7 | 7
8.6.2* | Cowl | Set | 7 | 7
8.6.3* | Bird Mesh | Set | 7 | 7
8.6.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 7 | 7
9* | Axial flow exhaust fans (Bifurcated type, spark proof construction, wall mounted) complete with casing, flame proof motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3‐phase supply) as specified. Following fan shall have 25 mmwc static pressure.
9.1.1* | Bifurcated Fan Capacity 20,000 CMH with spark proof motor | Nos. | 0 | 0
9.1.2* | Cowl | Set | 16 | 16
9.1.3* | Bird Mesh | Set | 16 | 16
9.1.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 16 | 16
10* | Axial flow exhaust fans (Wall mounted) complete with casing, TEFC sq. cage induction motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3‐phase supply) as specified. Following fan shall have 10 mmwc static pressure.
10.1.1* | Capacity 15,000 CMH with motor | Nos. | 37 | 37
10.1.2* | Cowl | Set | 32 | 68
10.1.3* | Bird Mesh | Set | 68 | 68
10.1.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 68 | 68
10.2.1* | Capacity 10,000 CMH with motor | Nos. | 9 | 9
10.2.2* | Cowl | Set | 9 | 9
10.2.3* | Bird Mesh | Set | 9 | 9
10.2.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 9 | 9
10.3.1* | Capacity 7,500 CMH with motor | Nos. | 15 | 15
10.3.2* | Cowl | Set | 15 | 15
10.3.3* | Bird Mesh | Set | 15 | 15
10.3.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 15 | 15
10.4.1* | Capacity 2,000 CMH with motor | Nos. | 2 | 2
10.4.2* | Cowl | Set | 2 | 2
10.4.3* | Bird Mesh | Set | 2 | 2
10.4.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 2 | 2
11* | Exhaust fan (propeller type) completes with induction motor & mounting frame MS rain protection cowl, bird screen and all other accessories as specified (suitable for 240V/ 1 phase). Following fan shall have 5 mmwc static pressure.
11.1.1* | Capacity 1200 CMH with motor | Nos. | 0 | 129
11.1.2* | Cowl | Set | 129 | 129
11.1.3* | Bird Mesh | Set | 129 | 129
11.1.4* | Support Structure with nut, bolts, sleeves, grout etc to complete the system | Set | 129 | 129
12* | Handling arrangement for Ventilation system.
a* | Manual operated trolley, platform trolley of 1 ton capacity with base area 2mx1.5m. | Nos. | 2 | 2
b* | 1 T Chain Pulley Block with Travelling trolley. | Nos.
c* | 1 T Chain Pulley Block with tripod stand ( without Travelling trolley) | Nos. | 2 | 2
13* | Local control Panel for the operation of pumps, fans etc, for each AWU along with its accessories inline with technical specification | Nos. | 0 | 0
14* | Local control Panel for the operation of pumps, fans etc, for each UAF along with its accessories inline with technical specification | Nos. | 0 | 0
15 | Total lumpsum price for special tools & tackles for maintenance inclusive of packing forwarding, transportation up to site, etc. (Bidder shall submit item‐wise price break‐up‐As per Appendix A). | LOT | 1 |  |  |  | NA
16 | Total lumpsum price for commissioning spares inclusive of packing forwarding, transportation up to site, etc. (Bidder shall submit item‐wise price break‐up‐As per Appendix B). | LOT | 1 |  |  |  | NA
17 | Electrical items like Cable tray, conduits, junction box and any other item etc. required for completion of Ventilation system. | LOT | 1 | 1
18 | FIELD INSTRUMENTS like gauges, switches, transmitters for measurement of pressure , temperature, pressure, differential pressure, flow etc. and other instruments as required for completeness of Ventilation System | LOT | 1 | 1
18.1* | Differential Pressure Transmitter | Nos. | 24 | 24
18.2* | Pressure Indicator / Gauge | Nos. | 48 | 48
18.3* | Temperature Indicator / Gauge | Nos. | 36 | 36
18.4* | Pressure Transmitter (Water) | Nos. | 48 | 48
18.5* | Pressure Transmitter (Air) | Nos. | 40 | 40
18.6* | Level Transmitter | Nos. | 24 | 24
18.7* | Humidity Sensor | Nos. | 12 | 12
18.8* | Flow Meter (For makeup line) | Nos. | 12 | 12
19* | Providing full support during FAT of PLC, preparation of control scheme, and commissioning of PLC as per relevant specification. | Man days * |  | 21 | NA
20 | Any other item not indicated above, but required to make the system complete in all respects. | LOT | 1 | 1
TOTAL
NOTES
1 | The bidder shall furnish unit rates for variable item (marked *) for necessary adjustment (plus or minus) variation during detailed Engg. stage. The unit rates quoted above shall be considered and no separate unit rates shall be quoted. Unit rates shall be valid throughout the contract.
2 | Any other item not indicated above, but required to make the system complete in all respects, as per the technical specification, shall be supplied without any cost implication to BHEL. For Air washer/UAF system it might include Sump strainer,Drain pipes,Marine Lamps, Fan Dampers,Fan flexible connection, Nut Bolts, make up pipes etc. Simillarily other accessories for ducting and axial fans not mentioned above but required to complete the system in all aspects shall be supplied without any delivery or commercial implication to BHEL
3 | Any cell left blank in the unpriced schedule shall be treated as “Quoted” and is included in total price.
4 | List of commissioning spares given in Appendix B is bare minimum, any additional commissioning spare required for successful commissioning of ventilation package shall be provided within price quoted against Sl.no. 16.
5 | Regardless of the quantities mentioned in the tender documents, bidders are required to quote prices on a per-unit basis for each line item. After the tender is awarded, BHEL (Bharat Heavy Electricals Limited) will finalize the actual material requirements based on an assessment of the site.Bidders are requested to provide accurate unit rates, as the final quantity needed will be determined later.
Particulars of bidder / authorised representative
| Name | Designation |  |  |  | Date |  |  | Company Seal

## Annexure-II
PRICE FORMAT ANNEXURE-II (COMPLETE PLANT -BALANCE WORKS) LIST OF MANDATORY SPARES
NAME OF PROJECT: |  | 5X800 MW TSGENCO YADADRI TPS STAGE I
NAME OF PACKAGE: |  | VENTILATION SYSTEM
TECHNICAL SPECIFICATION: |  | PE-TS-417-554-A006
S. No. | DESCRIPTION | UNIT | Qty | AMOUNT (Ex-Works)
EQUIPMENT / PACKAGE
1* | Ventilation System (Mechanical)
1.1* | Centrifugal fans
1.1.1* | Sets of bearings for Air washer fans | Set | 1 Set for each Type of Fan
1.1.2* | Sets of bearings for U.A.F. fans | Set | 1 Set for each Type of Fan
1.1.3* | Impeller for the Fan | Set | 1 Set for each Type of Fan
1.2* | Centrifugal pumps
1.2.1* | Set of bearings for Air washer pumps | Set | 1 Set for each Type and rating of Pump
1.2.2* | Set of bearings for U.A.F. pumps | Set | 1 Set for each Type and rating of Pump
1.2.3* | Gland packing, shaft sleeve & casing wearing ring | Set | 1 Set for each Type and rating of Pump
1.2.4* | Impeller for the Pump | Set | 1 Set for each Type and rating of Pump
1.3* | Spray Nozzles
1.3.1* | Spray nozzles for air washer unit | Nos. | 5% of total installed quantity
1.3.2* | Spray nozzles for U.A.F. unit | Nos. | 5% of total installed quantity
1.4* | SS Filters
1.4.1* | SS Filter for Air washer | Nos. | 10% of total installed quantity
1.4.2* | SS Filter for Unitary air filtration unit | Nos. | 10% of total installed quantity
1.5* | Flow Regulating Valve
1.5.1* | For Air Washer | Nos. | 10% or minimum 1 Nos. Whichever is higher
1.5.2* | For Unitary Air Filtration Unit | Nos. | 10% or minimum 1 Nos. Whichever is higher
1.6* | Basket for POT Strainer
1.6.1* | Strainer Basket for Air Washer | Nos. | 1 Nos. For each type and size
1.6.2* | Strainer Basket for Unitary Air Filtration unit | Nos. | 1 Nos. For each type and size
1.7* | Valves
1.7.1* | Gate valve for Air washer | Nos. | 10% or minimum 1 Nos. Whichever is higher
1.7.2* | NR Valve for Air washer | Nos. | 10% or minimum 1 Nos. Whichever is higher
1.7.3* | Gate valve for Unitary Air Filtration Unit | Nos. | 10% or minimum 1 Nos. Whichever is higher
1.7.4* | NR valve for Unitary Air Filtration Unit | Nos. | 10% or minimum 1 Nos. Whichever is higher
1.7.5* | Gate Valve for Make-up Drain of Air washer | Nos. | 10% or minimum 1 Nos. Whichever is higher
1.7.6* | Gate valve for UAF | Nos. | 20% or minimum 1 Nos. Whichever is higher
1.8* | Fan-Filter Units (i.e., Axial supply air fans with filters
1.8.1* | Filter | Set | 1 set for each FFU
1.8.2* | Fan-motor Bearing | Set | 1 set for each rating of FFU
1.8.3* | Vibration Isolators | Set | 1 set for each FFU
1.8.4* | Back Draft Dampers | Nos. | 1 no of each size
1.8.5* | Fan motor | Set | 1 sets for each rating of fan
1.8.5* | Any other spare parts recommended by the Manufacturer | - | As recommended by the Manufacturer
1.9* | Wall mounted supply/ Exhaust fan
1.9.1* | Fan-motor Bearing | Set | 1 sets for each rating of fan
1.9.2* | Vibration Isolators | Set | 1 sets for each fan
1.9.3* | Fan motor | Set | 1 sets for each rating of fan
2* | Ventilation System (Electrical)
2.1* | Electrical Spares for panels
2.1.1* | Control Supply Transformer | Nos. | 2 Nos. of each type and rating
2.1.2* | Contractor | Nos. | 2 Nos. of each type and rating
2.1.3* | Coils for contractor & aux. contractor | Nos. | 5 Nos. for each contractor
2.1.4* | Main & Aux. Contacts sets for contractor and Aux. Contractor | Set | 5 Sets. For each contractor
2.1.5* | Air Break Switch | Nos. | 1 Nos. for each rating
2.1.6* | Control, Isolating and selector switches | Nos. | 5% of each type and rating
2.1.7* | MCB/ MCCB | Nos. | 10% of installed quantity
2.1.8* | Circuit Breaker | Nos. | 1 Nos. for each rating
2.1.9* | Indicating Lamps | Nos. | 10% of installed quantity
2.1.10* | Indicating Lamps cover of different colour and holders | Nos. | 5% of installed quantity
2.1.11* | Push Buttons of various colours | Nos. | 10 nos. of each type and colour
2.1.12* | Terminal Blocks | Nos. | 5% of installed quantity
2.2* | Electrical Spares for Motors
2.2.1* | Terminal plates | Nos. | 10 Nos. each for small motors up to 30KW and 4 Nos. each for motors above 30KW
2.2.2* | Heaters | Set | 1 Set for each motor of rating above 30KW
2.2.3* | Greasing arrangements | Set | 4 sets for each type of motors
2.2.4* | Motors below 0.75 KW | Nos. | 10% of the installed quantity or minimum 2 nos. whichever is higher
2.2.5* | Bearings (DE & NDE) | Nos. | 4 sets of each type and rating
2.3* | Motor
2.3.1* | 415 Volt Motor (above 30KW Rating upto 200KW)
2.3.1.1* | End Shield Cover Driving & Non-Driving End | Sets | 1 sets. for each type and rating of Motor
2.3.1.2* | Driving End & Non-Driving End Bearing | Sets | 1 sets. for each type and rating of Motor
2.3.1.3* | Cooling Fan | Nos. | 1 nos. for each type and rating of Motor
2.3.1.4* | Motors Space Heater | Nos. | 1 nos. for each type and rating of Motor
2.3.1.5* | Motor Terminal Block | Nos. | 1 nos. for each type and rating of Motor
2.3.1.6* | Complete Set of Coupling | Set | 1 Set for each Application
2.3.2* | 415 Volt Motor (Upto 30KW Rating)
2.3.2.1* | Driving End & Non-Driving End Bearing | Set | 2 Set for each type and rating of Motor
2.3.2.2* | Cooling Fan | Nos. | 2 nos. for each type and rating of Motor
2.3.2.3* | Motor Terminal Block | Nos. | 5 nos. for each type and rating of Motor
2.3.2.4* | Complete Set of Coupling | Set | 1 Set for each Application
3* | Ventilation System (C&I)
3.1* | Transmitters/ Gauges/Switches etc. along with relevant accessories | Nos. | 10% of total or at least four (whichever is higher) for each type along with accessories.
3.2* | Temperature Element (RTD/Thermo-couple) with thermowell | Nos. | 10% of each type , range and immersion length . Minimum 10 nos.
3.3* | Junction Box
3.3.1* | Junction box | Nos. | 10% of total quantity for each size but minimum 2 nos.
3.3.2* | Terminals in Terminal blocks | Nos. | 10 nos. of each type
3.6* | Process Connection Piping (Impulse piping/tubing, sampling piping / tubing & air supply piping as applicable)
3.6.1* | Valves of all types | Nos. | 10% of each type, class, size & model
3.6.2* | Valve Manifolds (2 way/3 way/5 way) | Nos. | 10% of each type, class, size & model
3.6.3* | Fittings | Nos. | 10% of each type, class, size & model
3.6.4* | Filter Regulators | Nos. | 20% of each model
3.7* | Dampers
3.7.1* | Actuator Diaphragm | Set | 1 set for each damper
3.7.2* | O-Ring set | Nos. | 1 nos. of each size for positioner
3.7.3* | Feedback Linkage | Nos. | 1 nos. for each type
3.7.4* | Packing & gasket | Nos. | 1 nos. for each type
3.8* | Solenoid Valves
3.8.1* | Solenoid Valve Coil | Nos. | 2 nos. of each rating & insulation
3.8.2* | Plunger | Nos. | 1 nos. of each type
3.8.3* | Seat | Nos. | 1 no. of each type & size
3.8.4* | Gaskets | Set | 2 sets of each type & size
3.8.5* | O-Ring set | Set | 5 sets of each type & size
3.9* | Actuator
3.9.1* | Complete set of Actuator | Nos. | 1 Nos. for each type and rating
3.9.2* | Limit Switch | Nos. | 3 Nos each type and rating
3.9.3* | Torque Switch | Nos. | 3 Nos each type and rating
3.9.4* | Auxiliary Contact | Nos. | 1 nos. each type and rating
3.9.5* | Motor | Nos. | 1 nos. each type and rating
3.9.6* | Complete Seal kit | Set | 1 Set for each type and rating
3.9.7* | Complete O‐Ring Set | Set | 1 Sets
3.9.8* | Electronic Card | Nos. | One(1) for each type/make
3.9.9* | Feedback Assembly (4‐20mA) for Inching type | Nos. | One(1) for each type/make
3.1* | Control Valves
3.10.1* | Pneumatic Control Valves & Block Valves
3.10.1.1* | Plot Relay | Set | 1 sets for each valve
3.10.1.2* | Actuator Diaphragm | Nos. | 1 nos. for each valve
3.10.1.3* | Feedback Linkage | Nos. | 1 nos. for each valve
3.10.1.4* | Smart Positioners | Nos. | 10% of total quantity of each model/type
3.10.1.5* | I/P Converters (If any) | Nos | 10% of total quantity or minimum 30 nos.
3.10.1.6* | Complete Consumables for Valve Viz. O-ring, Gland Packing, Packing Ring, Bonnet Seal etc. | Sets | 1 Set each size, rating, type
3.10.1.7* | Valve Disc | Sets | 1 Set each size, rating, type
3.10.1.8* | Valve Spindle | Sets | 1 Set each size, rating, type
3.10.1.9* | Valve Seat | Sets | 1 Set each size, rating, type
3.10.1.10* | Bush | Sets | 1 Set each size, rating, type
3.10.1.11* | Guide | Sets | 1 Set each size, rating, type
3.10.1.12* | Guide Bush | Sets | 1 Set each size, rating, type
3.10.1.13* | Coupling Nut | Sets | 1 Set each size, rating, type
3.10.1.14* | Actuator Piston with Rod & Seal | Sets | 1 Set each size, rating, type
3.10.1.15* | Control valve stem packing and spare operator moulded rubber diaphragms | Sets | 1 sets for each size, rating, type
3.10.1.16* | Valve trim (including cage, plug, stem, seat rings, guide bushings etc.) for each of the control valves as offered. | Sets | 1 sets for each size, rating, type
3.10.1.17* | Solenoid valves, position transmitters, limit switches, I/P convertors, positioners etc. of each type | Nos. | 10% of total quantity spare with minimum 1 no. for each size, rating, type
3.11* | Control Panel/ Desk
3.11.1* | Back-up panel mounted devices (Selector switches/ Push buttons/ Indicators etc.) | Nos. | 5% of installed capacity
3.11.2* | Lamps/ LEDs | Nos. | 100% of the total quantity
3.11.3* | Blank Tiles | Nos. | 10% of installed capacity
3.11.4* | MCBs | Nos. | 10% of each type & rating
3.11.5* | Fuses/ Fuse holder | Nos. | 100% of each type & rating
3.12* | Alarm/ Annunciation system
3.12.1* | Each type of module | Nos. | 1 no. each
3.12.2* | Lamp box with Facia & Lamps (LED type) | Nos. | 10% of total quantity or minimum 20 nos.
3.12.3* | Hooter | Nos. | 1 no.
TOTAL
Notes:
a) | Mandatory spares listed in Price Schedule are bare minimum requirement. In case any additional mandatory spares requirement is covered elsewhere in the tender specification apart from specified above, same shall be deemed to have been covered in bidder’s scope of supply.
b) | “One (1) Set” and “One (1) set of each type & rating” is defined as total numbers as required for one complete replacement for one equipment of similar size & capacity.
c) | In case any spare indicated in the specification is “not applicable” for particular equipment, then suitable applicable alternate spare shall be supplied by the bidder without any financial implication."
d) | For quantities indicated in percentage, fractions are to be rounded-off to next higher integer.
e) | Bidder to write “Quoted / Not Applicable” against all items. Any item which is quoted as “not applicable” by the bidder in the above list and is found to be “applicable” at a later date shall be supplied by the bidder without any commercial and delivery implication.
f) | Any cell left blank in the unpriced schedule shall be treated as “Quoted” and is included in total price.
g) | The bidder shall furnish unit rates for variable item (marked *) for necessary adjustment (plus or minus) variation during detailed Engg. stage. The unit rates quoted above shall be considered and no separate unit rates shall be quoted. Unit rates shall be valid throughout the contract.
h) | Bidder to note that even though there may be some spares which are repetitive at various sl.no mentioned above, bidder to ensure that prices are quoted against each sl.no. In case any cell is left blank in the unpriced schedule shall be treated as "quoted" and included in total price.
Particulars of bidder / authorised representative
| Name | Designation | Signature | Date

## APPENDIX-A
PRICE FORMAT APPENDIX - A TOOLS & TACKLES
NAME OF PROJECT: |  | 5X800 MW TSGENCO YADADRI TPS
NAME OF PACKAGE: |  | VENTILATION SYSTEM
TECHNICAL SPECIFICATION No: |  | PE-TS-417-554-A006
SL NO | DESCRIPTION | UNIT | Stage # 1 Qty
1 | Measuring tape | NO | 1
2 | Tachometer | NO | 1
3 | Double ended spanner | SET | 1
4 | Ring spanners | SET | 1
5 | Gasket punch | NO. | 1
6 | Center punch | NO. | 1
7 | Hammer with wooden handles | NO. | 1
8 | Scissors for sheet metal cutting | NO. | 1
9 | Torch light (suitable for 2 cells) | NO. | 1
10 | Multimeter | NO. | 1
11 | Anemometer | NO. | 1
12 | Compound pressure gauge | NO. | 1
13 | Slide wrench 8” | NO. | 1
14 | Slide wrench 10” | NO. | 1
15 | Slide wrench 6” | NO. | 1
16 | Box spanner set | SET | 1
17 | Screw driver set | SET | 1
18 | Align key set | SET | 1
19 | MS tool box | NO | 1
NOTES
1 | ABOVE IS THE MINIMUM LIST. ANY OTHER TOOL / TACKEL REQUIRED FOR THE SYSTEM SHALL ALSO BE PROVIDED BY THE VENDOR WITHOUT ANY COST IMPLICATION.

## APPENDIX-B
PRICE FORMAT APPENDIX - B Commissioning spares
NAME OF PROJECT: |  | 5X800 MW TSGENCO YADADRI TPS STAGE I
NAME OF PACKAGE: |  | VENTILATION SYSTEM
TECHNICAL SPECIFICATION No: |  | PE-TS-417-554-A006
SL NO | DESCRIPTION | UNIT | Stage # 1 Qty | UNIT PRICE (Ex-Works) | TOTAL AMOUNT (Ex-Works) (For Stage # 1 & 2)
1 | FAN BELTS (For each type & size) | SET | 1
2 | PRESSURE GAUGE (for each type and range) | NO | 1
3 | TEMPERATURE GAUGE ( for each type and range) | NO | 1
4 | FILTER FOR AXIAL FANS (for each type) | SET | 1
NOTES
1 | ABOVE IS THE MINIMUM LIST. ANY OTHER COMMISSIONING SPARE REQUIRED FOR THE SYSTEM SHALL ALSO BE PROVIDED BY THE VENDOR WITHOUT ANY COST IMPLICATION.
Particulars of bidder / authorised representative
| Name | Designation | Signature |  | Date | Company Seal