## MAIN SHEET
PRICE FORMAT
Name of bidder
NAME OF PROJECT: |  | 3x27.5 MW KSEBL KUTTIYADI HEP
NAME OF PACKAGE: |  | HVAC SYSTEM for Hydro
TECHNICAL SPECIFICATION No: |  | PE-TS-471-571-11000-A001
S. No. | DESCRIPTION |  | UNIT | QTY | Total Ex-works Price excluding GST (INR) | Freight in % | Total Freight | Total FOR Site Price Including Freight but excluding GST (INR) | Total FOR Site Price Including Freight but excluding GST in Words (INR)
1 | Total lump sum firm price for Supply part, Services part and Mandatory spares comprising of design (i.e.preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable) fill of lubricants & consumables, mandatory spares alongwith spares for erection, startup and commissioning as required, forwarding, proper packing, shipment and delivery at site, unloading, handling, transportation to stores area & storage, transporation to site (from stores area) & in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site and carrying out Performance guarantee / Functional / Demonstration tests at site (As applicable), training of customer/client O&M staff and handover in flawless condition of the package to the end customer complete with all accessories, for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. |  | Lot | 1 | 0 |  | 0 | 0
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Total lumpsum firm price for Design (i.e. Preparation and submission of drawing /documents including “As Built” drawings and O&M manuals) and engineering as per tender technical specification above, amendment & agreements till placement of order. (Refer Note-2 below) |  | LOT | 1 | 0 |  |  | 0
2.2 | Total lump sum firm price for Supply part comprising of manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of lubricants & consumables along with spares for erection as required, start-up and commissioning spares as required, forwarding, proper packing, shipment and delivery at site for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Break-up as per Annexure-I) |  | Lot | 1 | 0 |  | 0 | 0
2.3 | Total lumpsum firm prices for Services part comprising for unloading, handling, transportation to stores area & storage, transporation to site (from stores area) & in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site and carrying out Performance guarantee / Functional / Demonstration tests at site (As applicable), training of customer/client O&M staff and handover in flawless condition of the package to the end customer complete with all accessories, for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Break-up as per Annexure-I) |  | Lot | 1 | 0 |  |  | 0
2.4 | Total lumpsum firm price for Mandatory Spares comprising of manufacture, fabrication, assembly, inspection / testing (as applicable) at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per tender technical specification above, amendment & agreements till placement of order. (Price break up of mandatory spares is to be furnished as per Annexure- II) |  | Lot | 1 | 0 |  | 0 | 0
Note: 1) Lumpsum price quoted at Sl.no 1.0 shall be considered for evaluation. 2) The Engineering charges as mentioned above in S.No. 2.1* shall not be more than 2% of the contract value for HVAC System (including main supply, E&C, Mandatory Spares Etc. i.e Total of Sl.no.2.2, 2.3 & 2.4 only) as per Sl. No. 1.0 of GCC. Further, out of this total 2% amount for Design, 1% shall be payable after submission of basic engineering drawings / documents (as mentioned in relevent chapter of technical specification) whereas remaining 1% shall be payable after approval of basic engineering drawings / documents as per tender specification.
Particulars of bidder / authorised representative
| Name | Designation | Signature | Date | Company Seal

## ANNEXURE-I
SUGGESTED PRICE FORMAT ANNEXURE - I : PRICE BREAKUP FOR SUPPLY PART |  | Doc No: |  | PF-PE-471-571-11000-A001
|  | Rev No: |  | 0
|  | Date of issue |  | 23.12.2021
NAME OF PROJECT: |  | 3x27.5 MW KSEBL KUTTIYADI HEP
NAME OF PACKAGE: |  | HVAC SYSTEM
TECHNICAL SPECIFICATION No: |  | PE-TS-471-571-11000-A001
| ITEM DESCRIPTION | QTY. | UNIT | SUPPLY |  | ERECTION AND COMMISIONING
|  |  |  | UNIT PRICE (Ex-Works) | TOTAL PRICE (Ex-Works) | UNIT PRICE | TOTAL COST
BREAK-UP OF ITEMS MENTIONED AT S. NO. 2.2 OF MAIN SHEET
A | VENTILATION SYSTEM
1 | Double skin, package cabinet type Fan filter unit (FFU) comprises of centrifugal fan of minimum 50,000 CMH and 70 mm SP capacity with TEFC squirrel cage induction motor, drive pkg, pre filter with filter mounting frame, inlet air louvers, bird screen, VI pads, foundation bolts, nuts & washers, canvass connection, motorised damper along with all other accesories as required for complete installation as per specification. | 2 | NO |  | 0 |  | 0
2* | Axial flow exhaust fans (Wall mounted) complete with casing,TEFC sq cage induction motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3-phase supply) as specified. Following fan shall have 25 mmwc static pressure.
a)* | Capacity 15000 CMH | 7 | Nos.* |  | 0 |  | 0
3* | Roof Extractor units (axial flow type) with hood, disconnect switch and all accessories as specified. Following fan shall have 15mmwc static pressure.
a)* | Capacity 20000 CMH with Motor rating 2.2 KW | 1 | Nos.* |  | 0 |  | 0
4* | Axial flow supply fans with pre filter (wall mounted) complete with casing, TEFC sq cage induction motors & mounting frame, MS rain protection cowl, SS bird screen and all other accessories (suitable for 415V/3-phase supply) as specified. Following fan shall have 30 mmwc static pressure.
a)* | Capacity 10000 CMH with Motor rating 2.2 KW | 4 | Nos.* |  | 0 |  | 0
b)* | Capacity 6000 CMH with Motor rating 1.1 KW | 1 | Nos.* |  | 0 |  | 0
5* | Axial flow supply fans with pre filter (wall mounted) complete with casing, TEFC sq cage induction motors & mounting frame, MS rain protection cowl, bird screen and all other accessories (suitable for 415V/3-phase supply). Following fan shall have 20 mmwc static pressure.
a)* | Capacity 10,000 CMH with Motor rating 1.5 KW | 1 | Nos.* |  | 0 |  | 0
b)* | Capacity 7,500 CMH with Motor rating 1.1 KW | 3 | Nos.* |  | 0 |  | 0
c)* | Capacity 6,000 CMH with Motor rating 1.1 KW | 4 | Nos.* |  | 0 |  | 0
6* | Axial flow exhaust fans (Bifurcated type, spark proof construction, wall mounted) complete with casing, flame proof motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3-phase supply) as specified. Following fan shall have 15 mmwc static pressure.
a)* | Capacity 10000 CMH with Motor rating 1.5 KW | 1 | Nos.* |  | 0 |  | 0
b)* | Capacity 7500 CMH with Motor rating 1.1 KW | 1 | Nos.* |  | 0 |  | 0
c)* | Capacity 4000 CMH with Motor rating 0.75 KW | 2 | Nos.* |  | 0 |  | 0
7* | Axial flow exhaust fans (Wall mounted) complete with casing,TEFC sq cage induction motor & mounting frame, MS rain protection cowl, bird screen and all other accessories epoxy painted (suitable for 415V/3-phase supply) as specified.Following fan shall have 10 mmwc static pressure.
a)* | Capacity 10000 CMH with Motor rating 0.75KW | 1 | Nos.* |  | 0 |  | 0
b)* | Capacity 6,000 CMH with Motor rating 0.55 KW | 1 | Nos.* |  | 0 |  | 0
c)* | Capacity 4,000 CMH with Motor rating 0.55 KW | 1 | Nos.* |  | 0 |  | 0
8* | Exhaust fan (propeller type) completes with induction motor & mounting frame MS rain protection cowl, bird screen and all other accessories as specified (suitable for 240V/ 1 phase). Following fan shall have 5 mmwc static pressure.
a)* | Capacity 1200 CMH with Motor rating 100 watts | 10 | Nos.* |  | 0 |  | 0
B | AIR CONDITIONING SYSTEM
1)* | AIR COOLED SPLIT UNITS consisting of outdoor unit (having compressor condenser coils with fan and motor), indoor unit (having evaporator coil, filter,fan with motor), interconnecting refrigerant piping as per site requirement & fittings with insulation, cordless remote, electrical power cord upto the nearest available point along with isolator / MCB, fixing frame for indoor and outdoor unit, Stablizer,etc. (Maximum avaiable BEE star Rating)
a)* | Ceiling mounted Cassette AC-4TR((non-ductable type, 415 V, 3 phase ) with isolation switch , i.e. MCB of suitable rating as specified, voltage stabilizer, cabling, all supporting structure and refrigerant piping to suite actual site condition, drain piping upto nearest drain etc. | 12 | Nos.* |  | 0 |  | 0
b)* | Ceiling mounted Cassette AC-3TR((non-ductable type, 415 V, 3 phase ) with isolation switch , i.e. MCB of suitable rating as specified, voltage stabilizer, cabling, all supporting structure and refrigerant piping to suite actual site condition, drain piping upto nearest drain etc. | 1 | Nos.* |  | 0 |  | 0
c)* | 2.0 TR capacity (non-ductable type, 240 V, 1 phase ) with isolation switch , i.e. MCB of suitable rating as specified, voltage stabilizer, cabling, all supporting structure and refrigerant piping to suite actual site condition, drain piping upto nearest drain etc. Split AC shall be of best rating as per latest BEE based on ISEER | 50 | Nos.* |  | 0 |  | 0
d)* | 1.5 TR capacity (non-ductable type, 240 V, 1 phase ) with isolation switch , i.e. MCB of suitable rating as specified, voltage stabilizer, cabling, all supporting structure and refrigerant piping to suite actual site condition, drain piping upto nearest drain etc. Split AC shall be of best rating as per latest BEE based on ISEER | 4 | Nos.* |  | 0 |  | 0
C | COMMON ITEM FOR HVAC SYSTEM
1* | Finished (actual quantity of duct erected at site, excluding scrap) GSS (zinc coating 275 gms/sq.m) Ducting with accessories etc.
a)* | 18 G | 150 | SQM* |  | 0 |  | 0
b)* | 20 G | 150 | SQM* |  | 0 |  | 0
c)* | 22G | 300 | SQM* |  | 0 |  | 0
d)* | 24G | 400 | SQM* |  | 0 |  | 0
2* | Thermal insulation for Vent duct. | 250 | SQM* |  | 0 |  | 0
3 | Support structure for ducting. | 1 | LOT |  | 0 |  | 0
4* | Wall mounted dampers (gravity operated) for different areas. | 10 | SQM* |  | 0 |  | 0
5* | Inlet Louvres | 5 | SQM* |  | 0 |  | 0
6* | MS Duct With Epoxy paint ( grills etc) | 50 | SQM* |  | 0 |  | 0
7* | Grilles/Diffusers
a)* | Powder coated MS Grilles with VCD | 10 | SQM* |  | 0 |  | 0
b)* | Powder coated MS Grilles without VCD | 5 | SQM* |  | 0 |  | 0
8* | VOLUME CONTROL DAMPERS in GSS construction as per specifications for supply / return ducts complete with fixing arrangement. | 5 | SQM* |  | 0 |  | 0
9* | FIRE DAMPER
a)* | Fire damper | 10 | SQM* |  | 0 |  | 0
b)* | Motorized Actuator with single phase power supply for the above Fire damper with auto resetting, limit switches, indication lamps etc | 10 | NOS* |  | 0 |  | 0
10 | FIELD INSTRUMENTS like pressure gauge, temperature gauge, pressure switch,, differential pressure switch, flow switchs, Humidity sensor and indicator etc. and other instruments as required | 1 | LOT |  | 0 |  | 0
11 | ELECT LV SWITCHBOARDS, LPBS, LOCAL MOTOR STARTERS, CABLE TRAYS, TRAY SUPPORT, TERMINATION & JOINTING KIT, CABLING ITEMS, ABOVE GROUND EARTHING MATERIAL, LT POWER CABLES, LT CONTROL CABLES, SCREENED CONTROL CABLES ETC. FOR COMPLETENESS OF HVAC SYSTEM :
a) | LV SWITCHGEAR (PANELS, FEEDER MODULES, CABINET ETC.) WITH BASE FRAME AND ANGLE/CHANNEL FOR FLOOR MOUNTING/ WALL MOUNTING - POWER HOUSE SWTCHBOARD-A (630A, 415V, 3PH-4 WIRE, INCOMER POWER CABLE SIZE - 1C-630 SQMM/PHASE-NEUTRAL, FLOOR MOUNTED) WITH INCOMER & BUSCOUPLER AS BREAKER AND OUTGOING FEEDER WITH BREAKER/MCCB AS APPLICABLE | 1 | LOT |  | 0 |  | 0
b) | LOCAL PUSH BUTTON STATION (LPBS) FOR MOTOR DRIVES | 1 | LOT |  | 0 |  | 0
c) | LOCAL MOTOR STARTER FOR SUPPLY AND EXHAUST FANS OF SMALLER RATING FOR LOCAL CONTROL | 1 | LOT |  | 0 |  | 0
d) | CABLING ITEM (CABLE TRAY, TRAY SUPPORT, CLAMPS, TIE, CONNECTOR, CABLE GLANDS & LUGS, TERMINATION & JOINTING KIT AND CABLE JUNCTION BOX ETC.) | 1 | LOT |  | 0 |  | 0
e) | ABOVE GROUND EARTHING MATERIAL | 1 | LOT |  | 0 |  | 0
f) | LT XLPE POWER CABLE | 1 | LOT |  | 0 |  | 0
g) | LT HRPVC CONTROL CABLE | 1 | LOT |  | 0 |  | 0
h) | SCREENED(INSTRUMENTATION) CONTROL CABLE | 1 | LOT |  | 0 |  | 0
i) | INSULATING MATS FOR LT BOARDS MENTIONED UNDER SL. NO. 1 ABOVE | 1 | LOT |  | 0 |  | 0
j) | COMMUNICABLE ETHERNET SWITCHES, CAT-6E AND OFC CABLE FOR NUMERICAL RELAYS INTEGRATION OF LT BOARDS(AS APPLICABLE) MENTIONED UNDER SL. NO. a) ABOVE. ALL THE NUMERICAL RELAYS TO BE INTEGRATED AND ONE COMMON POINT TO BE MADE AVAILABLE FOR UPPER LEVEL DCS/SCADA COMMUNICATION. | 1 | LOT |  | 0 |  | 0
12* | Handling arrangement for HVAC equipments
a )* | Manually operated, platform trolley of 1 Ton capacity with base area 2m x 1.5m | 1 | Nos.* |  | 0 |  | 0
13 | Total lumpsum price for Special Tools & Tackles for maintenance inclusive of packing forwarding, transportation up to site, etc. (Bidder shall submit item-wise price break-up as per appendix-A). | 1 | LOT | 0 | 0 | NA | NA
14 | Total lumpsum price for commissioning spares inclusive of packing forwarding, transportation up to site, etc. (Bidder shall submit item-wise price break-up as per appendix-B). | 1 | LOT | 0 | 0 | NA | NA
15* | Providing full support during FAT of DDCMIS, preparation of control scheme, and commissining of SCADA/DDCMIS as per relevent specification. | 20 | Mandays* | NA | NA |  | 0
16 | Any other item not indicated above, but required to make the system complete in all respect. | 1 | LOT |  | 0 |  | 0
NOTES |  |  |  | Total | 0 | Total | 0
1 | The bidder shall furnish unit rates for variable item (marked *) for necessary adjustment (plus or minus) variation during detailed engg. stage. The unit rates quoted above shall be considered for adjustment and no separate unit rates shall be quoted. Unit rates shall be valid throughout the contract. Final qty. shall be paid as per actual measurment at site for erection for all the variable items.
2 | Price format shall not be changed by the bidder as the bidder may get disqualified by doing so.
3 | Any cell left blank in the unpriced schedule shall be treated as “Quoted” and is included in total price.
4 | The BOQ mentioned above shall be read in conjunction with technical specification requirement. Any item required as per technical specification but not specifically indicated in above BOQ, shall deemed to be inculded in total prices quoted by bidder. No additional price shall be payable against such items.
Particulars of bidder / authorised representative
| Name | Designation

## APPENDIX-A
SUGGESTED PRICE FORMAT APPENDIX-A Special tools & tackles for maintenance
NAME OF PROJECT: |  | 3x27.5 MW KSEBL KUTTIYADI HEP
NAME OF PACKAGE: |  | HVAC SYSTEM
TECHNICAL SPECIFICATION No: |  | PE-TS-417-571-11000-A001
SL NO | DESCRIPTION | UNIT | Qty | Unit Ex-Works price | Total Ex-Works price
1 | FLAT D WRENCH - 6 MM TO 32 MM (12 Pcs) | SET | 1 |  | 0
2 | BOX WRENCHES - 6 MM TO 22 MM (14 Pcs) | SET | 1 |  | 0
3 | RING SPANNER - 6 MM TO 32 MM (12 Pcs) | SET | 1 |  | 0
4 | ALLEN KEYS - 2 MM TO 10 MM | SET | 1 |  | 0
5 | CRESCENT SCREW SPANNER | NO. | 1 |  | 0
6 | SCREW DRIVER | NO. | 1 |  | 0
7 | OFFSET SCREW DRIVER | NO. | 1 |  | 0
8 | INSULATED PLIER | NO. | 1 |  | 0
9 | TORCH LIGHT FOR 2 CELL | NO. | 1 |  | 0
10 | HAMMER 1 LB | NO. | 1 |  | 0
11 | OIL CAN | NO. | 1 |  | 0
12 | POCKET THERMOMETER - 0 TO 50 DEG. C) | NO. | 1 |  | 0
13 | INSULATION TAPE ROLL | NO. | 1 |  | 0
14 | STEEL FOOT RULE - 12" | NO. | 1 |  | 0
15 | FEELER GAUGE 9 BLADES | NO. | 1 |  | 0
16 | PIPE WRENCH | NO. | 1 |  | 0
17 | FLARE NUT (1/4") | NOS. | 6 |  | 0
18 | FLARING TOOL | NO. | 1 |  | 0
19 | TUBE CUTTER | NO. | 1 |  | 0
20 | GAS CHARGING PIPE | NO. | 1 |  | 0
21 | NITOGEN CHARGING ADAPTER | NO. | 1 |  | 0
22 | FREON PRESSURE GAUGE (2 1/2" DIA DIAL) ) 0 - 300 MM PSI | NO. | 1 |  | 0
23 | FREON PRESSURE GAUGE (2 1/2" DIA DIAL) ) 30 - 150 MM PSI | NO. | 1 |  | 0
24 | PSYCHRO METER | NO. | 1 |  | 0
25 | LOCK WITH KEY FOR TOOL BOX | NO. | 1 |  | 0
26 | RATCHET 1/4" | NO. | 1 |  | 0
27 | MS TOOL BOX | NO. | 1 |  | 0
0
NOTES
1 | Above is the minimum list. Any other Tools and tackles required for HVAC system w.r.t. Mechanical, Electrical and C&I part shall also be provided by the Bidder as per system / customer requirement without any commercial & Delivery implication to BHEL.
Particulars of bidder / authorised representative
| Name | Designation | Signature | Date | Company Seal

## APPENDIX-B
SUGGESTED PRICE FORMAT APPENDIX-B Commissioning spares
NAME OF PROJECT: |  | 3x27.5 MW KSEBL KUTTIYADI HEP
NAME OF PACKAGE: |  | HVAC SYSTEM
TECHNICAL SPECIFICATION No: |  | PE-TS-471-571-11000-A001
SL NO | DESCRIPTION | UNIT | Qty | Unit Ex-Works price | Total Ex-Works price
1 | Fan Belts (each type & size) | Set | 1 |  | 0
2 | Pressure Gauge (for each type and range) | No. | 1 |  | 0
3 | Temprature Gauge (for each type and range) | No. | 1 |  | 0
4 | Filter (each size) | Set | 1 |  | 0
5 | Compressor Oil | Lot | 1 |  | 0
6 | Refrigerant gas of each type in a non-returnable cylinders | Lot | 1 |  | 0
0
NOTES
1 | Above is the minimum list. Any other commissioning spare required for HVAC system w.r.t. Mechanical, Electrical and C&I part shall also be provided by the Bidder as per system / customer requirement without any commercial & Delivery implication to BHEL.
Particulars of bidder / authorised representative
| Name | Designation | Signature | Date | Company Seal

## ANNEXURE-II
SUGGESTED PRICE FORMAT ANNEXURE - II LIST OF MANDATORY SPARES
NAME OF BIDDER:
NAME OF PROJECT: |  | 3x27.5 MW KSEBL KUTTIYADI HEP
NAME OF PACKAGE: |  | HVAC SYSTEM
TECHNICAL SPECIFICATION No: |  | PE-TS-471-571-11000-A001
S. No. | Description | UNIT | Qty | Unit Ex-Works price | Total Ex-Works price
HVAC Spares
A | Ventilation system
1 | CENTRIFUGAL FAN
1(a) | V-belts | Set | 1 |  | 0
1(b) | Blower bearings | Set | 1 |  | 0
1(c) | Blower Motor bearings | Set | 1 |  | 0
1(d) | Gasket | Set | 1 |  | 0
1(e) | Motor | No. | 1 |  | 0
2 | Axial Fan Assembly (for each size)
2(a) | Fan bearing | Set | 1 |  | 0
2(b) | Fan Motor bearing | Set | 1 |  | 0
2(c) | Fan Motor | No. | 1 |  | 0
B | AC system
1 | Split AC (for each capacity)
1(a) | Filters | Set | 1 |  | 0
1(b) | Expansion valve | Set | 1 |  | 0
1(c) | Indoor Fan motor | No. | 1 |  | 0
1(d) | Outdoor Fan motor | No. | 1 |  | 0
0
Notes:
a) | Spares listed in Price Schedule is bare minimum requirement. In case any additional mandatory spares required for 5 years of successful operation of the system or those covered elsewhere in the tender specification apart from specified above, same shall be deemed to have been covered in bidder’s scope of supply.
b) | One set corresponds to actual quantity of components and devices as installed for one equipment/item/assembly.
c) | All Spares shall be supplied as per the requirement of the specifications. In case any spare indicated in the specification is “not applicable” for particular equipment, then suitable applicable alternate spare has been offered / shall be supplied by the bidder without any financial implication."
d) | Any item which is quoted as “not applicable” by the bidder in the above list and is found to be “applicable” at a later date shall be supplied by the bidder without any commercial and delivery implication.
e) | Any cell left blank in the unpriced schedule shall be treated as “Quoted” and is included in total price.
Particulars of bidder / authorised representative
| Name | Designation | Signature | Date | Company Seal

## Sheet1
ANNEXURE-II DEVIATION SHEET (COST OF WITHDRAWAL)
PROJECT:- | [5 empty] | 3x27.5 MW KSEBL KUTTIYADI HEP
PACKAGE :- | [5 empty] | HVAC SYSTEM
NAME OF THE BIDDER
Sl. No. | Volume/Section | Page No. | Clause No. | Technical Specification/Tender Document No | Complete Description of Deviation | Cost of withdrawal of deviation to be entered by the bidder in | Reference of price Schedule of which Cost of Withdrawal of Deviation is applicable | Nature of cost of withdrawal of deviation (Positive/Negative) | Reasons for quoting deviation
1 | TECHNICAL DEVIATION
1.01
1.02
1.03
1.04
1.05
1.06
1.07
1.08
2 | COMMERCIAL DEVIATION
2.01
2.02
2.03
2.04
2.05
2.06
2.07
2.08
NOTES: 1. Cost of Withdrawal of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only. 2. All the bidders have to list out all their technical & commercial deviations (if any) in details in the above format. 3.Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of. 4.Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawl of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable. In absence of same, such deviation(s) shall not be considered and offer shall be considered in total compliance to NIT. 5. Bidder shall furnish price copy of above format along with price bid. 6.The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser. 7.Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered. 8. For deviations w.r.t. Credit Period, Liquidated damages, Firm prices if a bidder chooses not to give any cost of withdrawl of deviation loading as per Annexure-VII of GCC, Rev-07 will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawl of deviation shall be taken as NIL. 9. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be accepted. 10. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format. 11. Cost of withdrawl is to be given seperately for each deviation. In no event bidder should club cost of withdrawl of more than one deviation else cost of withdrawl of such deviations which have been clubbed together shall be considered as NIL. 12. In case nature of cost of withdrawl (positive/negative) is not specified it shall be assumed as positive. 13. In case of descrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.