## Main Price Format
Main Price Schedule
NAME OF PROJECT: |  | TALCHER THERMAL POWER PROJECT STAGE-III (2X660 MW) |  |  | Fill yellow cells only
NAME OF PACKAGE: |  | CONDENSATE POLISHING UNIT |  |  | Vendor Name
TECHNICAL SPECIFICATION: |  | PE-TS-497-155-A001
Scope |  |  |  |  | Supply |  |  | Service |  | Taxes
S. No. | DESCRIPTION |  | UNIT | QTY | Total Ex-Works (excluding GST) (INR) | Freight in % | Total Freight | Unit Price (INR) | Total Price (INR) | GST type | GST rate in % | GST amount in Rs. | Total Price Including Freight & GST (INR)
1 | Total lumpsum firm price inclusive of all prevailing taxes, duties and other levies for SUPPLY PART , SERVICES PART & MANDATORY SPARES comprising of design(i.e. Preparation and submission of drawing/documents including "As Built" drawings and O&M Manuals),engineering, manufacture, fabrication, assembly, inspection, testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants & consumables, mandatory spares along with spares for erection, start-up and commissioning as required, forwarding, proper packing, shipment and delivery at site, unloading, handling, transportation & storage at site, in site transportation, assembly, AMC for Analysers & Profibus instruments, erection & commissioning, trial run at site, and carrying out performance guarantee tests at site, training of customer/ client O&M staff, operation and maintenance of the CPU after commissioning for a duration of 6 months & final handing over to end customer in flawless condition for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | [8 empty] | 0
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Total lump sum firm price inclusive of all prevailing Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for SUPPLY PART comprising of manufacture, fabrication, assembly, inspection, testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants & consumables, along with spares for erection, start-up and commissioning as required, forwarding, proper packing, shipment and delivery at site for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 |  |  | 0 | NA |  |  |  | 0 | 0
2.2 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for the SERVICES PART, comprising of unloading, handling, transportation & storage at site, in site transportation, assembly, AMC for Analysers & Profibus instruments, erection & commissioning, final painting at site, trial run at site and carrying out performance guarantee tests at site, training of customer/client O&M staff &final handing over to end customer in flawless condition for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | NA |  |  |  | 0 |  |  | 0 | 0
2.3 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for MANDATORY SPARES comprising of manufacture, fabrication, assembly, inspection/testing (as applicable) at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per tender technical specification above, amendment& agreements till placement of order (Price break up of mandatory spares is to be furnished as per Annexure- I). |  | Lot | 1 | 0 |  | 0 | NA |  |  |  | 0 | 0
2.4 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for ENGINEERING PART for project and package specified for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | NA |  |  |  | 0 |  |  | 0 | 0
2.5 | Total lumpsumfirmpriceinclusive of allprevailingtaxes,dutiesandotherlevies for providing OPERATION AND MAINTENANCE SERVICE including manpower,supervision,consumables,spares for maintenance etc. for CondensatePolishingUnit for a duration of 6 months after commissioning till finalhanding over to endcustomer in flawlesscondition for thescopedefined as per technicalspecification above, amendment& agreements till placement of order (Break-up as per Annexure-II). |  | Set | 1 | NA |  |  |  | 0 |  |  | 0 | 0
Note: 1) The Engineering charges as mentioned above in S.No. 2.4 shall not be more than 5% of Sl. No. 2.1 above & also as per GCC BOP. 2) Please note that the complete engineering of the package is in the scope of bidder as per the tender requirement. However, for the payment purpose bidder to note that 50% of price as per sl. no. 2.4 shall be made against basic engineering (i.e. Preparation , submission & approval of basic drawing/ documents as indicated in tender specification section-I,sub section-IA, Annexure-IV) and the remaining payment shall be made for the balance engineering part on pro-rata basis.

## Annexure I
Annexure-I (List Of Mandatory Spares)
NAME OF PROJECT: |  | TALCHER THERMAL POWER PROJECT STAGE-III (2X660 MW)
NAME OF PACKAGE: |  | CONDENSATE POLISHING UNIT
SI. NO. | PARTICULARS | UNIT | QTY | Total Ex-Works Price (INR)
1.00.00 | MECHANICAL
1.00.01 | Nozzles/Strainers for Service Vessel | Set | 1 set of required qty for one vessel
1.00.02 | Nozzles/Strainers for Regeneration area Vessels | Set | One fourth of required quantity of one vessel
1.00.02 | Bottom Consep for ARU/CRU | Number | 1 no.
1.01.00 | CPU/Regen Area Blowers
1.01.01 | Impeller with lock nuts and washers | Set | 1 set
1.01.02 | Air Filters | Number | 2 no.
1.01.03 | Bearings for drive & driven | Set | 1 set
1.01.04 | Gears | Set | 1 set
1.01.05 | V-belts | Set | 1 Set for each drive
1.02.00 | CPU/Regen Area Pumps including N-pit & Backwash
1.02.01 | Impeller for each type | Set | 1 set
1.02.02 | Wearing rings – Impeller for each type (if applicable) | Set | 1 set
1.02.03 | Wearing rings – Casing for each type (if applicable) | Set | 1 set
1.02.04 | Shaft for each type | Set | 1 set
1.02.05 | Shaft Sleeves for each type | Set | 1 set
1.02.06 | Stuffing box for each type | Set | 1 set
1.02.07 | Pump bearings for each type | Set | 1 set
1.02.08 | Gland , Packing & Gland Assembly/Mechanical seal assy. for each type (as applicable) | Set | 1 set
1.02.09 | Diaphragm Pump for acid/alkali injection & dosing | Set | 1 complete pump set
1.02.10 | Diaphragms for acid/alkali injection & dosing | Number | Minimum 2 no. each type, size & rating
1.02.11 | Strainers in pipelines | Number | Minimum 1 no. each type, size & rating
1.02.12 | Relief Valves in Air Blowers unit | Number | Minimum 1 no. each type, size & rating
1.03.00 | CPU/Regen Area Valves
1.03.01 | Diaphragm Valves of All types | Number | 1 no of each type, size & rating for total population < 10 nos 2 nos of each type, size & rating for total population ≥ 10 nos
1.03.02 | Diaphragms | Number | One fourth quantity of total population
1.03.03 | NRV (Flap type and Dual Plate Type) | Number | Minimum 1 no. each type, size & rating
1.03.04 | Ball Valves of all types | Number | Minimum 1 no. each type, size & rating
1.03.05 | Butterfly Valves of all types | Number | Minimum 1 no. each type, size & rating
1.03.06 | Any other type valve | Number | Minimum 1 no. each type, size & rating
1.04.00 | Agitators
1.04.01 | Agitator assy. With motor and gear box - Alkali Preparation Tank | Set | 1 complete set
1.04.02 | Agitator assy. With motor and gear box - Alkali Day Tank | Set | 1 complete set
1.04.03 | Agitator assy. With motor and gear box - Lime Tank near N-pit | Set | 1 complete set
1.04.04 | Any other agitator assembly with motor & gear box | Set | 1 complete set
2.00.00 | MEASURING INSTRUMENTS
2.01.00 | Electronic Transmitters
2.01.01 | Transmitters of all types and model. (for the measurement of Pressure, differential pressure, flow, level, etc.) including local indication ( if applicable) | Number | 10 % or 1 no. of each type and model whichever is more
2.02.00 | Temperature elements
2.02.01 | Temperature Transmitter | Number | 10 % or 1 no. of each type and model whichever is more
2.02.02 | RTD's* | Number | 1 no. of each type
2.02.03 | Thermo well** | Number | 1 no. of each type
* (With head assembly, terminal block and nipple)
** (to be divided into various insertion lengths in proportion to main population)
2.03.00 | Local Indicators (Non-Electrical type) - As applicable for the package as per the following items
2.03.01 | Temperature gauges | Number | 1 no. of each range and type
2.03.02 | Pressure gauges | Number | 1 no. of each range and type
2.03.03 | Differential Pressure Gauges, | Number | 1 no. of each range and type
2.03.04 | Level gauges | Number | 1 no. of each range and type
2.03.05 | Flow gauges excluding Rota meters | Number | 1 no. of each range and type
2.03.06 | All types of Rota meters | Number | 1 no. of each range and type
2.04.00 | Process Actuated Switch Devices -As applicable for this package, as per the following items
2.04.01 | Temperature switches | Number | 1 no. of each range and type
2.04.02 | Pressure switches | Number | 1 no. of each range and type
2.04.03 | Differential Pressure switches | Number | 1 no. of each range and type
2.04.04 | level switches | Number | 1 no. of each range and type
2.04.05 | Flow switches | Number | 1 no. of each range and type
2.05.00 | Solenoid Valves | Number | 10 % or 1 no. of each type and model whichever is more
2.06.00 | Limit Switches (for Pneumatic Valves and Manual valves) | Number | 2 no. of each type
2.07.00 | ANALYSERS
2.07.01 | Complete PH Analyzer (including Flow through type cell and electrode, Electronic transmitter unit, Pre-fabricated cable with connector as minimum) | Set | 1 Set of each type
2.07.02 | Complete Conductivity Analyzer (including Flow through type cell and Electrode, electronic Transmitter unit, Pre-fabricated cable with connector as minimum) | Set | 1 Set of each type
2.07.03 | Complete Silica Analyzer (including sensing unit, Electronic Transmitter unit, Pre-fabricated cable with connector Rubber Tubes & Capillary Tubes, solenoid valves, as minimum) along with sample sequencing unit | Set | 1 Set of each type
2.07.04 | Complete Turbidity Analyzer (including sensing unit, Electronic Transmitter unit, Pre-fabricated cable with connector as minimum) | Set | 1 Set of each type
Note - Reagents for analysers of SWAS and DM/CPU systems should be supplied at the time of commissioning of the analysers
2.08.00 | CONTROL VALVES, ACTUATORS AND ACCESSORIES
2.08.01 | Pneumatic and electro-hydraulic actuator assembly | Number | 1 no. of each type, model and rating.
2.08.02 | Diaphragms, O’ rings, seals etc. of all types make etc. | Number | 5 Nos.
2.08.03 | Solenoid valves (if applicable) | Number | 2 nos.
2.08.04 | Positioner units /smart positioners (complete unit) & accessories (link assembly) | Number | 1 no.
2.08.05 | Pneumatic air-filter/Regulator of each type, make rating etc. | Number | 2 Nos.
2.08.06 | Air lock relays | Number | 2 nos. of each type
2.09.00 | PNEUMATICALLY OPERATED ISOLATION / BLOCK VALVES, ACTUATORS & ACCESSORIES (For all ON/OFF valves supplied under this package even if one or more of these items are also specified elsewhere under mandatory spares)
2.09.01 | Pneumatic actuator assembly. | Number | 1 no. of each type, model and rating.
2.09.02 | Diaphragms, O’ rings, seals etc. of all types make etc. | Number | 5 Nos.
2.09.03 | Limit switches (complete unit)& accessories (link assembly) | Number | 2 nos.
2.09.04 | Pneumatic air-filter/Regulator of each type, make rating etc. | Number | 2 nos.
3.00.00 | Electrical Motor
3.01.00 | DM Water (Regeneration) pump motor | Number | 1 no.
3.02.00 | DM Water (Resin Transfer) pump motor | Number | 1 no.
3.03.00 | Alkali Transfer cum Recirculation Pump motor. | Number | 1 no.
3.04.00 | Agitator Assembly with Motor & Gear Box – Alkali Preparation Tank | Set | 1 Set
3.05.00 | Agitator Assembly with Motor & Gear Box – Alkali Day Tank | Set | 1 Set
3.06.00 | Acid dosing pump motor | Number | 1 no.
3.07.00 | Alkali dosing pump motor | Number | 1 no.
Total |  |  |  | 0
Note: 1) Mandatory spares listed above is bare minimum requirement. In case any additional mandatory spares requirement is covered elsewhere in the tender specification apart from specified above, same shall be deemed to have been covered in bidders scope of supply. 2) Unless stated otherwise, a "set" or "Lot" means items required for complete replacement in one equipment of each type / size/ range. 3) In case the quantity of mandatory spares so calculated happens to be a fraction, the same shall be rounded off to next higher whole number. For example, 10% of 11 is equal to 1.1, then it should be rounded as 2 instead of 1. 4) In case of Bought Out items, itemised spares list may be vendor specific and may differ from the list of spares mentioned above. In such cases, The quoted price shall be considered for applicable items only without any change in the contract price.

## Annexure II
ANNEXURE-II (OPERATION AND MAINTENANCE SERVICES FOR CPU)
NAME OF PROJECT: |  | TALCHER THERMAL POWER PROJECT STAGE-III (2X660 MW)
NAME OF PACKAGE: |  | CONDENSATE POLISHING UNIT
TECHNICAL SPECIFICATION: |  | PE-TS-497-155-A001
S. N. | DESCRIPTION | UNIT | Quantity | Unit Ex-Works | Total Ex-works
BREAK-UP OF SERVICES PRICES GIVEN IN 2.5 OF MAIN SHEET.
1 | Condensate Polishing Unit for Unit #1 & 2 along with CPU Regeneration System | Months | 6 |  | 0
Notes:
1. The operation and maintenance for the CPU specified above shall be for 6 months from the actual date for start of O & M services communicated by BHEL site. Duration of the service may vary based on the site requirement and the payment shall be accordingly done on pro-rata basis.
2. For detail scope of services ensvisaged for Operation and Maintenacne service, refer Technical Specification.