## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: AGM/WCC, BHEL SBD, BENGALURU
Name of Work: Restoration and commissioning of IR-3 at GACL 15MW Solar PV Power Plant at Charanka, Gujarat
Contract No: WCC-ASR-202324-005
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (To be read in conjuction with Technical Specification) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [7 empty] | Minimum Manpower | Type of Manpower | [21 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | General O&M | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Supply of Maintenance Free Valve Regulated Lead Acid (MF-VRLA) of 110V-200 AH As per enclosed GTP & DRAWINGS FOR BATTERY & BATTERY CHARGER |  | 1 | set | 313950 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 1 | Supervisor | [21 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Supply of 5 kVA UPS As per enclosed GTP & Drawings of UPS |  | 1 | set | 76245 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 25 | Unskilled | [21 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Supply of 65 AH 12V,20 Nos. Battery bank Tubular Lead Acid type with mounting rack As per enclosed GTP & Drawings of UPS |  | 1 | set | 203320 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | Supply of UPSDB Panel As per enclosed GTP & DRAWINGS FOR ACDB Panel |  | 1 | set | 27657.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | NA | NA | [21 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.05 | Supply of IRDB Panel As per enclosed GTP & DRAWINGS FOR ACDB Panel |  | 1 | set | 107640 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 21 | 6 x 3 = 18 (SSW) + 1 x 3 = 3 Supervisor (SW) | [21 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.06 | Supply of Fire alarm system for InverterRoom (IR-3) As per enclosed Fire alarm system Layout & details |  | 1 | set | 421590 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 21 | 6 x 3 = 18 (SSW) + 1 x 3 = 3 Supervisor (SW) | [21 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | Supply of CCTV System for InverterRoom (IR-3) As per enclosed CCTV layout & Details |  | 1 | set | 149500 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 21 | 6 x 3 = 18 (SSW) + 1 x 3 = 3 Supervisor (SW) | [21 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | Supply and installation of all electrical appliances / utilities of the inverter room such as lights / light fittings, ceiling fans, exhaust fans, ventilators, switchboards, MCB boxes, wiring/routing of cables for these, termination of electrical cables at both ends (appliances and ACDB panel), electrical conduits/pipes/casing etc. List of electrical items for one PEB inverter room as per enclosed Inverter room lighting layout 1) Light distribution boards: Quantity as required to meet the above requirements. 2) Electrical cables Copper conductor PVC FRLS shall be of appropriate size/rating. 3) Electrical conduits/casings etc shall be of Medium Duty PVC conduit. 4) All necessary fixtures, fittings and accessories for mounting the appliances (lights, fans etc) shall be provided by vendor. |  | 1 | set | 224250 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 21 | 6 x 3 = 18 (SSW) + 1 x 3 = 3 Supervisor (SW) | [21 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | Supply of required Cables for replacement of all the damaged cables (ALL types,HT,LT,OFC, RS285, Aux, control and communication cables etc.) is in vendor scope. Part length or complete run of cable may be required or replaced inside IR-3 as per condition of cable after site visit by vendor and to be included in offer. Details of cable ,rate ,length etc. to be entered in Cable requirement sheet and to be included in offer. |  | 1 | set | 3249449.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 21 | 6 x 3 = 18 (SSW) + 1 x 3 = 3 Supervisor (SW) | [21 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | I/C of Supplied equipment and Cabling for commissioning/Restoration of IR-3 1. I&C: Erection of PCUs in the IR-3 including grouting of panels, laying/fixing of cable trays, routing/terminations of cables at the electrical panels and up to LV side of transformers in the switchyard. (PCU will be supplied by BHEL) 2. I&C of HT Panel (HT Panel will be supplied by BHEL) 3. I&C of SCADA Panel (SCADA Panel will be supplied by BHEL) 4. I&C of FCBC and Battery Bank 5. I&C of UPS, Battery Bank and UPSDB Panel 6. I&C of IRDB Panel 7. I&C of Fire alarm system 8. I&C of CCTV System 9. Commissioning of Inverter duty Transormers(2 nos.) 10. Removal of damaged portion of all the damaged cables (ALL types HT, LT, DC, OFC, RS285, Aux, control and communication cables etc.) and replacement/relaying/termination/Jointing of with new cable including supply (of various type, size, rating etc.) of termination & jointing kits, appropriate size glands, lugs,sleeves ,cable tags,ties, HDPE pipe,cable trays etc. As per clause 5.44 Cable installation Methodology of PS-439-1139 enclosed AC, DC, Communication cable schedule (only required cabling for IR-3 commissioning /Restoration) Note: a. This scope covers all in the inter connecting equipment cabling for restoration and linking. b. Supply (of various type, size, rating etc.) of termination & jointing kits, appropriate size glands, lugs, sleeves,cable tags ,HDPE pipe,cable trays etc. required for cabling will be in Vendor’s scope. |  | 1 | AU | 2691000 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 21 | 6 x 3 = 18 (SSW) + 1 x 3 = 3 Supervisor (SW) | [21 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | Supply of Electrical insulation mat (1) Vendor shall supply electrical insulating mats as follows: (a) Reputed make as shall be approved by BHEL/ GACL (b) As per IS: 15652:2006 (c) Class B (d) Thickness 2.5 mm minimum (e) Size = 2m x 1m minimum, exact size shall be as approved by BHEL/GACL (f) Colour: to be approved by BHEL/GACL (g) Max use voltage = 33 kV (h) Marking of IS standard on the mat (2) Test certificate shall be provided by vendor (3) Vendor shall lay the mats in front of all the indoor electrical panels viz. PCUs, VCB panels, IRDB panels, SCADA panels, UPS panels, FCBC battery charger, battery banks etc. As per Clause 5.39 of PS-439-1139(BoS Technical Specification) |  | 1 | set | 74750 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 21 | 6 x 3 = 18 (SSW) + 1 x 3 = 3 Supervisor (SW) | [21 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | Repair of PEB(Pre Engineering Building) Inverter Room including supply of required strutural items,cladding and roofing materials including painiting,Display boards, sign boards. Vendors may ensure exact material required for repair of PEB of IR-3 as per condition of cable after site visit by vendor and to be included in offer. |  | 1 | AU | 2242500 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 21 | 6 x 3 = 18 (SSW) + 1 x 3 = 3 Supervisor (SW) | [21 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | Dismantling of all damaged equipments and storage at designated location within the plant. Note: Salvage material must not be disposed off |  | 1 | AU | 179400 |  |  | Excess(+) | 1 | Full Conversion | INR | [17 empty] | 21 | 6 x 3 = 18 (SSW) + 1 x 3 = 3 Supervisor (SW) | [21 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information