# PRE-BID QUERIES FORMAT

| Sl. No. | Page No. | Clause No. | Bid Specification | Bidder's Query/Clarification | Purchaser's Reply |
| --- | --- | --- | --- | --- | --- |
| 1 |  | PID | Annexure-1A,1B & 1C | Tap-Offs of 3” is shown for DPG & DPT. Please review the same. | This is a typographical error. Please consider them as ½” from inlet & outlet piping instead of 3”. |
| 2 |  | PID | Annexure-1A,1B & 1C | Some instruments are marked with**. | This is a typographical error. Please note that all the instruments, piping etc. within the skid boundary is in bidder’s scope of supply. |
| 3 |  | PID | Annexure-1B Supply of 1 No. of 2X100% Natural Gas Filter Separator Skid For Gas Turbine #4 &5 -Aneexure-1B | Typo Error | Bleeder connection was missed in attached annexure-1B of tender specification. Bidder to consider bleed connection (3/4” tap-off with vale & blind flange for 6816 A/B & 6819 A/B as indicated below. |