## MAIN SCH-1
INDIAN BIDDER
SCHEDULE-1
4 X 270 MW BHADRADRI TPS, MANUGURU- FUEL OIL UNLOADING & STORAGE SYSTEM
SUGGESTIVE PRICE FORMAT (MAIN PRICE )
S.No | Details of Works or Equipment/System | Total ex-works Price | ED | CST /VAT | FREIGHT | E&C Charges | Service tax/ Any other taxes /duties | TOTAL (For site price)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 = 3 + 4 + 5 + 6 + 7 + 8
1 | Lumpsum prices
1.1.0 | Lumpsum firm price for SUPPLY comprising design, engineering, manufacturing, inspection and testing at vendor’s / sub-vendor’s works, painting, forwarding, proper packing, shipment and delivery at project site, including freight in line with drawings / documents / test procedures to be approved by Customer / consultant, inclusive of all prevailing taxes, duties and other levies for Fuel Oil Unloading & Storage System with all accessories including electricals, control & instrumentation items, start up & commissioning spares, mandatory spares as required for the total scope defined as per technical specification PE-TS-411-166-A001. |  |  |  |  | NA
1.2.0 | Lumpsum firm price for Erection & commissioning comprising unloading, storage, handling and transportation at site, erection and commissioning, minor civil work as required, trial run at site, functional/demonstartion Test at site and handing over to the customer in line with drawings / documents / test procedures to be approved by Customer / consultant, inclusive of all prevailing taxes, duties and other levies for Fuel Oil Unloading & Storage System as required for the total scope defined as per technical specification PE-TS-411-166-A001. | NA
1.3.0 | Total ( 1.1.0 +1.2.0)
Notes:
a) | Bidder to note that total ( for site price) indicated above at 1.3.0 shall be considered for evaluation (EXCEPT SERVICE TAX ON E&C) and hence should be complete in all respect for the full scope defined under tehnical specification.
b) | Any item not included in the price quoted above and shown separately will not be taken cognizance of and the offer shall be liable for rejection.
c) | Total (FOR site supply price) indicated at S.N.1.1.0 above should match with the total of item wise break-up of S.N.1.4 of SCHEDULE-2.
d) | Bidder shall furnish the price of all items as indicated in the price SCHEDULE 1,2 & 3. Bidder's offer shall liable to be rejected in case bidder does not furnish the same. For SCHEDULE-2, pls refer next page.
e) | Bidders are requested to obtain clarifications in case of any doubt before filling the price schedule in the prebid clarification stage. It is requested not to make any assumption.

## SCH-2
INDIAN BIDDER
SCHEDULE-2
4 X 270 MW BHADRADRI TPS, MANUGURU- FUEL OIL UNLOADING & STORAGE SYSTEM
SUGGESTIVE PRICE FORMAT (SUPPLY BREA-UP )
S.No | Details of Works or Equipment/System | Total ex-works Price | ED | CST /VAT | FREIGHT | TOTAL (For site price) | Items price %age w.r.t total supply price
1 | 2 | 3 | 4 | 5 | 6 | 7 = 3 + 4 + 5 + 6 | 8
1.4 | Break - up of Total ( for site supply price) given at S.N 1.1.0 of SCHEDULE-1
1.4.1 | Lump sum price for steel plates for HFO Tanks, LDO tanks, Condensate flash tank and drain oil tank | [5 empty] | 23 - 27
1.4.2 | Lump sum price for structural steels including flanges, hand rails, gratings etc for FOHS. | [5 empty] | 2 - 4
1.4.3 | Lump sum price for HFO & LDO flexible metalic/ neoprene unloading hoses with all accessories | [5 empty] | less than 1
1.4.4 | Lump sum price for Steam & condensate hoses with all accessories | [5 empty] | 1 - 2
1.4.5 | Lump sum price for HFO & LDO Pipe & Fittings (excluding insulation & cladding) | [5 empty] | 16 - 20
1.4.6 | Lump sum price for Steam & Condensate Pipe & Fittings ( excluding inulation & cladding) | [5 empty] | 5 - 7
1.4.7 | Lump sum price for Air, oily water & others types of pipes & fittings Fittings | [5 empty] | less than 1
1.4.8 | Lump sum price for Valves ( Ball / Plug / Gate / check / Globe / others) in HFO & LDO line | [5 empty] | 10 - 13
1.4.9 | Lump sum price for Valves ( Gate / check / Globe / others) in steam & condensate line | [5 empty] | 1 - 3
1.4.10 | Lump sum price for Valves in Water and air line | [5 empty] | 0.5 - 1
1.4.12 | Lump sum price for Steam Trap | [5 empty] | 3 - 5
1.4.13 | Lump sum price for HFO unloading Pumps with motor ( 5 nos, cap. 150 cum/hr) | [5 empty] | 6 - 8
1.4.15 | Lump sum price for HFO unloading Pumps Strainers | [5 empty] | 1 - 1.5
1.4.16 | Lump sum price for LDO unloading Pumpswith motor (3 nos, cap. 50 cum/hr) | [5 empty] | 0.5 - 1
1.4.18 | Lump sum price for LDO unloading Pumps Strainers | [5 empty] | 0.5 - 1
1.4.20 | Lump sum price for Suction Heater in HFO tanks | [5 empty] | 1 - 3
1.4.22 | Lump sum price for Pressure Reducing Station complete in all respect | [5 empty] | 3 - 5
1.4.23 | Lump sum price for Drain Oil pump motor set ( 2 nos) in all respect | [5 empty] | 0.5 - 1
1.4.24 | Lump sum price for Sump pump motor set ( 2 nos) in pump house and watre pit of OWS ( 2 nos) in all respect | [5 empty] | 0.5 - 1
1.4.26 | Lump sum price for recovery Oil pump motor set ( 2 nos) in oil pit of OWS , complete in all respect | [5 empty] | 0.5 - 1
1.4.27 | Lump sum price for Control valves in steam line ( for floor coil heater in HFO tanks) | [5 empty] | 0.5 - 1
1.4.28 | Lump sum price for Control valve in steam line ( for suction heater in HFO tanks ) | [5 empty] | 0.5 - 1
1.4.29 | Lump sum price for Control valve in steam line ( for drain oil tank ) | [5 empty] | 0.5 - 1
1.4.30 | Lump sum price for Instruments ( Gauges, Transmitters, switches etc) | [5 empty] | 1 - 3
1.4.31 | Lump sum price for Insulation & Cladding | [5 empty] | 0.5 - 1
1.4.32 | Lump sum price for Equipment and accessories of OWS including pipings,bends,heating arrangement,skimmer pipe,butterfly valve,rung ladder etc. | [5 empty] | less than 1
1.4.33 | Total price for flowmeters ( for HFO & LDO) | [5 empty] | 4 - 6
1.4.34 | Total price for local control panel ( housed in HFO U/L P/H) | [5 empty] | less than 1
1.4.35 | Lump sum price for any other items not included above,but required to complete Fuel oil unloading & storage package as per system requirement. | [5 empty] | less than 1
1.4.36 | Total price for special tools & tackles for maintenance, if any | [5 empty] | less than 1
1.4.37 | Total price for startup and commissioning spares | [5 empty] | less than 1
1.4.38 | Total price for Mandatory spares as per SCHEDULE-3 | [5 empty] | 1 - 1.5
1.4.39 | Total of 1.4 (sum of 1.4.1 to 1.4.38)
Notes:
a) | Total ( for site supply price) of mandatory spares indicated at S.N.1.4.38 above shall match with the total of item wise break-up of S.N.1.5 of SCHEDULE-3.
c) | Items price %age w.r.t total FOR SITE supply price is indicated under last column of each row from 1.4.1 to 1.4.38. Bidder to strictly fill the prices of each item under column no.8 as per indicated percentage only.

## SCH-3
INDIAN BIDDER
SCHEDULE-3
4 X 270 MW BHADRADRI TPS, MANUGURU- FUEL OIL UNLOADING & STORAGE SYSTEM
SUGGESTIVE PRICE FORMAT ( MANDATORY SPARES )
S.No | Details of Works or Equipment/System | Unit Ex-works price | Unit | Qty (Nos) | Total ex-works Price | ED | CST /VAT | FREIGHT | TOTAL (For site price)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10=6+7+8+9
1.5 | Break - up of Total ( for site supply price) given at S.N 1.4.36 of SCHEDULE-2
1.5.1 | HFO unloading pumps
1.5.1.1 | HFO suction filter gasket |  | set* | 3
1.5.1.2 | Rotor assembly complete ( cartridge) |  | nos | 2
1.5.1.3 | Bearings |  | set | 2
1.5.1.4 | Coupling inserts |  | nos | 2
1.5.1.5 | Releif valve spring |  | nos | 2
1.5.1.6 | Electric Motor |  | nos | 1
1.5.2 | LDO unloading pumps
1.5.2.1 | LDO suction filter gasket |  | sets | 3
1.5.2.2 | Rotor assembly complete ( cartridge) |  | nos | 2
1.5.2.3 | Bearings |  | sets | 2
1.5.2.4 | Coupling inserts |  | nos | 2
1.5.2.5 | Releif valve spring |  | nos | 2
1.5.2.6 | Electric Motor |  | nos | 1
1.6 | LP VALVES
1.6.1 | LP Piping valves & traps - Complete assembly |  | %/Nos | 5% or min. 1 no. (whichever is more) for each size, type & rating for total population
1.6.2 | Steam traps - Complete assembly |  | %/Nos | 5% or min. 1 no. (whichever is more) for each size, type & rating for total population
1.7 | MISC. PUMP
1.7.1 | Complete Impeller Assembly |  | SET | 1Set for each application and ratings of Pumps
1.7.2 | Key for impeller |  | NOS | 1No. for each application and ratings of Pumps
1.7.3 | Pump shaft |  | NOS | 1No. for each application and ratings of Pumps
1.7.4 | Bearings |  | SET | 1Set (comprising of Drive & Non-drive end ) for each application and ratings of Pumps
1.7.5 | Wear Ring for Shaft & Impeller |  | SET | 1Set for each application and ratings of Pumps
1.7.6 | Mechanical seal/Gland packing as applicable |  | SET | 1Set for each application and ratings of Pumps
1.7.7 | Coupling |  | NOS | 1No. for each application and ratings of Pumps
1.8 | Mandatory Spares for Control Panels / Desks
1.8.1 | Crimping Pins |  | Roll | 2
1.8.2 | Bulbs for indicating lights (Three times the one hundred percent spare replacement) |  | Lot | 2
1.8.3 | control circuit fuses of each current rating (Three times, the one hundred percent spare replacement) |  | Lot | 2
1.8.4 | Push buttons, electrical control switches and Illuminated push buttons etc |  | Lot (20%) | 2
1.9.0 | Mandatory Spares for Temperature Elements and Thermowells
1.9.1 | Thermocouple / RTD elements (10% of each type and length of elements , or a minimum of one number, whichever is more.) |  | Lot | 2
1.9.2 | Thermowells for each type of temperature sensors (10% or a minimum of one for each type, whichever is more.) |  | Lot | 2
1.10.0 | Mandatory Spares for Electronic Transmitters (for pressure, DP, Flow, level, Temperature) and Electrical Transducers.
1.10.1 | Transmitters and Electrical Transducers (10% of total number of offered for each model and type for the project or a minimum of one number, whichever is more) |  | Lot | 2
1.11 | Mandatory spares for local gauges/switch (for Pressure, DP, Temperature, Flow, level , etc.)
1.11.1 | Local gauges/ Switch (for Pressure, DP, Temperature, Flow, level , etc.) (10% of total number of instruments offered for each model and type for the project or a minimum of one number, whichever is more.) |  | Lot | 2
1.12.0 | CONTROL VALVES
1.12.1 | DIAPHRAGM |  | Nos | 2 NOS. OF EACH TYPE OF ACTUATOR
1.12.2 | GLAND PACKING |  | Set | 1 SET FOR EACH TYPE OF VALVE
1.12.3 | TRIM |  | Set | 1 SET FOR EACH TYPE OF VALVE
1.12.4 | GASKET |  | Set | 2 SET FOR EACH TYPE OF VALVE
1.12.5 | POSITION TRANSMITTER COMPLETE SET |  | % | 10 % of total quantity used in the system for each type & model
1.12.6 | complete set of solenoid valve for on/off valve |  | Nos | 5 nos.for each type & ratings
1.12.7 | Position limit switch |  | Nos | 5 nos.for each type & ratings
Total
Notes:
a) | * - One (1) set means total numbers as required for one complete replacement for one equipment.

## MAIN SCH-1 (FB)
FOREIGN BIDDER
SCHEDULE-1
4 X 270 MW BHADRADRI TPS, MANUGURU- FUEL OIL UNLOADING & STORAGE SYSTEM
SUGGESTIVE PRICE FORMAT (MAIN PRICE )
|  | IMPORTED ITEMS ( Supply not from Indian Territory) | [5 empty] | INDIGENEOUS ITEMS (Supply from Indian Territory) |  |  |  |  | TOTAL | E&C |  |  | GRAND TOTAL
S.No | Details of Works or Equipment/System | TOTAL F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | Ocean Freight (Currency) | Ocean / Marine Insurance | Custom Duty after availing CENVAT benefit if applicable (INR) | Inland FREIGHT CHARGES (INCLUDING SERVICE TAX) (INR) | F.O.R. site Imported Items supply price (Currency + INR) | TOTAL EX- WORKS PRICE (INR) | ED including cess @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR) | Total FOR Site IMPORTED + INDIGENOUS SUPPLY [(Currency+INR)+INR] | E & C CHARGES (Currency) | SERVICE TAX @ ________% (Currency) | E & C CHARGES INCLUDING SERVICE TAX (Currency) | Total Lumpsum price for supply [IMPORTED + INDIGINEOUS SUPPLY] and E&C with Service tax. {[(Currency+INR)+INR]+Currency}
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8=3+4+6+7 | 9 | 10 | 11 | 12 | 13=9+10+11+12 | 14=8+13 | 15 | 16 | 17=15+16 | 18=14+17
1 | Lumpsum prices
1.1.0 | Lumpsum firm price for SUPPLY comprising design, engineering, manufacturing, inspection and testing at vendor’s / sub-vendor’s works, painting, forwarding, proper packing, shipment and delivery at project site, including freight in line with drawings / documents / test procedures to be approved by Customer / consultant, inclusive of all prevailing taxes, duties and other levies for Fuel Oil Unloading & Storage System with all accessories including electricals, control & instrumentation items, start up & commissioning spares, mandatory spares as required for the total scope defined as per technical specification PE-TS-411-166-A001. |  |  | BY BHEL | [9 empty] | NA
1.2.0 | Lumpsum firm price for Erection & commissioning comprising unloading, storage, handling and transportation at site, erection and commissioning, minor civil work as required, trial run at site, functional/demonstartion Test at site and handing over to the customer in line with drawings / documents / test procedures to be approved by Customer / consultant, inclusive of all prevailing taxes, duties and other levies for Fuel Oil Unloading & Storage System as required for the total scope defined as per technical specification PE-TS-411-166-A001. | NA
1.3.0 | Total ( 1.1.0 +1.2.0)
Notes:
a) | Bidder to note that total ( for site price) indicated above at 1.3.0 shall be considered for evaluation (EXCEPT SERVICE TAX ON E&C) and hence should be complete in all respect for the full scope defined under tehnical specification.
b) | Any item not included in the price quoted above and shown separately will not be taken cognizance of and the offer shall be liable for rejection.
c) | Total (FOR site supply price) indicated at S.N.1.1.0 above should match with the total of item wise break-up of S.N.1.4 of SCHEDULE-2.
d) | Bidder shall furnish the price of all items as indicated in the price SCHEDULE 1,2 & 3. Bidder's offer shall liable to be rejected in case bidder does not furnish the same. For SCHEDULE-2, pls refer next page.
e) | Bidders are requested to obtain clarifications in case of any doubt before filling the price schedule in the prebid clarification stage. It is requested not to make any assumption.

## SCH-2 (FB)
FOREIGN BIDDER
SCHEDULE-2
4 X 270 MW BHADRADRI TPS, MANUGURU- FUEL OIL UNLOADING & STORAGE SYSTEM
SUGGESTIVE PRICE FORMAT (SUPPLY BREA-UP )
|  | IMPORTED ITEMS ( Supply not from Indian Territory) | [5 empty] | INDIGENEOUS ITEMS (Supply from Indian Territory) |  |  |  |  | TOTAL
S.No | Details of Works or Equipment/System | TOTAL F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | Ocean Freight (Currency) | Ocean / Marine Insurance | Custom Duty after availing CENVAT benefit if applicable (INR) | Inland FREIGHT CHARGES (INCLUDING SERVICE TAX) (INR) | F.O.R. site Imported Items supply price (Currency + INR) | TOTAL EX- WORKS PRICE (INR) | ED including cess @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR) | Total FOR Site IMPORTED + INDIGENOUS ITEMS [(Currency+INR)+INR] | Items price %age w.r.t total supply price
1 | 2 | 4 | 5 | 6 | 7 | 8 | 9=4+5+7+8 | 10 | 11 | 12 | 13 | 14=10+11+12+13 | 15=9+14 | 16
1.4 | Break - up of Total ( for site supply price) given at S.N 1.1.0 of SCHEDULE-1
1.4.1 | Lump sum price for steel plates for HFO Tanks, LDO tanks, Condensate flash tank and drain oil tank |  |  | BY BHEL | [9 empty] | 23 - 27
1.4.2 | Lump sum price for structural steels including flanges, hand rails, gratings etc for FOHS. | [12 empty] | 2 - 4
1.4.3 | Lump sum price for HFO & LDO flexible metalic/ neoprene unloading hoses with all accessories | [12 empty] | less than 1
1.4.4 | Lump sum price for Steam & condensate hoses with all accessories | [12 empty] | 1 - 2
1.4.5 | Lump sum price for HFO & LDO Pipe & Fittings (excluding insulation & cladding) | [12 empty] | 16 - 20
1.4.6 | Lump sum price for Steam & Condensate Pipe & Fittings ( excluding inulation & cladding) | [12 empty] | 5 - 7
1.4.7 | Lump sum price for Air, oily water & others types of pipes & fittings Fittings | [12 empty] | less than 1
1.4.8 | Lump sum price for Valves ( Ball / Plug / Gate / check / Globe / others) in HFO & LDO line | [12 empty] | 10 - 13
1.4.9 | Lump sum price for Valves ( Gate / check / Globe / others) in steam & condensate line | [12 empty] | 1 - 3
1.4.10 | Lump sum price for Valves in Water and air line | [12 empty] | 0.5 - 1
1.4.12 | Lump sum price for Steam Trap | [12 empty] | 3 - 5
1.4.13 | Lump sum price for HFO unloading Pumps with motor ( 5 nos, cap. 150 cum/hr) | [12 empty] | 6 - 8
1.4.15 | Lump sum price for HFO unloading Pumps Strainers | [12 empty] | 1 - 1.5
1.4.16 | Lump sum price for LDO unloading Pumpswith motor (3 nos, cap. 50 cum/hr) | [12 empty] | 0.5 - 1
1.4.18 | Lump sum price for LDO unloading Pumps Strainers | [12 empty] | 0.5 - 1
1.4.20 | Lump sum price for Suction Heater in HFO tanks | [12 empty] | 1 - 3
1.4.22 | Lump sum price for Pressure Reducing Station complete in all respect | [12 empty] | 3 - 5
1.4.23 | Lump sum price for Drain Oil pump motor set ( 2 nos) in all respect | [12 empty] | 0.5 - 1
1.4.24 | Lump sum price for Sump pump motor set ( 2 nos) in pump house and watre pit of OWS ( 2 nos) in all respect | [12 empty] | 0.5 - 1
1.4.26 | Lump sum price for recovery Oil pump motor set ( 2 nos) in oil pit of OWS , complete in all respect | [12 empty] | 0.5 - 1
1.4.27 | Lump sum price for Control valves in steam line ( for floor coil heater in HFO tanks) | [12 empty] | 0.5 - 1
1.4.28 | Lump sum price for Control valve in steam line ( for suction heater in HFO tanks ) | [12 empty] | 0.5 - 1
1.4.29 | Lump sum price for Control valve in steam line ( for drain oil tank ) | [12 empty] | 0.5 - 1
1.4.30 | Lump sum price for Instruments ( Gauges, Transmitters, switches etc) | [12 empty] | 1 - 3
1.4.31 | Lump sum price for Insulation & Cladding | [12 empty] | 0.5 - 1
1.4.32 | Lump sum price for Equipment and accessories of OWS including pipings,bends,heating arrangement,skimmer pipe,butterfly valve,rung ladder etc. | [12 empty] | less than 1
1.4.33 | Total price for flowmeters ( for HFO & LDO) | [12 empty] | 4 - 6
1.4.34 | Total price for local control panel ( housed in HFO U/L P/H) | [12 empty] | less than 1
1.4.35 | Lump sum price for any other items not included above,but required to complete Fuel oil unloading & storage package as per system requirement. | [12 empty] | less than 1
1.4.36 | Total price for special tools & tackles for maintenance, if any | [12 empty] | less than 1
1.4.37 | Total price for startup and commissioning spares | [12 empty] | less than 1
1.4.38 | Total price for Mandatory spares as per SCHEDULE-3 | [12 empty] | 1 - 1.5
1.4.39 | Total of 1.4 (sum of 1.4.1 to 1.4.38)
Notes:
a) | Total ( for site supply price) of mandatory spares indicated at S.N.1.4.38 above shall match with the total of item wise break-up of S.N.1.5 of SCHEDULE-3.
c) | Items price %age w.r.t total FOR SITE supply price is indicated under last column of each row from 1.4.1 to 1.4.38. Bidder to strictly fill the prices of each item under column no.8 as per indicated percentage only.

## SCH-3 (FB)
FOREIGN BIDDER
SCHEDULE-3
4 X 270 MW BHADRADRI TPS, MANUGURU- FUEL OIL UNLOADING & STORAGE SYSTEM
SUGGESTIVE PRICE FORMAT ( MANDATORY SPARES )
|  |  |  | IMPORTED ITEMS ( Supply not from Indian Territory) | [6 empty] | INDIGENEOUS ITEMS (Supply from Indian Territory) | [5 empty] | TOTAL SUPPLY
S.No | Details of Works or Equipment/System | Unit | Qty (Nos) | UNIT F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | TOTAL F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | Ocean Freight (Currency) | Ocean / Marine Insurance | Custom Duty after availing CENVAT benefit if applicable (INR) | Inland FREIGHT CHARGES (INCLUDING SERVICE TAX) (INR) | F.O.R. site Imported Items supply price (Currency + INR) | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED including cess @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR) | Total FOR Site IMPORTED + INDIGENOUS SUPPLY [(Currency+INR)+INR]
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11=6+7+9+10 | 12 | 13 | 14 | 15 | 16 | 17=13+14+15+16 | 18=11+17
1.5 | Break - up of Total ( for site supply price) given at S.N 1.4.36 of SCHEDULE-2
1.5.1 | HFO unloading pumps | [5 empty] | BY BHEL
1.5.1.1 | HFO suction filter gasket | set* | 3
1.5.1.2 | Rotor assembly complete ( cartridge) | nos | 2
1.5.1.3 | Bearings | set | 2
1.5.1.4 | Coupling inserts | nos | 2
1.5.1.5 | Releif valve spring | nos | 2
1.5.1.6 | Electric Motor | nos | 1
1.5.2 | LDO unloading pumps
1.5.2.1 | LDO suction filter gasket | sets | 3
1.5.2.2 | Rotor assembly complete ( cartridge) | nos | 2
1.5.2.3 | Bearings | sets | 2
1.5.2.4 | Coupling inserts | nos | 2
1.5.2.5 | Releif valve spring | nos | 2
1.5.2.6 | Electric Motor | nos | 1
1.6 | LP VALVES
1.6.1 | LP Piping valves & traps - Complete assembly | %/Nos | 5% or min. 1 no. (whichever is more) for each size, type & rating for total population
1.6.2 | Steam traps - Complete assembly | %/Nos | 5% or min. 1 no. (whichever is more) for each size, type & rating for total population
1.7 | MISC. PUMP
1.7.1 | Complete Impeller Assembly | SET | 1Set for each application and ratings of Pumps
1.7.2 | Key for impeller | NOS | 1No. for each application and ratings of Pumps
1.7.3 | Pump shaft | NOS | 1No. for each application and ratings of Pumps
1.7.4 | Bearings | SET | 1Set (comprising of Drive & Non-drive end ) for each application and ratings of Pumps
1.7.5 | Wear Ring for Shaft & Impeller | SET | 1Set for each application and ratings of Pumps
1.7.6 | Mechanical seal/Gland packing as applicable | SET | 1Set for each application and ratings of Pumps
1.7.7 | Coupling | NOS | 1No. for each application and ratings of Pumps
1.8 | Mandatory Spares for Control Panels / Desks
1.8.1 | Crimping Pins | Roll | 2
1.8.2 | Bulbs for indicating lights (Three times the one hundred percent spare replacement) | Lot | 2
1.8.3 | control circuit fuses of each current rating (Three times, the one hundred percent spare replacement) | Lot | 2
1.8.4 | Push buttons, electrical control switches and Illuminated push buttons etc | Lot (20%) | 2
1.9.0 | Mandatory Spares for Temperature Elements and Thermowells
1.9.1 | Thermocouple / RTD elements (10% of each type and length of elements , or a minimum of one number, whichever is more.) | Lot | 2
1.9.2 | Thermowells for each type of temperature sensors (10% or a minimum of one for each type, whichever is more.) | Lot | 2
1.10.0 | Mandatory Spares for Electronic Transmitters (for pressure, DP, Flow, level, Temperature) and Electrical Transducers.
1.10.1 | Transmitters and Electrical Transducers (10% of total number of offered for each model and type for the project or a minimum of one number, whichever is more) | Lot | 2
1.11 | Mandatory spares for local gauges/switch (for Pressure, DP, Temperature, Flow, level , etc.)
1.11.1 | Local gauges/ Switch (for Pressure, DP, Temperature, Flow, level , etc.) (10% of total number of instruments offered for each model and type for the project or a minimum of one number, whichever is more.) | Lot | 2
1.12.0 | CONTROL VALVES
1.12.1 | DIAPHRAGM | Nos | 2 NOS. OF EACH TYPE OF ACTUATOR
1.12.2 | GLAND PACKING | Set | 1 SET FOR EACH TYPE OF VALVE
1.12.3 | TRIM | Set | 1 SET FOR EACH TYPE OF VALVE
1.12.4 | GASKET | Set | 2 SET FOR EACH TYPE OF VALVE
1.12.5 | POSITION TRANSMITTER COMPLETE SET | % | 10 % of total quantity used in the system for each type & model
1.12.6 | complete set of solenoid valve for on/off valve | Nos | 5 nos.for each type & ratings
1.12.7 | Position limit switch | Nos | 5 nos.for each type & ratings
Total
Notes:
a) | * - One (1) set means total numbers as required for one complete replacement for one equipment.