	3[image: image1.png]



	Construction of New shops including major machine foundations

TENDER No. BHEL/JHS/FCX/08-09/19



	PRICE BID            SCHEDULE A ( Schedule of Quantity  )

	SECTION A

	Sl No.
	Ref. DSR 2007
	Desc.
	Unit
	Total  Qty
	Rate DSR 2007

	
	
	
	
	
	

	1
	2.6.1 / 64
	Earth work in excavation
	m3
	6750
	101.85

	2
	2.7.1 / 64
	Excavation in ordinary rock
	m3
	11630
	152.60

	3
	2.7.3 / 64
	Excavation in hard rock
	m3
	1610
	325.25

	4
	2.10.1.3/65
	Excavating trenches for pipes, cables, etc
	m
	300
	179.65

	5
	2.25/67
	Back filling
	m3
	4070
	45.70

	6
	1.1.2/54
	Carriage of earth
	m3
	15301
	49.42

	7
	4.1.9/79
	C C (1:4:8)
	m3
	510
	2296.15

	8
	5.1.3/88
	RCC (1:2:4) in foundation
	m3
	2120
	3359.60

	9
	5.2.2/88
	RCC 1:1.5:3 in walls
	m3
	82
	4092.35

	10
	5.9.1/89
	Shuttering in foundation
	m2
	3904
	119.25

	11
	5.9.3/89
	Shuttering in slab
	m2
	605
	187.35

	12
	7.6+7.8/109
	 CR masonry
	m3
	2135
	2384.20

	13
	6.4.2/99
	Brick masonry 1:6
	m3
	204
	2357.40

	14
	11.3/172
	CC flooring 1:2:4, 40mm thick
	m2
	1190
	192.95

	15
	16.1/240
	Preparation of sub-grade
	m2
	9600
	33.90

	16
	16.3.1/240
	Supply of aggregate 90mm
	M3
	1975
	742.30

	17
	16.3.2/240
	Supply of aggregate 45mm
	M3
	1040
	768.45

	18
	0810/12
	Supply of moorum
	m3
	530
	310.00

	19
	16.4/240
	Laying of WBM 90mm
	m3
	1675
	192.55

	20
	16.4/240
	Laying of WBM 45mm
	m3
	1190
	192.55

	21
	13.3.2/201
	Plaster 20mm 1:6
	m2
	4755
	95.10

	22
	13.33.2/204
	Pointing 1:3
	m2
	3810
	112.00

	23
	10.11/164
	P/F steel window
	kg
	2720
	178.90

	24
	10.19/165
	MS holding down bolt
	kg
	29100
	52.05

	25
	11.36/177
	Ceramic tiles
	m2
	130
	556.60

	26
	18.10.1/292
	P/L GI pipes 15mm dia
	m
	340
	105.85

	27
	18.10.3/292
	P/L GI pipes 25mm dia
	m
	250
	179.65

	28
	18.31.1.2/296
	Sluice valve 100mm
	nos
	12
	2550.45

	29
	19.6.4/316
	RCC pipes 300mm dia 
	m
	480
	338.75

	30
	19.6.2/316
	RCC pipes 150mm dia 
	m
	240
	202.85

	31
	19.7.1.1/317
	Main holes 
	nos
	44
	5383.70

	32
	9.21.1/140
	Flush door shutter 35mm
	m2
	30
	929.95

	33
	17.4.4/263
	Range of 4 Urinal basins with automatic flushing cistern (10 lt)
	nos
	3
	6062.20


	34
	17.7.1/264
	P/F Wash basin
	nos
	12
	1332.90

	35
	17.1.1/263
	P/F WC seat
	nos
	12
	2304.65

	36
	12.1.1/186
	G.S roofs Sheeting (1 mm thick)
	m2
	7120
	612.85

	37
	13.37.1/204
	White washing new work 3 or more coats
	m2
	3859
	6.75

	38
	4.1.6/79
	CC  1:3:6 in Foundation
	m3
	315
	2713.05

	39
	13.1.2/201
	Plaster 12mm 1:6
	m2
	945
	67.65

	40
	13.2.2/201
	Plaster 15mm 1:6
	m2
	935
	78.55

	41
	13.41.1/204
	Oil bound distemper new work 2 or more coats
	m2
	520
	41.55

	42
	12.47.1/193
	P/F FRP sheet 2mm thick corrugated
	m2
	1575
	795.7

	43
	19.6.5/316
	RCC NP 2 Pipe 450 mm dia
	m
	130
	499.55

	44
	12.8/187
	Providing non-asbestos high impact poly propylene reinforced cement 6mm thick sheets
	m2
	3795
	294.95

	45
	16.39/245
	Premix carpet 4cm thick
	m2
	1900
	208.1

	46
	5.3/88
	RCC 1:2:4 in beam
	m3
	67
	3673.85

	47
	18.71.2/304
	P/L CI double flanged pipe
	m
	60
	1781.85

	48
	11.38/178
	Ceramic glazed floor tiles
	m2
	100
	630.8

	49
	15.43.2/229
	Dismantling Bituminous road 
	m2
	200
	66.3

	50
	5.9.6/89
	Shuttering in column
	m2
	35
	238.4

	51
	5.24/92
	Rendering on top of roof (1:2)
	m2
	136
	47.4

	52
	13.44.1/204
	Water proof cement paint
	m2
	210
	30.8

	53
	11.26.1/176
	kota stone flooring
	m2
	120
	694.4

	54
	22.1.1/345
	Integral cement based water proofing using Kota stone (hor.)
	m2
	670
	540.3

	55
	22.2.1/345
	Integral cement based water proofing using Kota stone (ver.)
	m2
	2250
	640.05

	56
	5.1.2 / 88
	RCC (1:1.5:3) in foundation
	m3
	415
	3732

	57
	15.2.1 / 226
	Demolishing Cement Concrete
	m3
	25
	368.45

	58
	5.9.2/89
	Shuttering in walls
	m2
	3700
	180.4

	59
	11.5/172
	CC flooring 1:2:4, 62mm thick
	m2
	425
	318.65

	60
	15.3/226
	Demolishing RCC
	m3
	10
	537.55

	61
	15.5/226
	Extra for cutting reinforcement bars
	m2
	30
	176.35

	62
	1.1.1/54
	Carriage of Building rubbish
	m3
	4
	39.53

	63
	21.1.2.1/337
	P/F Aluminium Doors, Windows, Ventilators
	Kg
	1700
	310.45

	64
	21.2.1/337
	P/F 12mm thick pre-laminated particle board
	m2
	20
	776.05

	65
	21.3.1/338
	P/F 4mm thick glass glazing in aluminium door, window, ventilator 
	m2
	120
	554.95

	66
	21.4.1/338
	P/F double action hydraulic floor spring of approved brand with stainless steel cover plate
	Each
	20
	1733.5

	67
	______
	Item not covered above but as per DSR 2007
	LS
	1
	500000

	Sub-total of section‘A’(based on DSR 2007 rates)= Rs.39987566.84

	                                                                                  Single uniform____________________________%age(in figures and words)__________________ (write in words) premium/discount on item nos. 01 to 67 on CPWD DSR 2007 rates.


SECTION B

	Sl No.
	Item No.
	Desc.
	Unit
	Total  Qty
	QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item
	Amount (Rs)

	68
	Ex. – 1
	Providing & fixing in position including fabricating and erecting structural steel works at all heights comprising sag rods floor beams, columns, girders, bracings, purlins with channels and angles gutters with M.S. Plates, M.S. Flat supports including all connections as per detailed drawings connected steel works etc. cleats, gusset plates all bolts, nuts washers base plates anchor bolts etc. as per detailed drawings cutting welding and painting 1 coats of red oxide primer before erection & 2 coats of synthetic enamel paint of approved brand & colour after erection complete . Advani made electrodes super bond ‘S’ 5013 grade or other approved make equivalent make electrodes are to be used. All bolts nuts washers, gas, electrodes, paints are in contractor’s scope. Fabrication to be done as per I.S. Codes of latest revision. Structural steel will be provided free of cost by BHEL from BHEL store.                                    
	 
	 
	 
	

	 
	 
	a) Only fabrication with free issue of structural steel by BHEL. 
	Kg
	1580000
	
	

	 
	 
	b) Only erection.
	Kg
	1560000
	
	

	69
	Ex. – 2
	Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete. REINFORCEMENT TO BE PROVIDED BY BHEL, FREE OF COST FROM BHEL STORE.
	Kg
	260000
	
	

	 
	 
	Thermo – Mechanically treated bars / mild steel.
	 
	 
	
	

	70
	Ex. – 3
	CC (1:2:4) flooring 150 mm thick hardener topping under layer 138mm thick cement concrete 1:2:4 and top layer 12mm thick cement hardener consisting of mix 1:2 ( 1 cement hardener mix 2 stone aggregate 6mm nominal size, hardening compound is mixed @ 2 lete
	m2
	6027
	
	

	71
	Ex. – 4
	P/F Wired glass 6mm thick approved by engineer incharge.
	M2
	740
	
	


	Sl No.
	Item No.
	Desc.
	Unit
	Total  Qty
	QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item
	Amount (Rs)

	72
	Ex. – 5
	MS pipe 150mm dia including elbow / band (down take pipe). The measurement will be measured in running meter. Only MS pipe 150mm dia. Will be supplied by BHEL.
	M
	620
	
	

	73
	Ex. – 6
	GI pipes 100mm dia ‘B’ class approved by engineer incharge. 
	M
	790
	
	

	74
	Ex. – 7
	P/F sliding gate/trenches cover including primer & painting.
	MT
	19.5
	
	

	75
	Ex. – 8
	Supplying & fixing of Puf insulated sandwich panel made out of CFC free polyurethane foam (40mm thick and 45 Kg/cum density) in between 2 metal sheets. Top sheets shall be Lloydeck / Trackdeck or equivalent profiled sheets made out of 0.5mm thk. Total cost thickness (TCT), 550MPA 
ield stress, galvalume material as per AZ 150 and having 20 microns PVF2 / SMP coating. Bottom sheet shall be plain 0.45mm TCT , 240MPA polyester coated sheet with plain ribs. Panel 40 shall be fixed coated fasteners with EPDM vochers specification and as per direction of Engineer –in- charge (Roofing & cladding)
	m2
	4510
	
	

	76
	Ex. – 9
	CC (1:2:4) flooring 200 mm thick hardener topping under layer 188mm thick cement concrete 1:2:4 and top layer 12mm thick cement hardener consisting of mix 1:2 ( 1 cement hardener mix 2 stone aggregate 6mm nominal size, hardening compound is mixed @ 2 litre
	m2
	2000
	
	

	77
	Ex. – 10
	Removal of AC sheet including stacking at site, bolts & nuts will be deposited at store.
	M2
	600
	
	

	78
	Ex. – 11
	Refixing of AC sheet. The bolts, nuts & washers will be supplied by BHEL free of cost.
	M2
	10
	
	

	79
	Ex. – 12
	Dismantling of existing steel structure including cutting, as per direction of engineer incharge.
	MT
	5
	
	

	80
	Ex. – 13
	Re-erection of existing steel structure including cutting, welding, alignment, etc as per direction of engineer incharge. 
	MT
	5
	
	


	Sl No.
	Item No.
	Desc.
	Unit
	Total  Qty
	QUOTED RATES (to be filled-up by the contractor) in Rupees separately for each item
	Amount (Rs)

	81
	Ex. – 14
	P/Laying 5mm polymeric flooring including application of epoxy based primer or concrete floor, application of epoxy screed sealer coat and PU / CTU based top coat. (1000 microns) as per direction of Engineer –in- charge.
	M2
	5100
	
	

	82
	Ex. – 15
	Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of specified grade for reinforced cement concrete work including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement. Including Admixtures in recommended proportions as per IS 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer – in – charge. M-20 grade reinforced cement concrete by using 400kg. of cement per cum of concrete. All work up to floor V level.
	Cum
	731
	
	

	83
	Ex. – 16
	Pressure grouting below base plates, foundation bolts, including pockets, with capital GP2, SIKA grout 214 or equivalent including cleaning, vibrating, etc. complete. Mortar is to be machine mixed 1:1 by weight, 1 part GP2 or SIKA grout 214 : 1 part duly weight, 1 part GP2 or SIKA grout 214 : 1 part duly washed stone aggregate 6mm & down gauge. Minimum 200mm head of pressure.
	Cum
	8
	
	


(To be filled in by the contractor) Sub- total of section “B”=



(To be filled in by the contractor) Sub- total of section “A”=



     (To be filled in by the contractor) Total of [section “A”+ section “B”]=




Sign, seal & date of contractor

	3




[image: image1.png]_1278225508.doc
[image: image1.png]






