## Sheet1
Bharat Heavy Electricals Limited Power Sector - Southern Region
Project - 5x800 MW Yadadri TPS
Volume-II Price Bid (Revised Weightage)
Tender No. - YTPS: SCT: 202209-124
Erection, Testing & Commissioning including Handling of materials at site BHEL stores/storage yard, transporting to site of erection and supply & application of final painting of Control and Instrumentation (C&I) works for Unit 1 & 2 of 5x800 MW Yadadri Thermal Power Plant at Veerlapalem Village, Damercherla Mandal, Nalgonda DT., TSGENCO, Telangana, India.
Bidder's Name
Ref. No. | Description | UOM | Qty | Rate | Amount | Weightage for amount of each Item (Nearest to the 7 decimal points) w.r.t the total amount
I | ERECTION AND COMMISSIONING OF LOCAL/FIELD MOUNTED INSTRUMENTS
B.1.1 | PD Type Mass flow meter in HFO,LDO/HSD & HFO return line with mounting flanges, electronics amplifier box, inter connecting cabling, etc. | SET | 6 | 0 | 0 | 0.00010591
A.9.1, A.9.2, A.9.4, B.14.1.4, B.14.1.5, D.3.14, E.1.3, G.7.5, K.2.1, K.2.5, K.2.6, K.5.6, K.11.8, G.5.3, G.6.2 | Pressure Transmitters / DP Transmitters / DP Type flow transmitters | Nos | 1445 | 0 | 0 | 0.011058
A.9.3, A.9.5, B.14.1.3, E.1.7, K.2.3, K.5.7 | Level Transmitter (Guided Wave/Ultrasonic Type) along with accessories | Nos | 178 | 0 | 0 | 0.0056482
A.9.7, A.9.8, B.1.2, B.6.1, B.14.1.1, C.1.1, D.3.2, D.3.13, E.1.1, E.1.2, E.4.1, F.1.4, G.5.2, G.6.1, G.7.6, G.11.3, K.2.2, K.3.2, K.4.2, K.5.8, K.6.16, K.11.11, K.11.12 | Pressure / DP Gauge/Reverse Rotation Indicators | Nos | 1942 | 0 | 0 | 0.010885
K.11.1 | Pressure Gauge with Switches | Nos | 115 | 0 | 0 | 0.00077348
A.9.10, B.1.3, B.6.3, B.14.1.7, C.1.2, D.3.4, D.3.7, D.3.11, E.4.4, E.5.3, F.1.5, G.5.5, G.6.4, G.7.4, G.11.2, G.11.5, E.1.11 | Temperature Gauge | Nos | 814 | 0 | 0 | 0.0067037
A.9.11, B.1.5, F.1.6, F.1.7, K.2.4, K.5.9 | Level Gauge | Nos | 16 | 0 | 0 | 0.0003195
A.9.9, B.1.4, B.6.2, B.6.16, B.6.18, D.3.1, D.3.16, E.1.4, K.3.1, K.4.1, K.5.5 | Pressure / Differential Pressure Switch / Temperature Switch | Nos | 831 | 0 | 0 | 0.0058253
A.9.12, B.6.17, B.14.1.2, E.4.2, G.11.1, E.3.2, G.5.6 | Level Switches (RF/Float/Capacitance/Conductivity type) along with accessories | Nos | 138 | 0 | 0 | 0.0028856
A.9.6, B.1.6, B.14.1.6, B.14.1.15, D.3.3, D.3.8, D.3.12, E.1.5, E.2.1, G.5.4, G.6.3, G.7.1, G.7.2, E.3.1 | Temperature Elements(RTD/Thermocouple with Thermowell) / Flow Elements | Nos | 1500 | 0 | 0 | 0.010806
A.9.14 | E/P Coverters; I/P Converters, | Nos | 62 | 0 | 0 | 0.00041886
E.1.10, D.3.15, G.7.7 | Position Transmitters | Nos | 40 | 0 | 0 | 0.00033959
B.6.19 | ERV Controller with Pressure Switch App.Dimension(mm): 400x350x190; App.Wt: 10 kg | SET | 8 | 0 | 0 | 0.00033373
B.1.7 | FSSS Local Oil Gun Maintenance Switch Box | Nos | 32 | 0 | 0 | 0.00041372
B.1.8, F.1.3 | H.E.A Exciter Box with Accessories | SET | 33 | 0 | 0 | 0.00074873
B.1.9, F.1.1 | Flame Scanner Head Assembly with accessories | SET | 65 | 0 | 0 | 0.0014398
B.5.2 | Feeder Coal Flow Assembly flange mounted with Electronics | SET | 16 | 0 | 0 | 0.0011037
B.6.4, B.6.5, B.6.6, B.6.7, B.6.8, B.6.9, D.3.9, E.1.6, G.2.1 | MTM T/C (Route Length 8 to 18 MM) - 8MM OD | Nos | 578 | 0 | 0 | 0.0090279
B.6.10, B.6.11, B.6.12, B.6.13, B.6.14 | MTM T/C (Route Length 20 to 28 MM) - 8MM OD | Nos | 480 | 0 | 0 | 0.013954
B.6.15 | MTM T/C (Route Length 30 to 40 MM) - 8MM OD | Nos | 24 | 0 | 0 | 0.00071779
D.3.5, G.5.1 | Flow Switch/Flow meter/Flow Indicator/Vacuum Switch | Nos | 12 | 0 | 0 | 0.00016716
D.3.6 | GO No GO Switch | Nos | 4 | 0 | 0 | 0.00016346
D.3.10 | On/Off Switch Box including light assembly and interconnecting heat resistant cable | SET | 4 | 0 | 0 | 8.3163e-05
E.2.2, E.4.3, G.11.6 | Thermowells (Screwed & Welded) | Nos | 108 | 0 | 0 | 0.0004084
E.1.8, G.7.8 | Speed Measuring Loop/Speed Probe/Speed Sensor | Nos | 24 | 0 | 0 | 0.00015963
B.14.1.16, J.1.1 | Flow Transmitters (Other than DP type) | Nos | 49 | 0 | 0 | 0.0015548
B.11.1.1, B.11.1.2, B.11.1.3 | Air Filter Regulator-1/4"(OR) 1/2"(OR) 1" | Nos | 64 | 0 | 0 | 0.0002975
B.14.1.8, B.14.1.9, B.14.1.10, | Analyzers (Ammonia Leak Detection/Density/pH/Conductivity) | Nos | 19 | 0 | 0 | 0.00056825
E.1.9 | Proximeter Units, Local Field Cable etc. for Governing Sytem | SET | 80 | 0 | 0 | 0.00057634
C.1.3 | Averaging Pitot Tube | SET | 6 | 0 | 0 | 0.00014241
A.28.6 | Fire protection switches & Emergency Push Buttons | Nos | 16 | 0 | 0 | 0.00026306
II | ERECTION AND COMMISSIONING OF SPECIAL INSTRUMENTS
A.10.1, A.10.2, B.14.1.11 | High Temp/Low Temp O2 Analyzer | SET | 32 | 0 | 0 | 0.0052712
A.10.5, D.1.1 | Opacity Monitor | SET | 10 | 0 | 0 | 0.002287
A.10.6 | SOX/NOX/CO (Combined) Analyzer | SET | 2 | 0 | 0 | 0.001343
A.10.3, A.10.4, A.10.7, A.10.8, B.14.1.12, B.14.1.13, B.14.1.14 | CO/Velocity/HF/Mercury/NOX/SOX/NH3 Analyzer | SET | 42 | 0 | 0 | 0.022478
A.11.1, A.11.2, A.11.6, A.11.7 | SWAS System | SET | 2 | 0 | 0 | 0.0038034
III | ERECTION AND COMMISSIONING OF UPS/BATTERY & BATTERY CHARGER
A.13.1 | 2X180 kVA UPS | SET | 3 | 0 | 0 | 0.0044995
A.13.9, A.13.17 | 2X10 / 2X20 kVA UPS | SET | 2 | 0 | 0 | 0.0018012
A.13.26.1 | 1 kVA/1.5 kVA/3 kVA/ 5kVA UPS | Nos | 5 | 0 | 0 | 3.7366e-05
A.13.8, A.13.16, A.13.24 | Lead Acid Plante Battery: (1285AH-360V)/(220AH-220V)- made up of two banks of 110 cells each | SET | 6 | 0 | 0 | 0.007265
K.1.2, K.1.4, K.1.7, K.1.9, K.5.2 | BATTERY 180 AH/6 CELLS | SET | 6 | 0 | 0 | 0.00039629
A.13.2, A.13.10, A.13.18 | ACDB | Nos | 8 | 0 | 0 | 0.0030068
A.13.25 | Power Distribution Board | Nos | 2 | 0 | 0 | 0.00015428
IV | ERECTION AND COMMISSIONING OF CONTROL PANELS
B.2.1, B.2.2 | ASLD Panel Assy along with loose supplied items such as sensors, amplifiers, PSU, JB, Cables,etc | SET | 2 | 0 | 0 | 0.00082885
D.2.1, D.2.2, D.2.3, D.2.4, D.2.5, D.2.6 | ALCS Panels with controllers, Electronic Sensors, Interfacing box & Cables, etc. | SET | 2 | 0 | 0 | 0.00096256
A.9.13 | Coal bunker Level Monitoring System panel with accessories | SET | 16 | 0 | 0 | 0.0025555
B.3.1 | Furnace Camera CCTV head assembly panel with air filter regulators, hose, remote control box, 24" monitor and accessories | SET | 4 | 0 | 0 | 0.00065448
G.1.1 | Moisture Measurement System panel with controller and accessories | SET | 4 | 0 | 0 | 0.00051398
G.1.2 | Generator end Vibration Monitoring Cabinet with cables, monitors and accessories | SET | 2 | 0 | 0 | 0.00026578
G.1.3 | Grounding Brush Monitor (Wall mounted) | SET | 2 | 0 | 0 | 0.00012397
G.1.4 | H2 Gas Analyzer Cabinet | SET | 4 | 0 | 0 | 0.00043441
A.8.1 | HART Management System panel and loose items | SET | 2 | 0 | 0 | 0.0012821
A.20.1, A.20.2, A.20.4, A.20.5 | Master Slave Clock System Panel with accessories, 42 U Panel, GPS Antennal, GPS Receiver | SET | 1 | 0 | 0 | 9.2131e-05
A.20.3 | Slave Clock (RS 485 based)/NTP Based | Nos | 25 | 0 | 0 | 0.00073761
B.5.1 | Gravimetric Feeder Remote Power Cabinet | Nos | 16 | 0 | 0 | 0.0022147
A.13.7, A.13.15, A.13.23 | Battery Health Monitoring System Panels | Nos | 8 | 0 | 0 | 0.00080711
A.7.2, E.5.1 | TSI System for BFP Drive Turbine / Main Turbine Complete Sensors and Assembly Items | Nos | 6 | 0 | 0 | 0.0024143
A.12.1.3, A.12.2.3, A.12.3.3 | VMS Panels - Single Bay | Nos | 7 | 0 | 0 | 0.00078396
A.12.1.4 | VMS Panels - Three Bay | Nos | 2 | 0 | 0 | 0.00056513
B.1.10 | 19" Racks for Microprocessor based flame scanner Amplifier | SET | 16 | 0 | 0 | 0
A.7.1, A.12.1.2, A.12.2.2, A.12.3.2, F.1.2 | 19 Inch Racks for TSI/VMS Racks | SET | 29 | 0 | 0 | 0.0086473
B.10.2 | Pulveriser Dynamic Classifier - VFD Panel | Nos | 16 | 0 | 0 | 0.0026889
A.6.0.2.1, A.6.0.2.2, A.6.0.2.3 | Network Panels | Nos | 9 | 0 | 0 | 0.0005448
A.6.0.2.4 | Network Enclosures with without Ethernet Switches | Nos | 18 | 0 | 0 | 0.00075734
IV-A | ERECTION AND PLACEMENT OF DCS/NETWORK PANEL
A.2.1, A.3.1, A.3.2, A.4.1, A.6.1, A.6.4 | Suit of One Cubicles | Nos | 22 | 0 | 0 | 0.00086514
A.1.1, A.1.2, A.1.3, A.2.2, A.3.3, A.3.4, A.4.2, A.6.2 | Suit of Two Cubicles | Nos | 25 | 0 | 0 | 0.001442
A.1.4, A.1.5, A.2.3, A.3.5, A.3.6, A.3.7, A.4.3, A.5.1, A.5.2, A.6.3 | Suit of Three Cubicles | Nos | 34 | 0 | 0 | 0.0032529
A.1.6, A.2.4, A.3.8, A.3.9 | Suit of Four Cubicles | Nos | 39 | 0 | 0 | 0.0040431
A.1.7 | Suit of Five Cubicles | Nos | 4 | 0 | 0 | 0.0005428
IV-B | TESTING & COMMISSIONING OF DCS/NETWORK PANELS
A.2.1.1, A.3.1.1, A.3.2.1, A.4.1.1, A.6.1.1, A.6.4.1 | Suit of One Cubicles | Nos | 22 | 0 | 0 | 0.0012979
A.1.1.1, A.1.2.1, A.1.3.1, A.2.2.1, A.3.3.1, A.3.4.1, A.4.2.1, A.6.2.1 | Suit of Two Cubicles | Nos | 25 | 0 | 0 | 0.0021628
A.1.4.1, A.1.5.1, A.2.3.1, A.3.5.1, A.3.6.1, A.3.7.1, A.4.3.1, A.5.1.1, A.5.2.1, A.6.3.1 | Suit of Three Cubicles | Nos | 34 | 0 | 0 | 0.0048791
A.1.6.1, A.2.4.1, A.3.8.1, A.3.9.1 | Suit of Four Cubicles | Nos | 39 | 0 | 0 | 0.0060647
A.1.7.1 | Suit of Five Cubicles | Nos | 4 | 0 | 0 | 0.00081423
INSTALLATION AND COMMISSIONING OF HMI SYSTEM,STATION LAN, OFFICE WAN WITH COMPLETE ACCESSORIES FOR CCR&BOP
A.12.1.6, A.22.1.4, A.22.1.5, A.22.2.3, A.22.3.3, A.22.4.3, A.22.7.3, A.22.8.3, K.6.20, K.8.2, K.8.6, K.9.2 | Printers (Laser Jet/DotmatrixA4/A3/COLOUR/BW) | Nos | 28 | 0 | 0 | 0.00076628
A.21.1, A.21.2, A.21.3, A.21.4 | Large Video Screen (67-80") with accessories | SET | 26 | 0 | 0 | 0.015666
K.9.12 | Video Wall of size 4200 (W)x1600(H) with accessories | SET | 2 | 0 | 0 | 0.0014461
A.12.1.5, A.22.1.1, A.22.1.2, A.22.1.3, A.22.2.1, A.22.2.2, A.22.3.1, A.22.3.2, A.22.4.1, A.22.4.2, A.22.5.1, A.22.5.2, A.22.6.1, A.22.6.2, A.22.7.1, A.22.7.2, A.22.8.1, A.22.8.2, K.6.19, K.8.1, K.8.5, K.8.9, K.9.1 | OWS with Monitor/Servers/Stations/User PC | Nos | 99 | 0 | 0 | 0.0043326
V | INSTALLATION OF FURNITURES
A.25.1, A.25.2 | Unit Operator Desk-8 Section with Accessories | SET | 4 | 0 | 0 | 0.0032532
A.25.3 | Operator Desk-6 Section with Accessories | SET | 1 | 0 | 0 | 0.00066623
A.25.4 | Operator Desk-3 Section with Accessories | SET | 1 | 0 | 0 | 0.00039272
A.25.5 | Operator Desk-2 Section with Accessories | SET | 7 | 0 | 0 | 0.0018209
A.23.1, A.23.2, A.23.3, A.25.6, A.25.7, A.25.8, A.25.9, A.25.10, A.25.12, A.25.13, A.25.14, A.25.15, A.25.16, A.25.17, A.25.18, K.6.21, K.6.22, K.8.3, K.8.4, K.8.7, K.8.8, K.8.10, K.8.11, K.9.3, K.9.4 | Computer Table/Printer Table/Chairs | SET | 600 | 0 | 0 | 0.031397
A.25.11 | PC/Server Rack | SET | 4 | 0 | 0 | 0.00039399
A.25.19, A.25.20 | Almirah/Safety Locker | SET | 4 | 0 | 0 | 0.00012316
VI | INSTALLATION OF C&I BENCH FOR CALIBRATION INSTRUMENTS
A.24.1.1, A.24.2.1 | Electronic Test Bench | SET | 1 | 0 | 0 | 0.0040709
K.6.24, K.6.26 | Inspection and Handing over- Laptops/Graphic Software licences |  | 5 | 0 | 0 | 0.00027532
VII | ERECTION AND COMMISSIONING OF JB/PUSH BUTTONS
A.12.1.1, A.12.2.1, A.12.3.1, A.17.1, A.17.2, A.17.3, A.17.4, A.17.5, A.17.6, A.17.7, A.17.8, A.20.13, B.9.1, B.9.2, B.9.3, B.9.4, B.9.5, B.9.6, B.10.3, B.14.3.1, B.14.3.2, B.14.3.3, B.14.3.4, B.14.3.5, E.6.7, F.1.8, F.1.9, G.10.1, G.10.2, E.3.3 | Junction Boxes 6 way to 128 way | Nos | 1434 | 0 | 0 | 0.016354
B.14.4.1, B.14.4.2, G.10.3 | Push Button Station | Nos | 54 | 0 | 0 | 0.00036562
VIII | ERECTION AND COMMISSIONING OF LIE/LIR
E.6.1, E.6.2, E.6.3, E.6.4 | Local Gauge Boards | SET | 20 | 0 | 0 | 0.0014376
A.14.1, A.14.2, A.14.3, B.10.1, B.14.6.1 | Local Instrument Enclosure | SET | 208 | 0 | 0 | 0.014944
A.14.4, A.14.5, A.14.6, A.14.7, E.6.5, E.6.6, G.8.1, G.8.2 | Local Instrument Rack | SET | 222 | 0 | 0 | 0.014766
IX | ERECTION AND COMMISSIONING OF PNEUMATIC POWER CYLINDERS (ON/OFF & REGULATING TYPE)
B.4.1 | SADC | SET | 264 | 0 | 0 | 0.011905
B.4.2, B.4.3 | PA/ID/FD Blade Pitch & other Control Dampers | SET | 44 | 0 | 0 | 0.0037295
B.4.4, B.4.5, F.1.14 | Hot Air/Cold Air/FD Fan Regulating Dampers | SET | 34 | 0 | 0 | 0.0035014
B.4.6 | Dynavane Filter Pressure Control Damper with SMART positioner | SET | 2 | 0 | 0 | 0.00018611
E.3.4 | Solenoid Opeated Valves | SET | 16 | 0 | 0 | 9.4223e-05
E.2.3, K.3.3, K.4.3, K.5.3 | Solenoid Valves | Nos | 331 | 0 | 0 | 0.0019443
X | LAYING OF POWER CABLES
A.13.3, A.13.4 | UN 0000 - Uninyvin- Equivalent: 1Cx109 Sqmm Cu | Mtrs | 3600 | 0 | 0 | 0.0020985
A.13.11, A.13.12, A.13.19, A.13.20 | UN 4 - Uninyvin- Equivalent: 1Cx21.5 Sqmm Cu | Mtrs | 440 | 0 | 0 | 0.00013811
K.1.14, K.5.10 | 1CX90 SQMM CU | Mtrs | 115 | 0 | 0 | 6.7035e-05
XI | TERMINATION OF POWER CABLES
A.26.1, A.26.2 | UN 0000 - 1CX109 SQMM CU | Nos | 80 | 0 | 0 | 0.0001399
A.26.3, A.26.4, A.26.5, A.26.6 | UN 4 - 1CX21.5 SQMM CU | Nos | 12 | 0 | 0 | 1.1658e-05
K.1.15,K.5.11 | 1CX90 SQMM CU |  | 24 | 0 | 0 | 4.197e-05
XII | LAYING AND TERMINATION OF CONTROL CABLES
K.1.17, K.3.5, K.4.5, K.11.14 | 2CX1.5 SQMM/2CX2.5 SQMM |  | 11322 | 0 | 0 | 0.001523
A.15.4.1, A.20.7, B.7.11, B.7.21, B.14.2.7, G.4.1, K.6.27, K.6.28, K.1.13 | 3CX2.5 SQMM/4CX2.5 SQMM/4CX6 SQMM | Mtrs | 236010 | 0 | 0 | 0.031748
A.15.4.2, B.7.12, B.7.13, B.7.22, B.14.2.8 | 5CX2.5 SQMM/7CX2.5 SQMM | Mtrs | 29860 | 0 | 0 | 0.004463
B.7.14, B.7.15, B.14.2.9, B.14.2.10, K.1.12, K.5.12 | 9CX2.5 SQMM/10CX2.5 SQMM/12CX2.5 SQMM | Mtrs | 17905 | 0 | 0 | 0.0032114
XIII | LAYING AND TERMINATION OF INDIVIDUAL & OVERALL SHIELDED (TYPE G/F), TWISTED PAIR, ARMOURED/UNARMOURED CABLES
A.15.1.1, A.15.1.3, A.15.2.1, A.15.3.1, A.15.3.6, A.20.8, B.7.1, B.7.2, B.7.6, B.7.7, B.7.17, B.7.23, B.7.24, B.14.2.4, B.14.2.11, G.16.1.1, G.16.1.5, J.3.1 | 2PX0.5 SQMM/ 2TX0.5SQMM/ 2PX1.5SQMM/ 2PX1.31SQMM/ 2PX16AWG KX/G CABLE | Mtrs | 318854 | 0 | 0 | 0.038126
A.15.1.2, A.15.2.2, A.15.3.2, A.15.3.3, A.15.5.1, A.15.5.2, B.7.3, B.7.8, B.7.18, B.7.20, B.14.2.1, B.14.2.5, B.14.2.12, E.8.1, G.16.1.2, G.16.1.6, G.16.2.1, J.2.1, J.3.2 | 4PX0.5 SQMM/ 6PX0.5SQMM F/G CABLE | Mtrs | 528172 | 0 | 0 | 0.078944
A.15.2.3, A.15.3.4, A.15.5.3, B.7.4, B.7.9, B.7.19, B.14.2.2, B.14.2.6, G.16.1.3, G.16.2.2, J.2.2, J.3.3 | 8PX0.5 SQMM CABLE | Mtrs | 505735 | 0 | 0 | 0.098267
A.15.3.5, B.7.5, B.7.10, B.7.16, B.14.2.3, G.16.1.4, J.2.3, J.3.4 | 12PX0.5 SQMM/ 12PX1.31 SQMM KX CABLE | Mtrs | 99740 | 0 | 0 | 0.022362
J.2.4 | 20PX0.5SQMM | Mtrs | 19200 | 0 | 0 | 0.0043046
A.12.1.7, A.12.2.5, A.12.3.5, A.15.5.4, A.20.9 | CAT-6 UTP CABLES/Ethernet Cables | Mtrs | 30880 | 0 | 0 | 0.0023077
A.13.5, A.13.6, A.13.13, A.13.14, A.13.21, A.13.22, A.20.6 | RS-485/RG-58 CABLE | Mtrs | 22840 | 0 | 0 | 0.0051207
A.15.5.6, K.9.7, K.9.10 | HDPE Conduits for laying OFC Cables | Mtrs | 22800 | 0 | 0 | 0.019765
A.12.2.4, A.12.3.4, A.15.5.5, A.20.10, K.6.29, K.9.6, K.9.9 | Laying of Optical Fibre Cable | Mtrs | 85500 | 0 | 0 | 0.019169
A.15.5.7, A.20.11, K.6.30, K.9.8, K.9.11 | Splicing of Optical Fibre Cable | Nos | 710 | 0 | 0 | 0.0017192
K.6.11 | Laying and Termination of Special Cable-OLHS Cables | Mtrs | 75000 | 0 | 0 | 0.016815
XIV | ERECTION OF CABLE TRAYS WITH/WITHOUT COVER
A.16.1, A.16.3, B.8.1, B.14.5.1, E.8.2, F.1.10, K.6.33 | PERFORATED CABLE TRAYS 50 MM WIDE | Mtrs | 14260 | 0 | 0 | 0.015133
A.16.2, A.16.4, B.8.2, B.14.5.2, K.6.32 | PERFORATED CABLE TRAYS 100 MM WIDE | Mtrs | 20000 | 0 | 0 | 0.027502
B.8.3, E.8.3, F.1.11 | PERFORATED CABLE TRAYS 150 MM WIDE | Mtrs | 7690 | 0 | 0 | 0.012298
K.6.31 | PERFORATED CABLE TRAYS 200 MM WIDE | Mtrs | 250 | 0 | 0 | 0.0003774
K.11.15 | PERFORATED CABLE TRAYS 300 MM WIDE | Mtrs | 75 | 0 | 0 | 0.00013228
A.28.2 | Duct Tray - 60x60x1000 mm | Mtrs | 216 | 0 | 0 | 0.00028733
A.28.3 | Duct Tray - 180x100x1000 mm | Mtrs | 146 | 0 | 0 | 0.00035133
A.28.4 | Duct Tray - 250x100x1000 mm | Mtrs | 180 | 0 | 0 | 0.00079366
XV | FABRICATION AND INSTALLATION OF GI FLATS
B.14.8.1 | Earth Flat (50x6) | Mtrs | 250 | 0 | 0 | 0.00020925
B.14.8.2 | Earth Wire 1.219 mm GI | Mtrs | 700 | 0 | 0 | 7.3238e-05
XVI | FABRICATION AND INSTALLATION OF STRUCTURAL STEEL
A.28.1, B.12.1, B.14.7.1, E.5.2, E.7.1, F.1.13, G.10.4 | STRUCTURAL STEEL (ISMC/ISMB/ANGLE etc) | MT | 39.2 | 0 | 0 | 0.0086907
A.28.5 | Assembly and Installation of Mountig frames | Nos | 20 | 0 | 0 | 0.0035872
XVII | ERECTION AND TESTING OF IMPULSE PIPES CS/AS/SS , INSTRUMENT VALVES AND FITTINGS
A.11.3 | AS pipes 2" | Mtrs | 280 | 0 | 0 | 0.0011132
A.18.1, A.18.2, A.18.3, A.18.4, A.18.5, A.18.6, A.18.7, A.18.8, A.18.9, G.9.5, G.9.6, G.9.7, G.9.8, G.9.9, B.11.2.1, B.11.2.2, B.11.2.3, B.11.2.4, B.11.2.5, B.11.2.6, B.11.2.7 | AS tubes upto 1" | Mtrs | 55590 | 0 | 0 | 0.1346
E.7.2, G.9.1, G.9.3, G.9.4 | CS tubes upto 1" | Mtrs | 4740 | 0 | 0 | 0.0094226
G.9.2 | CS pipes above >2" upto 4" | Mtrs | 160 | 0 | 0 | 0.0010498
A.11.5, B.11.1.4, B.11.1.5, B.11.1.6, B.11.1.7, B.14.9, E.7.3, E.7.4, F.1.12 | SS tubes upto 1" | Mtrs | 12990 | 0 | 0 | 0.0083487
A.11.4 | SS pipes 2" | Mtrs | 120 | 0 | 0 | 0.00015425
A.19.1, A.19.2, A.19.3 | Instrument Valves and Accessories | Nos | 46 | 0 | 0 | 0.00011138
XVIII | ERECTION AND TESTING OF HOSES, TUBES & GI PIPES
A.20.12 | Flexible GI Conduits | Mtrs | 200 | 0 | 0 | 0.00017637
B.11.1.8, B.11.1.9, B.11.1.10 | 1/4,1/2,1 INCH TEFLON HOSE 1MTR/2MTR/3MTR LONG | Nos | 316 | 0 | 0 | 0.00037313
B.12.2 | 1/2" GI Pipe | Mtrs | 2430 | 0 | 0 | 0.0030146
XIX | COMMISSIONING OF THE FOLLOWING ERECTED BY MECHANICAL AGENCY
B.13.9 | Burner Tilt Shear Pin Failure Indication JB with accessories | Nos | 32 | 0 | 0 | 0.0016936
B.14.10.4, C.2.1, E.9.5, F.2.1, F.2.2, F.2.3, G.12.4, G.12.8, G.12.9, J.4.1, E.9.11, E.9.12 | Control Valves with Smart positioner/AFR/Air Lock valves etc for LO TCV, Gland Steam Inlet/Sootblower, Dump,etc applications | SET | 353 | 0 | 0 | 0.0035456
H.1.4, H.1.5, H.1.6 | HT Drives (11 kV/3.3 kV) | Nos | 75 | 0 | 0 | 0.0019303
D.4.5 | Field Instruments (Level Gauges/Pressure/DP/Temperature Gauges) | Nos | 48 | 0 | 0 | 0.00038885
B.13.1, B.13.7, G.12.6 | Limit Switches/Level Switches | Nos | 304 | 0 | 0 | 0.0011359
B.13.3, B.13.4, B.13.5, B.14.10.1, B.14.10.2, B.14.10.3, C.2.2, C.2.3, D.4.1, E.9.2, E.9.4, E.9.6, E.9.7, E.9.8, F.2.4, F.2.5, F.2.6, G.12.2, H.1.3, J.4.2K.1.1, K.1.3, K.1.5, K.1.6, K.1.8, K.1.10, K.5.1, G.12.19 | LT Unit Directional/Bi-Directional drives of various applications | Nos | 879 | 0 | 0 | 0.0071865
B.13.2 | Motor Starter Panels | SET | 2 | 0 | 0 | 3.1956e-05
B.13.6, D.4.2 | Pneumatic Actuators for Dampers | Nos | 88 | 0 | 0 | 0.0066278
D.4.6, H.1.1 | RTDs/Thermowells of various drives | Nos | 1786 | 0 | 0 | 0.0056592
B.13.8, D.4.3, G.12.7 | Solenoid Valves for different applications like Corner Station valves, Regulating valves, etc. | Nos | 552 | 0 | 0 | 0.0049503
XX | REMOVAL, CALIBRATION & RE-FIXING OF INSTRUMENTS ERECTED BY OTHER AGENCIES
G.12.5 | Field Instruments (Transmitters) | Nos | 38 | 0 | 0 | 0.00034362
H.1.2 | Field Instruments (Temperature Gauges) | Nos | 92 | 0 | 0 | 0.00065454
G.3.1, G.7.3 | Field Instruments (Temperature Elements) | Nos | 294 | 0 | 0 | 0.0010942
D.4.4, D.4.7, D.4.8, D.4.9, E.9.1, E.9.3, G.12.11 | Lub Oil System/Oil Centrifuge Unit/Lub Oil skid/Main Oil Tank | SET | 42 | 0 | 0 | 0.0019693
G.12.3 | Oil Centrifuge Unit | SET | 4 | 0 | 0 | 0.00031842
J.4.3, J.4.4, J.4.5, J.4.6 | Dosing Skid (Oxygen, Ammonia, NaOH,Hydrazine) | SET | 10 | 0 | 0 | 0.00051117
E.9.9 | Hydraulic Coupling of MDBFP | SET | 2 | 0 | 0 | 0.00028097
G.12.1 | Condenser Vacuum Pump | SET | 4 | 0 | 0 | 0.00032727
B.13.10 | Gravimetric Feeder comprising of Feeder mounted C&I equipment | SET | 16 | 0 | 0 | 0.0011362
G.12.10 | Governing System Control Rack | SET | 4 | 0 | 0 | 0.00053921
E.9.10 | Governor Console Board | SET | 4 | 0 | 0 | 0.00041468
B.10.4, B.10.5, G.12.12 | HP/LP Bypass/HWL-1&2/MEFCV control valve skid instrumentation | SET | 6 | 0 | 0 | 0.00060336
G.12.14, G.12.15 | Seal Oil Rack / Stator water rack | SET | 4 | 0 | 0 | 0.00045115
G.12.16, G.12.17 | Seal Oil Level / PrTxr Instrument Rack / Stator Water DP Instrument Rack | SET | 4 | 0 | 0 | 0.00047817
G.12.18 | H2 Dryer Unit | SET | 2 | 0 | 0 | 0.00015281
A.27.1 | Transducers-Voltage/Current/Frequency output 4-20 mA | Nos | 50 | 0 | 0 | 0.00063149
XXI | REMOVAL, CALIBRATION & RE-FIXING OF INSTRUMENTS FOR ACID CLEANING
J.5.1 | Temp. Gauges | Nos | 4 | 0 | 0 | 2.8458e-05
J.5.2 | Pressuer Gauges | Nos | 4 | 0 | 0 | 2.9235e-05
J.5.3 | Thermocouple Stem type and MTM | Nos | 16 | 0 | 0 | 3.3002e-05
J.5.4 | Junction Boxes | Nos | 6 | 0 | 0 | 6.9412e-05
XXII | ERECTION AND COMMISSIONING OF FDA/FPS/IGES - SENSORS/SWITCHES/DEVICES
K.6.3 | Multisensor Detectors | Nos | 2550 | 0 | 0 | 0.0018295
K.6.4, K.6.6, K.6.8, K.3.6, K.4.6 | Air Sampling/Probe/IR (Air Burge)/QB Detectors | Nos | 11589 | 0 | 0 | 0.016802
K.6.7, K.6.9 | Beam Detectors/IR (Flame) Detectors | Nos | 24 | 0 | 0 | 0.00017398
K.11.7, K.11.9, K.11.10 | Special Switches-Abort/Pneumatic/Manual | Nos | 45 | 0 | 0 | 0.00013048
K.11.2, K.11.3, K.11.4, K.11.5, K.11.6 | Sensitive Device-Release Device/Disable device | Nos | 118 | 0 | 0 | 0.00042681
XXIII | ERECTION AND COMMISSIONING OF FDA/FPS/IGES - LOCAL CONTROL PANELS
K.1.11 | Diesel Engine cum Battery Panel | SET | 5 | 0 | 0 | 0.00014491
K.1.16 | Switch Box cum Battery Panel | SET | 5 | 0 | 0 | 0.00014491
K.3.4, K.4.4, K.5.4 | Deluge Valve Control Panels | Nos | 319 | 0 | 0 | 0.0046249
K.7.1 | PLC Panel | SET | 1 | 0 | 0 | 0.00011957
K.9.5 | Remote IO Panel | SET | 2 | 0 | 0 | 0.00023915
K.6.1, K.6.2, K.11.13 | Fire Alarm/Repeater/Gas Release Panels | SET | 17 | 0 | 0 | 0.0012321
XXIV | ERECTION AND COMMISSIONING OF FDA/FPS/IGES - SPECIAL EQUIPMENTS
K.6.18 | Erection and Commissioning of Siren and its Control Panel | SET | 1 | 0 | 0 | 0.00014494
K.6.14 | Hooter Strobes | Nos | 250 | 0 | 0 | 0.00090427
K.6.12, K.6.13, K.6.15 | Modules/Controllers | Nos | 1232 | 0 | 0 | 0.017862
XXV | ERECTION AND COMMISSIONING OF FDA/FPS/IGES - MISCELLENEOUS EQUIPMENTS
K.6.10 | Manual Call points | Nos | 425 | 0 | 0 | 0.0061617
K.6.17 | EXIT/WARNING Signs | Nos | 250 | 0 | 0 | 0.00036245
K.6.23, K.6.25 | Establishing Network Connectivity (OPC/MODBUS) | Nos | 2 | 0 | 0 | 2.8966e-05
1
Total Price (In Rs.)
Total Price (In Words)
Note: (1) The above Quoted Price shall be excluding of GST, as applicable. The same shall be paid at actual. (2) Bidders to quote their most competitive price in Blue Colour Cell. (3) Kindly submit this price bid with signature and sealed of authorized signatory preferebly in pdf format. (4) Bidders shall quote only Total Pirce, individual values shall be calculated as per the weightage allotted.(Bidders to note that evaluation shall be done on Overall/ Lumpsum L1 basis.)