## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: BHEL TBG NOIDA
Name of Work: POWERGRID Substation Package SS-59T (Gopalpur)
Enquiry/NIT No: NIT No. 84969_Enquiry No.61G2500224 Rev-01 Dtd: 30-08-2024
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE In Figures To be entered by the Bidder in Rs. P | GST (in Percentage) | GST Amount (Unit Rate*Quantity*GST) Rs. P | Unit Freight & Insurance Charges in Rs. P |  |  |  | GST (in Percentage) | GST Amount on F&I (Unit Rate*Quantity*GST) Rs. P | [29 empty] | HSN / SAC Code |  | TOTAL Ex-Works + F & I AMOUNT excluding GST in Rs. P | TOTAL Ex-Works + F & I AMOUNT including GST in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1.01 | 400kV GOPALPUR (PG) GIS S/S (for item sl. No: 1.01-4.05) 420kV, 4000 A, 63 kA, SF6 GIS Bus bar module as per Section-Project,Technical specification | item1 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | 420kV, 3150 A, 63 kA, SF6 GIS Auxiliary Bus module for Spare Transformer as perSection-Project, Technical specification | item2 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | 420kV, 3150 A, 63 kA, SF6 GIS Bus Reactor bay module as per Section-Project, Technical specification | item3 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.04 | 420kV, 3150 A, 63 kA, SF6 GIS Tie bay module (without PIR) as per Section-Project, Technical specification | item4 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.05 | 420 kV, 3150 A, 63 kA, SF6 GIS Line feeder bay module (without PIR) as per Section-Project, Technical specification | item5 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.06 | 420KV, 3150 A, 63 KA, SF6 GIS ICT FEEDER BAY MODULE FOR IV SIDE CONNECTION WITH 765/400/33 kV ICT AS PER SECTION-PROJECT, TECHNICAL SPECIFICATION | item6 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.07 | 420KV, 3000A, 63KA, SINGLE PHASE, SF6 GAS INSULATED BUS DUCT (GIB) OUTSIDE GIS HALL ALONGWITH ASSOCIATED SUPPORT STRUCTURE, ETC. AS PER TECHNICAL SPECIFICATION | item7 | 1700 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.08 | 420KV, 3150A, 63KA SF6 TO AIR BUSHING (Single Phase) including support structure | item8 | 19 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.09 | Controlled Switching Device for 420 kV, 3-ph Circuit Breaker | item9 | 7 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.1 | GIS GROUNDING / EARTHING MATERIAL INCLUDING COPPER GROUNDING MESH | item10 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.01 | SPARES- 400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS- GIS METALLIC ENCLOSURE | item11 | 50 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.02 | SPARES- 400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS- EXPANSION BELLOWS/ JOINTS | item12 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.03 | SPARES- 400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS- TEE BEND | item13 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.04 | SPARES- 400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS- L BEND | item14 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.01 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GIS | item15 | 9 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.02 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GAS INSULATED BUS DUCT | item16 | 1700 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.03 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF SF6 TO AIR BUSHING | item17 | 19 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.04 | SERVICES- 400kV GIS: TESTING & COMMISSIONING OF GIS | item18 | 9 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.05 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF GAS INSULATED BUS DUCT | item19 | 1700 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.06 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF SF6 TO AIR BUSHING | item20 | 19 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.07 | SERVICES- 400kV GIS : FINAL SUCCESSFUL HV/ POWER FREQUENCY TESTING OF GIS INCLUDING ARRANGING OF HV TEST KIT ALONG WITH OPERATOR | item21 | 9 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.08 | SERVICES- 400kV GIS : INSULATION CO-ORDINATION STUDIES FOR GIS SYSTEM | item22 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.09 | SERVICES- 400kV GIS : TRAINING FOR GIS AT SITE | item23 | 2 | DAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.1 | SERVICES- 400kV GIS : TRAINING FOR GIS AT MANUFACTURER WORKS | item24 | 2 | DAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.01 | SERVICES- 400 KVGIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: - SERVICES FOR SUPERVISION OF ERECTION OF GIS | item25 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.02 | SERVICES- 400 KVGIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: - SERVICES FOR TESTING & COMMISSIONING OF GIS | item26 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.03 | SERVICES- 400 KVGIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS ERECTION SUPERVISION TEAM | item27 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.04 | SERVICES- 400 KVGIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS TESTING & COMMISSIONING TEAM | item28 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.05 | SERVICES- 400 KVGIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: DEMOBILIZATION & REMOBILIZATION CHARGES OF HV TEST KIT ALONG WITH OPERATOR | item29 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.01 | 400kV GOPALPUR (OPTCL) GIS S/S (for item sl. No: 5.01-9.05) 420kV, 4000 A, 63 kA, SF6 GIS Bus bar module as per Section-Project,Technical specification | item30 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.02 | 420kV, 3150 A, 63 kA, SF6 GIS Switchable Line Reactor bay module as per Section-Project, Technical specification | item31 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.03 | 420kV, 3150 A, 63 kA, SF6 GIS Tie bay module (without PIR) as per Section-Project, Technical specification | item32 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.04 | 420 kV, 3150 A, 63 kA, SF6 GIS Line feeder bay module (without PIR) as per Section-Project, Technical specification | item33 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.05 | 420KV, 3000A, 63KA, SINGLE PHASE, SF6 GAS INSULATED BUS DUCT (GIB) OUTSIDE GIS HALL ALONGWITH ASSOCIATED SUPPORT STRUCTURE, ETC. AS PER TECHNICAL SPECIFICATION | item34 | 1200 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.06 | 420KV, 3150A, 63KA SF6 TO AIR BUSHING (Single Phase) including support structure | item35 | 6 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.07 | GIS GROUNDING / EARTHING MATERIAL INCLUDING COPPER GROUNDING MESH | item36 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.01 | SPARES: 400KV GIS-SF6 GAS PRESSURE RELIEF DEVICE ASSEMBLY OF EACH TYPE | item37 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.02 | SPARES: SF6 PRESSURE GAUGE CUM SWITCH /DENSITY MONITORS AND PRESSURE SWITCH AS APPLICABLE, OF EACH TYPE-400KV GIS | item38 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.03 | SPARES: COUPLING DEVICE FOR PRESSURE GAUGE CUM SWITCH FOR CONNECTING GAS HANDLING PLANT OF EACH TYPE-400KV GIS | item39 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.04 | SPARES: RUBBER GASKETS, Ã‚â‚¬Å’OÃ‚â‚¬ÂRINGS AND SEALS FOR SF6 GAS FOR GIS ENCLOSURE OF EACH TYPE-400KV GIS | item40 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.05 | SPARES: 400KV GIS-MOLECULAR FILTER FOR SF6 GAS WITH FILTER BAGS (5 % OF TOTAL WEIGHT) | item41 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.06 | SPARES: CONTROL VALVES FOR SF6 GAS OF EACH TYPE-400KV GIS | item42 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.07 | SPARES: 400KV GIS-SF6 GAS (5 % OF TOTAL GAS QUANTITY) | item43 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.08 | SPARES: LOCKING DEVICE TO KEEP THE DIS-CONNECTORS (ISOLATORS) AND EARTHING/FAST EARTHING SWITCHES IN CLOSE OR OPEN POSITION IN CASE OF REMOVAL OF THE DRIVING MECHANISM-400KV GIS | item44 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.09 | SPARES: UHF PD SENSORS OF EACH TYPE ALONG WITH BNC CONNECTOR FOR 420KV GIS | item45 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.1 | SPARES: 400KV GIS-SUPPORT INSULATORS (GAS THROUGH) OF EACH TYPE (COMPLETE WITH METAL RING ETC.) ALONG WITH ASSOCIATED CONTACTS AND SHIELDS | item46 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.11 | SPARES: 400KV GIS-GAS BARRIERS OF EACH TYPE (COMPLETE WITH METAL RING ETC.) ALONG WITH ASSOCIATED CONTACTS AND SHIELDS | item47 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.12 | SPARES: 400KV GIS- 4000A SF6 TO AIR BUSHING COMPLETE IN ALL RESPECT | item48 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.13 | SPARES: LCC SPARES - AUX. RELAYS, CONTACTORS, PUSH BUTTONS, SWITCHES, LAMPS, ANNUNCIATION WINDOWS, MCB, FUSES,TIMERS, TERMINAL BLOCKS ETC. OF EACH TYPE & RATING-400kV GIS | item49 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.14 | SPARES: 400KV GIS-ONE POLE OF 4000A CIRCUIT BREAKER WITHOUT PIR WITH INTERRUPTER, MAIN CIRCUIT, ENCLOSURE AND OPERATING MECHANISM COMPLETE IN ALL RESPECT | item50 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.15 | SPARES: Trip coil assembly with resistor for 420kV GIS Circuit Breaker (as applicable) | item51 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.16 | SPARES: Closing coil assembly with resistor for 420kV GIS Circuit Breaker (as applicable) | item52 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.17 | SPARES: RELAYS, POWER CONTACTORS, PUSH BUTTONS, TIMERS & MCBs ETC. (AS APPLICABLE) OF EACH TYPE FOR 400KV GIS CIRCUIT BREAKER | item53 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.18 | SPARES: Auxiliary switch assembly of each type for 420kV GIS Circuit Breaker | item54 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.19 | SPARES: 400KV GIS CIRCUIT BREAKER-OPERATION COUNTER | item55 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.2 | SPARES: 400KV GIS CIRCUIT BREAKER-HYDRAULIC OPERATING MECHANISM WITH DRIVE MOTOR (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item56 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.21 | SPARES: HYDRAULIC FILTER OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item57 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.22 | SPARES: 400KV GIS CIRCUIT BREAKER- HOSE PIPE OF EACH TYPE (AS APPLICABLE) (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item58 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.23 | SPARES: 400KV GIS CIRCUIT BREAKER - N2 ACCUMULATOR (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item59 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.24 | SPARES: VALVES OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IFAPPLICABLE)-400KV GIS CIRCUIT BREKAER | item60 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.25 | SPARES: PIPE LENGTH (COPPER & STEEL) OF EACH SIZE & TYPE (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item61 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.26 | SPARES: PRESSURE SWITCHES OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IFAPPLICABLE)-400KV GIS CIRCUIT BREKAER | item62 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.27 | SPARES: PRESSURE GAUGE WITH COUPLING DEVICE OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item63 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.28 | SPARES: 400KV GIS CIRCUIT BREAKER-HYDRAULIC OIL (5% OF TOTAL OIL QUANTITY) (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item64 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.29 | SPARES: PRESSURE RELIEF DEVICE OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM,IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item65 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.3 | SPARES: 400KV GIS CIRCUIT BREAKER-COMPLETE SPRING OPERATING MECHANISM INCLUDING CHARGING MECHANISM ETC. (FOR SPRING OPERATED MECHANISM, IFAPPLICABLE) | item66 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.31 | SPARES: 400KV GIS CIRCUIT BREAKER- COMPLETE HYDRAULIC-SPRING OPERATING MECHANISM INCLUDING CHARGING MECHANISM ETC. (FOR HYDRAULIC-SPRING OPERATED MECHANISM, IF APPLICABLE) | item67 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.32 | SPARES: PRESSURE SWITCHES OF EACH TYPE FOR 420KV GIS CIRCUIT BREAKER (For Hydraulic-Spring Operated Mechanism, if applicable) | item68 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.33 | SPARES: PRESSURE GAUGE WITH COUPLING DEVICE OF EACH TYPE (FOR HYDRAULIC-SPRING OPERATED MECHANISM, IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item69 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.34 | SPARES: 400kV GIS- Single phase of 4000A disconnector switch including main circuit, enclosure, driving mechanism and support insulator etc., complete in all respect | item70 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.35 | SPARES: 400KV GIS- SINGLE PHASE MAINTENANCE EARTHING SWITCH INCLUDING MAIN CIRCUIT, ENCLOSURE, DRIVING MECHANISM AND SUPPORT INSULATOR ETC.,COMPLETE IN ALL RESPECT | item71 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.36 | SPARES: 400KV GIS - SINGLE PHASE FAST EARTHING SWITCH INCLUDING MAIN CIRCUIT, ENCLOSURE, DRIVING MECHANISM AND SUPPORT INSULATOR ETC., COMPLETE IN ALL RESPECT | item72 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.37 | SPARES: OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKING COILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS, RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONE OF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 400KV GIS DISCONNECTOR SWITCH | item73 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.38 | SPARES: OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKING COILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS, RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONE OF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 400KV GIS MAINTENANCE EARTH SWITCH | item74 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.39 | SPARES: OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKING COILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS, RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONE OF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 400KV GIS FAST EARTHING SWITCH | item75 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.4 | SPARES: LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FOR DISCONNECTOR-400KV GIS | item76 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.41 | SPARES: LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FOR MAINTENANCE EARTHING SWITCH-400KV GIS | item77 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.42 | SPARES: LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FOR FAST EARTHING SWITCH (IF APPLICABLE)-400KV GIS | item78 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.43 | SPARES: DRIVE MECHANISM FOR 400KV GIS DISCONNECTOR SWITCH | item79 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.44 | SPARES: DRIVE MECHANISM FOR 400KV GIS MAINTENANCE EARTH SWITCH | item80 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.45 | SPARES: DRIVE MECHANISM FOR 400KV GIS FAST EARTHING SWITCH | item81 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.46 | SPARES: MOTOR FOR DRIVE MECHANISM FOR 400KV GIS DISCONNECTOR SWITCH | item82 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.47 | SPARES: MOTOR FOR DRIVE MECHANISM FOR 400KV GIS MAINTENANCE EARTH SWITCH | item83 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.48 | SPARES: MOTOR FOR DRIVE MECHANISM FOR 400KV GIS FAST EARTHING SWITCH | item84 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.49 | SPARES: 400KV GIS- SINGLE PHASE OF CURRENT TRANSFORMER (3 CORES, TYPE-CTA) WITH ASSOCIATED ENCLOSURE AND PRIMARY CONDUCTOR COMPLETE IN ALL RESPECT | item85 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.5 | SPARES: 400KV GIS- SINGLE PHASE OF CURRENT TRANSFORMER (2 CORES, TYPE-CTB) WITH ASSOCIATED ENCLOSURE AND PRIMARY CONDUCTOR COMPLETE IN ALL RESPECT | item86 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.51 | SPARES: 400KV GIS- SINGLE PHASE VT WITH ASSOCIATED ENCLOSURE COMPLETE IN ALL RESPECT | item87 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.01 | SPARES- 400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS - GIS METALLIC ENCLOSURE | item88 | 50 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.02 | SPARES- 400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS - EXPANSION BELLOWS/ JOINTS | item89 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.03 | SPARES- 400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS- TEE BEND | item90 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.04 | SPARES- 400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS- L BEND | item91 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.01 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GIS | item92 | 8 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.02 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GAS INSULATED BUS DUCT | item93 | 1200 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.03 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF SF6 TO AIR BUSHING | item94 | 6 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.04 | SERVICES- 400kV GIS: TESTING & COMMISSIONING OF GIS | item95 | 8 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.05 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF GAS INSULATED BUS DUCT | item96 | 1200 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.06 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF SF6 TO AIR BUSHING | item97 | 6 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.07 | SERVICES- 400kV GIS : FINAL SUCCESSFUL HV/ POWER FREQUENCY TESTING OF GIS INCLUDING ARRANGING OF HV TEST KIT ALONG WITH OPERATOR | item98 | 8 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.08 | SERVICES- 400kV GIS : INSULATION CO-ORDINATION STUDIES FOR GIS SYSTEM | item99 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.09 | SERVICES- 400kV GIS : TRAINING FOR GIS AT SITE | item100 | 2 | DAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.1 | SERVICES- 400kV GIS : TRAINING FOR GIS AT MANUFACTURER WORKS | item101 | 2 | DAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.01 | SERVICES-400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: - SERVICES FOR SUPERVISION OF ERECTION OF GIS | item102 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.02 | SERVICES-400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: - SERVICES FOR TESTING & COMMISSIONING OF GIS | item103 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.03 | SERVICES-400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS ERECTION SUPERVISION TEAM | item104 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.04 | SERVICES-400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS TESTING & COMMISSIONING TEAM | item105 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.05 | SERVICES-400KV GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: DEMOBILIZATION & REMOBILIZATION CHARGES OF HV TEST KIT ALONG WITH OPERATOR | item106 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information