## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: BHEL TBG NOIDA
Name of Work: NTPC’s Singrauli Super Thermal Power Project Stage- III (2x800MW)
Enquiry/NIT No: NIT_86672_Enquiry No.61G2500385 dated 14-11-2024
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE In Figures To be entered by the Bidder in Rs. P | GST (in Percentage) | GST Amount (Unit Rate*Quantity*GST) Rs. P | Unit Freight & Insurance Charges in Rs. P |  |  |  | GST (in Percentage) | GST Amount on F&I (Unit Rate*Quantity*GST) Rs. P | [29 empty] | HSN / SAC Code |  | TOTAL Ex-Works + F & I AMOUNT excluding GST in Rs. P | TOTAL Ex-Works + F & I AMOUNT including GST in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1.01 | Supply- GIS: 400kV, 63kA, 4000A GIS with one and half breaker scheme as per the enclosed SLD, latest IEC standard & type tested equipment as per technical specification ( item sl. No: 1.01-1.18): Fully equipped 400kV, 63kA, 3150A GIS - Line bay module | item1 | 6 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Fully equipped 400kV, 63kA, 3150A GIS - GT bay module | item2 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Fully equipped 400kV, 63kA, 3150A GIS - Bus Reactor bay module - with CSD | item3 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.04 | Fully equipped 400kV, 63kA, 3150A GIS - ST bay module - with CSD | item4 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.05 | Fully equipped 400kV, 63kA, 3150A GIS - Tie GIS bay module - with CSD | item5 | 3 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.06 | Fully equipped 400kV, 63kA, 3150A GIS - Tie GIS bay module - without CSD | item6 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.07 | Fully equipped 400kV, 63kA, 3150A GIS - Tie GIS bay module for half diameter, directly connected to Main Bus | item7 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.08 | 400kV, 63kA, 4000A GIS - Busbar GIS module | item8 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.09 | 400kV, 63kA, 3150A GIS - Bus VT Modules & Bus Earth Switch for Main Bus | item9 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.1 | 400kV, 63kA, 3150A GIS - Gas Insulated Bus Duct from GIS bay modules upto SF6 Air bushings of Outgoing Lines/ Bus Reactor/ GT/ ST | item10 | 2250 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.11 | 400kV, 63kA, 3150A GIS - SF6 to air bushing | item11 | 33 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.12 | 400kV, 63kA GIS - LA/ Surgre arrester Module | item12 | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.13 | 400kV, 63kA, 4000A GIS - GIS Bus bar Extension Module (Applicable only in case of change in standard lengths of busbar modules of GIS/ standard bay pitch during detailed engineering, on account of reasons not attributed to bidder. In case there is no such change, the quantity of this item shall be reduced to zero.) | item13 | 6 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.14 | 400kV GIS - Local Control Cabinet (LCC) | item14 | 17 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.15 | 400kV GIS - SF6 gas required for placing GIS into successful operation | item15 | 20 | MT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.16 | Supply of structure material for Installation of 400kV GIS including support structure for GIS ducts, SF6 to air bushings, supports, platforms, ladders, foundation bolts, embedded parts in floors, Rails etc., which are required for installation of GIS as per the specification. | item16 | 65 | MT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.17 | Supply of Earthing material for 400kV GIS including High frequency earthing material, if required. The quantity shall be estimated & provided by bidder | item17 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.18 | Online continuous Partial Discharge Monitoring System (PDM) with all necessary accessories & auxiliaries) complete for 400kV GIS & Busducts | item18 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.01 | Supply: Mandatory Maintenance Equipment & Monitoring Equipment (item sl. No: 2.01-2.09): SF6 gas filling and evacuating equipment (Portable) | item19 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.02 | SF6 gas filling and evacuating equipment (Portable) | item20 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.03 | SF6 gas filtering, drying, storage and recycling plant | item21 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.04 | SF6 Gas leak detector | item22 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.05 | Operational analyser with DCRM kit | item23 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.06 | Hydraulic portable type ladder | item24 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.07 | Dew Point Meter | item25 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.08 | Portable PD Monitoring System for Gas Insulated Switchgear | item26 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.09 | SF6 gas analyzing equipment and instrument | item27 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.01 | Supply- Mandatory Spares for 400kV GIS (Item sl. No. 3.01-3.35): SF6 gas pressure Relief Devices, | item28 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.02 | SF6 Pressure gauge with coupling device cum switch or density monitors and pressure gauge, as applicable | item29 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.03 | Rubber gaskets, “O” Rings and seals for SF6 gas, including Circuit Breaker, Disconnector and other GIS equipment’s | item30 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.04 | Molecular filter for SF6 gas with filter bags | item31 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.05 | SF6 gas | item32 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.06 | Covers with all accessories necessary to close a compartment in case of dismantling of any part of the Enclosure to ensure the sealing of the compartment- For 1 phase enclosure | item33 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.07 | Locking device to keep the Dis-connectors and Earthing switches in close or open position in case of removal of the driving mechanism (If applicable) | item34 | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.08 | Bus support insulator of each type for single phase enclosure | item35 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.09 | SF6 to air bushing for 1 phase enclosure | item36 | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.1 | Spares for Local control cabinet: MCB, fuses, timers, Aux Relay of each type & rating, terminals of each type (Set) | item37 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.11 | All types of Corona shield | item38 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.12 | Windowscope/ Observing window, (if applicable) | item39 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.13 | Circuit Breaker-Complete Circuit Breaker 1 phase pole of each type & rating complete with interrupter, main circuit and enclosure with operating mechanism | item40 | 3 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.14 | Circuit Breaker-Trip Coil assembly with resistor as applicable, 3 Nos. of each type | item41 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.15 | Circuit Breaker-Closing Coil assembly with resistor as applicable, 3 Nos. of each type | item42 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.16 | Circuit Breaker-Relays, Power contactors, push buttons, timers & MCBs etc of each type & rating( If applicable) | item43 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.17 | Circuit Breaker-Closing assembly/ valve, If applicable | item44 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.18 | Circuit Breaker-Trip assembly/ valve, If applicable | item45 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.19 | Circuit Breaker-Aux. switch assembly | item46 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.2 | Circuit Breaker-Operation counter | item47 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.21 | Circuit Breaker-Rupture disc, if applicable | item48 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.22 | Circuit Breaker-Spare of pneumatic/ spring/ hydraulic operated mechanism (as per Main Supply) 1)Spare of pneumatic operated mechanism (complete) a. Motor for compressor – 1 no. b. Pressure switch and valve etc – 1 no. of each type 2)Spare of spring operated mechanism (complete) a . Motor – 1 no b. Limit switch etc– 1 no. of each type 3)Spare of hydraulic operated mechanism(complete) a. Motor – 1 no. b. Limit switch – 1 no. of each type | item49 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.23 | Disconnector- Complete set of 3 nos. of single phase disconnector including main circuit, enclosure and driving mechanism | item50 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.24 | Disconnector- High speed/ fast acting fault making grounding switch, 3 nos. of single phase of each rating, including main circuit, enclosure and driving mechanism | item51 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.25 | Disconnector- 3 nos. of single phase Earthing switch including main circuit, and driving mechanism | item52 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.26 | Disconnector- Open/ close contactor assembly, timers, key interlock for one complete (3phase) disconnector and earthing switch of each type & rating ( if applicable) | item53 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.27 | Disconnector- Limit switches and Aux. switches for complete 3-phase equipment- a) For Disconnector | item54 | 3 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.28 | Disconnector- Limit switches and Aux. switches for complete 3-phase equipment- b) For earth switch | item55 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.29 | Disconnector- Limit switches and Aux. switches for complete 3-phase equipment- c) For High speed earth switch | item56 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.3 | Disconnector- Relays. Power contactors, resistors, fuses, push buttons, timers & MCBs, if applicable- a) For Disconnector | item57 | 3 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.31 | Disconnector- Relays. Power contactors, resistors, fuses, push buttons, timers & MCBs, if applicable- b) For earth switch | item58 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.32 | Disconnector- Relays. Power contactors, resistors, fuses, push buttons, timers & MCBs, if applicable- c) For High speed earth switch | item59 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.33 | Current Transformer- Complete CT, as applicable, with enclosure, as applicable | item60 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.34 | Voltage Transformer- Gas Insulated complete VT with enclosure | item61 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.35 | SF6 Gas Insulated Surge Arrestor with enclosure | item62 | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.01 | Supply- Unit reference price of 400kV GIS part item/ equipment (Item sl No. 4.01-4.28): 400kV, 3150A Circuit breaker complete with enclosure without operating mechanism | item63 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.02 | 400kV, 3150A Disconnector without operating mechanism | item64 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.03 | 400 kV Maintenance Earthing switch without operating mechanism | item65 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.04 | 400kV High speed earth switch/ High speed make proof grounding switch without operating mechanism | item66 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.05 | Surge Arrestor including Surge Counter | item67 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.06 | 400kV Current transformer of Class PS | item68 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.07 | 400kV Current transformer of Class 0.2s | item69 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.08 | 400kV Voltage transformer | item70 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.09 | Operating Mechanism box for 400kV, 3150 A Circuit Breaker | item71 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.1 | Operating Mechanism box for 400kV, 3150 A Disconnector | item72 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.11 | Operating mechanism for 400kV, Maintenance Earthing Switch | item73 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.12 | Operating Mechanism for 400kV, High Speed Earthing Switch | item74 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.13 | 400kV, 1 Phase bus bar conductor | item75 | 1 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.14 | 400kV, 1 phase GIS metalic enclosure for bus bar/ any eqipment | item76 | 1 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.15 | 400kV, 1 Phase conductor for bus duct | item77 | 1 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.16 | 400kV, 1 phase GIS metalic enclosure for bus duct | item78 | 1 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.17 | Gas permeable/ communication/ barrier type Insulator | item79 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.18 | Gas non- permeable/ non - communication/ non-barrier type Insulator | item80 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.19 | UHF PD sensors | item81 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.2 | Pressure/ density monitor monitor device & Switch | item82 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.21 | Pressure relief device | item83 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.22 | Rupture disc | item84 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.23 | Elbow/ bend/ cross and T section | item85 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.24 | Expansion joint | item86 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.25 | Flexible connection for conductor | item87 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.26 | Gas seals | item88 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.27 | Controlled Switching Device for ONE set of 3150A, 3x1-phase, SF6 insulated circuit breaker | item89 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.28 | Enclosure for LCC Panel | item90 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.01 | Services- 400kV GIS- Supervision of Erection, Testing & Commissioning and handing over to Customer (item sl.no.5.01 to 5.11): Site visit for supervision of unloading & verification of 400kV GIS materials for proper storage and up-keeping at site | item91 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.02 | Supervision of erection of 400kV GIS bays including LCC | item92 | 17 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.03 | Supervision of erection of 400kV Gas insulated bus duct | item93 | 2250 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.04 | Supervision of erection of 400kV SF6 to air bushing/ connection | item94 | 33 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.05 | Testing & commissioning of 400kV GIS bays including LCC | item95 | 17 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.06 | Testing & commissioning of 400kV GIS Gas insulated bus duct | item96 | 2250 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.07 | Testing & commissioning of 400kV SF6 to air bushing/ connection | item97 | 33 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.08 | Final Successful High Voltage/ Power Frequency Testing of complete 400kV GIS | item98 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.09 | Insulation Co-ordination including VFTO Studies for 400kV GIS System | item99 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.1 | Final Documentation of 400kV GIS | item100 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.11 | Erection, testing & commissioning of Online continuous Partial Discharge Monitoring System (PDM) for 400kV GIS | item101 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.01 | Service- Training for 400kV GIS (Item sl. No. 601-6.02): 400kV GIS Training of 10 nos. Engineers (8 nos. customer engineers+2 nos. BHEL engineers) for a period of at least 5 working days at Manufacturer’s works | item102 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.02 | 400kV GIS Training of 8 nos. Engineers (6 nos. customer engineers+2 nos. BHEL engineers) for a period of at least 5 working days at project site | item103 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.01 | Service- Unit reference price of GIS service item (Item Sl. No: 7.01-7.06): Services of supervision for Erection of 400kV GIS | item104 | 10 | Manday |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.02 | Services of Testing & Commissioning of 400kV GIS | item105 | 10 | Manday |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.03 | Demobilization & remobilization charges for GIS erection supervision team | item106 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.04 | Demobilization & remobilization charges for GIS testing & commissioning team | item107 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.05 | Demobilization & remobilization charges HV Test Kit along with operator | item108 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.06 | Type Test Charges for conduction of Type Test on 400kV GIS | item109 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Sheet1 (hidden)
Annexure- Break up of Type Test Charges on 400kV GIS
The following type tests on typical 400kV GIS (As Applicable) GIS bay module as per IEC 62271-203. The components forming parts of the GIS which are covered by other standards shall comply with and shall be type tested according to those standards.
Sl. No. | Description of Test | Number of Type/ Rating | Charges for one Type/ Rating (Rs.) | Total Price (Rs.)
A. | The following type tests on typical 400kV (As Applicable) GIS bay module as per IEC 62271-203. The components forming parts of the GIS which are covered by other standards shall comply with and shall be type tested according to those standards.
(i) | Lightning impulse voltage dry tests.
(ii) | Switching impulse voltage dry tests.
(iii) | Power frequency voltage dry tests.
(iv) | Partial discharge tests.
(v) | Test to prove the temperature rise of any part of the equipment and measurement of the resistance of the main circuit.
(vi) | Test to prove the ability of the main circuit and earthing circuit to carry the rated peak and the rated short time withstand current.
(vii) | Test to verify the making and breaking capacity of the included switching devices.
(viii) | Test for satisfactory operation of the included switching devices.
(ix) | Test to prove the strength of enclosures.
(x) | Gas tightness tests
(xi) | Electromagnetic capability test ( EMC)
(xii) | Test on partitions
(xiii) | Internal arc tests
(xiv) | Mechanical operation tests.
(xv) | Test to prove the satisfactory operation at limit temperature.
(xvi) | Verification of degree of protection of auxiliary and control circuit
(xvii) | Test to prove performance under thermal cycling and gas tightness test on gas barrier insulators
(xviii) | Capacitive Current switching test
(xix) | Shunt reactor current switching test
B | For surge arrestor and Bus VT following type tests as per relevant IEC. 400kV (As Applicable) Surge Arrestor (As per IEC 60099-4)
(a) | Insulation withstand test on housing
(b) | Residual voltage test
(c) | Long duration current impulse withstand test
(d) | Pressure relief test (if applicable)
(e) | Operating duty test
(f) | Partial Discharge Test
(g) | Leakage Test
C | 400kV (As Applicable) Bus VT (As per IEC 60044-2)
(a) | Temperature rise test
(b) | Lighting Impulse test
(c) | Switching Impulse test
(d) | Determination of errors
(e) | Short circuit withstand capability
(f) | Chopped lighting impulse test
Total (Rs.):

## Macros
Please Enable Macros to View BoQ information