## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: BHEL TBG NOIDA
Name of Work: Powergrid's GIS pkg-II at KPS3
Enquiry/NIT No: NIT_87018_Enquiry No. 61Q2500406 Dated: 29-11-2024
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE In Figures To be entered by the Bidder in Rs. P | GST (in Percentage) | GST Amount (Unit Rate*Quantity*GST) Rs. P | Unit Freight & Insurance Charges in Rs. P |  |  |  | GST (in Percentage) | GST Amount on F&I (Unit Rate*Quantity*GST) Rs. P | [29 empty] | HSN / SAC Code |  | TOTAL Ex-Works + F & I AMOUNT excluding GST in Rs. P | TOTAL Ex-Works + F & I AMOUNT including GST in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1.101 | 1. 400kV GIS AC station at KPS3 (HVDC) SUPPLY- GIS : 400KV, 63KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (item sl. No. 1.1.01-1.1.12) 400KV, 3150A, 63KA, Single phase,SF6 Gas Insulated Bus Duct (GIB) outside GIS Hall alongwith associated support structure | item1 | 2500 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.102 | 420kV, 3150 A, 63 kA, SF6 GIS Converter feeder bay module as per Section-Project, Technical specification | item2 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.103 | 420kV, 3150 A, 63 kA, SF6 GIS Tie bay module (of Converter Feeder) as per Section-Project, Technical specification | item3 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.104 | 420kV, 3150 A, 63 kA, SF6 GIS Line feeder bay module as per Section-Project, Technical specification | item4 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.105 | 420kV, 3150 A, 63 kA, SF6 GIS Tie bay module as per Section-Project, Technical specification | item5 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.106 | 420kV, 3150 A, 63 kA, SF6 GIS Reactor feeder bay module as per Section-Project, Technical specification | item6 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.107 | 420kV, 3150 A, 63 kA, SF6 GIS Transformer feeder bay module as per Section-Project, Technical specification | item7 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.108 | 420kV, 4000 A, 63 kA, SF6 GIS Bus sectionaliser module as per Section-Project, Technical specification | item8 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.109 | 420kV, 4000 A, 63 kA, SF6 GIS Busbar module as per Section-Project, Technical specification | item9 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.11 | 420kV GIS Interface Module for Future Extension of Bus Bar As per TS | item10 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.111 | 420KV, 3150A, 63kA Single Phase SF6 to Air bushing connecting GIS to AIS alongwith support structure | item11 | 30 | EA |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.112 | Local Control Cubicle (LCC) | item12 | 18 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.201 | SUPPLY- GIS : SPECIAL TOOLS AND TESTING & MAINTENANCE INSTRUMENTS AS PER TS (Item sl. No: 1.2.01-1.2.03): SF6 Gas Processing unit | item13 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.202 | Gas Analyzer [Dew Point Meter] | item14 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.203 | SF6 gas leak detector | item15 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.301 | SPARES- GIS : 400KV, 63KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (Item sl. No. 1.3.01-1.3.52): 400KV GIS-SF6 GAS PRESSURE RELIEF DEVICE ASSEMBLY OF EACH TYPE with 'O' Rings | item16 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.302 | SF6 PRESSURE GAUGE CUM SWITCH /DENSITY MONITORS AND PRESSURESWITCH AS APPLICABLE, OF EACH TYPE-400KV GIS | item17 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.303 | COUPLING DEVICE FOR PRESSURE GAUGE CUM SWITCH FOR CONNECTINGGAS HANDLING PLANT OF EACH TYPE-400KV GIS | item18 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.304 | RUBBER GASKETS, 'O' RINGS AND SEALS FOR SF6 GAS FOR GISENCLOSURE OF EACH TYPE-400KV GIS | item19 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.305 | 400KV GIS-MOLECULAR FILTER FOR SF6 GAS WITH FILTER BAGS (3 % OF TOTALWEIGHT) | item20 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.306 | CONTROL VALVES FOR SF6 GAS OF EACH TYPE-400KV GIS | item21 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.307 | 400KV GIS-SF6 GAS (5 % OF TOTAL GAS QUANTITY) | item22 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.308 | LOCKING DEVICE TO KEEP THE DIS-CONNECTORS (ISOLATORS)AND EARTHING/FAST EARTHING SWITCHES IN CLOSE OR OPEN POSITION IN CASEOF REMOVAL OF THE DRIVING MECHANISM-400KV GIS | item23 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.309 | UHF PD SENSORS OF EACH TYPE ALONG WITH BNC CONNECTOR FOR 420KV GIS | item24 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.31 | 400KV GIS-SUPPORT INSULATORS (GAS THROUGH) OF EACH TYPE (COMPLETE WITHMETAL RING ETC.) ALONG WITH ASSOCIATED CONTACTS AND SHIELDS | item25 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.311 | 400KV GIS-GAS BARRIERS OF EACH TYPE (COMPLETE WITH METAL RING ETC.)ALONG WITH ASSOCIATED CONTACTS AND SHIELDS | item26 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.312 | 420KV, 3150A, 63kA Single phase SF6 to Air bushing of each type | item27 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.313 | LCC SPARES - AUX. RELAYS, CONTACTORS,PUSH BUTTONS, SWITCHES,LAMPS,ANNUNCIATION WINDOWS, MCB, FUSES,TIMERS, TERMINAL BLOCKS ETC. OF EACHTYPE & RATING-400kV GIS | item28 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.314 | 400KV GIS-ONE POLE OF 3150A CIRCUIT BREAKER WITHOUT PIR WITHINTERRUPTER, MAIN CIRCUIT, ENCLOSURE AND OPERATING MECHANISM COMPLETEIN ALL RESPECT | item29 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.315 | 400KV GIS-ONE POLE OF 4000A CIRCUIT BREAKER WITHOUT PIR WITHINTERRUPTER, MAIN CIRCUIT, ENCLOSURE AND OPERATING MECHANISM COMPLETEIN ALL RESPECT | item30 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.316 | Trip coil assembly with resistor for420kV GIS Circuit Breaker (asapplicable) | item31 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.317 | Closing coil assembly with resistor for420kV GIS Circuit Breaker (asapplicable) | item32 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.318 | Ferrules, Joints & Coupling of each type for CB | item33 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.319 | Window slope/ observing glass each type | item34 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.32 | RELAYS, POWER CONTACTORS, PUSH BUTTONS, TIMERS & MCBS ETC. (ASAPPLICABLE) OF EACH TYPE FOR 400KV GIS CIRCUIT BREAKER | item35 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.321 | Auxiliary switch assembly of each type for 420kV GIS Circuit Breaker | item36 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.322 | 400KV GIS CIRCUIT BREAKER-OPERATION COUNTER Each Type | item37 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.323 | 400KV GIS CIRCUIT BREAKER-HYDRAULIC OPERATING MECHANISM WITH DRIVEMOTOR (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item38 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.324 | HYDRAULIC FILTER OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IFPPLICABLE)-400KV GIS CIRCUIT BREKAER | item39 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.325 | 400KV GIS CIRCUIT BREAKER- HOSE PIPE OF EACH TYPE (AS APPLICABLE) (FORHYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item40 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.326 | 400KV GIS CIRCUIT BREAKER - N2 ACCUMULATOR (FOR HYDRAULIC OPERATEDMECHANISM, IF APPLICABLE) | item41 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.327 | VALVES OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IFAPPLICABLE)-400KV GIS CIRCUIT BREKAER | item42 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.328 | PIPE LENGTH (COPPER & STEEL) OF EACH SIZE & TYPE (FOR HYDRAULICOPERATED MECHANISM, IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item43 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.329 | PRESSURE SWITCHES OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IFAPPLICABLE)-400KV GIS CIRCUIT BREKAER | item44 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.33 | PRESSURE GAUGE WITH COUPLING DEVICE OF EACH TYPE (FOR HYDRAULICOPERATED MECHANISM, IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item45 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.331 | 400KV GIS CIRCUIT BREAKER-HYDRAULIC OIL (5% OF TOTAL OIL QUANTITY)(FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item46 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.332 | PRESSURE RELIEF DEVICE OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM,IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item47 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.333 | 400KV GIS CIRCUIT BREAKER-COMPLETE SPRING OPERATING MECHANISMINCLUDING CHARGING MECHANISM ETC. (FOR SPRING OPERATED MECHANISM, IFAPPLICABLE) of each type | item48 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.334 | 400kV GIS- Single phase of 3150Adisconnector switch including maincircuit, enclosure, driving mechanismand support insulator etc., complete inall respect (Note 1- The contractorshall supply spare for disconnectorswitch to ensure one to one replacementof all disconnector switch supplied asmain equipment without any requirementof modification in fittings at site tocover all different types ofdisconnector switch supplied. In case,quantity of supplied dis-connectorswitch types (for one to onereplacement) are more than the quantitymentioned in BPS for spare, thecontractor shall supply theseadditional types of disconnector switchwithout any additional priceimplication to POWERGRID and quantitiesof these additional type ofdisconnector switch are deem to beincluded in the quantities mentioned inBPS for spare disconnector. Note 2 - Incase, Dis-connector Switch (DS) & EarthSwitch (ES) is provided in a sameenclosure with common operatingmechanism, then the module comprisingof Dis-connector & Earth switch insingle enclosure with common operatingmechanism is to be provided under thehead of spare Dis-connector only. Note3- In case, Dis-connector Switch (DS)&Earth Switch (ES) is provided in asame enclosure with separate operatingmechanism, then the module comprisingof Dis-connector & Earth switch insingle enclosure with separateoperating mechanism is to be providedunder the head of spare Dis-connectoronly.) | item49 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.335 | 400KV GIS- SINGLE PHASE MAINTENANCE EARTHING SWITCH INCLUDING MAINCIRCUIT, ENCLOSURE, DRIVING MECHANISM AND SUPPORT INSULATOR ETC.,COMPLETE IN ALL RESPECT (NOTE 1 - IN CASE, DIS-CONNECTOR SWITCH (DS) &EARTH SWITCH (ES) IS PROVIDED IN A SAME ENCLOSURE WITH COMMONOPERATING MECHANISM, THEN THE MODULE COMPRISING OF DIS-CONNECTOR &EARTH SWITCH IN SINGLE ENCLOSURE WITH COMMON OPERATING MECHANISM IS TOBE PROVIDED UNDER THE HEAD OF SPARE DIS-CONNECTOR ONLY. NOTE 2 - INCASE, DIS-CONNECTOR SWITCH (DS) & EARTH SWITCH (ES) IS PROVIDED IN ASAME ENCLOSURE WITH SEPARATE OPERATING MECHANISM, THEN THE MODULECOMPRISING OF DIS-CONNECTOR & EARTH SWITCH IN SINGLE ENCLOSURE WITHSEPARATE OPERATING MECHANISM IS TO BE PROVIDED UNDER THE HEAD OF SPAREDIS-CONNECTOR ONLY.) | item50 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.336 | 400KV GIS - SINGLE PHASE FAST EARTHING SWITCH INCLUDING MAIN CIRCUIT,ENCLOSURE, DRIVING MECHANISM AND SUPPORT INSULATOR ETC., COMPLETE INALL RESPECT (NOTE 1 - IN CASE, DIS-CONNECTOR SWITCH (DS) & EARTHSWITCH (ES) IS PROVIDED IN A SAME ENCLOSURE WITH COMMON OPERATINGMECHANISM, THEN THE MODULE COMPRISING OF DIS-CONNECTOR & EARTH SWITCHIN SINGLE ENCLOSURE WITH COMMON OPERATING MECHANISM IS TO BE PROVIDEDUNDER THE HEAD OF SPARE DIS-CONNECTOR ONLY. NOTE 2 - IN CASE,DIS-CONNECTOR SWITCH (DS) & EARTH SWITCH (ES) IS PROVIDED IN A SAMEENCLOSURE WITH SEPARATE OPERATING MECHANISM, THEN THE MODULECOMPRISING OF DIS-CONNECTOR & EARTH SWITCH IN SINGLE ENCLOSURE WITHSEPARATE OPERATING MECHANISM IS TO BE PROVIDED UNDER THE HEAD OF SPAREDIS-CONNECTOR ONLY.) | item51 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.337 | OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKINGCOILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS,RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONEOF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 400KV GIS DISCONNECTORSWITCH | item52 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.338 | OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKINGCOILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS,RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONEOF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 400KV GIS MAINTENANCE EARTHSWITCH | item53 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.339 | OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKINGCOILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS,RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONEOF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 400KV GIS FAST EARTHINGSWITCH | item54 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.34 | LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FORDISCONNECTOR-400KV GIS | item55 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.341 | LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FORMAINTENANCE EARTHING SWITCH-400KV GIS | item56 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.342 | LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FOR FASTEARTHING SWITCH (IF APPLICABLE)-400KV GIS | item57 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.343 | DRIVE MECHANISM FOR 400KV GIS DISCONNECTOR SWITCH | item58 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.344 | DRIVE MECHANISM FOR 400KV GIS MAINTENANCE EARTH SWITCH | item59 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.345 | DRIVE MECHANISM FOR 400KV GIS FAST EARTHING SWITCH | item60 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.346 | MOTOR FOR DRIVE MECHANISM FOR 400KV GIS DISCONNECTOR SWITCH | item61 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.347 | MOTOR FOR DRIVE MECHANISM FOR 400KVGIS MAINTENANCE EARTH SWITCH | item62 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.348 | MOTOR FOR DRIVE MECHANISM FOR 400KV GIS FAST EARTHING SWITCH | item63 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.349 | 400KV GIS- SINGLE PHASE OF CURRENT TRANSFORMER (3 CORES, TYPE-CTA)WITH ASSOCIATED ENCLOSURE AND PRIMARY CONDUCTOR COMPLETE IN ALLRESPECT | item64 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.35 | 400KV GIS- SINGLE PHASE OF CURRENT TRANSFORMER (2 CORES, TYPE-CTB)WITH ASSOCIATED ENCLOSURE AND PRIMARY CONDUCTOR COMPLETE IN ALLRESPECT | item65 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.351 | GIS SPARES: 400KV GIS- SINGLE PHASE VT WITH ASSOCIATED ENCLOSURE COMPLETE IN ALL RESPECT | item66 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.352 | GIS SPARES: 400KV GIS- SINGLE PHASE LA WITH ASSOCIATED ENCLOSURE COMPLETE IN ALL RESPECT | item67 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.101 | 2. 400kV GIS AC station at KPS-3 STATION (EXTN) SUPPLY- GIS : 400KV, 63KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (Item sl. No. 2.1.01-2.1.08): 400KV, 3150A, 63KA, Single phase,SF6 Gas Insulated Bus Duct (GIB) outside GIS Hall alongwith associated support structure | item68 | 3000 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.102 | 420kV, 3150 A, 63 kA, SF6 GIS Line feeder bay module as per Section-Project, Technical specification | item69 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.103 | 420kV, 3150 A, 63 kA, SF6 GIS Tie bay module as per Section-Project, Technical specification | item70 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.104 | 420kV, 4000 A, 63 kA, SF6 GIS Bus extension as per Section-Project, Technical specification | item71 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.105 | 400KV, 4000A, 63KA, Single phase,SF6 Gas Insulated Bus Duct (GIB) outside GIS Hall alongwith associated support structure | item72 | 60 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.106 | 420kV GIS Interface Module for Future Extension of Bus Bar As per TS | item73 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.107 | 420KV, 3150A, 63kA Single Phase SF6 to Air bushing connecting GIS to AIS alongwith support structure | item74 | 12 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.108 | Local Control Cubicle (LCC) | item75 | 8 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.101 | 3. 400kV AC GIS Extension South Olpad SUPPLY- GIS : 400KV, 63KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (Item sl. No. 3.1.01-3.1.07): 400KV, 3150A, 63KA, Single phase,SF6 Gas Insulated Bus Duct (GIB) outside GIS Hall alongwith associated support structure | item76 | 600 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.102 | 420kV, 3150A, 63 kA, SF6 GIS Converter feeder bay module as per Section-Project, Technical specification | item77 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.103 | 420kV, 3150A, 63 kA, SF6 GIS Tie bay module (of Converter Feeder) as per Section-Project, Technical specification | item78 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.104 | 420kV, 4000 A, 63 kA, SF6 GIS Bus extension as per Section-Project, Technical specification | item79 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.105 | 420kV GIS Interface Module for Future Extension of Bus Bar As per TS | item80 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.106 | 420KV, 3150A, 63kA Single Phase SF6 to Air bushing connecting GIS to AIS alongwith associated support structure | item81 | 6 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.107 | Local Control Cubicle (LCC) | item82 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.201 | SUPPLY- GIS : SPECIAL TOOLS AND TESTING & MAINTENANCE INSTRUMENTS AS PER TS (Item Sl. No. 3.2.01-3.2.03): SF6 Gas Processing unit | item83 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.202 | Gas Analyzer [Dew Point Meter] | item84 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.203 | SF6 gas leak detector | item85 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.301 | SPARES- GIS : 400KV, 63KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (Item sl. No. 3.3.01-3.3.52): 400KV GIS-SF6 GAS PRESSURE RELIEF DEVICE ASSEMBLY OF EACH TYPE with 'O' Rings | item86 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.302 | SF6 PRESSURE GAUGE CUM SWITCH /DENSITY MONITORS AND PRESSURESWITCH AS APPLICABLE, OF EACH TYPE-400KV GIS | item87 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.303 | COUPLING DEVICE FOR PRESSURE GAUGE CUM SWITCH FOR CONNECTINGGAS HANDLING PLANT OF EACH TYPE-400KV GIS | item88 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.304 | RUBBER GASKETS, 'O' RINGS AND SEALS FOR SF6 GAS FOR GISENCLOSURE OF EACH TYPE-400KV GIS | item89 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.305 | 400KV GIS-MOLECULAR FILTER FOR SF6 GAS WITH FILTER BAGS (3 % OF TOTALWEIGHT) | item90 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.306 | CONTROL VALVES FOR SF6 GAS OF EACH TYPE-400KV GIS | item91 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.307 | 400KV GIS-SF6 GAS (5 % OF TOTAL GAS QUANTITY) | item92 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.308 | LOCKING DEVICE TO KEEP THE DIS-CONNECTORS (ISOLATORS)AND EARTHING/FAST EARTHING SWITCHES IN CLOSE OR OPEN POSITION IN CASEOF REMOVAL OF THE DRIVING MECHANISM-400KV GIS | item93 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.309 | UHF PD SENSORS OF EACH TYPE ALONG WITH BNC CONNECTOR FOR 420KV GIS | item94 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.31 | 400KV GIS-SUPPORT INSULATORS (GAS THROUGH) OF EACH TYPE (COMPLETE WITHMETAL RING ETC.) ALONG WITH ASSOCIATED CONTACTS AND SHIELDS | item95 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.311 | 400KV GIS-GAS BARRIERS OF EACH TYPE (COMPLETE WITH METAL RING ETC.)ALONG WITH ASSOCIATED CONTACTS AND SHIELDS | item96 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.312 | 420KV, 3150A, 63kA Single phase SF6 to Air bushing of each type | item97 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.313 | LCC SPARES - AUX. RELAYS, CONTACTORS,PUSH BUTTONS, SWITCHES,LAMPS,ANNUNCIATION WINDOWS, MCB, FUSES,TIMERS, TERMINAL BLOCKS ETC. OF EACHTYPE & RATING-400kV GIS | item98 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.314 | 400KV GIS-ONE POLE OF 3150A CIRCUIT BREAKER WITHOUT PIR WITHINTERRUPTER, MAIN CIRCUIT, ENCLOSURE AND OPERATING MECHANISM COMPLETEIN ALL RESPECT | item99 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.315 | 400KV GIS-ONE POLE OF 4000A CIRCUIT BREAKER WITHOUT PIR WITHINTERRUPTER, MAIN CIRCUIT, ENCLOSURE AND OPERATING MECHANISM COMPLETEIN ALL RESPECT | item100 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.316 | Trip coil assembly with resistor for420kV GIS Circuit Breaker (asapplicable) | item101 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.317 | Closing coil assembly with resistor for420kV GIS Circuit Breaker (asapplicable) | item102 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.318 | Ferrules, Joints & Coupling of each type for CB | item103 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.319 | Window slope/ observing glass each type | item104 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.32 | RELAYS, POWER CONTACTORS, PUSH BUTTONS, TIMERS & MCBS ETC. (ASAPPLICABLE) OF EACH TYPE FOR 400KV GIS CIRCUIT BREAKER | item105 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.321 | Auxiliary switch assembly of each type for 420kV GIS Circuit Breaker | item106 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.322 | 400KV GIS CIRCUIT BREAKER-OPERATION COUNTER Each Type | item107 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.323 | 400KV GIS CIRCUIT BREAKER-HYDRAULIC OPERATING MECHANISM WITH DRIVEMOTOR (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item108 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.324 | HYDRAULIC FILTER OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IFPPLICABLE)-400KV GIS CIRCUIT BREKAER | item109 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.325 | 400KV GIS CIRCUIT BREAKER- HOSE PIPE OF EACH TYPE (AS APPLICABLE) (FORHYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item110 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.326 | 400KV GIS CIRCUIT BREAKER - N2 ACCUMULATOR (FOR HYDRAULIC OPERATEDMECHANISM, IF APPLICABLE) | item111 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.327 | VALVES OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IFAPPLICABLE)-400KV GIS CIRCUIT BREKAER | item112 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.328 | PIPE LENGTH (COPPER & STEEL) OF EACH SIZE & TYPE (FOR HYDRAULICOPERATED MECHANISM, IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item113 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.329 | PRESSURE SWITCHES OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IFAPPLICABLE)-400KV GIS CIRCUIT BREKAER | item114 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.33 | PRESSURE GAUGE WITH COUPLING DEVICE OF EACH TYPE (FOR HYDRAULICOPERATED MECHANISM, IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item115 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.331 | 400KV GIS CIRCUIT BREAKER-HYDRAULIC OIL (5% OF TOTAL OIL QUANTITY)(FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item116 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.332 | PRESSURE RELIEF DEVICE OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM,IF APPLICABLE)-400KV GIS CIRCUIT BREKAER | item117 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.333 | 400KV GIS CIRCUIT BREAKER-COMPLETE SPRING OPERATING MECHANISMINCLUDING CHARGING MECHANISM ETC. (FOR SPRING OPERATED MECHANISM, IFAPPLICABLE) of each type | item118 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.334 | 400kV GIS- Single phase of 3150Adisconnector switch including maincircuit, enclosure, driving mechanismand support insulator etc., complete inall respect (Note 1- The contractorshall supply spare for disconnectorswitch to ensure one to one replacementof all disconnector switch supplied asmain equipment without any requirementof modification in fittings at site tocover all different types ofdisconnector switch supplied. In case,quantity of supplied dis-connectorswitch types (for one to onereplacement) are more than the quantitymentioned in BPS for spare, thecontractor shall supply theseadditional types of disconnector switchwithout any additional priceimplication to POWERGRID and quantitiesof these additional type ofdisconnector switch are deem to beincluded in the quantities mentioned inBPS for spare disconnector. Note 2 - Incase, Dis-connector Switch (DS) & EarthSwitch (ES) is provided in a sameenclosure with common operatingmechanism, then the module comprisingof Dis-connector & Earth switch insingle enclosure with common operatingmechanism is to be provided under thehead of spare Dis-connector only. Note3- In case, Dis-connector Switch (DS)&Earth Switch (ES) is provided in asame enclosure with separate operatingmechanism, then the module comprisingof Dis-connector & Earth switch insingle enclosure with separateoperating mechanism is to be providedunder the head of spare Dis-connectoronly.) | item119 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.335 | 400KV GIS- SINGLE PHASE MAINTENANCE EARTHING SWITCH INCLUDING MAINCIRCUIT, ENCLOSURE, DRIVING MECHANISM AND SUPPORT INSULATOR ETC.,COMPLETE IN ALL RESPECT (NOTE 1 - IN CASE, DIS-CONNECTOR SWITCH (DS) &EARTH SWITCH (ES) IS PROVIDED IN A SAME ENCLOSURE WITH COMMONOPERATING MECHANISM, THEN THE MODULE COMPRISING OF DIS-CONNECTOR &EARTH SWITCH IN SINGLE ENCLOSURE WITH COMMON OPERATING MECHANISM IS TOBE PROVIDED UNDER THE HEAD OF SPARE DIS-CONNECTOR ONLY. NOTE 2 - INCASE, DIS-CONNECTOR SWITCH (DS) & EARTH SWITCH (ES) IS PROVIDED IN ASAME ENCLOSURE WITH SEPARATE OPERATING MECHANISM, THEN THE MODULECOMPRISING OF DIS-CONNECTOR & EARTH SWITCH IN SINGLE ENCLOSURE WITHSEPARATE OPERATING MECHANISM IS TO BE PROVIDED UNDER THE HEAD OF SPAREDIS-CONNECTOR ONLY.) | item120 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.336 | 400KV GIS - SINGLE PHASE FAST EARTHING SWITCH INCLUDING MAIN CIRCUIT,ENCLOSURE, DRIVING MECHANISM AND SUPPORT INSULATOR ETC., COMPLETE INALL RESPECT (NOTE 1 - IN CASE, DIS-CONNECTOR SWITCH (DS) & EARTHSWITCH (ES) IS PROVIDED IN A SAME ENCLOSURE WITH COMMON OPERATINGMECHANISM, THEN THE MODULE COMPRISING OF DIS-CONNECTOR & EARTH SWITCHIN SINGLE ENCLOSURE WITH COMMON OPERATING MECHANISM IS TO BE PROVIDEDUNDER THE HEAD OF SPARE DIS-CONNECTOR ONLY. NOTE 2 - IN CASE,DIS-CONNECTOR SWITCH (DS) & EARTH SWITCH (ES) IS PROVIDED IN A SAMEENCLOSURE WITH SEPARATE OPERATING MECHANISM, THEN THE MODULECOMPRISING OF DIS-CONNECTOR & EARTH SWITCH IN SINGLE ENCLOSURE WITHSEPARATE OPERATING MECHANISM IS TO BE PROVIDED UNDER THE HEAD OF SPAREDIS-CONNECTOR ONLY.) | item121 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.337 | OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKINGCOILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS,RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONEOF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 400KV GIS DISCONNECTORSWITCH | item122 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.338 | OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKINGCOILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS,RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONEOF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 400KV GIS MAINTENANCE EARTHSWITCH | item123 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.339 | OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKINGCOILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS,RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONEOF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 400KV GIS FAST EARTHINGSWITCH | item124 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.34 | LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FORDISCONNECTOR-400KV GIS | item125 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.341 | LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FORMAINTENANCE EARTHING SWITCH-400KV GIS | item126 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.342 | LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FOR FASTEARTHING SWITCH (IF APPLICABLE)-400KV GIS | item127 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.343 | DRIVE MECHANISM FOR 400KV GIS DISCONNECTOR SWITCH | item128 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.344 | DRIVE MECHANISM FOR 400KV GIS MAINTENANCE EARTH SWITCH | item129 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.345 | DRIVE MECHANISM FOR 400KV GIS FAST EARTHING SWITCH | item130 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.346 | MOTOR FOR DRIVE MECHANISM FOR 400KV GIS DISCONNECTOR SWITCH | item131 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.347 | MOTOR FOR DRIVE MECHANISM FOR 400KVGIS MAINTENANCE EARTH SWITCH | item132 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.348 | MOTOR FOR DRIVE MECHANISM FOR 400KV GIS FAST EARTHING SWITCH | item133 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.349 | 400KV GIS- SINGLE PHASE OF CURRENT TRANSFORMER (3 CORES, TYPE-CTA)WITH ASSOCIATED ENCLOSURE AND PRIMARY CONDUCTOR COMPLETE IN ALLRESPECT | item134 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.35 | 400KV GIS- SINGLE PHASE OF CURRENT TRANSFORMER (2 CORES, TYPE-CTB)WITH ASSOCIATED ENCLOSURE AND PRIMARY CONDUCTOR COMPLETE IN ALLRESPECT | item135 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.351 | GIS SPARES: 400KV GIS- SINGLE PHASE VT WITH ASSOCIATED ENCLOSURE COMPLETE IN ALL RESPECT | item136 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.352 | GIS SPARES: 400KV GIS- SINGLE PHASE LA WITH ASSOCIATED ENCLOSURE COMPLETE IN ALL RESPECT | item137 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.01 | SPARES- GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS (Unit Prices of Individual Equipment included here or in manadatory spares are required for any Addition/Deletion of Equipment and replacement of damaged items. Bidder to ensure that the unit prices have a logical relationship with prices of assemblies in main items. Quoting for unit prices is mandatory and shall be considered for evaluation) (Item Sl. No. 4.01-4.05): SPARES: 400KV GIS- GIS METALLIC ENCLOSURE | item138 | 50 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.02 | SPARES: 400KV GIS- EXPANSION BELLOWS/ JOINTS | item139 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.03 | SPARES: 400KV GIS- TEE BEND | item140 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.04 | SPARES: 400KV GIS- L BEND | item141 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.05 | SPARES: Controlled Switching Device for 420 kV, 3-ph Circuit Breaker | item142 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.01 | 400kV GIS AC station at KPS3 (HVDC) SERVICES- GIS : 400KV, 63KA FOR IS, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (Item Sl. No. 5.01-5.10): SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GIS | item143 | 18 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.02 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GAS INSULATED BUS DUCT | item144 | 2500 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.03 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF SF6 TO AIR BUSHING | item145 | 30 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.04 | SERVICES- 400kV GIS: TESTING & COMMISSIONING OF GIS | item146 | 18 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.05 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF GAS INSULATED BUS DUCT | item147 | 2500 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.06 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF SF6 TO AIR BUSHING | item148 | 30 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.07 | SERVICES- 400kV GIS : FINAL SUCCESSFUL HV/ POWER FREQUENCY TESTING OF GIS INCLUDING ARRANGING OF HV TEST KIT ALONG WITH OPERATOR | item149 | 18 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.08 | SERVICES- 400kV GIS : INSULATION CO-ORDINATION STUDIES FOR GIS SYSTEM | item150 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.09 | SERVICES- 400kV GIS : TRAINING FOR GIS AT SITE | item151 | 2 | DAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.1 | SERVICES- 400kV GIS : TRAINING FOR GIS AT MANUFACTURER WORKS | item152 | 2 | DAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.01 | 400kV GIS AC station at KPS-3 STATION (EXTN) SERVICES- GIS : 400KV, 63KA FOR IS, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (Item Sl. No. 6.01-6.10): SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GIS | item153 | 12 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.02 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GAS INSULATED BUS DUCT | item154 | 3060 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.03 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF SF6 TO AIR BUSHING | item155 | 12 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.04 | SERVICES- 400kV GIS: TESTING & COMMISSIONING OF GIS | item156 | 12 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.05 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF GAS INSULATED BUS DUCT | item157 | 3060 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.06 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF SF6 TO AIR BUSHING | item158 | 12 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.07 | SERVICES- 400kV GIS : FINAL SUCCESSFUL HV/ POWER FREQUENCY TESTING OF GIS INCLUDING ARRANGING OF HV TEST KIT ALONG WITH OPERATOR | item159 | 12 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.08 | SERVICES- 400kV GIS : INSULATION CO-ORDINATION STUDIES FOR GIS SYSTEM | item160 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.09 | SERVICES- 400kV GIS : TRAINING FOR GIS AT SITE | item161 | 2 | DAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.1 | SERVICES- 400kV GIS : TRAINING FOR GIS AT MANUFACTURER WORKS | item162 | 2 | DAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.01 | 400kV AC GIS Extension South Olpad SERVICES- GIS : 400KV, 63KA FOR IS, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (Item sl. No. 7.01-7.10): SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GIS | item163 | 4 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.02 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GAS INSULATED BUS DUCT | item164 | 600 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.03 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF SF6 TO AIR BUSHING | item165 | 6 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.04 | SERVICES- 400kV GIS: TESTING & COMMISSIONING OF GIS | item166 | 4 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.05 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF GAS INSULATED BUS DUCT | item167 | 600 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.06 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF SF6 TO AIR BUSHING | item168 | 6 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.07 | SERVICES- 400kV GIS : FINAL SUCCESSFUL HV/ POWER FREQUENCY TESTING OF GIS INCLUDING ARRANGING OF HV TEST KIT ALONG WITH OPERATOR | item169 | 4 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.08 | SERVICES- 400kV GIS : INSULATION CO-ORDINATION STUDIES FOR GIS SYSTEM | item170 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.09 | SERVICES- 400kV GIS : TRAINING FOR GIS AT SITE | item171 | 2 | DAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.1 | SERVICES- 400kV GIS : TRAINING FOR GIS AT MANUFACTURER WORKS | item172 | 2 | DAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.01 | SERVICES- GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: (UNIT PRICES OF INDIVIDUAL SERVICES INCLUDED HERE ARE REQUIRED FOR ANY ADDITION/DELETION OF EQUIPMENT AND REPLACEMENT OF DAMAGED ITEMS. VENDOR TO ENSURE THAT THE UNIT PRICES HAVE A LOGICAL RELATIONSHIP WITH PRICES OF ASSEMBLIES IN MAIN ITEMS. QUOTING FOR UNIT PRICES IS MANDATORY AND SHALL BE CONSIDERED FOR EVALUATION) (Item sl. No. 8.01-8.05): SERVICES- 400kV GIS: REF. UNIT PRICE OF GIS INDIVIDUAL ITEM/ EQUIPMENT - SERVICES FOR SUPERVISION OF ERECTION OF GIS | item173 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.02 | SERVICES- 400kV GIS: REF. UNIT PRICE OF GIS INDIVIDUAL ITEM/ EQUIPMENT - SERVICES FOR TESTING & COMMISSIONING OF GIS | item174 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.03 | SERVICES- 400kV GIS: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS ERECTION SUPERVISION TEAM | item175 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.04 | SERVICES- 400kV GIS: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS TESTING & COMMISSIONING TEAM | item176 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.05 | SERVICES- 400kV GIS: DEMOBILIZATION & REMOBILIZATION CHARGES OF HV TEST KIT ALONG WITH OPERATOR | item177 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K159: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K164: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K183: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K184: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K185: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K186: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K188: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K189: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information