## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: BHEL TBG NOIDA
Name of Work: DTL'S 400/220/66KV GIS Tikrikhurd project.
Enquiry/NIT No: NIT_88773_Enq No. 61G2500488 Dated: 13-02-2025
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE In Figures To be entered by the Bidder in Rs. P | GST (in Percentage) | GST Amount (Unit Rate*Quantity*GST) Rs. P | Unit Freight & Insurance Charges in Rs. P |  |  |  | GST (in Percentage) | GST Amount on F&I (Unit Rate*Quantity*GST) Rs. P | [29 empty] | HSN / SAC Code |  | TOTAL Ex-Works + F & I AMOUNT excluding GST in Rs. P | TOTAL Ex-Works + F & I AMOUNT including GST in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1.01 | SUPPLY- GIS : 420KV, 63KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item No. 1.01-1.10): GIS BAY SUPPLY: Transformer bay module : 420kV, 3150A, SF6 gas insulated ICT feeder bay module each comprising of SF6 gas insulated circuit breaker, current transformer, bus-bar disconnectors with common grounding switch, line disconnector, safety grounding switches, SF6 gas monitoring system for complete bay, gas insulated terminal connection for connecting ICT with GIS through SF6 to Air Bushing/duct etc., to complete transformer bay module . | item1 | 5 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | GIS BAY SUPPLY: Reactor Bay module : 420kV, 3150A SF6 Bus Reactor bay module comprising of SF6 gas insulated circuit breaker, current transformer, disconnectors switches, safety grounding switches, SF6 gas monitoring system for the complete bus reactor bay for connecting reactor with GIS through SF6 to Air Bushing/duct etc., to complete Reactor bay module . | item2 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | GIS BAY SUPPLY: Feeder Bay Module : 420kV, 3150A, SF6 gas insulated Line feeder bay module each comprising of SF6 gas insulated circuit breaker, current transformer, bus-bar disconnectors with common grounding switch, line disconnector, safety grounding switches, high speed fault making grounding switch, surge arrestor, SF6 gas monitoring system for complete bay, gas insulated terminal connection for connecting Overhead line through SF6 to Air Bushing/SF6 Ducts etc. to complete feeder bay module. | item3 | 8 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.04 | GIS SUPPLY: Bus Bars : 420kV, 4000A, 3 single phase (isolated), SF6 gas insulated, metal enclosed bus bars each enclosed in three individual bus enclosures running along the length of the switchgear to interconnect each of circuit breaker bay module. Each bus bar set shall be complete with voltage transformer, disconnector with grounding switches, SF6 gas monitoring system for the complete bus etc. | item4 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.05 | GIS BAY SUPPLY: Tie Bay Module : 420kV, 3150A, SF6 gas insulated tie bay module each comprising of SF6 gas insulated circuit breaker, current transformer, disconnectors switches, safety grounding switches, SF6 gas monitoring system for the complete bay etc. | item5 | 7 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.06 | GIS BAY SUPPLY: Bus section Module 420kV, 3150A, SF6 gas insulated bus sectionaliser bay module comprising of SF6 gas insulated circuit breaker , current Transformer, two disconnectors with safety grounding switches, SF6 Gas monitoring system for complete bay etc. | item6 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.07 | GIS SUPPLY: 400kV, 3150A, SF6/Air Bushing for Connecting GIS to AIS, single phase | item7 | 42 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.08 | GIS SUPPLY: 400kV, 3150A, 1 Phase SF6 GIS Bus duct | item8 | 5300 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.09 | GIS SUPPLY: 400kV, GIS Bus duct support structure | item9 | 330 | MT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.1 | GIS SUPPLY: GIS SUPPLY: Local Control Cubicles (LCC) | item10 | 23 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.01 | SUPPLY- GIS : SPECIAL TOOLS AND TESTING & MAINTENANCE INSTRUMENTS AS PER TS (From item No. 2.01-2.11) SUPPLY- GIS : MANDATORY MAINTENANCE EQUIPMENT SUITABLE FOR GIS -SF6 Gas filling and evacuating plant | item11 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.02 | SUPPLY- GIS : MANDATORY MAINTENANCE EQUIPMENT SUITABLE FOR GIS -SF6 Gas Analyser | item12 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.03 | SUPPLY- GIS : MANDATORY MAINTENANCE EQUIPMENT SUITABLE FOR GIS -SF6 gas leak detector | item13 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.04 | GIS SUPPLY: Online Partial Discharge Monitoring System as per Technical Specification | item14 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.05 | SUPPLY- GIS : MANDATORY MAINTENANCE EQUIPMENT SUITABLE FOR GIS -Gas masks | item15 | 10 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.06 | SUPPLY- GIS : MANDATORY MAINTENANCE EQUIPMENT SUITABLE FOR GIS -Contact resistance meter | item16 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.07 | SUPPLY- GIS : MANDATORY MAINTENANCE EQUIPMENT SUITABLE FOR GIS -Circuit Breaker Operational Analyser with DCRM | item17 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.08 | SUPPLY- GIS : MANDATORY MAINTENANCE EQUIPMENT SUITABLE FOR GIS -Digital Insulation test kit,10 kV | item18 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.09 | SUPPLY- GIS : MANDATORY MAINTENANCE EQUIPMENT SUITABLE FOR GIS -Clamp on meter suitable for measuring the secondary current of CT in mA and load current upto 300 A | item19 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.1 | SUPPLY- GIS : MANDATORY MAINTENANCE EQUIPMENT SUITABLE FOR GIS -Digital Earth resistance meter complete with all accessories | item20 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.11 | SUPPLY- GIS : MANDATORY MAINTENANCE EQUIPMENT SUITABLE FOR GIS -Thermoscanning camera for transmission line and substations upto 400 kV | item21 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.01 | SPARES- GIS : 420KV, 63KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item No. 3.01-3.06) GIS SPARES: 400 KV GIS | item22 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.02 | GIS SPARES: 400kV CB | item23 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.03 | GIS SPARES: 400kV CT (single phase current transformers of each rating) | item24 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.04 | GIS SPARES: 400kV VT (Single phase VT complete with all Gaskets and mounting hardware) | item25 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.05 | GIS SPARES: 400kV Isolators & ES | item26 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.06 | GIS SPARES: 400 kV Surge arrestor | item27 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.01 | SPARES- GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS (Unit Prices of Individual Equipment included here or in manadatory spares are required for any Addition/Deletion of Equipment and replacement of damaged items. Bidder to ensure that the unit prices have a logical relationship with prices of assemblies in main items. Quoting for unit prices is mandatory and shall be considered for evaluation) (From item No. 4.01-4.07) SPARES: 400KV GIS- GIS METALLIC ENCLOSURE | item28 | 50 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.02 | SPARES: 400KV GIS- EXPANSION BELLOWS/ JOINTS | item29 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.03 | SPARES: 400KV GIS- TEE BEND | item30 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.04 | SPARES: 400KV GIS- L BEND | item31 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.05 | SPARES: 400kV, 3150A, 1 Phase SF6 GIS Bus duct | item32 | 1 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.06 | SPARES: 400 kV Surge arrestor | item33 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.07 | SPARES: Controlled Switching Device 3-ph Circuit Breaker | item34 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.01 | SERVICES- GIS : 400KV, 63KA FOR IS, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item No. 5.01-5.12) SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GIS | item35 | 23 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.02 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF GAS INSULATED BUS DUCT | item36 | 5300 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.03 | SERVICES- 400kV GIS: SUPERVISION OF ERECTION OF SF6 TO AIR BUSHING | item37 | 42 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.04 | SERVICES- 400kV GIS: TESTING & COMMISSIONING OF GIS | item38 | 23 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.05 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF GAS INSULATED BUS DUCT | item39 | 5300 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.06 | SERVICES- 400kV GIS : TESTING & COMMISSIONING OF SF6 TO AIR BUSHING | item40 | 42 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.07 | SERVICES- 400kV GIS : FINAL SUCCESSFUL HV/ POWER FREQUENCY TESTING OF GIS INCLUDING ARRANGING OF HV TEST KIT ALONG WITH OPERATOR | item41 | 23 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.08 | SERVICES- 400kV GIS : INSULATION CO-ORDINATION STUDIES FOR GIS SYSTEM | item42 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.09 | SERVICES- 400kV GIS : TRAINING FOR GIS AT SITE | item43 | 40 | MANDAYS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.1 | SERVICES- 400kV GIS : TRAINING FOR GIS AT MANUFACTURER WORKS | item44 | 20 | MANDAYS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.11 | SERVICES- 400kV GIS : SUPERVISION OF ERECTION OF ONLINE PD MONITORING SYSTEM | item45 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.12 | SERVICES- 400kV GIS :TESTING & COMMISSIONING OF ONLINE PD MONITORING SYSTEM | item46 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.01 | SERVICES- GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: (UNIT PRICES OF INDIVIDUAL SERVICES INCLUDED HERE ARE REQUIRED FOR ANY ADDITION/DELETION OF EQUIPMENT AND REPLACEMENT OF DAMAGED ITEMS. VENDOR TO ENSURE THAT THE UNIT PRICES HAVE A LOGICAL RELATIONSHIP WITH PRICES OF ASSEMBLIES IN MAIN ITEMS. QUOTING FOR UNIT PRICES IS MANDATORY AND SHALL BE CONSIDERED FOR EVALUATION) (From item No. 6.01-6.05) SERVICES- 400kV GIS: REF. UNIT PRICE OF GIS INDIVIDUAL ITEM/ EQUIPMENT - SERVICES FOR SUPERVISION OF ERECTION OF GIS | item47 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.02 | SERVICES- 400kV GIS: REF. UNIT PRICE OF GIS INDIVIDUAL ITEM/ EQUIPMENT - SERVICES FOR TESTING & COMMISSIONING OF GIS | item48 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.03 | SERVICES- 400kV GIS: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS ERECTION SUPERVISION TEAM | item49 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.04 | SERVICES- 400kV GIS: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS TESTING & COMMISSIONING TEAM | item50 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.05 | SERVICES- 400kV GIS: DEMOBILIZATION & REMOBILIZATION CHARGES OF HV TEST KIT ALONG WITH OPERATOR | item51 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.01 | SUPPLY- GIS : 220KV, 50KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item No. 7.01-7.12): 500MVA Transformer I/C Bay Module : 245kV, 2500 A, SF6 gas insulated 500MVA transformer incomer bay module each comprising of SF6 gas insulated circuit breaker, current transformer, bus-bar disconnectors with common grounding switch, line disconnector, safety grounding switches, SF6 gas monitoring system for complete bay, gas insulated terminal connection for connecting ICT with GIS through double run cable directly indoor type GIS cable termination., to complete transformer incomer bay module. | item52 | 5 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.02 | 160MVA Transformer Bay Module: 245kV, 1600 A, SF6 gas insulated 160/100 MVA transformer bay module each comprising of SF6 gas insulated circuit breaker, current transformer, bus-bar disconnectors with common grounding switch, line disconnector, safety grounding switches, SF6 gas monitoring system for complete bay, gas insulated terminal connection for connecting transformer with GIS through duct/SF6 to Air bushing etc. to complete transformer bay module. | item53 | 4 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.03 | Feeder Bay Module : 245kV, 1600A, SF6 gas insulated Line feeder bay module each comprising of SF6 gas insulated circuit breaker, current transformer, two bus-bar disconnectors with common grounding switch, line disconnector, safety grounding switches, high speed fault making grounding switch, surge arresters, SF6 gas monitoring system for complete bay, PT, disconector switch for PT, gas insulated terminal connection for connecting feeders through SF6 to Air Bushing/duct. to complete feeder bay module. | item54 | 14 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.04 | Reactor Bay Module: 245kV, 1600 A, SF6 gas insulated reactor bay module each comprising of SF6 gas insulated circuit breaker, current transformer, bus-bar disconnectors with common grounding switch, line disconnector, safety grounding switches, SF6 gas monitoring system for complete bay, gas insulated terminal connection for connecting reactor with GIS throughindoor cable termination bay module. | item55 | 2 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.05 | Bus Coupler Bay : 245kV, 2500A, SF6 gas insulated bus coupler bay module comprising of SF6 gas insulated circuit breaker, current transformer, disconnectors switches, safety grounding switches, SF6 gas monitoring system for the complete bay etc. | item56 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.06 | Bus sectionaliser Bay Module: 245 kV 2500A SF6 gas insulated bus sectionaliser bay module comparising of SF6 gas insulated circuit breaker , current Transformer, two disconnectors with safety grounding switches, SF6 Gas monitoring system for complete bay etc. | item57 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.07 | Bus Bars : 245kV, 3-phase or single phase encapsulated unit, SF6 gas insulated, metal enclosed 2500A bus bars each enclosed in bus enclosures running along the length of the switchgear to interconnect each of circuit breaker bay module. Each bus bar set shall be complete with voltage transformer, disconnector with grounding switches, SF6 gas monitoring system for the complete bus etc. | item58 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.08 | 245kV, 1600A, SF6/Air Bushing for Connecting GIS to AIS alongwith support structure, single phase | item59 | 54 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.09 | 245kV, 1600A, 1 Phase SF6 GIS Bus duct | item60 | 1900 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.1 | GIS SUPPLY: 220kV, GIS Bus duct support structure | item61 | 60 | MT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.11 | GIS SUPPLY: Local Control Cubicles (LCC) | item62 | 29 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
7.12 | Portable Partial Discharge Monitoring System as per Technical Specification | item63 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.01 | SPARES- GIS : 220KV, 50KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item No. 8.01-8.06): 220 KV GIS | item64 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.02 | 245kV CB | item65 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.03 | 245kV CT (single phase current transformers of each rating) | item66 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.04 | 245kV VT (Single phase VT complete with all Gaskets and mounting hardware) | item67 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.05 | 245kV Isolators & ES | item68 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
8.06 | 220 kV Surge arrestor | item69 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.01 | SPARES- GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS (Unit Prices of Individual Equipment included here or in manadatory spares are required for any Addition/Deletion of Equipment and replacement of damaged items. Bidder to ensure that the unit prices have a logical relationship with prices of assemblies in main items. Quoting for unit prices is mandatory and shall be considered for evaluation) (From item No. 9.01-9.08): SPARES: 400KV GIS- GIS METALLIC ENCLOSURE | item70 | 50 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.02 | SPARES: 220KV GIS- EXPANSION BELLOWS/ JOINTS | item71 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.03 | SPARES: 220KV GIS- TEE BEND | item72 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.04 | SPARES: 220KV GIS- L BEND | item73 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.05 | SPARES: 220kV, 1 Phase SF6 GIS Bus duct | item74 | 1 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.06 | SPARES: 220 kV Surge arrestor | item75 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.07 | SPARES: 220kV, GIS Bus duct support structure | item76 | 1 | MT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
9.08 | SPARES: Controlled Switching Device 3-ph Circuit Breaker | item77 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
10.01 | SERVICES- GIS : 220KV, 50KA FOR IS, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item No. 10.01-10.10): SERVICES- 220kV GIS: SUPERVISION OF ERECTION OF GIS | item78 | 29 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
10.02 | SERVICES- 220kV GIS: SUPERVISION OF ERECTION OF GAS INSULATED BUS DUCT | item79 | 1900 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
10.03 | SERVICES- 220kV GIS: SUPERVISION OF ERECTION OF SF6 TO AIR BUSHING | item80 | 54 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
10.04 | SERVICES- 220kV GIS: TESTING & COMMISSIONING OF GIS | item81 | 29 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
10.05 | SERVICES- 220kV GIS : TESTING & COMMISSIONING OF GAS INSULATED BUS DUCT | item82 | 1900 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
10.06 | SERVICES- 220kV GIS : TESTING & COMMISSIONING OF SF6 TO AIR BUSHING | item83 | 54 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
10.07 | SERVICES- 220kV GIS : FINAL SUCCESSFUL HV/ POWER FREQUENCY TESTING OF GIS INCLUDING ARRANGING OF HV TEST KIT ALONG WITH OPERATOR | item84 | 29 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
10.08 | SERVICES- 220kV GIS : INSULATION CO-ORDINATION STUDIES FOR GIS SYSTEM | item85 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
10.09 | SERVICES- 220kV GIS : TRAINING FOR GIS AT SITE | item86 | 20 | MANDAYS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
10.1 | SERVICES- 220kV GIS : TRAINING FOR GIS AT MANUFACTURER WORKS | item87 | 10 | MANDAYS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
11.01 | SERVICES- GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: (UNIT PRICES OF INDIVIDUAL SERVICES INCLUDED HERE ARE REQUIRED FOR ANY ADDITION/DELETION OF EQUIPMENT AND REPLACEMENT OF DAMAGED ITEMS. VENDOR TO ENSURE THAT THE UNIT PRICES HAVE A LOGICAL RELATIONSHIP WITH PRICES OF ASSEMBLIES IN MAIN ITEMS. QUOTING FOR UNIT PRICES IS MANDATORY AND SHALL BE CONSIDERED FOR EVALUATION) (From item No. 11.01-11.05): SERVICES- 220kV GIS: REF. UNIT PRICE OF GIS INDIVIDUAL ITEM/ EQUIPMENT - SERVICES FOR SUPERVISION OF ERECTION OF GIS | item88 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
11.02 | SERVICES- 220kV GIS: REF. UNIT PRICE OF GIS INDIVIDUAL ITEM/ EQUIPMENT - SERVICES FOR TESTING & COMMISSIONING OF GIS | item89 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
11.03 | SERVICES- 220kV GIS: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS ERECTION SUPERVISION TEAM | item90 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
11.04 | SERVICES- 220kV GIS: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS TESTING & COMMISSIONING TEAM | item91 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
11.05 | SERVICES- 220kV GIS: DEMOBILIZATION & REMOBILIZATION CHARGES OF HV TEST KIT ALONG WITH OPERATOR | item92 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
12.01 | SUPPLY- GIS : 66KV, 31.5KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item No. 12.01-12.07): Transformer Bay Module : 72.5kV, 2000/2500A, SF6 gas insulated transformer bay module each comprising of SF6 gas insulated circuit breaker, current transformer, Two nos. of bus-bar disconnectors with common grounding switch, line disconnector with one normal & one high speed fault make grounding switch, surge arrestors, SF6 gas monitoring system for complete bay, gas insulated terminal connection for connecting transformer through XLPE cable with cable end box and accessories with GIS, etc. to complete transformer bay module. | item93 | 4 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
12.02 | Feeder Bay Module : 72.5kV, 2000A, SF6 gas insulated feeder bay module each comprising of SF6 gas insulated circuit breaker(2000A), current transformer, two bus-bar disconnectors with one earthing switch, line disconnector with one normal & one high speed fault make grounding switch, surge arrestors, SF6 gas monitoring system for complete bay, PT, gas insulated terminal connection for connecting XLPE cable with cable termination enclosure and accessories with GIS, etc. to complete feeder bay module. | item94 | 22 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
12.03 | Bus Bars: 72.5kV, 3000A, 3-phase or single phase encapsulated unit, SF6 gas insulated, metal enclosed bus bars each enclosed in bus enclosures running along the length of the switchgear to interconnect each of circuit breaker bay module. Each bus bar set shall be complete with voltage transformer, disconnector with safety ground switches, SF6 Gas monitoring system etc for the complete bus | item95 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
12.04 | Bus Coupler Bay : 72.5kV, 2500A, SF6 gas insulated bus coupler bay module comprising of SF6 gas insulated circuit breaker, current transformer, two nos. of disconnectors with earthing switches, SF6 gas monitoring system for complete bay, etc. | item96 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
12.05 | Bus Sectionliser bay : 72.5kV, 2500A, SF6 gas insulated bus bus Sectionliser bay module comprising of SF6 gas insulated circuit breaker, current transformer, two nos. of disconnectors with earthing switches, SF6 gas monitoring system for complete bay, etc. | item97 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
12.06 | GIS SUPPLY: Local Control Cubicles (LCC) | item98 | 30 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
12.07 | Portable Partial Discharge Monitoring System as per Technical Specification | item99 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
13.01 | SPARES- GIS : 66KV, 31.5KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item No. 13.01-13.06): 66kV GIS | item100 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
13.02 | 66kV Circuit Breaker | item101 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
13.03 | 66kV Isolator | item102 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
13.04 | 66kV CT | item103 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
13.05 | 66kV Voltage transformer | item104 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
13.06 | 66kV SurgeArrestor | item105 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
14.01 | SPARES- GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS (Unit Prices of Individual Equipment included here or in manadatory spares are required for any Addition/Deletion of Equipment and replacement of damaged items. Bidder to ensure that the unit prices have a logical relationship with prices of assemblies in main items. Quoting for unit prices is mandatory and shall be considered for evaluation) (From item No. 14.01-14.05): SPARES: 66 KV GIS- GIS METALLIC ENCLOSURE | item106 | 50 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
14.02 | SPARES: 66 KV GIS- EXPANSION BELLOWS/ JOINTS | item107 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
14.03 | SPARES: 66 KV GIS- TEE BEND | item108 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
14.04 | SPARES: 66 KV GIS- L BEND | item109 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
14.05 | SPARES: 66 kV Surge arrestor | item110 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
15.01 | SERVICES- GIS : 66KV, 31.5KA FOR IS, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item No. 15.01-15.06): SERVICES- 66kV GIS: SUPERVISION OF ERECTION OF GIS | item111 | 30 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
15.02 | SERVICES- 66kV GIS: TESTING & COMMISSIONING OF GIS | item112 | 30 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
15.03 | SERVICES- 66kV GIS : FINAL SUCCESSFUL HV/ POWER FREQUENCY TESTING OF GIS INCLUDING ARRANGING OF HV TEST KIT ALONG WITH OPERATOR | item113 | 30 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
15.04 | SERVICES- 66kV GIS : INSULATION CO-ORDINATION STUDIES FOR GIS SYSTEM | item114 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
15.05 | SERVICES- 66kV GIS : TRAINING FOR GIS AT SITE | item115 | 20 | MANDAYS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
15.06 | SERVICES- 66kV GIS : TRAINING FOR GIS AT MANUFACTURER WORKS | item116 | 10 | MANDAYS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
16.01 | SERVICES- GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: (UNIT PRICES OF INDIVIDUAL SERVICES INCLUDED HERE ARE REQUIRED FOR ANY ADDITION/DELETION OF EQUIPMENT AND REPLACEMENT OF DAMAGED ITEMS. VENDOR TO ENSURE THAT THE UNIT PRICES HAVE A LOGICAL RELATIONSHIP WITH PRICES OF ASSEMBLIES IN MAIN ITEMS. QUOTING FOR UNIT PRICES IS MANDATORY AND SHALL BE CONSIDERED FOR EVALUATION) (From item No. 16.01-16.05): SERVICES- 66kV GIS: REF. UNIT PRICE OF GIS INDIVIDUAL ITEM/ EQUIPMENT - SERVICES FOR SUPERVISION OF ERECTION OF GIS | item117 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
16.02 | SERVICES- 66kV GIS: REF. UNIT PRICE OF GIS INDIVIDUAL ITEM/ EQUIPMENT - SERVICES FOR TESTING & COMMISSIONING OF GIS | item118 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
16.03 | SERVICES- 66kV GIS: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS ERECTION SUPERVISION TEAM | item119 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
16.04 | SERVICES- 66kV GIS: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS TESTING & COMMISSIONING TEAM | item120 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
16.05 | SERVICES- 66kV GIS: DEMOBILIZATION & REMOBILIZATION CHARGES OF HV TEST KIT ALONG WITH OPERATOR | item121 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information