## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: BHEL TBG NOIDA
Name of Work: POWERGRID’s Substation Package SS-103T (Tuticorin)
Enquiry/NIT No: NIT_89158_Enq No. 61Q2500520 Dated 27-02-2025
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit RATE In Figures To be entered by the Bidder in Rs. P | GST (in Percentage) | GST Amount (Unit Rate*Quantity*GST) Rs. P | Unit Freight & Insurance Charges in Rs. P |  |  |  | GST (in Percentage) | GST Amount on F&I (Unit Rate*Quantity*GST) Rs. P | [29 empty] | HSN / SAC Code |  | TOTAL Ex-Works + F & I AMOUNT excluding GST in Rs. P | TOTAL Ex-Works + F & I AMOUNT including GST in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1.01 | SUPPLY- GIS : 765KV, 50KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item Sl. No. 1.01-1.12): SUPPLY- GIS: 800kV, 4000A, 50kA, SF6 GIS Bus bar module as per Section-Project, Technical specification | item1 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | SUPPLY- GIS BAY: 800kV, 3150 A, 50 kA, SF6 GIS ICT feeder bay module as per Section-Project, Technical specification | item2 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | SUPPLY- GIS: 800kV, 3150A, 50kA, SF6 GIS Auxiliary bus module for spare transformer as per Section-Project, Technical specification | item3 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.04 | SUPPLY- GIS BAY: 800kV, 3150A, 50kA, SF6 GIS Bus Reactor feeder bay module as per Section-Project, Technical specification | item4 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.05 | SUPPLY- GIS: 800 kV, 3150A, 50kA, SF6 GIS Auxiliary bus module for spare bus Reactor as per Section-Project, Technical specification | item5 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.06 | SUPPLY- GIS BAY: 800kV, 3150A ,50kA, GIS Line feeder bay module (with PIR) as per Section-Project, Technical specification | item6 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.07 | SUPPLY- GIS BAY: 800 kV, 3150A, 50kA, SF6 GIS Tie bay module(with PIR) as per Section-Project, Technical specification | item7 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.08 | SUPPLY- GIS: 800kV, 3000/3150 A, 50kA, Single phase, SF6 Gas Insulated Bus Duct (GIB) outside GIS Hall along with associated support structure. | item8 | 950 | M |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.09 | SUPPLY- GIS: 765KV, 3150A, 50KAFOR 1 SEC, SINGLE PHASE, SF6 TO AIR BUSHINGALONGWITH ASSOCIATED SUPPORT STRUCTURE | item9 | 20 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.1 | SUPPLY- GIS: Controlled Switching Device for 765 kV, 3-ph Circuit Breaker | item10 | 7 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.11 | SUPPLY- GIS BAY: 800 kV, 3150A, 50kA, SF6 GIS Tie bay module(without PIR) as per Section-Project, Technical specification | item11 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
1.12 | SUPPLY- GIS: Local Control Cubicles (LCC) | item12 | 9 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.01 | SUPPLY- GIS : SPECIAL TOOLS AND TESTING & MAINTENANCE INSTRUMENTS AS PER TS (From item Sl. No. 2.01-2.05): SUPPLY- GIS: Portable Partial Discharge measurement test kit with all necessary accessories, Industrial Grade Laptop and licensed software as per Technical specification. | item13 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.02 | SUPPLY- GIS: SF6 Gas Analyzer | item14 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.03 | SUPPLY- GIS: SF6 Gas Leakage Detector | item15 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.04 | SUPPLY- GIS: SF6 Gas Filling and Evacuation Plant for 800kV GIS station | item16 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
2.05 | SUPPLY- GIS: Scissor Lift | item17 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.01 | SPARES- GIS : 765KV, 50KA FOR 1S, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item sl. No. 3.01-3.52): SPARES- GIS: 765KV GIS-SF6 GAS PRESSURE RELIEF DEVICE ASSEMBLY OF EACH TYPE | item18 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.02 | SPARES- GIS: SF6 PRESSURE GAUGE CUM SWITCH /DENSITY MONITORS AND PRESSURE SWITCH AS APPLICABLE, OF EACH TYPE-765KV GIS | item19 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.03 | SPARES- GIS: COUPLING DEVICE FOR PRESSURE GAUGE CUM SWITCH FOR CONNECTING GAS HANDLING PLANT OF EACH TYPE-765KV GIS | item20 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.04 | SPARES- GIS: RUBBER GASKETS, ''O'' RINGS AND SEALS FOR SF6 GAS FOR GIS ENCLOSURE OF EACH TYPE-765KV GIS | item21 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.05 | SPARES- GIS: 765KV GIS-MOLECULAR FILTER FOR SF6 GAS WITH FILTER BAGS | item22 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.06 | SPARES- GIS: CONTROL VALVES FOR SF6 GAS OF EACH TYPE-765KV GIS | item23 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.07 | SPARES- GIS: 765KV GIS-SF6 GAS | item24 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.08 | SPARES- GIS: LOCKING DEVICE TO KEEP THE DIS-CONNECTORS (ISOLATORS)AND EARTHING/FAST EARTHING SWITCHES IN CLOSE OR OPEN POSITION IN CASE OF REMOVAL OF THE DRIVING MECHANISM-765KV GIS | item25 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.09 | SPARES- GIS: UHF PD SENSORS OF EACH TYPE ALONG WITH BNC CONNECTOR FOR 765KV GIS | item26 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.1 | SPARES- GIS: 765KV GIS-SUPPORT INSULATORS (GAS THROUGH) OF EACH TYPE (COMPLETE WITH METAL RING ETC.) ALONG WITH ASSOCIATED CONTACTS AND SHIELDS | item27 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.11 | SPARES- GIS: 765KV GIS-GAS BARRIERS OF EACH TYPE (COMPLETE WITH METAL RING ETC.) ALONG WITH ASSOCIATED CONTACTS AND SHIELDS | item28 | 5 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.12 | SPARES- GIS: 765KV GIS- 3150A SF6 TO AIR BUSHING COMPLETE IN ALL RESPECT | item29 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.13 | SPARES- GIS: LCC SPARES - AUX. RELAYS, CONTACTORS, PUSH BUTTONS, SWITCHES, LAMPS, ANNUNCIATION WINDOWS, MCB, FUSES, TIMERS, TERMINAL BLOCKS ETC. OF EACH TYPE & RATING-765KV GIS | item30 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.14 | SPARES- GIS: 765KV GIS-ONE POLE OF 3150A CIRCUIT BREAKER WITHOUT PIR WITH INTERRUPTER, MAIN CIRCUIT, ENCLOSURE AND OPERATING MECHANISM COMPLETE IN ALL RESPECT | item31 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.15 | SPARES- GIS: 765KV GIS-ONE POLE OF 3150A CIRCUIT BREAKER WITH PIR WITH INTERRUPTER, MAIN CIRCUIT, ENCLOSURE AND OPERATING MECHANISM COMPLETE IN ALL RESPECT | item32 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.16 | SPARES- GIS: TRIP COIL ASSEMBLY WITH RESISTOR FOR765KV GIS CIRCUIT BREAKER (AS APPLICABLE) | item33 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.17 | SPARES- GIS: CLOSING COIL ASSEMBLY WITH RESISTOR FOR765 KV GIS CIRCUIT BREAKER (AS APPLICABLE) | item34 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.18 | SPARES- GIS: RELAYS, POWER CONTACTORS, PUSH BUTTONS, TIMERS & MCBS ETC. (AS APPLICABLE) OF EACH TYPE FOR 765KV GIS CIRCUIT BREAKER | item35 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.19 | SPARES- GIS: AUXILIARY SWITCH ASSEMBLY OF EACH TYPE FOR 765KV GIS CIRCUIT BREAKER | item36 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.2 | SPARES- GIS: 765KV GIS CIRCUIT BREAKER-OPERATION COUNTER | item37 | 3 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.21 | SPARES- GIS: 765KV GIS CIRCUIT BREAKER-HYDRAULIC OPERATING MECHANISM WITH DRIVE MOTOR (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item38 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.22 | SPARES- GIS: HYDRAULIC FILTER OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE)-765KV GIS CIRCUIT BREAKER | item39 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.23 | SPARES- GIS: 765KV GIS CIRCUIT BREAKER- HOSE PIPE OF EACH TYPE (AS APPLICABLE) (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item40 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.24 | SPARES- GIS: 765KV GIS CIRCUIT BREAKER - N2 ACCUMULATOR (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item41 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.25 | SPARES- GIS: VALVES OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE)-765KV GIS CIRCUIT BREAKER | item42 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.26 | SPARES- GIS: PIPE LENGTH (COPPER & STEEL) OF EACH SIZE & TYPE (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE)-765KV GIS CIRCUIT BREAKER | item43 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.27 | SPARES- GIS: PRESSURE SWITCHES OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE)-765KV GIS CIRCUIT BREAKER | item44 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.28 | SPARES- GIS: PRESSURE GAUGE WITH COUPLING DEVICE OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE)-765KV GIS CIRCUIT BREAKER | item45 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.29 | SPARES- GIS: 765KV GIS CIRCUIT BREAKER-HYDRAULIC OIL (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE) | item46 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.3 | SPARES- GIS: PRESSURE RELIEF DEVICE OF EACH TYPE (FOR HYDRAULIC OPERATED MECHANISM, IF APPLICABLE)-765KV GIS CIRCUIT BREAKER | item47 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.31 | SPARES- GIS: 765KV GIS CIRCUIT BREAKER-COMPLETE SPRING OPERATING MECHANISM INCLUDING CHARGING MECHANISM ETC. (FOR SPRING OPERATED MECHANISM, IF APPLICABLE) | item48 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.32 | SPARES- GIS: 765KV GIS CIRCUIT BREAKER- COMPLETE HYDRAULIC-SPRING OPERATING MECHANISM INCLUDING CHARGING MECHANISM ETC. (FOR HYDRAULIC-SPRING OPERATED MECHANISM, IF APPLICABLE) | item49 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.33 | SPARES- GIS: PRESSURE SWITCHES OF EACH TYPE FOR 765KV GIS CIRCUIT BREAKER (FOR HYDRAULIC-SPRING OPERATED MECHANISM, IF APPLICABLE) | item50 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.34 | SPARES- GIS: PRESSURE GAUGE WITH COUPLING DEVICE OF EACH TYPE (FOR HYDRAULIC-SPRING OPERATED MECHANISM, IF APPLICABLE)-765KV GIS CIRCUIT BREAKER | item51 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.35 | SPARES- GIS: 765KV GIS- SINGLE PHASE OF 3150A DISCONNECTOR SWITCH INCLUDING MAIN CIRCUIT, ENCLOSURE, DRIVING MECHANISM AND SUPPORT INSULATOR ETC., COMPLETE IN ALL RESPECT (NOTE 1- THE CONTRACTOR SHALL SUPPLY SPARE FOR DISCONNECTOR SWITCH TO ENSURE ONE TO ONE REPLACEMENT OF ALL DISCONNECTOR SWITCH SUPPLIED AS MAIN EQUIPMENT WITHOUT ANY REQUIREMENT OF MODIFICATION IN FITTINGS AT SITE TO COVER ALL DIFFERENT TYPES OF DISCONNECTOR SWITCH SUPPLIED. IN CASE, QUANTITY OF SUPPLIED DIS-CONNECTOR SWITCH TYPES (FOR ONE TO ONE REPLACEMENT) ARE MORE THAN THE QUANTITY MENTIONED IN BPS FOR SPARE, THE CONTRACTOR SHALL SUPPLY THESE ADDITIONAL TYPES OF DISCONNECTOR SWITCH WITHOUT ANY ADDITIONAL PRICE IMPLICATION TO POWERGRID AND QUANTITIES OF THESE ADDITIONAL TYPE OF DISCONNECTOR SWITCH ARE DEEM TO BE INCLUDED IN THE QUANTITIES MENTIONED IN BPS FOR SPARE DISCONNECTOR. NOTE 2 – IN CASE, DIS-CONNECTOR SWITCH (DS) & EARTH SWITCH (ES) IS PROVIDED IN A SAME ENCLOSURE WITH COMMON OPERATING MECHANISM, THEN THE MODULE COMPRISING OF DIS-CONNECTOR & EARTH SWITCH IN SINGLE ENCLOSURE WITH COMMON OPERATING MECHANISM IS TO BE PROVIDED UNDER THE HEAD OF SPARE DIS-CONNECTOR ONLY. NOTE3- IN CASE, DIS-CONNECTOR SWITCH (DS) & EARTH SWITCH (ES) IS PROVIDED IN A SAME ENCLOSURE WITH SEPARATE OPERATING MECHANISM, THEN THE MODULE COMPRISING OF DIS-CONNECTOR & EARTH SWITCH IN SINGLE ENCLOSURE WITH SEPARATE OPERATING MECHANISM IS TO BE PROVIDED UNDER THE HEAD OF SPARE DIS-CONNECTOR ONLY.) | item52 | 4 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.36 | SPARES- GIS: 765KV GIS- SINGLE PHASE MAINTENANCE EARTHING SWITCH INCLUDING MAIN CIRCUIT, ENCLOSURE, DRIVING MECHANISM AND SUPPORT INSULATOR ETC., COMPLETE IN ALL RESPECT (NOTE 1 - IN CASE, DIS-CONNECTOR SWITCH (DS) &EARTH SWITCH (ES) IS PROVIDED IN A SAME ENCLOSURE WITH COMMON OPERATING MECHANISM, THEN THE MODULE COMPRISING OF DIS-CONNECTOR &EARTH SWITCH IN SINGLE ENCLOSURE WITH COMMON OPERATING MECHANISM IS TO BE PROVIDED UNDER THE HEAD OF SPARE DIS-CONNECTOR ONLY. NOTE 2 – IN CASE, DIS-CONNECTOR SWITCH (DS) & EARTH SWITCH (ES) IS PROVIDED IN A SAME ENCLOSURE WITH SEPARATE OPERATING MECHANISM, THEN THE MODULE COMPRISING OF DIS-CONNECTOR & EARTH SWITCH IN SINGLE ENCLOSURE WITH SEPARATE OPERATING MECHANISM IS TO BE PROVIDED UNDER THE HEAD OF SPARE DIS-CONNECTOR ONLY.) | item53 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.37 | SPARES- GIS: 765KV GIS - SINGLE PHASE FAST EARTHING SWITCH INCLUDING MAIN CIRCUIT,ENCLOSURE, DRIVING MECHANISM AND SUPPORT INSULATOR ETC., COMPLETE INALL RESPECT (NOTE 1 - IN CASE, DIS-CONNECTOR SWITCH (DS) & EARTHSWITCH (ES) IS PROVIDED IN A SAME ENCLOSURE WITH COMMON OPERATINGMECHANISM, THEN THE MODULE COMPRISING OF DIS-CONNECTOR & EARTH SWITCHIN SINGLE ENCLOSURE WITH COMMON OPERATING MECHANISM IS TO BE PROVIDEDUNDER THE HEAD OF SPARE DIS-CONNECTOR ONLY. NOTE 2 - IN CASE,DIS-CONNECTOR SWITCH (DS) & EARTH SWITCH (ES) IS PROVIDED IN A SAMEENCLOSURE WITH SEPARATE OPERATING MECHANISM, THEN THE MODULECOMPRISING OF DIS-CONNECTOR & EARTH SWITCH IN SINGLE ENCLOSURE WITHSEPARATE OPERATING MECHANISM IS TO BE PROVIDED UNDER THE HEAD OF SPAREDIS-CONNECTOR ONLY.) | item54 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.38 | SPARES- GIS: OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKINGCOILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS,RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONEOF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 765KV GIS DISCONNECTORSWITCH | item55 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.39 | SPARES- GIS: OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKINGCOILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS,RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONEOF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 765KV GIS MAINTENANCE EARTHSWITCH | item56 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.4 | SPARES- GIS: OPEN/CLOSE CONTACTOR ASSEMBLY, TIMERS, KEY INTERLOCK, INTERLOCKINGCOILS, RELAYS, PUSH BUTTONS, INDICATING LAMPS, POWER CONTACTORS,RESISTORS, FUSES, MCBS & DRIVE CONTROL CARDS ETC. (AS APPLICABLE) ONEOF EACH TYPE FOR ONE COMPLETE MOM BOX FOR 765KV GIS FAST EARTHINGSWITCH | item57 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.41 | SPARES- GIS: LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FORDISCONNECTOR-765KV GIS | item58 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.42 | SPARES- GIS: LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FORMAINTENANCE EARTHING SWITCH-765KV GIS | item59 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.43 | SPARES- GIS: LIMIT SWITCHES AND AUX. SWITCHES FOR ONE COMPLETE MOM BOX FOR FASTEARTHING SWITCH (IF APPLICABLE)-765KV GIS | item60 | 2 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.44 | SPARES- GIS: DRIVE MECHANISM FOR 765KV GIS DISCONNECTOR SWITCH | item61 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.45 | SPARES- GIS: DRIVE MECHANISM FOR 765KV GIS MAINTENANCE EARTH SWITCH | item62 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.46 | SPARES- GIS: DRIVE MECHANISM FOR 765KV GIS FAST EARTHING SWITCH | item63 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.47 | SPARES- GIS: MOTOR FOR DRIVE MECHANISM FOR 765KV GIS DISCONNECTOR SWITCH | item64 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.48 | SPARES- GIS: MOTOR FOR DRIVE MECHANISM FOR 765KVGIS MAINTENANCE EARTH SWITCH | item65 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.49 | SPARES- GIS: MOTOR FOR DRIVE MECHANISM FOR 765KV GIS FAST EARTHING SWITCH | item66 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.5 | SPARES- GIS: 765KV GIS- SINGLE PHASE OF CURRENT TRANSFORMER (3 CORES, TYPE-CTA)WITH ASSOCIATED ENCLOSURE AND PRIMARY CONDUCTOR COMPLETE IN ALLRESPECT | item67 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.51 | SPARES- GIS: 765KV GIS- SINGLE PHASE OF CURRENT TRANSFORMER (2 CORES, TYPE-CTB)WITH ASSOCIATED ENCLOSURE AND PRIMARY CONDUCTOR COMPLETE IN ALLRESPECT | item68 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
3.52 | SPARES- GIS: 765KV GIS- SINGLE PHASE VT WITH ASSOCIATED ENCLOSURE COMPLETE IN ALLRESPECT | item69 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.01 | SUPPLY- GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SUPPLY ITEMS (Unit Prices of Individual Equipment included here or in manadatory spares are required for any Addition/Deletion of Equipment and replacement of damaged items. Bidder to ensure that the unit prices have a logical relationship with prices of assemblies in main items. Quoting for unit prices is mandatory and shall be considered for evaluation) (From item sl. No. 4.01-4.06): SUPPLY- GIS: 800KV GIS- GIS METALLIC ENCLOSURE | item70 | 50 | KG |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.02 | SUPPLY- GIS: 800KV GIS- EXPANSION BELLOWS/ JOINTS | item71 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.03 | SUPPLY- GIS: 800KV GIS- TEE BEND | item72 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.04 | SUPPLY- GIS: 800KV GIS- L BEND | item73 | 1 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.05 | SUPPLY- GIS: 800kV, 3150A, 1 Phase SF6 GIS Bus duct | item74 | 1 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
4.06 | SUPPLY- GIS: 800 kV Surge arrestor | item75 | 1 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.01 | SERVICES- GIS : 765KV, 50KA FOR IS, GAS INSULATED SWITCHGEAR (GIS) AS PER TS (From item Sl. No. 5.01-5.10): SERVICES- 765kV GIS: SUPERVISION OF ERECTION OF GIS | item76 | 9 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.02 | SERVICES- 765kV GIS: SUPERVISION OF ERECTION OF GAS INSULATED BUS DUCT | item77 | 950 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.03 | SERVICES- 765kV GIS: SUPERVISION OF ERECTION OF SF6 TO AIR BUSHING | item78 | 20 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.04 | SERVICES- 765kV GIS: TESTING & COMMISSIONING OF GIS | item79 | 9 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.05 | SERVICES- 765kV GIS : TESTING & COMMISSIONING OF GAS INSULATED BUS DUCT | item80 | 950 | Meter |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.06 | SERVICES- 765kV GIS : TESTING & COMMISSIONING OF SF6 TO AIR BUSHING | item81 | 20 | SET |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.07 | SERVICES- 765kV GIS : FINAL SUCCESSFUL HV/ POWER FREQUENCY TESTING OF GIS INCLUDING ARRANGING OF HV TEST KIT ALONG WITH OPERATOR | item82 | 9 | Bays |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.08 | SERVICES- 765kV GIS : INSULATION CO-ORDINATION STUDIES FOR GIS SYSTEM | item83 | 1 | LOT |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.09 | SERVICES- 765kV GIS : TRAINING FOR GIS AT SITE | item84 | 2 | MANDAYS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
5.1 | SERVICES- 765kV GIS : TRAINING FOR GIS AT MANUFACTURER WORKS | item85 | 2 | MANDAYS |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.01 | SERVICES- GIS : REFERENCE UNIT PRICE FOR ADDITION / DELETION OF SERVICES: (UNIT PRICES OF INDIVIDUAL SERVICES INCLUDED HERE ARE REQUIRED FOR ANY ADDITION/DELETION OF EQUIPMENT AND REPLACEMENT OF DAMAGED ITEMS. VENDOR TO ENSURE THAT THE UNIT PRICES HAVE A LOGICAL RELATIONSHIP WITH PRICES OF ASSEMBLIES IN MAIN ITEMS. QUOTING FOR UNIT PRICES IS MANDATORY AND SHALL BE CONSIDERED FOR EVALUATION) (From item Sl. No. 6.01-6.05): SERVICES- 765kV GIS: REF. UNIT PRICE OF GIS INDIVIDUAL ITEM/ EQUIPMENT - SERVICES FOR SUPERVISION OF ERECTION OF GIS | item86 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.02 | SERVICES- 765kV GIS: REF. UNIT PRICE OF GIS INDIVIDUAL ITEM/ EQUIPMENT - SERVICES FOR TESTING & COMMISSIONING OF GIS | item87 | 10 | MANDAY |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.03 | SERVICES- 765kV GIS: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS ERECTION SUPERVISION TEAM | item88 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.04 | SERVICES- 765kV GIS: DEMOBILIZATION AND REMOBILIZATION CHARGES FOR GIS TESTING & COMMISSIONING TEAM | item89 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
6.05 | SERVICES- 765kV GIS: DEMOBILIZATION & REMOBILIZATION CHARGES OF HV TEST KIT ALONG WITH OPERATOR | item90 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [5 empty] | 0 | [31 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information