## PTP
MAIN PRICE SCHEDULE
NAME OF PROJECT: |  | TALCHER THERMAL POWER PROJECT STAGE-III (2X660 MW) |  |  | Vendor Name
NAME OF PACKAGE: |  | PRE TREATMENT PLANT (PT PLANT) |  |  | Enquiry No |  | PE/PG/HER/E-7110/2022 Dated 22.11.2022
TECHNICAL SPECIFICATION: |  | PE-TS-497-158A-A001 REV 00 |  |  | Supply |  |  |  | Services |  | Total Scope
S. No. | DESCRIPTION |  | UNIT | QTY | Total Ex-Works Price (INR) | Freight % | Freight in INR | Total FOR Site Price excluding GST (INR) | Unit Price (INR) | Total Price (INR) | Grand Total excluding GST ( Engg Charges + Supply +E&C+ Mand. Spares) (INR)
1 | Total lump sum firm price for SUPPLY PART , SERVICES PART & MANDATORY SPARES comprising of design (i.e. Preparation and submission of drawing/ documents including " As Built " drawings and O&M Manuals) , engineering, manufacture, fabrication, assembly, inspection & testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of lubricants & consumables(excluding chemicals), mandatory spares along with spares for erection ,start up and commissioning as required, forwarding, proper packing, shipment and delivery at site, unloading, handling, transportation & storage at site, in site transportation, assembly, erection & commissioning,final painting at site, trial run , site testing , preparation of drawings in 3D, e-learning module, civil analysis & design of all civil structural & architectural works, Supervision of Complete civil structural, architectural & construction works, carrying out performance guarantee test at site ,training of customer/ client O&M staff & final handing over to end customer in flawless condition for project and package specified complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | [6 empty] | 0
2 | BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Total lump sum firm price for SUPPLY PART comprising of manufacture, fabrication, assembly, inspection & testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of lubricants & consumables(excluding chemicals), along with spares for erection ,start up and commissioning as required,preparation of drawings in 3D, e-learning module, forwarding, proper packing, shipment and delivery at site for project and package specified complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 |  |  | 0 | 0 |  |  | 0
2.2 | Total lump sum firm price for SERVICES PART comprising of unloading, handling, transportation & storage at site, in site transportation, assembly, erection & commissioning, final painting at site, trial run , site testing , Supervision of Complete civil structural, architectural & construction works,carrying out performance guarantee test at site , training of customer/ client O&M staff & final handing over to end customer in flawless condition for project and package specified complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | [5 empty] | 0 | 0
2.3 | Total lump sum firm price for Mandatory spares comprising of manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. (Price break up of mandatory spares is to be furnished as per Annexure- I). |  | Set | 1 | 0 |  | 0 | 0 |  |  | 0
2.4 | Total lump sum firm price for ENGINEERING PART comprising of design (i.e. Preparation and submission of drawing/ documents including " As Built " drawings and O&M Manuals) ,engineering, civil analysis & design of all civil structural & architectural works for project and package specified for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Lot | 1 | [6 empty] | 0
Notes 1. Engineering charges as mentioned above in S. No. 2.4 shall not be more than 5% of Main Supply (excluding freight and GST) failing which break-up shall be adjusted accordingly from supply price of ordering

## Annexure-I
Annexure-I (List Of Mandatory Spares)
NAME OF PROJECT: |  | TALCHER THERMAL POWER PROJECT STAGE-III (2X660 MW)
NAME OF PACKAGE: |  | PRE TREATMENT PLANT (PT PLANT)
SI. NO. | PARTICULARS | QUANTITY | Total Ex-Works Price (INR)
1) | CLARIFIERS : PT CW & DM System
a) | Rake (Scrapper) drive | 1 Set
b) | Turbine drive shaft assembly | 1 Set
c) | Rake (Scrapper) drive shaft assembly | 1 Set
d) | Worm wheel | 1 Set
e) | Worm shaft | 1 Set
f) | All Bearings required for motors, Turbine drive, and Rack drive | 1 Set
Note: One set consists of quantity required for complete replacement for one clarifier or motor as the case may be
2) | Lime Slurry Transfer Pumps, Lime Dosing Pumps
a) | Lime Dosing Pump Unit | 1 No
b) | Lime Slurry Transfer Pump Unit | 1 No
Note : One set consists of quantity required for complete replacement for one pump
3) | Alum Dosing Pumps : PT – CW , PT – DM System
a) | Alum Dosing Pump Unit ( for each system) | 1 No
Note : One set consists of quantity required for complete replacement for one pump
4) | Vertical Sump Pumps ( For Each Type & Size)
a) | Complete Casing including suction (if applicable) bell | 1 Set
b) | Impeller | 1 Set
c) | Wearing rings – Impeller (if applicable) | 1 Set
d) | Wearing rings – Casing (if applicable) | 1 Set
e) | Impeller Shaft, line shaft and head shaft | 1 Set
f) | Shaft Sleeves | 1 Set
g) | Stuffing box | 1 Set
h) | Line Shaft Couplings (if applicable) | 1 Set
i) | Impeller, Line and Head shaft bearings (as applicable) | 1 Set
Note : One set consists of quantity required for complete replacement for one pump
5) | Agitators
a) | Agitator Assembly with Gear Box – Lime Slaking Tank | 1 Set
b) | Agitator Assembly with Gear Box – Lime Preparation Tank – PT System | 1 Set
c) | Agitator Assembly with Gear Box – Alum Preparation Tank | 1 Set
d) | Agitator Assembly with Gear Box – Flash Mixer | 1 Set
e) | Agitator Assembly with Gear Box – Flocculation Tank | 1 Set
6) | Valves
a) | Manual Plug Valve | Min 1 no of each type, rating & size (Set )
b) | Motor operated Plug Valve (without motor actuator) | -do-
c) | Check Valves /Non-return Valve | -do-
d) | Manual Ball Valve | -do-
e) | Motor operated Ball Valve (without motor actuator) | -do-
f) | Manual Globe Valve | -do-
g) | Manual Diaphragm Valve | -do-
h) | Motor operated Diaphragm Valve (without motor actuator) | -do-
i) | Diaphragm for the above Diaphragm Valves | -do-
j) | Manual Butterfly Valve | -do-
k) | Motor operated Butterfly Valve (without motor actuator) | -do-
l) | Manual Gate Valve | -do-
m) | Motor operated Gate Valve (without motor actuator) | -do-
7) | Gravity Filters for PT-Potable
a) | Sand and gravel | 1.1 times of One full charge for one filter (LOT )
b) | Filter flow rate indicator | 1 no of each type /rating
c) | Rate of flow controller | 1 no of each type /rating
d) | Back wash filter flow rate indicator | 1 no of each type /rating
e) | Differential head indicator | 1 no of each type /rating
8) | Gravity Filters for PT-DM
a) | Sand and gravel | 1.1 times of One full charge for one filter ( LOT)
b) | Filter flow rate indicator | 1 no of each type /rating
c) | Rate of flow controller | 1 no of each type /rating
d) | Back wash filter flow rate indicator | 1 no of each type /rating
e) | Differential head indicator | 1 no of each type /rating
9) | Air Blowers for Pressure Filters , Sludge pit, Gravity filters
a) | Impeller with shaft | 1 Set
b) | All Bearings (Blower & Motor) | 1 Set
c) | Gears | 1 Set
d) | Filters | 1 Nos
Note : One set consists of quantity required for complete replacement for one blower
10) | Electrically Operated Hoists (For each type & capacity)
a) | Bearings | 1 Set
b) | Rope guide | 1 Set
c) | Brake lining | 1 Set
Note : One set consists of quantity required for complete replacement for one hoist of each type & capacity
11) | Vertical (wet pit) Pumps- ( for Each Type & Size)
a) | Impeller with nuts & washers | 1 set of each type
b) | Bearings for Line, Head and Impeller shafts | -do-
c) | Thrust Bearings of pump & drive | -do-
d) | Wearing rings – Impeller (if applicable) | -do-
e) | Wearing rings – Casing (if applicable) | -do-
f) | Impeller Shaft, line shaft and head shaft | -do-
g) | Shaft Sleeves | -do-
h) | Stuffing box | -do-
i) | Motor Bearings | -do-
j) | Line Shaft Couplings (if applicable) | -do-
Note : One set consists of quantity required for complete replacement for one pump
12) | Horizontal Centrifugal Pumps –For Each Type & Size
a) | Impeller for each type | 1 Set
b) | Wearing rings – Impeller for each type (if applicable) | 1 Set
c) | Wearing rings – Casing for each type (if applicable) | 1 Set
d) | Shaft for each type | 1 Set
e) | Shaft Sleeves for each type | 1 Set
f) | Stuffing box for each type | 1 Set
g) | Pump bearings for each type | 1 Set
Note : One set consists of quantity required for complete replacement for one pump
CONTROL & INSTRUMENTATION-PT PLANT
MEASURING INSTRUMENTS
1) | Electronic Transmitters
(i) | Transmitters of all types and model. (for the measurement of Pressure, differential pressure, flow, level, etc.) including local indication ( if applicable) | 2 Nos. of each type and model
2) | Temperature elements
(i) | Temperature Transmitter | 2 Nos. of each type and model
(ii) | RTD's* | 1 no. of each type
(iii) | Thermo well | 1 no. of each type
| * (With head assembly, terminal block and nipple) | ** (to be divided into various insertion lengths in proportion to main population)
3) | Local Indicators (Non-Electrical type) -As applicable for the package as per the following items
(i) | Temperature gauges | 1 no. of each range and type
(ii) | Pressure gauges | 1 no. of each range and type
(iii) | Differential Pressure Gauges, | 1 no. of each range and type
(iv) | Level gauges | 1 no. of each range and type
(v) | Flow gauges excluding Rota meters | 1 no. of each range and type
(vi) | All types of Rota meters | 1 no. of each range and type.
4) | Process Actuated Switch Devices -As applicable for this package, as per the following items
(i) | Temperature switches | 1 no. of each range and type
(ii) | Pressure switches | 1 no. of each range and type
(iii) | Differential Pressure switches | 1 no. of each range and type
(iv) | level switches | 1 no. of each range and type
(v) | Flow switches | 1 no. of each range and type
5) | Solenoid Valves | 2 Nos. of each type and model
6) | Limit Switches (for Pneumatic Valves and Manual valves) | 2 no. of each type
7) | ANALYSERS
1) | Complete PH Analyzer (including Flow Through type cell and Electrode, Electronic Transmitter unit, Pre-fabricated cable with connector as minimum) | 1 Set of each type
2) | Complete Conductivity Analyzer (including Flow Through type cell and Electrode, Electronic Transmitter unit, Pre-fabricated cable with connector as minimum) | 1 Set of each type
3) | Complete Turbidity Analyzer (including sensing unit, Electronic Transmitter unit, Pre-fabricated cable with connector as minimum) | 1 Set of each type
4) | Complete Residual Chlorine Analyzer (including sensing unit, Electronic Transmitter unit, Pre-fabricated cable with connector as minimum) | 1 Set of each type
MANDATORY SPARES FOR ELECTRICAL
I) | CLARIFIERS : PT-CW System
1 | Turbine drive motor | 1 no.
II) | CLARIFIER: PT-DM System
1 | Turbine drive motor | 1 no.
2 | Lime Slurry Transfer Pump motor | 1 no.
3 | Lime Dosing Pumps motor– PT System | 1 no.
4 | Alum Dosing Pump motor : PT – CW System | 1 no.
5 | Alum Dosing Pump motor : PT – DM System | 1 no.
6 | Vertical Sump Pumps – Filter Back wash water pump motor | 1 no.
7 | Vertical Sump Pumps – Sludge Pump motor | 1 no.
8 | Agitator Assembly with Motor & Gear Box – Lime Slaking Tank | 1 no.
9 | Agitator Assembly with Motor & Gear Box – Lime Preparation Tank – PT System | 1 no.
10 | Agitator Assembly with Motor & Gear Box – Alum Preparation Tank | 1 no.
11 | Air Blowers motor for Gravity Filters | 1 no.
12 | Vertical (wet pit) Pumps- Potable water pump motor | 1 no.
Total |  |  | 0
Notes: 1) Mandatory spares listed above is bare minimum requirement. In case any additional mandatory spares requirement is covered elsewhere in the tender specification apart from specified above, same shall be deemed to have been covered in bidders scope of supply. 2) Unless stated otherwise, a "set" or "Lot" means items required for complete replacement in one equipment of each type/ size/ range. 3) In case of Bought Out items, itemised spares list may be vendor specific and may differ from the list of spares mentioned above. In such cases, the quoted price shall be considered for applicable items only without any change in the contract price. 4) In case spares indicated in the list are not applicable to the particular design offered by the bidder, the bidder should offer spares applicable to offered design with quantities generally in line with the approach followed in the above list. 5) Any item which is quoted as “not applicable” in the above list and is found to be “applicable” at a later date shall be supplied by the Bidder without any commercial implications.