## Price Schdeule
PACKAGE: LT XLPE POWER CABLE PROJECT: FRAMEWORK AGREEMENT (RATE CONTRACT)-Adani Projects ENQUIRY NO.- BIDDER NAME:
Sr. No. | Item code | Item description | Unit | Order Quantity (metres) | Drum Length (Meters) | UNIT PRICE (EX-WORKS) (Rs) | TOTAL PRICE (EX-WORKS) (Rs) | FREIGHT CHARGES (EXCLUDING GST) @ ____% OF TOTAL EX-WORKS | FREIGHT CHARGES EXCLUDING GST (INR) | Applicable GST @___% (on "Total Ex-Works +Freight") | GST (INR) | TOTAL F.O.R. SITE PRICE (INR)
A | 1.1KV, Al conductor (Plain aluminium of grade H2), XLPE insulated. Armoured (Non-magnetic hard drawn aluminium round wire armour of H4 grade for single core cables and GS round/ Formed wire armour for Multi- core cables). INNER SHEATH: Extruded HRPVC compound conforming to type ST2 of IS: 5831 for multicore cable (Single core cables shall have no inner sheath). OVERALL SHEATH: extruded overall FRLSH HRPVC compound conforming to type ST2 of IS: 5831, black in colour.
1 | 507-0280007-00-A | 1C-630 Sq. mm XLPE-Al(A) FRLS | MTR | 4000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
2 | 507-0280011-00-A | 2C-10 Sq. mm XLPE-Al(A) FRLS | MTR | 36000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
3 | 507-0280124-00-A | 2C-16 Sq. mm XLPE-Al(A) FRLS | MTR | 10000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
4 | 507-0280017-00-A | 2C-25 Sq. mm XLPE-Al(A) FRLS | MTR | 6000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
5 | 507-0280132-00-A | 2C-35 Sq. mm XLPE-Al(A) FRLS | MTR | 4000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
6 | 507-0280147-00-A | 2C-70 Sq. mm XLPE-Al(A) FRLS | MTR | 6000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
7 | 507-0280221-00-A | 2C-120 Sq. mm XLPE-Al(A) FRLS | MTR | 576000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
8 | 507-0280148-00-A | 2C-150 Sq. mm XLPE-Al(A) FRLS | MTR | 6000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
9 | 507-0280125-00-A | 3C-16 Sq. mm XLPE-Al(A) FRLS | MTR | 9000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
10 | 507-0280160-00-A | 3C-70 Sq. mm XLPE-Al(A) FRLS | MTR | 9000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
11 | 507-0280045-00-A | 3C-240 Sq. mm XLPE-Al(A) FRLS | MTR | 6000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
12 | 507-0280035-00-A | 3.5C-50 Sq. mm XLPE-Al(A) FRLS | MTR | 66000 | 500 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
B | 1.1KV, Cu conductor (Class-2 Plain annealed, Electrolytic Grade), XLPE insulated. Armoured (GS round/formed wire armour for Multi- core cables). INNER SHEATH: Extruded HRPVC compound conforming to type ST2 of IS: 5831 for multicore cable. OVERALL SHEATH: extruded overall FRLSH HRPVC compound conforming to type ST2 of IS: 5831, black in colour.
1 | 507-0280015-00-A | 2C-2.5 Sq. mm XLPE-Cu(A) FRLS | MTR | 170000 | 1000 | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | #VALUE! | #VALUE!
2 | 507-0280043-00-A | 3C-2.5 Sq. mm XLPE-Cu(A) FRLS | MTR | 150000 | 1000 | #VALUE! | #VALUE! |  | #VALUE! |  | #VALUE! | #VALUE!
[6 empty] | GRAND TOTAL (Total Ex-Works) (Rs.) | X |  | #VALUE! |  | #VALUE! | #VALUE!
Notes
1 | Bidder has to quote only Total Ex-Works Value 'X'. Based on this price, unit price shall be derived for all items as per formula indicated above.
2 | Bidder to quote freight charges in percentage of their quoted Total Ex-works Prices. Bidder to give single % of freight charges considering delivery anywhere in India in the freight column. Bidder have to give same % of freight for each line item. Further, bidder to quote non-zero freight %.
3 | The standard drum length shall be 1000/500 meters as indicated above. Tolerance on individual drum length shall be ±5%.
4 | Overall tolerance on total dispatched quantity of each size shall be (-) 2% and (+) 0% on Individual Purchase Order against Rate Contract except where the total ordered quantity is one single drum length of 1000m/500m, in which case it shall be -5% to 0%. Cables consumed for testing and inspection shall be to bidder’s account.
5 | For each individual cable size, one short length of not less than 200m may be accepted only in the final drum length to complete the supply (except where the total ordered quantity is one single drum length of 1000m/500m). The overall tolerance limits stipulated above shall continue to apply (in case short lengths are accepted).
6 | For type test requirement please refer clause no. 5.2 of Technical Data -Part-A of technical specication.Unit price of cables quoted by bidder shall be inclusive of type test charges. No separate charges shall be payable for type tests.
7 | For PVC formulae & Indices; please refer "https://ieema.org/wp-content/uploads/2020/07/Cable-2017_Revised-PVClause_low-res.pdf" or latest amendment (if any) attached as Annexure-B to NIT, with price variation limited to + 20% of total ex-works actually supplied (cable size wise) and unlimited negative price variation.

## COW
COST OF WITHDRAWAL
PROJECT:- | [5 empty] | Framework Agreement (Rate Contract)- Adani Projects
PACKAGE :- | [5 empty] | LT XLPE POWER CABLE
TENDER ENQUIRY :- | [5 empty] | 77/24/6118/SUM dated 26.04.2025
NAME OF THE BIDDER
Sl. No. | Volume/Section | Page No. | Clause No. | Technical Specification/Tender Document No | Complete Description of Deviation | Cost of withdrawal of deviation to be entered by the bidder in | Reference of price Schedule of which Cost of Withdrawal of Deviation is applicable | Nature of cost of withdrawal of deviation (Positive/Negative) | Reasons for quoting deviation
1 | TECHNICAL DEVIATION
1.01
1.02
1.03
1.04
1.05
2 | COMMERCIAL DEVIATION
2.01
2.02
2.03
2.04
2.05