## FINAL BOQ CUM PRICE SCHEDULE
PRICE SCHEDULE FOR FRAMEWORK AGREEMENT / RATE CONTRACT
PACKAGE NAME - NEUTRAL GROUNDING RESISTOR (NGR) | [5 empty] | Bidders Name
TECHNICAL SPECIFICATION - PE-RC-999-506-E001 Rev-00
S.No. | Item Code | Item Description | UOM | Order Quantity | Unit Ex-Works Price (Rs) | Total Ex-Works Price (Rs) | Freight Charges (excluding GST) @ __% of Total Ex-Works | Freight Charges (excluding GST) (Rs) | TOTAL F.O.R. SITE PRICE (Excluding GST) (Rs)
1 | 506-15029-A | NGR 11 KV (600A, 10 SEC, 11.06 OHMS) | Nos | 49 | 0 | 0 |  | 0 | 0
2 | 506-15019-A | SUPPORTING STRUCTURE FOR 11 kV NGR | Nos | 42 | 0 | 0 |  | 0 | 0
3 | 506-15030-A | NGR 3.3 KV (600A, 10 SEC, 3.32 OHMS) | Nos | 98 | 0 | 0 |  | 0 | 0
4 | 506-15021-A | SUPPORTING STRUCTURE FOR 3.3 kV NGR | Nos | 90 | 0 | 0 |  | 0 | 0
5 | 506-15022-A | COPPER BUSBAR 50X8 MM OF 10M LENGTH | Nos | 132 | 0 | 0 |  | 0 | 0
[5 empty] | TOTAL PRICE (EX-WORKS) |  |  | 0 | 0
Notes :
1. Bidder has to quote only TOTAL PRICE (EX-WORKS) and FREIGHT CHARGES in %. Based on this price, unit price shall be derived for all items as per formula indicated above.

## Deviation Sheet- COW
DEVIATION SHEET (COST OF WITHDRAWAL)
PROJECT:- | [5 empty] | Framework Agreement (Rate Contract)
PACKAGE :- | [5 empty] | NEUTRAL GROUNDING RESISTOR (NGR)
TENDER ENQUIRY :-
NAME OF THE BIDDER
Sl. No. | Volume/Section | Page No. | Clause No. | Technical Specification/Tender Document No | Complete Description of Deviation | Cost of withdrawal of deviation to be entered by the bidder in | Reference of price Schedule of which Cost of Withdrawal of Deviation is applicable | Nature of cost of withdrawal of deviation (Positive/Negative) | Reasons for quoting deviation
1 | TECHNICAL DEVIATION
1.01
1.02
1.03
1.04
1.05
2 | COMMERCIAL DEVIATION
2.01
2.02
2.03
2.04
2.05