## SUPPLY,E&C
2000 TPD BCGCL COAL TO AMMONIUM NITRATE - LSTK-1
PRICE SCHEDULE FOR COOLING TOWER
ENQUIRY NO : 77/26/6109/AMI dated 06.08.2026
Vendor Name:
|  |  |  | SUPPLY |  |  |  |  | CIVIL and E&C |  | GRAND TOTAL
SL NO | ITEM DESCRIPTION | UOM | TOTAL QTY | UNIT EX-WORKS PRICE EXCLUDING GST (INR) | TOTAL EX- WORKS PRICE EXCLUDING GST (INR) | FREIGHT IN % | FREIGHT IN INR | TOTAL FOR SITE PRICE INCLUDING FREIGHT EXLCLUDING GST (INR) | UNIT PRICE FOR CIVIL and E & C (including PG TESTING CHARGES and Trial run,etc.) (INR) | TOTAL PRICE FOR CIVIL and E & C (including PG TESTING CHARGES and Trial run,etc.) (INR) | Total Lumpsum price for supply, civil works and E&C (including PG TESTING CHARGES and Trial run,etc.) excluding GST (INR)
1 | Prices for One (1) no. Induced Draft Cooling Tower to be covered under the following two heads only | NO | 1 | [7 empty] | 0
1.1 | Total Price for Design, Manufacture, Inspection/ Testing, Supplies, Packing for transportation & delivery complete with commissioning spares, special tools and tackles, all O&M spares, accessories & equipments as specified and as necessary for completion for One (1) number Cooling Tower. (SUPPLY) |  |  | 0 | 0 |  | 0 | 0 |  |  | 0
1.2 | Total price for civil & structural work (excluding supply of Cement and reinforcement steel for CT), erection & commissioning,including receipt at site, handling, storage, trial run, PG test, handing over etc. complete with all accessories as per the specification for One no. (01) of Cooling Tower (CIVIL WORKS & E&C) | [7 empty] | 0 | 0 | 0
2 | BREAK UP OF PRICES
2.1 | Break up of Sr.No. 1.1
a) | Design and Engineering | [8 empty] | 0
b) | Manufacture and supply of following :
b1) | Complete mechanical equipments |  |  |  | 0 |  | 0 | 0
b2) | Complete electrical and C&I equipments |  |  |  | 0 |  | 0 | 0
b3) | O&M Spares (Break up as per Annexure-I) |  |  | 0 | 0 |  | 0 | 0
2.2 | Break up of Sr.No. 1.2
a) | Complete Civil works excluding supply of Cement & reinforcement steel (Refer Note i and ii) | [8 empty] | 0
b) | Erection & Commissioning of following :
b1) | Complete mechanical equipments | [8 empty] | 0
b2) | Complete electrical and C&I equipments | [8 empty] | 0
3 | Cement & Reinforcement steel (Free issue as per NIT). Bidder to indicate Total BOQ for One (01) no. CT as follows for determining the evaluation cost of CT.
| Description | TOTAL QTY (MT) for Cooling Tower |  | Rate/MT | [6 empty] | Total Cost of Free Issue Material
3.1 | Cement |  |  | 3898.31 | [6 empty] | 0
3.2 | Reinforcement Steel |  |  | 53837.93 | [6 empty] | 0
NOTES | i) Bidders Total price shall be determined after adding cost of Cement at Rs 3898.31/- per MT (excluding GST )(as per Terms & conditions), in his total quoted prices at S. No. 1 above.
ii) Bidders Total price shall be determined after adding cost of reinforcement steel at Rs 53837.93/- per MT (excluding GST )(as per Terms & conditions), in his total quoted prices at S. No. 1 above.
iii) Complete design and engineering of the package is in the scope of bidder as per the tender requirement. However, for the payment purpose, bidder to note that 50% of price as per sl. no. 2.1 (a) shall be made against basic engineering (i.e. submission & approval of basic drawing/ documents as indicated in tender specification) and the remaining payment shall be made for the balance engineering drawing /document submission & approval on pro-rata basis.

## O&M SPARE Annexure-I
Annexure-I
LIST OF O&M SPARES
| Description | Qty | TOTAL EX- WORKS PRICE (INR)
1 | Spares for Cooling Tower
1.1 | Drive Shaft assembly complete with balanced couplings with all the fasteners | 2 sets
1.2 | Complete fan and hub assembly matched and balanced. | 3 sets
1.3 | Complete gear box | 2 nos
1.4 | Set of gear box internals | 4 sets
1.5 | Bearings for gear box | 4 sets
1.6 | Oil seals & ‘O’ rings for gear box | 10 sets
1.7 | Set of gaskets for gear box | 4 sets
1.8 | Spare bolts, nuts, bushes for couplings | 6 sets
1.9 | Butterfly valve complete assembly for cell isolation | 3 nos.
1.1 | Cooling Tower Internals:
| a) Water spray nozzle | 15% of total population of one tower
| b) Fills | 10% of total population of one tower
| c) Drift eliminator | 10% of total population of one tower
| d) Internal distribution pipes, end caps and couplings | 5% of total population of one tower
1.11 | C.T. Fan drive motor | 1 no.
1.12 | C.T. Fan motor bearing | 4 sets
Note: For above spares, One (1) set consists of quantity required for complete replacement for one cell
1.13 | Spare for Butterfly valves for each size:
| a) Valve discs. | 1 no.
| b) Shaft | 1 no.
| c) Bearing bushes | 1 set
| d) Seals | 1 set
| e) Gear box units for valve | 1 set
| f) Gear box internals with shaft | 1 set
C&I Spares - IDCT Package
1.14 | Electronic Transmitters of all type, range and model no. (Pressure, temp., level, DP etc) | 5% or minimum 1 nos. for each type and model no. whichever is high
1.15 | Different type of Switches (Pressure Switch, Temp Swiitch, Level Switch etc) | 5% or minimum 1 nos. for each type and model no. whichever is high
1.16 | Temperature Elements (RTD, PT-100 etc. ) and Thermowells (With head assembly, terminal block and nipple) | 5% or minimum 1 nos. for each type and model no. whichever is high
1.17 | Local Gauges (Pressure, Level, temperature etc.) | 5% or minimum 1 nos. for each type, range and model no. whichever is high
1.18 | Limit Switches (for Pneumatic Valves and Manual valves) | 2 no. of each type
Total |  |  | 0
Notes
1 | Unless stated otherwise a ‘set’ means items or sub-items required for each type/size range of the assembly/ sub-assembly, required for replacement in one main equipment. It is further intended that the assembly/ sub-assembly which have different orientation (like left hand or right hand, top or bottom), different direction of rotation or mirror image positioning or any other reasons which result in maintaining two different sets of the spares to be used for the subject assembly/ sub-assembly, these shall be considered as different types of assembly/ subassembly.
2 | Wherever quantity has been specified as percentage (%), the quantity of mandatory spares to be provided by contractor shall be the specified percentage (%) of the total population of the plant, unless otherwise specified. In case the quantity so calculated happens to be a fraction, the same shall be rounded off to next higher whole number.
3 | Whenever the quantities have been indicated for each type, size, thickness, material, radius, range etc., these shall cover all the items supplied and installed and the breakup for these shall be furnished in the bid.
4 | In case spares indicated in the list are not applicable to the particular design offered by the bidder, the bidder should offer spares applicable to offered design with quantities generally inline with the approach followed in the above list.
5 | Price of each and every item is to be given separately

## Annexure-II Deviation Sheet)
ANNEXURE-II DEVIATION SHEET (COST OF WITHDRAWAL)
PROJECT:- | [5 empty] | 2000 TPD BCGCL COAL TO AMMONIUM NITRATE - LSTK-1
PACKAGE :- | [5 empty] | IDCT (COOLING TOWER)
TENDER ENQUIRY :- | [5 empty] | ENQUIRY NO : 77/26/6109/AMI dated 06.08.2026
NAME OF THE BIDDER
Sl. No. | Volume/Section | Page No. | Clause No. | Technical Specification/Tender Document No | Complete Description of Deviation | Cost of withdrawal of deviation to be entered by the bidder in | Reference of price Schedule of which Cost of Withdrawal of Deviation is applicable | Nature of cost of withdrawal of deviation (Positive/Negative) | Reasons for quoting deviation
1 | TECHNICAL DEVIATION
1.01
1.02
1.03
1.04
1.05
1.06
1.07
1.08
2 | COMMERCIAL DEVIATION
2.01
2.02
2.03
2.04
2.05
2.06
2.07
2.08
NOTES: 1. Cost of Withdrawal of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only. 2. All the bidders have to list out all their technical & commercial deviations (if any) in details in the above format. 3.Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of. 4.Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawl of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable. In absence of same, such deviation(s) shall not be considered and offer shall be considered in total compliance to NIT. 5. Bidder shall furnish price copy of above format along with price bid. 6.The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser. 7.Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered. 8. For deviations w.r.t. Credit Period, Liquidated damages, Firm prices if a bidder chooses not to give any cost of withdrawl of deviation loading as per Annexure-VII of GCC, Rev-07 will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawl of deviation shall be taken as NIL. 9. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be accepted. 10. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format. 11. Cost of withdrawl is to be given seperately for each deviation. In no event bidder should club cost of withdrawl of more than one deviation else cost of withdrawl of such deviations which have been clubbed together shall be considered as NIL. 12. In case nature of cost of withdrawl (positive/negative) is not specified it shall be assumed as positive. 13. In case of descrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.