## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: BHEL SBD BANGALORE
Name of Work: LT Switchgear Boards for 2X660 MW TANGEDCO Udangudi Project
Contract No: 12302741
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P | Total Weight of braids in KG (as per drawing i.e., 16 sqmm @ 0.16 KG / M and 50 sqmm @ 0.54 KG / M) |  | Addition / Deduction | Material Cost @ 650.37 as on 01.02.2021 | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Rate | Total Unit Rate | GST in percentage | GST AMOUNT | TCS (If applicable in Percentage) | Unit Rate in words |  | GST in percentage | Total Value | GST Rate in percentage | GST AMOUNT | [26 empty] | TCS Amount in Rs | HSN / SAC Code |  | TOTAL AMOUNT including taxes in Rs. P | TOTAL AMOUNT after GST credit Rs. P | TOTAL AMOUNT after GST credit In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 14 | 20 | 21 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | 415V UNIT-1 DG PCC [Rating: 3200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN001A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR | [8 empty] | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | 415 V UNIT-1 MISC SERVICE MCC [Rating: 630A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN002A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | 415 V UNIT-1 AIR WASHER MCC [Rating: 630A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN003A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | 415 V UNIT-1 TURBINE SERVICE PMCC [Rating: 3200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN004A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | 415 V STATION SERVICE PMCC (UNIT-1) [Rating: 4000A, 65KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN005A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | 415 V UNIT-1 EMERGENCY MCC [Rating: 3200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN006A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | 415 V UNIT-1 TURBINE VALVE DB [Rating: 250A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN007A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | 415 V UNIT-1 SERVICE ACDB [Rating: 630A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN008A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | 415 V UNIT-1 BOILER SERVICE PMCC [Rating: 4000A, 65KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN009A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | 415 V UNIT-1 BLR. VALVE & DAMPER ACDB [Rating: 250A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN010A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | 415 V UNIT-1 BOILER ACDB [Rating: 400A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN011A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | 415 V UNIT-1 VENT MCC [Rating: 1000A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN012A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | 415 V UNIT-1 ESP & ID FAN AREA MCC [Rating: 400A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN013A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | 415 V UNIT-1 ESP AC & VENT. MCC [Rating: 400A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN014A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | 415V UNIT-2 DG PCC [Rating: 3200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN015A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | 415 V UNIT-2 MISC SERVICE MCC [Rating: 630A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN016A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | 415 V UNIT-2 AIR WASHER MCC [Rating: 630A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN017A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | 415 V UNIT-2 TURBINE SERVICE PMCC [Rating: 3200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN018A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | 415 V STATION SERVICE PMCC (UNIT-2) [Rating: 4000A, 65KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN019A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | 415 V UNIT-2 EMERGENCY MCC [Rating: 3200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN020A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | 415 V UNIT-2 TURBINE VALVE DB [Rating: 250A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN021A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | 415 V UNIT-2 SERVICE ACDB [Rating: 630A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN022A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | 415 V UNIT-2 BOILER SERVICE PMCC [Rating: 4000A, 65KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN023A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | 415 V UNIT-2 BLR. VALVE & DAMPER ACDB [Rating: 250A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN024A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | 415 V UNIT-2 BOILER ACDB [Rating: 400A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN025A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | 415 V UNIT-2 VENT MCC [Rating: 1000A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN026A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | 415 V UNIT-2 ESP & ID FAN AREA MCC [Rating: 400A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN027A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | 415 V UNIT-2 ESP AC & VENT. MCC [Rating: 400A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN028A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | 415 V AUX. BOILER MCC [Rating: 250A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN029A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | 415 V SEA WATER INTAKE PMCC [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN030A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | 415 V CCR AIR CONDITIONING MCC [Rating: 1600A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN031A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | 415 V SERVICE BUILDING AC & VENT. MCC [Rating: 1000A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN032A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | 415 V FUEL OIL P/H PMCC [Rating: 1000A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN033A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
34 | 415 V DESALINATION/FW SYSTEM PMCC [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN034A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | 415 V HYDROGEN GENERATION MCC [Rating: 630A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN035A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | 415 V CPU MCC [Rating: 400A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN036A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
37 | 415 V CW SERVICE MCC [Rating: 400A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN037A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | 415 V WORKSHOP PMCC [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN038A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | 415 V CANTEEN ACDB [Rating: 400A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN039A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40 | 415 V ADMIN BLDG. PMCC [Rating: 4000A, 65KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN040A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
41 | 415 V ETP MCC [Rating: 400A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN041A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
42 | 415 V SCR PMCC [Rating: 3200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN042A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
43 | 415 V RODM PMCC [Rating: 4000A, 65KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN043A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | 415 V ELECTRO-CHLORINATION PMCC [Rating: 3200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN044A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
45 | 220 V UNIT-1 MAIN DCDB [Rating: 1000A, 25KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN045A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
46 | 220 V UNIT-2 MAIN DCDB [Rating: 1000A, 25KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN046A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
47 | 220 V WATER TREATMENT DCDB [Rating: 63A,25KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN047A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | 220 V SEA WATER DCDB [Rating: 63A,25KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN048A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
49 | 415 V UNIT-1 SOOT BLOWER MCC [Rating: 63A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN049A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
50 | 415 V UNIT-2 SOOT BLOWER MCC [Rating: 63A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN050A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
51 | 415 V UNIT-1 ESP-A LT MAIN SWITCHBOARD [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN051A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
52 | 415 V UNIT-1 ESP-B LT MAIN SWITCHBOARD [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN052A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
53 | 415 V UNIT-1 ESP-C LT MAIN SWITCHBOARD [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN053A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
54 | 415 V UNIT-1 ESP-D LT MAIN SWITCHBOARD [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN054A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55 | 415 V UNIT-2 ESP-A LT MAIN SWITCHBOARD [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN055A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
56 | 415 V UNIT-2 ESP-B LT MAIN SWITCHBOARD [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN056A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
57 | 415 V UNIT-2 ESP-C LT MAIN SWITCHBOARD [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN057A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | 415 V UNIT-2 ESP-D LT MAIN SWITCHBOARD [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN058A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
59 | CHP MCC-1A [Rating: 4000A, 65KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN059A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
60 | CHP MCC-1B [Rating: 4000A, 65KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN060A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
61 | CHP MCC-2 [Rating: 3200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN061A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
62 | CHP MCC-3 [Rating: 4000A, 65KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN062A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
63 | AHP MCC-1 [Rating: 4000A, 65KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN063A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
64 | AHP MCC-2A [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN064A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
65 | AHP MCC-2B [Rating: 2000A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN065A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
66 | AHP MCC-3 [Rating: 2000A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN066A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
67 | AHP MCC-4 [Rating: 3200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN067A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
68 | AHP MCC-5 [Rating: 2500A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN068A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
69 | 415 V MAIN SWITCHBOARD - SWITCHYARD [Rating: 1600A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN069A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
70 | 415 V EMERGENCY PDB - SWITCHYARD [Rating: 200A, 50KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN070A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
71 | 415 V MLDB-1 - SWITCHYARD [Rating: 200A, 10KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN071A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
72 | 415 V MLDB-2 - SWITCHYARD [Rating: 200A, 10KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN072A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
73 | 415 V ELDB - SWITCHYARD [Rating: 63A, 10KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN073A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
74 | 220 V DCDB - SWITCHYARD [Rating: 100A, 25KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN074A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
75 | 48 V DCDB - SWITCHYARD [Rating: 63A, 25KA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN075A | 1 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
76 | AC FUSE DB [Rating: 63A] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN076A | 20 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
77 | DC FUSE DB [Rating: 63A] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN077A | 12 | EA | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
78 | E & C SPARES [Rating: NA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN078A | 1 | SET | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
79 | TOOLS & TACKLES [Rating: NA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN079A | 1 | SET | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
80 | SITE MODIFICATION CHARGES [Rating: NA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN081A | 1 | SET | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
81 | MANDATORY SPARES [Rating: NA] as per Tech Spec No: EPD-TS-CPBG-CPM019 REV-00 [Unit Rate (at Column 13) to be quoted including P&F Charges and Freight Charges upto destination and Freight Charges (%) to be mentioned in unpriced Price Bid Format] | ELTANGUDAN082A | 1 | SET | 55 |  |  | Excess(+) | 0 | Full Conversion | INR |  | 0 | 18 | 0 | 0.1 |  |  |  | 0 | 18 | 0 | [26 empty] | 0 |  |  | 0 | 0 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | 0 | 0 |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## WORKING SHEET - MANDATORY (hidden)
PRICED SCHEDULE WORKING SHEET
12302741 - LT Switchgear Boards for 2X660 MW TANGEDCO Udangudi Project
Sl. No. | MATERIAL CODE | Boards | Rating | UNIT | Qty | Unit Rate including P&F Charges and Freight Charges upto destination (Rs.) | Freight % (Included in Unit Rate) Eg. 1.00% (To be filled by supplier) | Unit Rate including P&F Charges (without Freight Charges) | Total Value as per BOARDWISE BOM (To be filled by supplier) | Applicable Annexure | Check | Remarks (if any)
SAMPLE CALCULATION - 1 |  |  |  |  | 1 | 5000 | 2% | 4901.96 | 4800 |  | Value is within ±5% | Sample
SAMPLE CALCULATION - 2 |  |  |  |  | 1 | 9000 | 5% | 8571.43 | 8000 |  | Error* | Sample
1 | ELTANGUDAN001A | 415V UNIT-1 DG PCC | 3200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
2 | ELTANGUDAN002A | 415 V UNIT-1 MISC SERVICE MCC | 630A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
3 | ELTANGUDAN003A | 415 V UNIT-1 AIR WASHER MCC | 630A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
4 | ELTANGUDAN004A | 415 V UNIT-1 TURBINE SERVICE PMCC | 3200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
5 | ELTANGUDAN005A | 415 V STATION SERVICE PMCC (UNIT-1) | 4000A, 65KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
6 | ELTANGUDAN006A | 415 V UNIT-1 EMERGENCY MCC | 3200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
7 | ELTANGUDAN007A | 415 V UNIT-1 TURBINE VALVE DB | 250A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
8 | ELTANGUDAN008A | 415 V UNIT-1 SERVICE ACDB | 630A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
9 | ELTANGUDAN009A | 415 V UNIT-1 BOILER SERVICE PMCC | 4000A, 65KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
10 | ELTANGUDAN010A | 415 V UNIT-1 BLR. VALVE & DAMPER ACDB | 250A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
11 | ELTANGUDAN011A | 415 V UNIT-1 BOILER ACDB | 400A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
12 | ELTANGUDAN012A | 415 V UNIT-1 VENT MCC | 1000A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
13 | ELTANGUDAN013A | 415 V UNIT-1 ESP & ID FAN AREA MCC | 400A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
14 | ELTANGUDAN014A | 415 V UNIT-1 ESP AC & VENT. MCC | 400A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
15 | ELTANGUDAN015A | 415V UNIT-2 DG PCC | 3200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
16 | ELTANGUDAN016A | 415 V UNIT-2 MISC SERVICE MCC | 630A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
17 | ELTANGUDAN017A | 415 V UNIT-2 AIR WASHER MCC | 630A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
18 | ELTANGUDAN018A | 415 V UNIT-2 TURBINE SERVICE PMCC | 3200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
19 | ELTANGUDAN019A | 415 V STATION SERVICE PMCC (UNIT-2) | 4000A, 65KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
20 | ELTANGUDAN020A | 415 V UNIT-2 EMERGENCY MCC | 3200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
21 | ELTANGUDAN021A | 415 V UNIT-2 TURBINE VALVE DB | 250A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
22 | ELTANGUDAN022A | 415 V UNIT-2 SERVICE ACDB | 630A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
23 | ELTANGUDAN023A | 415 V UNIT-2 BOILER SERVICE PMCC | 4000A, 65KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
24 | ELTANGUDAN024A | 415 V UNIT-2 BLR. VALVE & DAMPER ACDB | 250A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
25 | ELTANGUDAN025A | 415 V UNIT-2 BOILER ACDB | 400A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
26 | ELTANGUDAN026A | 415 V UNIT-2 VENT MCC | 1000A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
27 | ELTANGUDAN027A | 415 V UNIT-2 ESP & ID FAN AREA MCC | 400A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
28 | ELTANGUDAN028A | 415 V UNIT-2 ESP AC & VENT. MCC | 400A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
29 | ELTANGUDAN029A | 415 V AUX. BOILER MCC | 250A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
30 | ELTANGUDAN030A | 415 V SEA WATER INTAKE PMCC | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
31 | ELTANGUDAN031A | 415 V CCR AIR CONDITIONING MCC | 1600A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
32 | ELTANGUDAN032A | 415 V SERVICE BUILDING AC & VENT. MCC | 1000A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
33 | ELTANGUDAN033A | 415 V FUEL OIL P/H PMCC | 1000A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
34 | ELTANGUDAN034A | 415 V DESALINATION/FW SYSTEM PMCC | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
35 | ELTANGUDAN035A | 415 V HYDROGEN GENERATION MCC | 630A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
36 | ELTANGUDAN036A | 415 V CPU MCC | 400A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
37 | ELTANGUDAN037A | 415 V CW SERVICE MCC | 400A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
38 | ELTANGUDAN038A | 415 V WORKSHOP PMCC | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
39 | ELTANGUDAN039A | 415 V CANTEEN ACDB | 400A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
40 | ELTANGUDAN040A | 415 V ADMIN BLDG. PMCC | 4000A, 65KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
41 | ELTANGUDAN041A | 415 V ETP MCC | 400A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
42 | ELTANGUDAN042A | 415 V SCR PMCC | 3200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
43 | ELTANGUDAN043A | 415 V RODM PMCC | 4000A, 65KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
44 | ELTANGUDAN044A | 415 V ELECTRO-CHLORINATION PMCC | 3200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
45 | ELTANGUDAN045A | 220 V UNIT-1 MAIN DCDB | 1000A, 25KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
46 | ELTANGUDAN046A | 220 V UNIT-2 MAIN DCDB | 1000A, 25KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
47 | ELTANGUDAN047A | 220 V WATER TREATMENT DCDB | 63A,25KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
48 | ELTANGUDAN048A | 220 V SEA WATER DCDB | 63A,25KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
49 | ELTANGUDAN049A | 415 V UNIT-1 SOOT BLOWER MCC | 63A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
50 | ELTANGUDAN050A | 415 V UNIT-2 SOOT BLOWER MCC | 63A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
51 | ELTANGUDAN051A | 415 V UNIT-1 ESP-A LT MAIN SWITCHBOARD | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
52 | ELTANGUDAN052A | 415 V UNIT-1 ESP-B LT MAIN SWITCHBOARD | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
53 | ELTANGUDAN053A | 415 V UNIT-1 ESP-C LT MAIN SWITCHBOARD | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
54 | ELTANGUDAN054A | 415 V UNIT-1 ESP-D LT MAIN SWITCHBOARD | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
55 | ELTANGUDAN055A | 415 V UNIT-2 ESP-A LT MAIN SWITCHBOARD | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
56 | ELTANGUDAN056A | 415 V UNIT-2 ESP-B LT MAIN SWITCHBOARD | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
57 | ELTANGUDAN057A | 415 V UNIT-2 ESP-C LT MAIN SWITCHBOARD | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
58 | ELTANGUDAN058A | 415 V UNIT-2 ESP-D LT MAIN SWITCHBOARD | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
59 | ELTANGUDAN059A | CHP MCC-1A | 4000A, 65KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
60 | ELTANGUDAN060A | CHP MCC-1B | 4000A, 65KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
61 | ELTANGUDAN061A | CHP MCC-2 | 3200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
62 | ELTANGUDAN062A | CHP MCC-3 | 4000A, 65KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
63 | ELTANGUDAN063A | AHP MCC-1 | 4000A, 65KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
64 | ELTANGUDAN064A | AHP MCC-2A | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
65 | ELTANGUDAN065A | AHP MCC-2B | 2000A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
66 | ELTANGUDAN066A | AHP MCC-3 | 2000A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
67 | ELTANGUDAN067A | AHP MCC-4 | 3200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
68 | ELTANGUDAN068A | AHP MCC-5 | 2500A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
69 | ELTANGUDAN069A | 415 V MAIN SWITCHBOARD - SWITCHYARD | 1600A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
70 | ELTANGUDAN070A | 415 V EMERGENCY PDB - SWITCHYARD | 200A, 50KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
71 | ELTANGUDAN071A | 415 V MLDB-1 - SWITCHYARD | 200A, 10KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
72 | ELTANGUDAN072A | 415 V MLDB-2 - SWITCHYARD | 200A, 10KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
73 | ELTANGUDAN073A | 415 V ELDB - SWITCHYARD | 63A, 10KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
74 | ELTANGUDAN074A | 220 V DCDB - SWITCHYARD | 100A, 25KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
75 | ELTANGUDAN075A | 48 V DCDB - SWITCHYARD | 63A, 25KA | EA | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
76 | ELTANGUDAN076A | AC FUSE DB | 63A | EA | 20 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
77 | ELTANGUDAN077A | DC FUSE DB | 63A | EA | 12 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Boardwise BOM | #VALUE!
78 | ELTANGUDAN078A | E & C SPARES | NA | SET | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for E&C Spares | Not Applicable
79 | ELTANGUDAN079A | TOOLS & TACKLES | NA | SET | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Tools & Tackles | Not Applicable
80 | ELTANGUDAN081A | SITE MODIFICATION CHARGES | NA | SET | 1 | 0 | Not Applicable | ☚ No Freight applicable for Service Portion |  | Refer Tech Specification for Site Mod Charges | Not Applicable
81 | ELTANGUDAN082A | MANDATORY SPARES | NA | SET | 1 | 0 |  | ☚ Please fill Freight % |  | Refer Tech Specification for Mandatory Spares | Not Applicable
NOTES:
1. SUMMATION OF ALL UNIT RATES OF MODULES SHALL BE EQUIVALENT TO TOTAL BOARD COST QUOTED, VARIANCE OF +/- 5% IS ACCEPTABLE. BEYOND 5% OFFER WILL NOT BE CONSIDER AS VALID OFFER. IN UNIT ADDITION-DELETION PRICES, PRICES QUOTED FOR COMPONENTS SHALL BE AS PER LIST PRICE OF CONCERNED MANUFACTURES. IF ANY ABNORMAL PRICES ON HIGHER SIDE OBSERVED OFFER MAY BE REJECTED.
2. ALL LT PCC/ MCC/ DBs SHALL BE SUPPLIED ALONGWITH THE INTEGRAL BASE FRAMES, FOUNDATION BOLTS, CABLE GLANDS & LUGS AND TOOLS & TACKLES AS MENTIONED IN DIFFERENT SECTIONS. ALL FIXING NUTS & BOLTS TOGETHER WITH FOUNDATION BOLTS SHALL ALSO BE SUPPLIED.
3. ITEM WISE PRICES WITH DESCRIPTION AND RATING OF EACH ITEM COMPLYING TO LIST FURNISHED IN THE SCHEDULE OF UNIT PRICES SHALL BE FURNISHED IN SCHEDULE OF UNIT PRICE.PRICES SHALL BE FURNISHED IN SCHEDULE OF UNIT PRICE.
4. FOR DETAILED BOARD WISE BOM, REFER ANNEXURE-B.
5. FOR DETAILED MODULE WISE BOM, REFER ANNEXURE-C.
6.ADDITION/DELETION OF QUANTITIES SHALL BE APPLICABLE AT THE QUOTED PRICE.THE UNIT RATE OF SUPPLY OF ALL EQUIPMENTS & SERVICES QUOTED BY THE BIDDER SHALL BE FIRM FOR A VARIATION OF QUANTITIES , WHICH MAY BE TO THE EXTENT OF ±30% OF THE TOTAL CONTRACT VALUE DERIVED ON THE BASIS OF ORDERED QUANTITY. SUM OF INDIVIDUAL MODULE SHALL EQUAL TO BOARD PRICE.
a. COMPLETE DIMENSIONS OF ALL THE BOARDS INCLUDING NO OF PCC, MCC. GA DRAWING SHALL BE DULY SUBMITTED FOR ALL BOARDS.
b. DIMENSIONS OF EACH TYPE OF PANEL.
c. MODULE SIZE OF EACH TYPE OF FEEDER.
d. MINIMUM CLEARANCES REQUIRED ON ALL SIDES FOR EACH TYPE OF PANEL.
e. NO. of VERTICAL (including PCC, MCC etc.) of EACH PANLES TO BE GIVEN, ELSE YOUR OFFER WILL BE REJECTED..
7. DOUBLE COMPRESSION, NICKLE PLATED BRASS CABLE GLANDS & HEAVY DUTY LUGS OF NTPC APPROVED MAKE FOR EXTERNAL POWER, CONTROL & EARTHING CONNECTIONS AT SUPPLIED EQUIPMENT END AND FOUNDATION BOLT ARE IN THE SCOPE OF BIDDER. BIDDER TO QUOTE ALL EQUIPMENT WITH CABLE GLANDS, LUGS AND FOUNDATION BOLTS.

## Macros
Please Enable Macros to View BoQ information