## PB
Bharat Heavy Electricals limited Power Sector - Southern Region
Project - 5X800MW Yadadri TPS
YTPS:SCT:202407-199
VOLUME-II (PRICEBID)
JOB Part Works of Stage-2 (Unit 3 and 4) Electrical LT package: Erection, Testing and Commissioning including Handling of materials at site BHEL stores / storage yard, transportating to site of erection and supply & application of final painting of LT electrical works for Unit-3 and 4 of 5X800 MW Yadadri TPS, Nalgonda, Telangana.
Bidder's Name
Sl. No | item no | Description of Item | Qty | Unit | Unit Rate | Total Value | Weightage
1 | F.2.18 & F.2.23 | 415V UNIT BOI LER VALVE & DAM PER DB (3HA/4HA) : Rating 250A. App. Dimension in mm (LxHxD) : 19550 X 2425 X 900,No. of Panels: 23 & No. of Shipping Sections: 12 | 2 | Set | 0 | 0 | 0.030806
2 | F.3.34,3.52,3.35, 3.53 | 415V U NIT BOI LER (3DA/4DA)/ TU RBI N E SERVICE PMCC (3DB/4DB) : Rating 3200/4000A, App. Dimension in mm (LxHxD): 23750/23950x2425 X 900, No. of Panels: 28/30 & No of Shipping sections:14/15 | 2 | Set | 0 | 0 | 0.035547
3 | F.3.37& F.3.55 | 415V VENTILATION MCC (3TA/4TA): Rating 1000A, App. Wt. (in kg) 13500, App. Dimension in mm (LxHxD): 16300 X 2425X1300, No. Of Panels:17 & No.of Shipping Sections: 9 | 2 | Set | 0 | 0 | 0.024988
4 | F.3.40,3.58 & F.3..49 | 415V STATION SERVICE PMCC (0DF/0DJ)/COMPRESSOR HOUSE STAGE-II MM(OSG)::Rating 4000A/1000A/630A, App. Dimension in mm (LxHxD): 12800/12900/13350X2425X1600/1300, No.of Panels: 14/11/14 & No. of Shipping Sections: 7/6/7 | 2 | Set | 0 | 0 | 0.02285
5 | F.3.45 & C1.3 | 415V PTP STAGE-I&II MCC (0WD) /SOOT BLOWER MCC:Rating 4000/3200A,Approximate Dimension in mm (LxHxD) :226000/22100 x2425x900/1000,No.Of Panels :27/26 & No.of Shipping Sections:9 | 2 | Set | 0 | 0 | 0.030397
6 | F.2.19 F.2.24 | 415V UNIT BOILER ACDB (3HB/4HB): Rating 630A, App. Dimension in mm (LxHxD): 10700 X 2425 X 1300, No. of Panels: 13 & No. of Shipping Sections: 7 | 2 | Set | 0 | 0 | 0.018597
7 | F.4.9 to 4.16,4.23,4.25,4.27,4.30,4.32,&4.42 to 4.49 | 415 V, LT NSPBD TYPE BUSDUCT 4000A/3200A/2500A/1600A/1000A | 100 | Mtr | 0 | 0 | 0.015489
8 | III | LAYING OF LT POWER CABLES 1.1 kV, XLPE INSULATE D, GALVANISED STEEL ARMOURED SINGLE/MULTICORE CABLES FRLS (Al/Cu CABLES) |  |  |  |  | 0
9 | A.1.1, A.1.13, A.3.1 | 1C-400 Sq. mm / 3C-150 sq.mm | 4796 | Mtr | 0 | 0 | 0.0092859
10 | A.1.2 | 1C-630 sq.mm | 5217 | Mtr | 0 | 0 | 0.010992
11 | A.1.3,A.1.5,A.1.9,A.1.20 | 1C-35 sq.mm / 2C-10 sq.mm / 3C-10 so.mm / 4C-10 sq.mm | 62291 | Mtr | 0 | 0 | 0.042567
12 | A.1.4 & A.1.7 | 1C-120 sq.mm / 2C-50 sq.mm | 1000 | Mtr | 0 | 0 | 0.0011959
13 | A.1.6,B.1.4,C.3.1 | 2C-25 sq.mm / 3C - 16 Sq.mm | 1000 | Mtr | 0 | 0 | 0.00062641
14 | A.1.10 & A.1.16 | 3C-25 sq.mm / 3.5C-25 sq.mm | 32117 | Mtr | 0 | 0 | 0.029263
15 | A.1.11,B.1.3,A.1.17,A.1.8,A.3.2 | 3C-50 sq,mm / 3.5C-50 sq.mm / 2C-95 sqmm (Cu) | 9485 | Mtr | 0 | 0 | 0.010263
16 | A.1.12 &A.1.18 | 3C-95 sq.mm / 3.5C-95 sq.mm | 15530 | Mtr | 0 | 0 | 0.020341
17 | A.1.14 & A.1.19 | 3C-185 sq.mm (AL) | 3469 | Mtr | 0 | 0 | 0.0069142
18 | A.1.15,B.1.1,B.1.2,A.3.3 | 3C-240 sq.mm/ 3.5C-240 Sq,mm / 2C-150 Sq.mm | 4100 | Mtr | 0 | 0 | 0.0056035
19 | IV | END TERMINATION OF LT POWER / CONTROL CABLES - 1.1 kV, XLPE INSULATED, GALVANISED STEEL ARMOURED SINGLE/ MULTICORE CABLES FRLS (Al/Cu CABLES) |  |  |  |  | 0
20 | A.5.1 | 1C-400 Sq. mm (Al) | 52 | Nos. | 0 | 0 | 0.00088835
21 | A.5.2 | 1C-630 sq.mm (Al) | 160 | Nos. | 0 | 0 | 0.0037175
22 | A.5.3 | 1C-35 sq.mm (Al) | 10 | Nos. | 0 | 0 | 2.0506e-05
23 | A.5.4 | 1C-120 sq.mm (Al) | 10 | No's | 0 | 0 | 0.00015546
24 | A.5.5 | 2C-10 sq.mm (Al) | 68 | No's | 0 | 0 | 0.00058463
25 | A.5.6 | 2C-25 sq.mm (Al) | 10 | Nos. | 0 | 0 | 9.4524e-05
26 | A.5.7 | 2C-50 sq.mm (Al) | 10 | Nos. | 0 | 0 | 0.00010928
27 | A.5.8 | 2C-95 sq.mm (Al) | 10 | Nos. | 0 | 0 | 0.00013151
28 | A.5.9 | 3C-10 sq.mm (Al) | 478 | Nos. | 0 | 0 | 0.0010071
29 | A.5.10 | 3C-25 sq.mm (Al) | 264 | Nos. | 0 | 0 | 0.002661
30 | A.5.11, B.4.3 | 3C-50 sq.mm (Al) | 52 | Nos. | 0 | 0 | 0.00083509
31 | A.5.12 | 3C-95 sq.mm (Al) | 136 | Nos. | 0 | 0 | 0.0018742
32 | A.5.13 | 3C-150 sq.mm (Al) | 16 | Nos. | 0 | 0 | 0.00054396
33 | A.5.14 | 3C-185 sq.mm (Al) | 48 | Nos. | 0 | 0 | 0.0016291
34 | A.5.15 | 3C-240 sq.mm (Al) | 36 | Nos. | 0 | 0 | 0.0013838
35 | A.5.16 | 3.5C-25 sq.mm (Al) | 80 | Nos. | 0 | 0 | 0.00092013
36 | A.5.17 | 3.5C-50 sq.mm (Al) | 36 | Nos. | 0 | 0 | 0.00048805
37 | A.5.18 | 3.5C-95 sq.mm (Al) | 16 | Nos. | 0 | 0 | 0.00025517
38 | A.5.19 | 3.5C-185 sq.mm (Al) | 16 | Nos. | 0 | 0 | 0.00060051
39 | A.5.20 | 4C-10 sq.mm (Al) | 76 | Nos. | 0 | 0 | 0.00016008
40 | B.4.1 | 3.5C-240 Sq.mm (Al) | 10 | Nos. | 0 | 0 | 0.00045504
41 | B.4.2 | 2C-150 Sq.mm (Al) | 10 | Nos. | 0 | 0 | 0.00013781
42 | B.4.4, C.5.1 | 3C - 16 Sq.mm (Al) | 10 | Nos. | 0 | 0 | 0.00011674
43 | A.6.1 | 1C-400 sq.mm (Cu) | 5 | Nos. | 0 | 0 | 8.4001e-05
44 | A.6.2 | 2C-95 sq.mm (Cu) | 5 | Nos. | 0 | 0 | 6.7207e-05
45 | A.6.3 | 3C-240 sq.mm (Cu) | 5 | Nos. | 0 | 0 | 0.00018513
46 | V | LAYING AND TERMINATION OF LT POWER/CONTROL CABLES 1.1 kV, XLPE INSULATED, GALVANISED STEEL ARMOURED SINGLE/ MULTICORE CABLES FRLS (CU CABLES) |  |  |  |  | 0
47 | A.2.1, B.2.2, E.17.2, A.2.2, A.3.5, B.2.1, B.3.1, B.3.2, C.2.1, C.4.1, E.17.3 | 2C - 2.5 sq.mm / 3C - 2.5 sq.mm / 4C x 2.5 sqmm | 226175 | Mtr | 0 | 0 | 0.1288
48 | A.2.3, A.3.4, A.4.1, C.4.2, A.4.2, A.4.3, C.4.3 | 2C - 6 sq.mm / 5C - 2.5 sq.mm / 5C - 4 sq.mm / 7C - 2.5 sq.mm | 47210 | Mtr | 0 | 0 | 0.029573
49 | A.4.4, E.17.1 , B.3.3, C.4.4, C.4.5 | 12C - 2.5 sq.mm / 10C - 2.5 Sq.mm / 9C-2.5 Sq.mm | 38883 | Mtr | 0 | 0 | 0.026571
50 | E.17.4 | 24 pair x 0.5 sqmm (Cu) | 99 | Mtr | 0 | 0 | 0.00012957
51 | VI | ERECTION OF PRE FABRICATED CABLE TRAYS AND ACCESSORIES LIKE BEND, TEE, ELBOW, CROSS & REDUCERS ETC. |  |  |  |  | 0
52 | A.7.1& B.5.1 | 600 mm wide-Cable Tray Ladder Type | 12580 | Mtr | 0 | 0 | 0.075221
53 | A.7.2& B.5.2 | 450 mm wide-Cable Tray Ladder Type | 870 | Mtr | 0 | 0 | 0.0033195
54 | A.7.3&B.5.3 | 300 mm wide-Cable Tray Ladder Type | 3600 | Mtr | 0 | 0 | 0.021116
55 | A.7.4&B.5.4 | 150 mm wide-Cable Tray Ladder Type | 2340 | Mtr | 0 | 0 | 0.0081285
56 | A.7.5 | 600 mm wide-Cable Tray Perforated Type | 4610 | Mtr | 0 | 0 | 0.034653
57 | A.7.6 | 450 mm wide-Cable Tray Perforated Type | 360 | Mtr | 0 | 0 | 0.0016811
58 | A.7.7 | 300 mm wide-Cable Tray Perforated Type | 1730 | Mtr | 0 | 0 | 0.01064
59 | A.7.8 | 150 mm wide-Cable Tray Perforated Type | 1040 | Mtr | 0 | 0 | 0.0036127
60 | A.7.9 | 100 mm wide-Cable Tray Perforated Type | 1000 | Mtr | 0 | 0 | 0.0023348
61 | VII | INSTALLATION OF HOT DIP GALVANIZED STEEL FLATS |  |  |  |  | 0
62 | A.9.1& B.7.1 | GS FLAT 75 X 10 mm (6 kg/m)app | 6220 | Mtrs | 0 | 0 | 0.041442
63 | A.9.2 & B.7.2 | GS FLAT 50 X 6 mm (2.5 kg/m) app | 4700 | Mtrs | 0 | 0 | 0.020877
64 | A9.3 | GS FLAT25X6 mm(1.2 Kg/m)app | 500 | Mtrs | 0 | 0 | 0.0018508
65 | A9.4 | GS FLAT 25X3 mm(0.6 Kg/m)app | 200 | Mtrs | 0 | 0 | 0.00079729
66 | A.9.5 & B.7.3 | GS WIRE 3.15 DIA 8 SWG (0.131 kg/m) app | 5000 | Mtrs | 0 | 0 | 0.0011389
67 | A.11.1 | GS Rod 20 mm dia LONG 1000 mm vertical air termination, Test links (150 x 25 x 6), Flexible copper conductor, 50mm GI class C pipe 3 mtr long | 120 | Set | 0 | 0 | 0.023241
68 | VIII | FABRICATION & ERECTION OF STRUCTURAL STEEL |  |  |  |  | 0
69 | A.8.1,A.8.2,A8.3,A8.4, B.6.1,B.6.2, B.6.3 | Structural Steel (ISMC, ISMB, ISA, etc) | 92 | MT | 0 | 0 | 0.09126
70 | XI | ERECTION AND COMMISSIONING OF CONTROL PANEL SYSTEM |  |  |  |  | 0
71 | C.1.1 | DC Scanner fan starter panels | 2 | Set | 0 | 0 | 0.00094026
72 | C.1.2 | Furnace temp. panel | 4 | set | 0 | 0 | 0.0014312
73 | XII | ERECTION OF JUNCTION BOXES / PUSH BUTTON STATIONS |  |  |  |  | 0
74 | B.10.1,F.5.1, F.5.2,F.5.3, F.5.4&F.5.5 | Local Start Stop Pushbuttons | 600 | Set | 0 | 0 | 0.020774
75 | B.10.2,B.10.8 B.10.9 | Junction Boxes for ESP applications | 330 | Set | 0 | 0 | 0.016556
76 | XIII | COMMISSIONING OF THE FOLLOWING ERECTED BY MECHANICAL/OTHER CONTRACTOR |  |  |  |  | 0
77 | B.11.4 | Hoist/Cranes/Monorail | 10 | set | 0 | 0 | 0.0015349
78 | A.12.6 | LT Unidirectional & Bidirectional drives (0.2 kW to 110 kW) | 1500 | Nos. | 0 | 0 | 0.067567
79 | XIV | ERECTION OF MISCELLANEOUS ITEMS |  |  |  |  | 0
80 | F.5.6&F.5.7 | AC/DC Fuse DB | 4 | Nos. | 0 | 0 | 0.0012378
81 | F.5.8 | Dataconcentrator Panels | 1 | Set | 0 | 0 | 0.0030276
82 | XV | LAYING AND TERMINATION OF OFC CABLES |  |  |  |  | 0
83 | F.5.9 | OFC cable includes fixing of fibre optic components and termination kits LIU, face plates,cabinets,SC coupler,grounding etc | 20000 | Mtrs | 0 | 0 | 0.025056
84 | F.5.10 | Optical Fibre Plicing | 100 | No | 0 | 0 | 0.00066061
| TOTAL PRICE |  | 0
TOTAL PRICE IN WORDS
GST - EXTRA …..... (GST Percentage to be mentioned)
Note: Bidder should enter most competetive price in Total price cell (blue colour.) Unit rates are calculated as per the weightages automatically). Bidder should fill all the cells in blue colour.
SIGNATURE & SEAL OF AUTHORISED PERSON
Name

## Unpriced Bid
Bharat Heavy Electricals limited Power Sector - Southern Region
Project - 5X800MW Yadadri TPS
YTPS:SCT:202407-199
VOLUME-II (UNPRICED BID)
JOB Part Works of Stage-2 (Unit 3 and 4) Electrical LT package: Erection, Testing and Commissioning including Handling of materials at site BHEL stores / storage yard, transportating to site of erection and supply & application of final painting of LT electrical works for Unit-3 and 4 of 5X800 MW Yadadri TPS, Nalgonda, Telangana.
Bidder's Name
Sl. No | item no | Description of Item | Qty | Unit | Quoted / Not Quoted | Weightage
1 | F.2.18 & F.2.23 | 415V UNIT BOI LER VALVE & DAM PER DB (3HA/4HA) : Rating 250A. App. Dimension in mm (LxHxD) : 19550 X 2425 X 900,No. of Panels: 23 & No. of Shipping Sections: 12 | 2 | Set |  | 0.030806
2 | F.3.34,3.52,3.35, 3.53 | 415V U NIT BOI LER (3DA/4DA)/ TU RBI N E SERVICE PMCC (3DB/4DB) : Rating 3200/4000A, App. Dimension in mm (LxHxD): 23750/23950x2425 X 900, No. of Panels: 28/30 & No of Shipping sections:14/15 | 2 | Set |  | 0.035547
3 | F.3.37& F.3.55 | 415V VENTILATION MCC (3TA/4TA): Rating 1000A, App. Wt. (in kg) 13500, App. Dimension in mm (LxHxD): 16300 X 2425X1300, No. Of Panels:17 & No.of Shipping Sections: 9 | 2 | Set |  | 0.024988
4 | F.3.40,3.58 & F.3..49 | 415V STATION SERVICE PMCC (0DF/0DJ)/COMPRESSOR HOUSE STAGE-II MM(OSG)::Rating 4000A/1000A/630A, App. Dimension in mm (LxHxD): 12800/12900/13350X2425X1600/1300, No.of Panels: 14/11/14 & No. of Shipping Sections: 7/6/7 | 2 | Set |  | 0.02285
5 | F.3.45 & C1.3 | 415V PTP STAGE-I&II MCC (0WD) /SOOT BLOWER MCC:Rating 4000/3200A,Approximate Dimension in mm (LxHxD) :226000/22100 x2425x900/1000,No.Of Panels :27/26 & No.of Shipping Sections:9 | 2 | Set |  | 0.030397
6 | F.2.19 F.2.24 | 415V UNIT BOILER ACDB (3HB/4HB): Rating 630A, App. Dimension in mm (LxHxD): 10700 X 2425 X 1300, No. of Panels: 13 & No. of Shipping Sections: 7 | 2 | Set |  | 0.018597
7 | F.4.9 to 4.16,4.23,4.25,4.27,4.30,4.32,&4.42 to 4.49 | 415 V, LT NSPBD TYPE BUSDUCT 4000A/3200A/2500A/1600A/1000A | 100 | Mtr |  | 0.015489
8 | III | LAYING OF LT POWER CABLES 1.1 kV, XLPE INSULATE D, GALVANISED STEEL ARMOURED SINGLE/MULTICORE CABLES FRLS (Al/Cu CABLES) |  |  |  | 0
9 | A.1.1, A.1.13, A.3.1 | 1C-400 Sq. mm / 3C-150 sq.mm | 4796 | Mtr |  | 0.0092859
10 | A.1.2 | 1C-630 sq.mm | 5217 | Mtr |  | 0.010992
11 | A.1.3,A.1.5,A.1.9,A.1.20 | 1C-35 sq.mm / 2C-10 sq.mm / 3C-10 so.mm / 4C-10 sq.mm | 62291 | Mtr |  | 0.042567
12 | A.1.4 & A.1.7 | 1C-120 sq.mm / 2C-50 sq.mm | 1000 | Mtr |  | 0.0011959
13 | A.1.6,B.1.4,C.3.1 | 2C-25 sq.mm / 3C - 16 Sq.mm | 1000 | Mtr |  | 0.00062641
14 | A.1.10 & A.1.16 | 3C-25 sq.mm / 3.5C-25 sq.mm | 32117 | Mtr |  | 0.029263
15 | A.1.11,B.1.3,A.1.17,A.1.8,A.3.2 | 3C-50 sq,mm / 3.5C-50 sq.mm / 2C-95 sqmm (Cu) | 9485 | Mtr |  | 0.010263
16 | A.1.12 &A.1.18 | 3C-95 sq.mm / 3.5C-95 sq.mm | 15530 | Mtr |  | 0.020341
17 | A.1.14 & A.1.19 | 3C-185 sq.mm (AL) | 3469 | Mtr |  | 0.0069142
18 | A.1.15,B.1.1,B.1.2,A.3.3 | 3C-240 sq.mm/ 3.5C-240 Sq,mm / 2C-150 Sq.mm | 4100 | Mtr |  | 0.0056035
19 | IV | END TERMINATION OF LT POWER / CONTROL CABLES - 1.1 kV, XLPE INSULATED, GALVANISED STEEL ARMOURED SINGLE/ MULTICORE CABLES FRLS (Al/Cu CABLES) |  |  |  | 0
20 | A.5.1 | 1C-400 Sq. mm (Al) | 52 | Nos. |  | 0.00088835
21 | A.5.2 | 1C-630 sq.mm (Al) | 160 | Nos. |  | 0.0037175
22 | A.5.3 | 1C-35 sq.mm (Al) | 10 | Nos. |  | 2.0506e-05
23 | A.5.4 | 1C-120 sq.mm (Al) | 10 | No's |  | 0.00015546
24 | A.5.5 | 2C-10 sq.mm (Al) | 68 | No's |  | 0.00058463
25 | A.5.6 | 2C-25 sq.mm (Al) | 10 | Nos. |  | 9.4524e-05
26 | A.5.7 | 2C-50 sq.mm (Al) | 10 | Nos. |  | 0.00010928
27 | A.5.8 | 2C-95 sq.mm (Al) | 10 | Nos. |  | 0.00013151
28 | A.5.9 | 3C-10 sq.mm (Al) | 478 | Nos. |  | 0.0010071
29 | A.5.10 | 3C-25 sq.mm (Al) | 264 | Nos. |  | 0.002661
30 | A.5.11, B.4.3 | 3C-50 sq.mm (Al) | 52 | Nos. |  | 0.00083509
31 | A.5.12 | 3C-95 sq.mm (Al) | 136 | Nos. |  | 0.0018742
32 | A.5.13 | 3C-150 sq.mm (Al) | 16 | Nos. |  | 0.00054396
33 | A.5.14 | 3C-185 sq.mm (Al) | 48 | Nos. |  | 0.0016291
34 | A.5.15 | 3C-240 sq.mm (Al) | 36 | Nos. |  | 0.0013838
35 | A.5.16 | 3.5C-25 sq.mm (Al) | 80 | Nos. |  | 0.00092013
36 | A.5.17 | 3.5C-50 sq.mm (Al) | 36 | Nos. |  | 0.00048805
37 | A.5.18 | 3.5C-95 sq.mm (Al) | 16 | Nos. |  | 0.00025517
38 | A.5.19 | 3.5C-185 sq.mm (Al) | 16 | Nos. |  | 0.00060051
39 | A.5.20 | 4C-10 sq.mm (Al) | 76 | Nos. |  | 0.00016008
40 | B.4.1 | 3.5C-240 Sq.mm (Al) | 10 | Nos. |  | 0.00045504
41 | B.4.2 | 2C-150 Sq.mm (Al) | 10 | Nos. |  | 0.00013781
42 | B.4.4, C.5.1 | 3C - 16 Sq.mm (Al) | 10 | Nos. |  | 0.00011674
43 | A.6.1 | 1C-400 sq.mm (Cu) | 5 | Nos. |  | 8.4001e-05
44 | A.6.2 | 2C-95 sq.mm (Cu) | 5 | Nos. |  | 6.7207e-05
45 | A.6.3 | 3C-240 sq.mm (Cu) | 5 | Nos. |  | 0.00018513
46 | V | LAYING AND TERMINATION OF LT POWER/CONTROL CABLES 1.1 kV, XLPE INSULATED, GALVANISED STEEL ARMOURED SINGLE/ MULTICORE CABLES FRLS (CU CABLES) |  |  |  | 0
47 | A.2.1, B.2.2, E.17.2, A.2.2, A.3.5, B.2.1, B.3.1, B.3.2, C.2.1, C.4.1, E.17.3 | 2C - 2.5 sq.mm / 3C - 2.5 sq.mm / 4C x 2.5 sqmm | 226175 | Mtr |  | 0.1288
48 | A.2.3, A.3.4, A.4.1, C.4.2, A.4.2, A.4.3, C.4.3 | 2C - 6 sq.mm / 5C - 2.5 sq.mm / 5C - 4 sq.mm / 7C - 2.5 sq.mm | 47210 | Mtr |  | 0.029573
49 | A.4.4, E.17.1 , B.3.3, C.4.4, C.4.5 | 12C - 2.5 sq.mm / 10C - 2.5 Sq.mm / 9C-2.5 Sq.mm | 38883 | Mtr |  | 0.026571
50 | E.17.4 | 24 pair x 0.5 sqmm (Cu) | 99 | Mtr |  | 0.00012957
51 | VI | ERECTION OF PRE FABRICATED CABLE TRAYS AND ACCESSORIES LIKE BEND, TEE, ELBOW, CROSS & REDUCERS ETC. |  |  |  | 0
52 | A.7.1& B.5.1 | 600 mm wide-Cable Tray Ladder Type | 12580 | Mtr |  | 0.075221
53 | A.7.2& B.5.2 | 450 mm wide-Cable Tray Ladder Type | 870 | Mtr |  | 0.0033195
54 | A.7.3&B.5.3 | 300 mm wide-Cable Tray Ladder Type | 3600 | Mtr |  | 0.021116
55 | A.7.4&B.5.4 | 150 mm wide-Cable Tray Ladder Type | 2340 | Mtr |  | 0.0081285
56 | A.7.5 | 600 mm wide-Cable Tray Perforated Type | 4610 | Mtr |  | 0.034653
57 | A.7.6 | 450 mm wide-Cable Tray Perforated Type | 360 | Mtr |  | 0.0016811
58 | A.7.7 | 300 mm wide-Cable Tray Perforated Type | 1730 | Mtr |  | 0.01064
59 | A.7.8 | 150 mm wide-Cable Tray Perforated Type | 1040 | Mtr |  | 0.0036127
60 | A.7.9 | 100 mm wide-Cable Tray Perforated Type | 1000 | Mtr |  | 0.0023348
61 | VII | INSTALLATION OF HOT DIP GALVANIZED STEEL FLATS |  |  |  | 0
62 | A.9.1& B.7.1 | GS FLAT 75 X 10 mm (6 kg/m)app | 6220 | Mtrs |  | 0.041442
63 | A.9.2 & B.7.2 | GS FLAT 50 X 6 mm (2.5 kg/m) app | 4700 | Mtrs |  | 0.020877
64 | A9.3 | GS FLAT25X6 mm(1.2 Kg/m)app | 500 | Mtrs |  | 0.0018508
65 | A9.4 | GS FLAT 25X3 mm(0.6 Kg/m)app | 200 | Mtrs |  | 0.00079729
66 | A.9.5 & B.7.3 | GS WIRE 3.15 DIA 8 SWG (0.131 kg/m) app | 5000 | Mtrs |  | 0.0011389
67 | A.11.1 | GS Rod 20 mm dia LONG 1000 mm vertical air termination, Test links (150 x 25 x 6), Flexible copper conductor, 50mm GI class C pipe 3 mtr long | 120 | Set |  | 0.023241
68 | VIII | FABRICATION & ERECTION OF STRUCTURAL STEEL |  |  |  | 0
69 | A.8.1,A.8.2,A8.3,A8.4, B.6.1,B.6.2, B.6.3 | Structural Steel (ISMC, ISMB, ISA, etc) | 92 | MT |  | 0.09126
70 | XI | ERECTION AND COMMISSIONING OF CONTROL PANEL SYSTEM |  |  |  | 0
71 | C.1.1 | DC Scanner fan starter panels | 2 | Set |  | 0.00094026
72 | C.1.2 | Furnace temp. panel | 4 | set |  | 0.0014312
73 | XII | ERECTION OF JUNCTION BOXES / PUSH BUTTON STATIONS |  |  |  | 0
74 | B.10.1,F.5.1, F.5.2,F.5.3, F.5.4&F.5.5 | Local Start Stop Pushbuttons | 600 | Set |  | 0.020774
75 | B.10.2,B.10.8 B.10.9 | Junction Boxes for ESP applications | 330 | Set |  | 0.016556
76 | XIII | COMMISSIONING OF THE FOLLOWING ERECTED BY MECHANICAL/OTHER CONTRACTOR |  |  |  | 0
77 | B.11.4 | Hoist/Cranes/Monorail | 10 | set |  | 0.0015349
78 | A.12.6 | LT Unidirectional & Bidirectional drives (0.2 kW to 110 kW) | 1500 | Nos. |  | 0.067567
79 | XIV | ERECTION OF MISCELLANEOUS ITEMS |  |  |  | 0
80 | F.5.6&F.5.7 | AC/DC Fuse DB | 4 | Nos. |  | 0.0012378
81 | F.5.8 | Dataconcentrator Panels | 1 | Set |  | 0.0030276
82 | XV | LAYING AND TERMINATION OF OFC CABLES |  |  |  | 0
83 | F.5.9 | OFC cable includes fixing of fibre optic components and termination kits LIU, face plates,cabinets,SC coupler,grounding etc | 20000 | Mtrs |  | 0.025056
84 | F.5.10 | Optical Fibre Plicing | 100 | No |  | 0.00066061
SIGNATURE & SEAL OF AUTHORISED PERSON
Name

## TB (hidden)
Bharat Heavy Electricals limited Power Sector - Southern Region
Project - 5X800MW Yadadri TPS
YTPS:SCT:202404-192
(UNPRICEBID)
JOB:Construction of 2 Nos Store Shed Civil Foundation for wool storage purpose at yadadri site
Bidder's Name
Sl No | Description of item | UOM | No | QTY | Rate | Amount | Weightage for amount of each item (Nearest to the 7 decimal points) w.r.t the total amount
A1 | Earth work in excavation in soft rock (rock without any recovery of excavated materials in the form of hard stone/boulder) including weathered rock which can be excavated by means of crow bar, pick axe, pneumatic rock breaker attachment with excavator machine etc but does not require chiselling or blasting including setting out, levelling, dewatering (wherever required), shoring & strutting (wherever required), dressing the sides & bottom, all lifts, ramming/compacting the excavated bottom, stacking, disposal of surplus excavated materials within a lead upto 1 Km, spreading / levelling of disposed materials etc all complete. | Cum | 2 | 706.02 | 0 | 0 | 0.053633
A2 | Earthwork in Back filling upto any depth below ground level around foundations, plinths, trenches, drains etc. to proper grade and level in layers not exceeding 250mm loose thickness using/ withÂ selectedÂ materials from stacked earth available within a lead upto 1 Km and compacted as specified including re-excavation of stacked earth, breaking of oversized rocks, sorting & segregationÂ of rock pieces of size less than 150mm through mechanical means, watering, ramming/compaction by manual/mechanical means, dressing etc | Cum | 2 | 775.5682 | 0 | 0 | 0.048298
A3 | Providing and Filling in trenches, plinths, area paving and other underground structures with graded stone aggregate of size range 63 mm to 45 mm in layers not exceeding 230 mm in thickness including breaking of stone boulders to required sizes, filling the interstices with selected sand and compacting to 85 % of original volume of stone stack for all lifts etc. all complete. Payment shall be made for the measurement of the volume of the compacted fill. | Cum | 2 | 212.52 | 0 | 0 | 0.19166
A4 | Concrete of grade M15 (1 part cement, 2 part sand, 4 parts of 20 mm graded aggregate by volume) as lean concrete, levelling course, mud mat under and around foundations/floors at any depth below finished floor level etc. | Cum | 2 | 113.7188 | 0 | 0 | 0.26618
A5 | Concrete of grade M20 (1 part cement, 1.5 part sand, 3 parts of 20 mm graded aggregate by volume) under floors, paving, plinth protection, pipe encasing etc | Cum | 2 | 56.133 | 0 | 0 | 0.14222
A6 | Fairface form work with good quality water proof ply wood of minimum 12mm thickness and smooth surface below finished ground floor level for foundations, footings, base of columns, walls, columns, pilasters, beams, mass concrete, trenches etc.including chamfering of edges as per drawing, specification and instruction of engineer in charge.. | Sqm | 2 | 386.58 | 0 | 0 | 0.10637
A7 | Transportation, straightening, cutting, bending, placing in position at all level, binding in position of steel reinforcements of TMT steel of grade Fe-500D or 500EQR confirming to IS:1786 including cost of binding wire, labour, scaffolding, transportation to & from stores etc complete all as per specifications, drawings and as directed by Engineer.(BHEL to supply steel free of cost) | MT | 2 | 2.8233 | 0 | 0 | 0.019715
A8 | Providing brick work in cement mortar 1:6 (1 part cement : 6 parts coarse sand) in walls, chambers etc. in thickness varying from 230mm to 460mm at all depths, places and positions below plinth including raking out joints, curing, scaffolding etc. complete excluding plastering and painting.Using fly ash lime bricks confirming to IS 12894 with crushing strength of 75 kg/cm2(including cost of cement for brick making) | Cum | 2 | 56.12 | 0 | 0 | 0.17192
| TOTAL LUMPSUM PRICE | [5 empty] | 1
TOTAL LUMPSUM PRICE IN WORDS
GST - EXTRA …..... (GST Percentage to be mentioned)
Note: Vendor to input "total lumpsum price" in Blue cell only. Prices for A1 to A8 will be calculated as per weightages.
SIGNATURE & SEAL OF AUTHORISED PERSON
Name