## Price Bid SCT 202
Bharat Heavy Electricals limited Power Sector - Southern Region
Project - 5X800MW Yadadri TPS
YTPS:SCT:202409-202
VOLUME-II (PRICEBID)
JOB Balance works of Stage-2(Unit-3 and 4)Electrical LT Package: Erection, Testing & Commissioning including Handling of materials at site BHEL stores / storage yard, transporting to site of erection and supply & application of final painting of LT Electrical works for Unit-3 and 4 and identified BOP areas of at 5x800MW Yadadri TPS, Nalgonda, Telangana.
Bidder's Name
Sl. No | Description of Item | Unit | Qty | Unit Rate | Total Value | Weightage
I | ERECTION AND COMMISSIONING OF LT SWITCHGEAR / MCC/PMCC/ACDB /DCDB PANELS | -- |  |  | 0
F.1.3 & F.1.4 | 220 V MAIN DCDB (3FA/4FA):App, Dimension in mm (LxHxD): 19000 x 2425 x 1300, No.of Panels: 23 & No. or shipping Sections: 1 2 | Set |  |  | 0
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.0020251
4 | System Commissioning |  | 2 | 0 | 0 | 0.00135
F.2.1 7 & F.2.22 | 415V UNIT TURBIN E VALVE DB (3KA/4 KA): Rating 250A, App. Wt (in kg) 16250, App. Dimension in mm (LxHxD): 21250 X 2425 X 900, No. Of Panels: 25 & No. of ShippingSections: 13 | Set |  |  | 0
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.0024599
4 | System Commissioning |  | 2 | 0 | 0 | 0.0016399
F.2.4,2.15,2.20,2.25&3.50 | 415V ESP & I D FAN AREA D8 | Set |  |  | 0
| (1HD/2HD/3HD/4HD)/RAW WATER STAGE-II(0WF): Radng 400A, App. |  |  |  | 0
| Dimension in mm (LxHxD): 5100 X 2425 X 900, No.of panels: |  |  |  | 0
| 6 & No. of Shipping Sections: 3 |  |  |  | 0
2 | Pre-commissioning checks |  | 2 | 0 | 0 | 0.0005294
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.000794
4 | System Commissioning |  | 3 | 0 | 0 | 0.000794
F.2.21 & F.2.26 | 415V UNIT SERVICE ACDB (3QA/4QA): Rating 63OA, App. Dimension in mm (Lx HxD): 12400 X 2425 X 1300, No. Of Panels:15 & No of Shipping Sections: 8 | Set |  |  | 0
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.0013914
4 | System Commissioning |  | 2 | 0 | 0 | 0.0009276
F.2.9 & F.2.10 | NDCT ACDB (3/4): Approximate | Set |  |  | 0
| Dimension in mm (LxHxD) : 1700 x 242 S x 900, No. of Panels: 2 & No. of Shipping Sections: 1 |  |  |  | 0
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 2 | 0 | 0 | 0.000656
2 | Pre-commissioning checks |  | 2 | 0 | 0 | 0.0001312
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.0001968
4 | System Commissioning |  | 2 | 0 | 0 | 0.0001312
F.3.34,3.52,3.35, 3.53 | 415V U NIT BOI LER (3DA/4DA)/ | Set |  |  | 0
| TU RBI N E SERVICE PMCC |  |  |  | 0
| (3DB/4DB) : Rating 3200/4000A, App. Dimension in mm (LxHxD): 23750/23950x2425 X 900, No. of Panels: 28/30 & No of Shipping sections:14/15 |  |  |  | 0
2 | Pre-commissioning checks |  | 1 | 0 | 0 | 0.0009259
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.0027778
4 | System Commissioning |  | 2 | 0 | 0 | 0.0018519
F.3.36& | 415V UNIT EMERGENCY MCC (3DG/4DG): Rating 3200A, App. Wt (in kg) 21750, App. Dimension in mm (LxHxD): 24700 X 2425 X 1600, No. Of Panels:30 & No.of Shipping Sections: 15 | Set |  |  | 0
F.3.54 |  |  |  |  | 0
2 | Pre-commissioning checks |  | 2 | 0 | 0 | 0.0019004
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.0028506
4 | System Commissioning |  | 2 | 0 | 0 | 0.0019004
F.3.38 & | 4l5V ESP AC & VENT MCC | Set |  |  | 0
F.3.56 | (3TB/4TB): Rating 400A, App. Wt (in kg) 6750, App Dimension in mm (LxHxEt): 8550 X 2425 X900, No. of Panels: 9 & No. of Shipping Sections: 5 |  |  |  | 0
2 | Pre-commissioning checks |  | 2 | 0 | 0 | 0.0006598
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.0009897
4 | System Commissioning |  | 2 | 0 | 0 | 0.0006598
F.3.39& | 415V STATION SERVICE PMCC (0 DE/0DH): Rating 4000A, App. Wt (in kg) 8950, App. Dimension in mm (LxHxD): 11000 X 2425 X1600, No. of Panels: 12 & No. of Shipping Sections: 6 | Set |  |  | 0
F.3.57 |  |  |  |  | 0
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.0015222
4 | System Commissioning |  | 2 | 0 | 0 | 0.0010148
F.3.40,3.58 & | 415V COMPRESSOR HOUSE STAGE-II MM(OSG)::Rating 4000A/1000A/630A, App. Dimension in mm (LxHxD): 12800/12900/13350X2425X1600/1300, No.of Panels: | Set |  |  | 0
F.3..49 | 14/11/14 & No. of Shipping Sections: 7/6/7 |  |  |  | 0
2 | Pre-commissioning checks |  | 1 | 0 | 0 | 0.0004638
3 | Charging, Loop testing and commissioning |  | 1 | 0 | 0 | 0.0006957
4 | System Commissioning |  | 1 | 0 | 0 | 0.0004638
F.3.41 & | 415V STATION SERVICE PMCC (0QC/0QD):Rating 630A, App. Wt.(in kg)13950, App. Dimension in mm (LxHxD): 17500X2425X1600/1300, No.of Panels: | Set |  |  | 0
F.3.59 | 21 & No.of Shipping Sections: 11 |  |  |  | 0
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.0016646
4 | System Commissioning |  | 2 | 0 | 0 | 0.0011098
F.3.42,3.47,3.48 | FO FORWARDING STAGE-II PMCC(OSD)/SERVICE BUILDING STAGE-II PMCC (ODX)/CLARIFIED STAGE-II PMCC (ODW):Rating 630A/1600A/1000A/4000A, App. Dimension in mm (LxHxD): 15250/15500/15400/15500/15300 X 2425 X 1600, No. of Panels: 16/17/18/19 & No. of Shipping Sections: 8/9/9/10 | Set |  |  | 0
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 1 | 0 | 0 | 0.0027301
2 | Pre-commissioning checks |  | 1 | 0 | 0 | 0.000546
3 | Charging, Loop testing and commissioning |  | 3 | 0 | 0 | 0.0024571
4 | System Commissioning |  | 3 | 0 | 0 | 0.0016381
F.3.44 & | DM STAGE-II PMCC (ODU)/CWT STAGE-II PMCC(ODV): Rating 4000A in App. Dimension (LxHxD) : 23400/23600 x2425x1300/1600,No.of Panels: 27 & No. of Shipping Sections: 14 | Set |  |  | 0
F.3.46 |  |  |  |  | 0
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 1 | 0 | 0 | 0.0041892
2 | Pre-commissioning checks |  | 1 | 0 | 0 | 0.0008378
3 | Charging, Loop testing and commissioning |  | 2 | 0 | 0 | 0.0025135
4 | System Commissioning |  | 2 | 0 | 0 | 0.0016757
F.3.45 & | 415V PTP STAGE-I&II MCC (0WD) /SOOT BLOWER MCC:Rating 4000/3200A,Approximate Dimension in mm (LxHxD) :226000/22100 x2425x900/1000,No.Of Panels :27/26 & No.of Shipping Sections:9 | Set |  |  | 0
C1.3 |  |  |  |  | 0
3 | Charging, Loop testing and commissioning |  | 1 | 0 | 0 | 0.0010125
4 | System Commissioning |  | 1 | 0 | 0 | 0.000675
F.3.51 | 415V AIR CONDITIONING MCC (OTB):Rating 1600A, Approximate Dimension in mm (LxHxD): 16650 X2425X 1300,No. of Panels: 18 &No.Of Shinning Sections: 9 | Set |  |  | 0
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 1 | 0 | 0 | 0.002319
2 | Pre-commissioning checks |  | 1 | 0 | 0 | 0.0004638
3 | Charging, Loop testing and commissioning |  | 1 | 0 | 0 | 0.0006957
4 | System Commissioning |  | 1 | 0 | 0 | 0.0004638
B.8.1 & B.8.2 | AUXILIARY CONTROL BOARD (ACP) / LT MAIN SWITCH BOARD (LT MSB) :Rating 630A/4000A, Approximate Dimension in mm (LxHxD) : 12125/12650 x 2425 x 1300, | Set |  |  | 0
| N o. of Panels: 14/15 & No. of |  |  |  | 0
| Shipping Secfions: 7/8 |  |  |  | 0
2 | Pre-commissioning checks |  | 16 | 0 | 0 | 0.0074208
3 | Charging, Loop testing and commissioning |  | 16 | 0 | 0 | 0.011131
4 | System Commissioning |  | 16 | 0 | 0 | 0.0074208
II | ERECTION AND COMMISSI0NING OF 415V LT NON-SEGREGATED PHASE BUSDUCT |  |  |  | 0
F.4.9 to 4.16,4.23,4.25,4.27,4.30,4.32,&4.42 to 4.49 | 415 V, LT NSPBD TYPE BUSDUCT 4000A/3200A/2500A/1600A/1000A | Mtr |  |  | 0
1 | pre assembly of Bus Ducts and accessories, erection, alignment, bolting/welding etc complete with supporting structure |  | 93.81 | 0 | 0 | 0.0032267
2 | Pre commissioning checks |  | 201.37 | 0 | 0 | 0.0027705
3 | Testing , Charging |  | 201.37 | 0 | 0 | 0.0013853
4 | Final Painting |  | 201.37 | 0 | 0 | 0.0006926
III | LAYING OF LT POWER CABLES 1.1 kV, XLPE INSULATE D, GALVANISED STEEL ARMOURED SINGLE/MULTICORE CABLES FRLS (Al/Cu CABLES) |  |  |  | 0
A.1.1, | 1C-400 Sq. mm / 3C-150 sq.mm | Mtr |  |  | 0
A.1.13, |  |  |  |  | 0
A.3.1 |  |  |  |  | 0
1 | Laying of cables/ wires |  | 76485 | 0 | 0 | 0.029597
2 | Glanding and terminations ( except HT terminations) |  | 77844 | 0 | 0 | 0.010041
3 | Testing and charging |  | 77844 | 0 | 0 | 0.0066939
4 | dressing and clamping |  | 76954 | 0 | 0 | 0.009926
A.1.2 | 1C-630 sq.mm | Mtr |  |  |  | -
1 | Laying of cables/ wires |  | 45213 | 0 | 0 | 0.019039
2 | Glanding and terminations ( except HT terminations) |  | 56183 | 0 | 0 | 0.0078863
3 | Testing and charging |  | 56183 | 0 | 0 | 0.0052575
4 | dressing and clamping |  | 45213 | 0 | 0 | 0.0063464
A.1.3,A.1.5,A.1.9,A.1.20 | 1C-35 sq.mm / 2C-10 sq.mm / 3C-10 so.mm / 4C-10 sq.mm | Mtr |  |  | 0
1 | Laying of cables/ wires |  | 97486 | 0 | 0 | 0.013314
2 | Glanding and terminations ( except HT terminations) |  | 98602.19 | 0 | 0 | 0.0044888
3 | Testing and charging |  | 98837.79 | 0 | 0 | 0.0029997
4 | dressing and clamping |  | 97919.85 | 0 | 0 | 0.0044578
A.1.4 & A.1.7 | 1C-120 sq.mm / 2C-50 sq.mm | Mtr |  |  | 0
1 | Laying of cables/ wires |  | 3400 | 0 | 0 | 0.0008126
2 | Glanding and terminations ( except HT terminations) |  | 3400 | 0 | 0 | 0.0002709
3 | Testing and charging |  | 3400 | 0 | 0 | 0.0001806
4 | dressing and clamping |  | 3400 | 2.4399 | 0 | 0.0002709
A.1.6,B.1.4,C.3.1 | 2C-25 sq.mm / 3C - 16 Sq.mm | Mtr |  |  | 0
1 | Laying of cables/ wires |  | 47480 | 0 | 0 | 0.0059441
2 | Glanding and terminations ( except HT terminations) |  | 47480 | 0 | 0 | 0.0019814
3 | Testing and charging |  | 49355 | 0 | 0 | 0.0013731
4 | dressing and clamping |  | 48387 | 0 | 0 | 0.0020192
A.1.10 & A.1.16 | 3C-25 sq.mm / 3.5C-25 sq.mm | Mtr |  |  | 0
1 | Laying of cables/ wires |  | 68063 | 0 | 0 | 0.012394
2 | Glanding and terminations ( except HT terminations) |  | 68265 | 0 | 0 | 0.0041436
3 | Testing and charging |  | 68385 | 0 | 0 | 0.0027673
4 | dressing and clamping |  | 68183 | 0 | 0 | 0.0041386
A.1.11,B.1.3,A.1.17,A.1.8,A.3.2 | 3C-50 sq,mm / 3.5C-50 sq.mm / 2C-95 sqmm (Cu) | Mtr |  |  | 0
1 | Laying of cables/ wires |  | 57996 | 0 | 0 | 0.012541
2 | Glanding and terminations ( except HT terminations) |  | 58391 | 0 | 0 | 0.0042088
3 | Testing and charging |  | 58541 | 0 | 0 | 0.0028131
4 | dressing and clamping |  | 58146 | 0 | 0 | 0.0041912
A.1.12 &A.1.18 | 3C-95 sq.mm / 3.5C-95 sq.mm | Mtr |  |  | 0
1 | Laying of cables/ wires |  | 13040 | 0 | 0 | 0.0034134
2 | Glanding and terminations ( except HT terminations) |  | 14467 | 0 | 0 | 0.0012623
3 | Testing and charging |  | 14467 | 0 | 0 | 0.0008415
4 | dressing and clamping |  | 13761 | 0 | 0 | 0.0012007
A.1.14 & A.1.19 | 3C-185 sq.mm (AL) | Mtr |  |  |  | -
1 | Laying of cables/ wires |  | 5229 | 0 | 0 | 0.0020829
2 | Glanding and terminations ( except HT terminations) |  | 5229 | 0 | 0 | 0.0006943
3 | Testing and charging |  | 5229 | 0 | 0 | 0.0004629
4 | dressing and clamping |  | 5229 | 0 | 0 | 0.0006943
A.1.15,B.1.1,B.1.2,A.3.3 | 3C-240 sq.mm/ 3.5C-240 Sq,mm / 2C-150 Sq.mm | Mtr |  |  | 0
1 | Laying of cables/ wires |  | 102296 | 0 | 0 | 0.027942
2 | Glanding and terminations ( except HT terminations) |  | 103500 | 0 | 0 | 0.0094236
3 | Testing and charging |  | 103500 | 0 | 0 | 0.0062824
4 | dressing and clamping |  | 103228 | 0 | 0 | 0.0093988
IV | END TERMINATION OF LT POWER / CONTROL CABLES - 1.1 kV, XLPE INSULATED, GALVANISED STEEL ARMOURED SINGLE/ MULTICORE CABLES FRLS (Al/Cu CABLES) |  |  |  | 0
A.5.1 | 1C-400 Sq. mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 716 | 0 | 0 | 0.0046176
A.5.2 | 1C-630 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 660 | 0 | 0 | 0.0057889
A.5.3 | 1C-35 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 98 | 0 | 0 | 7.59e-05
A.5.4 | 1C-120 sq.mm (Al) | No's |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 18 | 0 | 0 | 0.0001056
A.5.5 | 2C-10 sq.mm (Al) | No's |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 104 | 0 | 0 | 0.0003375
A.5.6 | 2C-25 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 114 | 0 | 0 | 0.0004068
A.5.7 | 2C-50 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 22 | 0 | 0 | 9.08e-05
A.5.8 | 2C-95 sq.mm (Al) | Nos. |  |  | 0
1 | a.5.8 |  | 18 | 0 | 0 | 8.94e-05
A.5.9 | 3C-10 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 1130 | 0 | 0 | 0.0008988
A.5.10 | 3C-25 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 816 | 0 | 0 | 0.003105
A.5.11, B.4.3 | 3C-50 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 252 | 0 | 0 | 0.0015278
A.5.12 | 3C-95 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 228 | 0 | 0 | 0.0011861
A.5.13 | 3C-150 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 144 | 0 | 0 | 0.0018481
A.5.14 | 3C-185 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 28 | 0 | 0 | 0.0003587
A.5.15 | 3C-240 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 180 | 0 | 0 | 0.002612
A.5.16 | 3.5C-25 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 192 | 0 | 0 | 0.0008337
A.5.17 | 3.5C-50 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 476 | 0 | 0 | 0.0024361
A.5.18 | 3.5C-95 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 28 | 0 | 0 | 0.0001686
A.5.19 | 3.5C-185 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 28 | 0 | 0 | 0.0003967
A.5.20 | 4C-10 sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 196 | 0 | 0 | 0.0001558
B.4.1 | 3.5C-240 Sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 22 | 0 | 0 | 0.0003779
B.4.2 | 2C-150 Sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 1166 | 0 | 0 | 0.006066
B.4.4, C.5.1 | 3C - 16 Sq.mm (Al) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 550 | 0 | 0 | 0.0024239
A.6.1 | 1C-400 sq.mm (Cu) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 179 | 0 | 0 | 0.0011353
A.6.2 | 2C-95 sq.mm (Cu) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 103 | 0 | 0 | 0.0005226
A.6.3 | 3C-240 sq.mm (Cu) | Nos. |  |  | 0
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 11 | 0 | 0 | 0.0001538
V | LAYING AND TERMINATION OF LT POWER/CONTROL CABLES 1.1 kV, XLPE INSULATED, GALVANISED STEEL ARMOURED SINGLE/ MULTICORE CABLES FRLS (CU CABLES) |  |  |  |  | -
A.2.1, B.2.2, E.17.2, A.2.2, A.3.5, B.2.1, B.3.1, B.3.2, C.2.1, C.4.1, E.17.3 | 2C - 2.5 sq.mm / 3C - 2.5 sq.mm / 4C x 2.5 sqmm | Mtr |  |  |  | -
1 | Laying of cables/ wires |  | 472769 | 0 | 0 | 0.053806
2 | Glanding and terminations ( except HT terminations) |  | 487590 | 0 | 0 | 0.018498
3 | Testing and charging |  | 487805 | 0 | 0 | 0.012337
4 | dressing and clamping |  | 481326 | 0 | 0 | 0.01826
A.2.3, A.3.4, A.4.1, C.4.2, A.4.2, A.4.3, C.4.3 | 2C - 6 sq.mm / 5C - 2.5 sq.mm / 5C - 4 sq.mm / 7C - 2.5 sq.mm | Mtr |  |  |  | -
1 | Laying of cables/ wires |  | 289936 | 0 | 0 | 0.036298
2 | Glanding and terminations ( except HT terminations) |  | 298358 | 0 | 0 | 0.012451
3 | Testing and charging |  | 299047 | 0 | 0 | 0.0083196
4 | dressing and clamping |  | 292508 | 0 | 0 | 0.012207
A.4.4, E.17.1 | 12C - 2.5 sq.mm / 10C - 2.5 Sq.mm / 9C-2.5 Sq.mm | Mtr |  |  |  | -
, B.3.3, C.4.4, C.4.5 |  |  |  |  | 0
1 | Laying of cables/ wires |  | 148371 | 0 | 0 | 0.020264
2 | Glanding and terminations ( except HT terminations) |  | 151222 | 0 | 0 | 0.0068843
3 | Testing and charging |  | 151324 | 0 | 0 | 0.0045926
4 | dressing and clamping |  | 150312 | 0 | 0 | 0.0068429
E.17.4 | 24 pair x 0.5 sqmm (Cu) | Mtr |  |  |  | -
1 | Laying of cables/ wires |  | 99 | 0 | 0 | 2.59e-05
2 | Glanding and terminations ( except HT terminations) |  | 99 | 0 | 0 | 8.6e-06
3 | Testing and charging |  | 99 | 0 | 0 | 5.8e-06
4 | dressing and clamping |  | 99 | 0 | 0 | 8.6e-06
VI | ERECTION OF PRE FABRICATED CABLE TRAYS AND ACCESSORIES LIKE BEND, TEE, ELBOW, CROSS & REDUCERS ETC. |  |  |  |  | -
A.7.1& B.5.1 | 600 mm wide-Cable Tray Ladder Type | Mtr |  |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 25324.8 | 0 | 0 | 0.040351
2 | Earthing of cable trays |  | 25453.8 | 0 | 0 | 0.0067595
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 30349.3 | 0 | 0 | 0.0064476
4 | Covering of trays where ever envisaged. |  | 27915.8 | 0 | 0 | 0.0051893
A.7.2& B.5.2 | 450 mm wide-Cable Tray Ladder Type | Mtr |  |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 2460.5 | 0 | 0 | 0.0025017
2 | Earthing of cable trays |  | 2840.5 | 0 | 0 | 0.0004813
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 4186 | 0 | 0 | 0.0005675
4 | Covering of trays where ever envisaged. |  | 3523.5 | 0 | 0 | 0.000418
A.7.3&B.5.3 | 300 mm wide-Cable Tray Ladder Type | Mtr |  |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 12334.5 | 0 | 0 | 0.019279
2 | Earthing of cable trays |  | 12329 | 0 | 0 | 0.0032117
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 12856 | 0 | 0 | 0.0026792
4 | Covering of trays where ever envisaged. |  | 12769.5 | 0 | 0 | 0.0023285
A.7.4&B.5.4 | 150 mm wide-Cable Tray Ladder Type | Mtr |  |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 14578.5 | 0 | 0 | 0.013495
2 | Earthing of cable trays |  | 14893.5 | 0 | 0 | 0.0022977
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 17876.5 | 0 | 0 | 0.0022064
4 | Covering of trays where ever envisaged. |  | 15348 | 0 | 0 | 0.0016575
A.7.5 | 600 mm wide-Cable Tray Perforated Type | Mtr |  |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 10322.5 | 0 | 0 | 0.020677
2 | Earthing of cable trays |  | 10473 | 0 | 0 | 0.0034964
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 14140 | 0 | 0 | 0.0037765
4 | Covering of trays where ever envisaged. |  | 11043 | 0 | 0 | 0.0025807
A.7.6 | 450 mm wide-Cable Tray Perforated Type | Mtr |  |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 440 | 0 | 0 | 0.0005475
2 | Earthing of cable trays |  | 440 | 0 | 0 | 9.13e-05
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 440 | 0 | 0 | 7.3e-05
4 | Covering of trays where ever envisaged. |  | 440 | 0 | 0 | 6.39e-05
A.7.7 | 300 mm wide-Cable Tray Perforated Type | Mtr |  |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 5618 | 0 | 0 | 0.0092072
2 | Earthing of cable trays |  | 5805.5 | 0 | 0 | 0.0015858
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 5710 | 0 | 0 | 0.0012477
4 | Covering of trays where ever envisaged. |  | 5663.5 | 0 | 0 | 0.0010829
A.7.8 | 150 mm wide-Cable Tray Perforated Type | Mtr |  |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 3090 | 0 | 0 | 0.0028603
2 | Earthing of cable trays |  | 3908 | 0 | 0 | 0.0006029
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 3138 | 0 | 0 | 0.0003873
4 | Covering of trays where ever envisaged. |  | 3142.5 | 0 | 0 | 0.0003394
A.7.9 | 100 mm wide-Cable Tray Perforated Type | Mtr |  |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 1605 | 0 | 0 | 0.0009986
2 | Earthing of cable trays |  | 1535 | 0 | 0 | 0.0001592
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 1535 | 0 | 0 | 0.0001273
4 | Covering of trays where ever envisaged. |  | 1605 | 0 | 0 | 0.0001165
VII | INSTALLATION OF HOT DIP GALVANIZED STEEL FLATS |  |  |  |  | -
A.9.1& B.7.1 | GS FLAT 75 X 10 mm (6 kg/m)app | Mtrs |  |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 8993.05 | 0 | 0 | 0.015967
2 | Testing and commissioning |  | 8993.05 | 0 | 0 | 0.0066528
A.9.2 & B.7.2 | GS FLAT 50 X 6 mm (2.5 kg/m) app | Mtrs |  |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 18438.78 | 0 | 0 | 0.021825
2 | Testing and commissioning |  | 18443.78 | 0 | 0 | 0.0090962
A9.3 | GS FLAT25X6 mm(1.2 Kg/m)app | Mtrs |  |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 105.69 | 0 | 0 | 0.0001042
2 | Testing and commissioning |  | 105.69 | 0 | 0 | 4.34e-05
A9.4 | GS FLAT 25X3 mm(0.6 Kg/m)app | Mtrs |  |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 466 | 0 | 0 | 0.000495
2 | Testing and commissioning |  | 466 | 0 | 0 | 0.0002063
A.9.5 & B.7.3 | GS WIRE 3.15 DIA 8 SWG (0.131 kg/m) app | Mtrs |  |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 33818 | 0 | 0 | 0.0020527
2 | Testing and commissioning |  | 33818 | 0 | 0 | 0.0008553
A.11.1 | GS Rod 20 mm dia LONG 1000 mm vertical air termination, Test links (150 x 25 x 6), Flexible copper conductor, 50mm GI class C pipe 3 mtr long | Set |  |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 10 | 0 | 0 | 0.0005161
2 | Testing and commissioning |  | 10 | 0 | 0 | 0.000215
VIII | FABRICATION & ERECTION OF STRUCTURAL STEEL |  |  |  |  | -
A.8.1,A.8.2,A8.3,A8.4, B.6.1,B.6.2, B.6.3 | Structural Steel (ISMC, ISMB, ISA, etc) | MT |  |  |  | -
1 | Fabrication/ Pre assembly |  | 94.1 | 0 | 0 | 0.018655
2 | Erection, Alignment, Welding/bolting and if applicable chipping/grouting/painting. |  | 94.1 | 0 | 0 | 0.016582
IX | ERECTION, TESTING & COMMISSIONING OF 220 V DC BATTERY AND BATTERY CHARGER |  |  |  |  | -
A.10.1 | 220 V DC Batteries - 324 Cells (3x108) | Set |  |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 4 | 0 | 0 | 0.0045769
2 | Pre-commissioning checks |  | 4 | 0 | 0 | 0.0009154
3 | Charging, Loop testing and commissioning |  | 4 | 0 | 0 | 0.0013731
4 | System Commissioning |  | 4 | 0 | 0 | 0.0009154
A.10.2 | Float cum Boost battery charger panel and accessories | Set |  |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 10 | 0 | 0 | 0.0046517
2 | Pre-commissioning checks |  | 10 | 0 | 0 | 0.0009303
3 | Charging, Loop testing and commissioning |  | 10 | 0 | 0 | 0.0013955
4 | System Commissioning |  | 10 | 0 | 0 | 0.0009303
X | ERECTION AND COMMISSIONING OF DIESEL GENERATOR SET |  |  |  |  | -
E.1, E.2, E.3, E.4, E.5, E.6, E.7, E.9, E.10, E.11, E.12, E.13, E.14, E.16 | 2000 KVA (e) 1500 RPM 415 V 0.8 pf (lag) DG set with panels and all accessories (i.e all items mentioned in BOQ Ref) app. | Set |  |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  |  |  |  | -
2 | Pre-commissioning checks |  | 3 | 0 | 0 | 0.0031991
3 | Charging, Loop testing and commissioning |  | 3 | 0 | 0 | 0.0047987
4 | System Commissioning |  | 3 | 0 | 0 | 0.0031991
E.8 | Acoustic enclosure with lighting fixtures to meet the noise requirement for one DG (Dismantling type). Approx size 10mx3mx2.5m (h). App.Wt. 5000 kg. | Set |  |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 3 | 0 | 0 | 0.001435
2 | Pre-commissioning checks |  | 3 | 0 | 0 | 0.000287
3 | Charging, Loop testing and commissioning |  | 3 | 0 | 0 | 0.0004305
4 | System Commissioning |  | 3 | 0 | 0 | 0.000287
XI | ERECTION AND COMMISSIONING OF CONTROL PANEL SYSTEM |  |  |  |  | -
B.9.1 | ALI Control Panel with ALI controllers and Intelli Relay Cards | set |  |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 8 | 0 | 0 | 0.0009373
2 | Pre-commissioning checks |  | 8 | 0 | 0 | 0.0001875
3 | Charging, Loop testing and commissioning |  | 8 | 0 | 0 | 0.0002812
4 | System Commissioning |  | 8 | 0 | 0 | 0.0001875
B.9.2 | Electronic Controller Panel (ECP) with ARECA controllers, firing cards, interfacing cables, FR modules and cutout plates | set |  |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 160 | 0 | 0 | 0.016808
2 | Pre-commissioning checks |  | 160 | 0 | 0 | 0.0033615
3 | Charging, Loop testing and commissioning |  | 160 | 0 | 0 | 0.0050423
4 | System Commissioning |  | 160 | 0 | 0 | 0.0033615
B.10.3 | ALI with probe head assembly, sensor processor unit and accessories | set |  |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 160 | 0 | 0 | 0.0028569
2 | Pre-commissioning checks |  | 160 | 0 | 0 | 0.0005714
3 | Charging, Loop testing and commissioning |  | 160 | 0 | 0 | 0.0008571
4 | System Commissioning |  | 160 | 0 | 0 | 0.0005714
B.10.4 | IOS System & Data Logger System with Industrual Grade Computers and accessories | set |  |  |  | -
& |  |  |  |  | 0
B.10.5 |  |  |  |  | 0
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 4 | 0 | 0 | 0.0005404
2 | Pre-commissioning checks |  | 4 | 0 | 0 | 0.0001081
3 | Charging, Loop testing and commissioning |  | 4 | 0 | 0 | 0.0001621
4 | System Commissioning |  | 4 | 0 | 0 | 0.0001081
B.10.6 | ALI Signal Cables with GI conduits | Mtrs. |  |  |  | -
& |  |  |  |  | 0
B.10.7 |  |  |  |  | 0
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 7600 | 0 | 0 | 0.000865
2 | Pre-commissioning checks |  | 7600 | 0 | 0 | 0.000173
3 | Charging, Loop testing and commissioning |  | 7600 | 0 | 0 | 0.0002595
4 | System Commissioning |  | 7600 | 0 | 0 | 0.000173
D.1, D.2, D.3, D.4, D.5, D.6 & D.8.1 | DC Emergency Lube Oil Pump starter panels / Starter Cabinet for DC jacking oil motor/ Starter Cabinet for DC seal oil motor / Generator Instrument Cabinet / Gas Analyzer Cabinet / Generator End Winding vibration monitoring cabinet / DC Starter panels / | Nos. |  |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 14 | 0 | 0 | 0.0030373
2 | Pre-commissioning checks |  | 14 | 0 | 0 | 0.0006075
3 | Charging, Loop testing and commissioning |  | 14 | 0 | 0 | 0.0009112
4 | System Commissioning |  | 14 | 0 | 0 | 0.0006075
XII | ERECTION OF JUNCTION BOXES / PUSH BUTTON STATIONS |  |  |  |  | -
B.10.1,F.5.1, | Local Start Stop Pushbuttons | Set |  |  |  | -
F.5.2,F.5.3, |  |  |  |  | 0
F.5.4&F.5.5 |  |  |  |  | 0
1 | Erection including fixing of terminal blocks where ever applicable |  | 761 | 0 | 0 | 0.0087765
2 | Name plate fixing where ever applicable and labelling. |  | 761 | 0 | 0 | 0.0011702
B.10.2,B.10.8 | Junction Boxes for ESP applications | Set |  |  |  | -
B.10.9 |  |  |  |  | 0
1 | Erection including fixing of terminal blocks where ever applicable |  | 30 | 0 | 0 | 0.0005013
2 | Name plate fixing where ever applicable and labelling. |  | 30 | 0 | 0 | 6.68e-05
XIII | COMMISSIONING OF THE FOLLOWING ERECTED BY MECHANICAL/OTHER CONTRACTOR |  |  |  |  | -
A.12.1, A.12.2, | Local Control Panels of Dosing Systems & FOPH | Nos. |  |  |  | -
A.12.3, A.12.4, |  |  |  |  | 0
A.12.5 |  |  |  |  | 0
1 | Local testing (including Oil filtration for ESP transformers) |  | 12 | 0 | 0 | 0.0003038
2 | Remote testing, loop testing and commissioning |  | 12 | 0 | 0 | 0.0003038
3 | System Commissioning |  | 12 | 0 | 0 | 3.8e-05
B.11.1 & | High Voltage Rectifier Transformers- 95 kV, 1200 mA & Disconnecting Switches | set |  |  |  | -
B.11.2 |  |  |  |  | 0
1 | Local testing (including Oil filtration for ESP transformers) |  | 160 | 0 | 0 | 0.0099822
2 | Remote testing, loop testing and commissioning |  | 160 | 0 | 0 | 0.0099822
3 | System Commissioning |  | 160 | 0 | 0 | 0.0012478
B.11.3 | Geared Motors for rapping System | Nos. |  |  |  | -
1 | Local testing (including Oil filtration for ESP transformers) |  | 336 | 0 | 0 | 0.0014345
2 | Remote testing, loop testing and commissioning |  | 336 | 0 | 0 | 0.0014345
3 | System Commissioning |  | 336 | 0 | 0 | 0.0001793
B.11.5& | Heating Elements for Hoppers//Shaft Insulators/Support Insulators & Thermostats for Hopper | Nos. |  |  |  | -
B.11.6 |  |  |  |  | 0
1 | Local testing (including Oil filtration for ESP transformers) |  | 4800 | 0 | 0 | 0.013694
2 | Remote testing, loop testing and commissioning |  | 4800 | 0 | 0 | 0.013694
3 | System Commissioning |  | 4800 | 0 | 0 | 0.0017117
B.11.7 | Interlocks ESP panels/field with Master keys | set |  |  |  | -
1 | Local testing (including Oil filtration for ESP transformers) |  | 160 | 0 | 0 | 0.0039883
2 | Remote testing, loop testing and commissioning |  | 160 | 0 | 0 | 0.0039883
3 | System Commissioning |  | 160 | 0 | 0 | 0.0004985
B.11.4 | Hoist/Cranes/Monorail | set |  |  |  | -
1 | Local testing (including Oil filtration for ESP transformers) |  | 2 | 0 | 0 | 5.45e-05
2 | Remote testing, loop testing and commissioning |  | 2 | 0 | 0 | 5.45e-05
3 | System Commissioning |  | 2 | 0 | 0 | 6.8e-06
A.12.6 | LT Unidirectional & Bidirectional drives (0.2 kW to 110 kW) | Nos. |  |  |  | -
1 | Local testing (including Oil filtration for ESP transformers) |  | 300 | 0 | 0 | 0.0024007
2 | Remote testing, loop testing and commissioning |  | 300 | 0 | 0 | 0.0024007
3 | System Commissioning |  | 300 | 0 | 0 | 0.0003001
D.7.1, D.8.2.1, D.8.2.2 | Lube Oil Purification Equipment / Governor Console Board | Nos. |  |  |  | -
1 | Local testing (including Oil filtration for ESP transformers) |  | 6 | 0 | 0 | 0.0002845
2 | Remote testing, loop testing and commissioning |  | 6 | 0 | 0 | 0.0002845
3 | System Commissioning |  | 6 | 0 | 0 | 3.56e-05
XIV | ERECTION OF MISCELLANEOUS ITEMS |  |  |  |  | -
A.9.6 | Flexible braided copper conductor with copper clamp for gate earthing | Nos. |  |  |  | -
1 | on pro rate basis |  | 30 | 0 | 0 | 0.0001438
F.5.6&F.5.7 | AC/DC Fuse DB | Nos. |  |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 16 | 0 | 0 | 0.0010994
2 | Pre-commissioning checks |  | 20 | 0 | 0 | 0.0002749
3 | Charging, Loop testing and commissioning |  | 20 | 0 | 0 | 0.0004123
4 | System Commissioning |  | 20 | 0 | 0 | 0.0002749
F.5.8 | Data concentrator Panels | Set |  |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 1 | 0 | 0 | 0.0006723
2 | Pre-commissioning checks |  | 1 | 0 | 0 | 0.0001344
3 | Charging, Loop testing and commissioning |  | 1 | 0 | 0 | 0.0002017
4 | System Commissioning |  | 1 | 0 | 0 | 0.0001344
XV | LAYING AND TERMINATION OF OFC CABLES |  |  |  |  | -
F.5.9 | OFC cable includes fixing of fibre optic components and termination kits LIU, face plates, cabinets, SC coupler, grounding etc | Mtrs |  |  |  | -
1 | Laying of cables/ wires |  | 20000 | 0 | 0 | 0.0050078
2 | Glanding and terminations ( except HT terminations) |  | 20000 | 0 | 0 | 0.0016692
3 | Testing and charging |  | 20000 | 0 | 0 | 0.0011128
4 | dressing and clamping |  | 20000 | 0 | 0 | 0.0016692
F.5.10 | Optical Fibre splicing | No |  |  |  | -
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 100 | 0 | 0 | 0.0002496
|  |  |  | Total Weightage |  | 1
TOTAL PRICE |  | 0
TOTAL PRICE IN WORDS
GST - EXTRA …..... (GST Percentage to be mentioned)
Note: Bidder should enter most competetive price in Total price cell (blue colour.) Unit rates are calculated as per the weightages automatically). Bidder should fill all the cells in blue colour.
SIGNATURE & SEAL OF AUTHORISED PERSON
Name

## Un Priced Bid SCT 202
Bharat Heavy Electricals limited Power Sector - Southern Region
Project - 5X800MW Yadadri TPS
YTPS:SCT:202409-202
Un PRICED BID
JOB Balance works of Stage-2(Unit-3 and 4)Electrical LT Package: Erection, Testing & Commissioning including Handling of materials at site BHEL stores / storage yard, transporting to site of erection and supply & application of final painting of LT Electrical works for Unit-3 and 4 and identified BOP areas of at 5x800MW Yadadri TPS, Nalgonda, Telangana.
Bidder's Name
Sl. No | Description of Item | Unit | Qty | Quoted / Not Quoted | Weightage
I | ERECTION AND COMMISSIONING OF LT SWITCHGEAR / MCC/PMCC/ACDB /DCDB PANELS | --
F.1.3 & F.1.4 | 220 V MAIN DCDB (3FA/4FA):App, Dimension in mm (LxHxD): 19000 x 2425 x 1300, No.of Panels: 23 & No. or shipping Sections: 1 2 | Set
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.0020251
4 | System Commissioning |  | 2 |  | 0.00135
F.2.1 7 & F.2.22 | 415V UNIT TURBIN E VALVE DB (3KA/4 KA): Rating 250A, App. Wt (in kg) 16250, App. Dimension in mm (LxHxD): 21250 X 2425 X 900, No. Of Panels: 25 & No. of ShippingSections: 13 | Set
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.0024599
4 | System Commissioning |  | 2 |  | 0.0016399
F.2.4,2.15,2.20,2.25&3.50 | 415V ESP & I D FAN AREA D8 | Set
(1HD/2HD/3HD/4HD)/RAW WATER STAGE-II(0WF): Radng 400A, App.
Dimension in mm (LxHxD): 5100 X 2425 X 900, No.of panels:
6 & No. of Shipping Sections: 3
2 | Pre-commissioning checks |  | 2 |  | 0.0005294
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.000794
4 | System Commissioning |  | 3 |  | 0.000794
F.2.21 & F.2.26 | 415V UNIT SERVICE ACDB (3QA/4QA): Rating 63OA, App. Dimension in mm (Lx HxD): 12400 X 2425 X 1300, No. Of Panels:15 & No of Shipping Sections: 8 | Set
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.0013914
4 | System Commissioning |  | 2 |  | 0.0009276
F.2.9 & F.2.10 | NDCT ACDB (3/4): Approximate | Set
Dimension in mm (LxHxD) : 1700 x 242 S x 900, No. of Panels: 2 & No. of Shipping Sections: 1
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 2 |  | 0.000656
2 | Pre-commissioning checks |  | 2 |  | 0.0001312
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.0001968
4 | System Commissioning |  | 2 |  | 0.0001312
F.3.34,3.52,3.35, 3.53 | 415V U NIT BOI LER (3DA/4DA)/ | Set
TU RBI N E SERVICE PMCC
(3DB/4DB) : Rating 3200/4000A, App. Dimension in mm (LxHxD): 23750/23950x2425 X 900, No. of Panels: 28/30 & No of Shipping sections:14/15
2 | Pre-commissioning checks |  | 1 |  | 0.0009259
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.0027778
4 | System Commissioning |  | 2 |  | 0.0018519
F.3.36& | 415V UNIT EMERGENCY MCC (3DG/4DG): Rating 3200A, App. Wt (in kg) 21750, App. Dimension in mm (LxHxD): 24700 X 2425 X 1600, No. Of Panels:30 & No.of Shipping Sections: 15 | Set
F.3.54
2 | Pre-commissioning checks |  | 2 |  | 0.0019004
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.0028506
4 | System Commissioning |  | 2 |  | 0.0019004
F.3.38 & | 4l5V ESP AC & VENT MCC | Set
F.3.56 | (3TB/4TB): Rating 400A, App. Wt (in kg) 6750, App Dimension in mm (LxHxEt): 8550 X 2425 X900, No. of Panels: 9 & No. of Shipping Sections: 5
2 | Pre-commissioning checks |  | 2 |  | 0.0006598
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.0009897
4 | System Commissioning |  | 2 |  | 0.0006598
F.3.39& | 415V STATION SERVICE PMCC (0 DE/0DH): Rating 4000A, App. Wt (in kg) 8950, App. Dimension in mm (LxHxD): 11000 X 2425 X1600, No. of Panels: 12 & No. of Shipping Sections: 6 | Set
F.3.57
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.0015222
4 | System Commissioning |  | 2 |  | 0.0010148
F.3.40,3.58 & | 415V COMPRESSOR HOUSE STAGE-II MM(OSG)::Rating 4000A/1000A/630A, App. Dimension in mm (LxHxD): 12800/12900/13350X2425X1600/1300, No.of Panels: | Set
F.3..49 | 14/11/14 & No. of Shipping Sections: 7/6/7
2 | Pre-commissioning checks |  | 1 |  | 0.0004638
3 | Charging, Loop testing and commissioning |  | 1 |  | 0.0006957
4 | System Commissioning |  | 1 |  | 0.0004638
F.3.41 & | 415V STATION SERVICE PMCC (0QC/0QD):Rating 630A, App. Wt.(in kg)13950, App. Dimension in mm (LxHxD): 17500X2425X1600/1300, No.of Panels: | Set
F.3.59 | 21 & No.of Shipping Sections: 11
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.0016646
4 | System Commissioning |  | 2 |  | 0.0011098
F.3.42,3.47,3.48 | FO FORWARDING STAGE-II PMCC(OSD)/SERVICE BUILDING STAGE-II PMCC (ODX)/CLARIFIED STAGE-II PMCC (ODW):Rating 630A/1600A/1000A/4000A, App. Dimension in mm (LxHxD): 15250/15500/15400/15500/15300 X 2425 X 1600, No. of Panels: 16/17/18/19 & No. of Shipping Sections: 8/9/9/10 | Set
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 1 |  | 0.0027301
2 | Pre-commissioning checks |  | 1 |  | 0.000546
3 | Charging, Loop testing and commissioning |  | 3 |  | 0.0024571
4 | System Commissioning |  | 3 |  | 0.0016381
F.3.44 & | DM STAGE-II PMCC (ODU)/CWT STAGE-II PMCC(ODV): Rating 4000A in App. Dimension (LxHxD) : 23400/23600 x2425x1300/1600,No.of Panels: 27 & No. of Shipping Sections: 14 | Set
F.3.46
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 1 |  | 0.0041892
2 | Pre-commissioning checks |  | 1 |  | 0.0008378
3 | Charging, Loop testing and commissioning |  | 2 |  | 0.0025135
4 | System Commissioning |  | 2 |  | 0.0016757
F.3.45 & | 415V PTP STAGE-I&II MCC (0WD) /SOOT BLOWER MCC:Rating 4000/3200A,Approximate Dimension in mm (LxHxD) :226000/22100 x2425x900/1000,No.Of Panels :27/26 & No.of Shipping Sections:9 | Set
C1.3
3 | Charging, Loop testing and commissioning |  | 1 |  | 0.0010125
4 | System Commissioning |  | 1 |  | 0.000675
F.3.51 | 415V AIR CONDITIONING MCC (OTB):Rating 1600A, Approximate Dimension in mm (LxHxD): 16650 X2425X 1300,No. of Panels: 18 &No.Of Shinning Sections: 9 | Set
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 1 |  | 0.002319
2 | Pre-commissioning checks |  | 1 |  | 0.0004638
3 | Charging, Loop testing and commissioning |  | 1 |  | 0.0006957
4 | System Commissioning |  | 1 |  | 0.0004638
B.8.1 & B.8.2 | AUXILIARY CONTROL BOARD (ACP) / LT MAIN SWITCH BOARD (LT MSB) :Rating 630A/4000A, Approximate Dimension in mm (LxHxD) : 12125/12650 x 2425 x 1300, | Set
N o. of Panels: 14/15 & No. of
Shipping Secfions: 7/8
2 | Pre-commissioning checks |  | 16 |  | 0.0074208
3 | Charging, Loop testing and commissioning |  | 16 |  | 0.011131
4 | System Commissioning |  | 16 |  | 0.0074208
II | ERECTION AND COMMISSI0NING OF 415V LT NON-SEGREGATED PHASE BUSDUCT
F.4.9 to 4.16,4.23,4.25,4.27,4.30,4.32,&4.42 to 4.49 | 415 V, LT NSPBD TYPE BUSDUCT 4000A/3200A/2500A/1600A/1000A | Mtr
1 | pre assembly of Bus Ducts and accessories, erection, alignment, bolting/welding etc complete with supporting structure |  | 93.81 |  | 0.0032267
2 | Pre commissioning checks |  | 201.37 |  | 0.0027705
3 | Testing , Charging |  | 201.37 |  | 0.0013853
4 | Final Painting |  | 201.37 |  | 0.0006926
III | LAYING OF LT POWER CABLES 1.1 kV, XLPE INSULATE D, GALVANISED STEEL ARMOURED SINGLE/MULTICORE CABLES FRLS (Al/Cu CABLES)
A.1.1, | 1C-400 Sq. mm / 3C-150 sq.mm | Mtr
A.1.13,
A.3.1
1 | Laying of cables/ wires |  | 76485 |  | 0.029597
2 | Glanding and terminations ( except HT terminations) |  | 77844 |  | 0.010041
3 | Testing and charging |  | 77844 |  | 0.0066939
4 | dressing and clamping |  | 76954 |  | 0.009926
A.1.2 | 1C-630 sq.mm | Mtr |  |  | -
1 | Laying of cables/ wires |  | 45213 |  | 0.019039
2 | Glanding and terminations ( except HT terminations) |  | 56183 |  | 0.0078863
3 | Testing and charging |  | 56183 |  | 0.0052575
4 | dressing and clamping |  | 45213 |  | 0.0063464
A.1.3,A.1.5,A.1.9,A.1.20 | 1C-35 sq.mm / 2C-10 sq.mm / 3C-10 so.mm / 4C-10 sq.mm | Mtr
1 | Laying of cables/ wires |  | 97486 |  | 0.013314
2 | Glanding and terminations ( except HT terminations) |  | 98602.19 |  | 0.0044888
3 | Testing and charging |  | 98837.79 |  | 0.0029997
4 | dressing and clamping |  | 97919.85 |  | 0.0044578
A.1.4 & A.1.7 | 1C-120 sq.mm / 2C-50 sq.mm | Mtr
1 | Laying of cables/ wires |  | 3400 |  | 0.0008126
2 | Glanding and terminations ( except HT terminations) |  | 3400 |  | 0.0002709
3 | Testing and charging |  | 3400 |  | 0.0001806
4 | dressing and clamping |  | 3400 |  | 0.0002709
A.1.6,B.1.4,C.3.1 | 2C-25 sq.mm / 3C - 16 Sq.mm | Mtr
1 | Laying of cables/ wires |  | 47480 |  | 0.0059441
2 | Glanding and terminations ( except HT terminations) |  | 47480 |  | 0.0019814
3 | Testing and charging |  | 49355 |  | 0.0013731
4 | dressing and clamping |  | 48387 |  | 0.0020192
A.1.10 & A.1.16 | 3C-25 sq.mm / 3.5C-25 sq.mm | Mtr
1 | Laying of cables/ wires |  | 68063 |  | 0.012394
2 | Glanding and terminations ( except HT terminations) |  | 68265 |  | 0.0041436
3 | Testing and charging |  | 68385 |  | 0.0027673
4 | dressing and clamping |  | 68183 |  | 0.0041386
A.1.11,B.1.3,A.1.17,A.1.8,A.3.2 | 3C-50 sq,mm / 3.5C-50 sq.mm / 2C-95 sqmm (Cu) | Mtr
1 | Laying of cables/ wires |  | 57996 |  | 0.012541
2 | Glanding and terminations ( except HT terminations) |  | 58391 |  | 0.0042088
3 | Testing and charging |  | 58541 |  | 0.0028131
4 | dressing and clamping |  | 58146 |  | 0.0041912
A.1.12 &A.1.18 | 3C-95 sq.mm / 3.5C-95 sq.mm | Mtr
1 | Laying of cables/ wires |  | 13040 |  | 0.0034134
2 | Glanding and terminations ( except HT terminations) |  | 14467 |  | 0.0012623
3 | Testing and charging |  | 14467 |  | 0.0008415
4 | dressing and clamping |  | 13761 |  | 0.0012007
A.1.14 & A.1.19 | 3C-185 sq.mm (AL) | Mtr |  |  | -
1 | Laying of cables/ wires |  | 5229 |  | 0.0020829
2 | Glanding and terminations ( except HT terminations) |  | 5229 |  | 0.0006943
3 | Testing and charging |  | 5229 |  | 0.0004629
4 | dressing and clamping |  | 5229 |  | 0.0006943
A.1.15,B.1.1,B.1.2,A.3.3 | 3C-240 sq.mm/ 3.5C-240 Sq,mm / 2C-150 Sq.mm | Mtr
1 | Laying of cables/ wires |  | 102296 |  | 0.027942
2 | Glanding and terminations ( except HT terminations) |  | 103500 |  | 0.0094236
3 | Testing and charging |  | 103500 |  | 0.0062824
4 | dressing and clamping |  | 103228 |  | 0.0093988
IV | END TERMINATION OF LT POWER / CONTROL CABLES - 1.1 kV, XLPE INSULATED, GALVANISED STEEL ARMOURED SINGLE/ MULTICORE CABLES FRLS (Al/Cu CABLES)
A.5.1 | 1C-400 Sq. mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 716 |  | 0.0046176
A.5.2 | 1C-630 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 660 |  | 0.0057889
A.5.3 | 1C-35 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 98 |  | 7.59e-05
A.5.4 | 1C-120 sq.mm (Al) | No's
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 18 |  | 0.0001056
A.5.5 | 2C-10 sq.mm (Al) | No's
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 104 |  | 0.0003375
A.5.6 | 2C-25 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 114 |  | 0.0004068
A.5.7 | 2C-50 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 22 |  | 9.08e-05
A.5.8 | 2C-95 sq.mm (Al) | Nos.
1 | a.5.8 |  | 18 |  | 8.94e-05
A.5.9 | 3C-10 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 1130 |  | 0.0008988
A.5.10 | 3C-25 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 816 |  | 0.003105
A.5.11, B.4.3 | 3C-50 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 252 |  | 0.0015278
A.5.12 | 3C-95 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 228 |  | 0.0011861
A.5.13 | 3C-150 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 144 |  | 0.0018481
A.5.14 | 3C-185 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 28 |  | 0.0003587
A.5.15 | 3C-240 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 180 |  | 0.002612
A.5.16 | 3.5C-25 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 192 |  | 0.0008337
A.5.17 | 3.5C-50 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 476 |  | 0.0024361
A.5.18 | 3.5C-95 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 28 |  | 0.0001686
A.5.19 | 3.5C-185 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 28 |  | 0.0003967
A.5.20 | 4C-10 sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 196 |  | 0.0001558
B.4.1 | 3.5C-240 Sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 22 |  | 0.0003779
B.4.2 | 2C-150 Sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 1166 |  | 0.006066
B.4.4, C.5.1 | 3C - 16 Sq.mm (Al) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 550 |  | 0.0024239
A.6.1 | 1C-400 sq.mm (Cu) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 179 |  | 0.0011353
A.6.2 | 2C-95 sq.mm (Cu) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 103 |  | 0.0005226
A.6.3 | 3C-240 sq.mm (Cu) | Nos.
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 11 |  | 0.0001538
V | LAYING AND TERMINATION OF LT POWER/CONTROL CABLES 1.1 kV, XLPE INSULATED, GALVANISED STEEL ARMOURED SINGLE/ MULTICORE CABLES FRLS (CU CABLES) |  |  |  | -
A.2.1, B.2.2, E.17.2, A.2.2, A.3.5, B.2.1, B.3.1, B.3.2, C.2.1, C.4.1, E.17.3 | 2C - 2.5 sq.mm / 3C - 2.5 sq.mm / 4C x 2.5 sqmm | Mtr |  |  | -
1 | Laying of cables/ wires |  | 472769 |  | 0.053806
2 | Glanding and terminations ( except HT terminations) |  | 487590 |  | 0.018498
3 | Testing and charging |  | 487805 |  | 0.012337
4 | dressing and clamping |  | 481326 |  | 0.01826
A.2.3, A.3.4, A.4.1, C.4.2, A.4.2, A.4.3, C.4.3 | 2C - 6 sq.mm / 5C - 2.5 sq.mm / 5C - 4 sq.mm / 7C - 2.5 sq.mm | Mtr |  |  | -
1 | Laying of cables/ wires |  | 289936 |  | 0.036298
2 | Glanding and terminations ( except HT terminations) |  | 298358 |  | 0.012451
3 | Testing and charging |  | 299047 |  | 0.0083196
4 | dressing and clamping |  | 292508 |  | 0.012207
A.4.4, E.17.1 | 12C - 2.5 sq.mm / 10C - 2.5 Sq.mm / 9C-2.5 Sq.mm | Mtr |  |  | -
, B.3.3, C.4.4, C.4.5
1 | Laying of cables/ wires |  | 148371 |  | 0.020264
2 | Glanding and terminations ( except HT terminations) |  | 151222 |  | 0.0068843
3 | Testing and charging |  | 151324 |  | 0.0045926
4 | dressing and clamping |  | 150312 |  | 0.0068429
E.17.4 | 24 pair x 0.5 sqmm (Cu) | Mtr |  |  | -
1 | Laying of cables/ wires |  | 99 |  | 2.59e-05
2 | Glanding and terminations ( except HT terminations) |  | 99 |  | 8.6e-06
3 | Testing and charging |  | 99 |  | 5.8e-06
4 | dressing and clamping |  | 99 |  | 8.6e-06
VI | ERECTION OF PRE FABRICATED CABLE TRAYS AND ACCESSORIES LIKE BEND, TEE, ELBOW, CROSS & REDUCERS ETC. |  |  |  | -
A.7.1& B.5.1 | 600 mm wide-Cable Tray Ladder Type | Mtr |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 25324.8 |  | 0.040351
2 | Earthing of cable trays |  | 25453.8 |  | 0.0067595
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 30349.3 |  | 0.0064476
4 | Covering of trays where ever envisaged. |  | 27915.8 |  | 0.0051893
A.7.2& B.5.2 | 450 mm wide-Cable Tray Ladder Type | Mtr |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 2460.5 |  | 0.0025017
2 | Earthing of cable trays |  | 2840.5 |  | 0.0004813
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 4186 |  | 0.0005675
4 | Covering of trays where ever envisaged. |  | 3523.5 |  | 0.000418
A.7.3&B.5.3 | 300 mm wide-Cable Tray Ladder Type | Mtr |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 12334.5 |  | 0.019279
2 | Earthing of cable trays |  | 12329 |  | 0.0032117
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 12856 |  | 0.0026792
4 | Covering of trays where ever envisaged. |  | 12769.5 |  | 0.0023285
A.7.4&B.5.4 | 150 mm wide-Cable Tray Ladder Type | Mtr |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 14578.5 |  | 0.013495
2 | Earthing of cable trays |  | 14893.5 |  | 0.0022977
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 17876.5 |  | 0.0022064
4 | Covering of trays where ever envisaged. |  | 15348 |  | 0.0016575
A.7.5 | 600 mm wide-Cable Tray Perforated Type | Mtr |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 10322.5 |  | 0.020677
2 | Earthing of cable trays |  | 10473 |  | 0.0034964
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 14140 |  | 0.0037765
4 | Covering of trays where ever envisaged. |  | 11043 |  | 0.0025807
A.7.6 | 450 mm wide-Cable Tray Perforated Type | Mtr |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 440 |  | 0.0005475
2 | Earthing of cable trays |  | 440 |  | 9.13e-05
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 440 |  | 7.3e-05
4 | Covering of trays where ever envisaged. |  | 440 |  | 6.39e-05
A.7.7 | 300 mm wide-Cable Tray Perforated Type | Mtr |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 5618 |  | 0.0092072
2 | Earthing of cable trays |  | 5805.5 |  | 0.0015858
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 5710 |  | 0.0012477
4 | Covering of trays where ever envisaged. |  | 5663.5 |  | 0.0010829
A.7.8 | 150 mm wide-Cable Tray Perforated Type | Mtr |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 3090 |  | 0.0028603
2 | Earthing of cable trays |  | 3908 |  | 0.0006029
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 3138 |  | 0.0003873
4 | Covering of trays where ever envisaged. |  | 3142.5 |  | 0.0003394
A.7.9 | 100 mm wide-Cable Tray Perforated Type | Mtr |  |  | -
1 | Fabrication and Fixing/Welding/Bolting in position |  | 1605 |  | 0.0009986
2 | Earthing of cable trays |  | 1535 |  | 0.0001592
3 | Tagging of Cable trays (including touch up painting &cable tray numbering on sides) |  | 1535 |  | 0.0001273
4 | Covering of trays where ever envisaged. |  | 1605 |  | 0.0001165
VII | INSTALLATION OF HOT DIP GALVANIZED STEEL FLATS |  |  |  | -
A.9.1& B.7.1 | GS FLAT 75 X 10 mm (6 kg/m)app | Mtrs |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 8993.05 |  | 0.015967
2 | Testing and commissioning |  | 8993.05 |  | 0.0066528
A.9.2 & B.7.2 | GS FLAT 50 X 6 mm (2.5 kg/m) app | Mtrs |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 18438.78 |  | 0.021825
2 | Testing and commissioning |  | 18443.78 |  | 0.0090962
A9.3 | GS FLAT25X6 mm(1.2 Kg/m)app | Mtrs |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 105.69 |  | 0.0001042
2 | Testing and commissioning |  | 105.69 |  | 4.34e-05
A9.4 | GS FLAT 25X3 mm(0.6 Kg/m)app | Mtrs |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 466 |  | 0.000495
2 | Testing and commissioning |  | 466 |  | 0.0002063
A.9.5 & B.7.3 | GS WIRE 3.15 DIA 8 SWG (0.131 kg/m) app | Mtrs |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 33818 |  | 0.0020527
2 | Testing and commissioning |  | 33818 |  | 0.0008553
A.11.1 | GS Rod 20 mm dia LONG 1000 mm vertical air termination, Test links (150 x 25 x 6), Flexible copper conductor, 50mm GI class C pipe 3 mtr long | Set |  |  | -
1 | Fabrication, erection, alignment, welding…… |  | 10 |  | 0.0005161
2 | Testing and commissioning |  | 10 |  | 0.000215
VIII | FABRICATION & ERECTION OF STRUCTURAL STEEL |  |  |  | -
A.8.1,A.8.2,A8.3,A8.4, B.6.1,B.6.2, B.6.3 | Structural Steel (ISMC, ISMB, ISA, etc) | MT |  |  | -
1 | Fabrication/ Pre assembly |  | 94.1 |  | 0.018655
2 | Erection, Alignment, Welding/bolting and if applicable chipping/grouting/painting. |  | 94.1 |  | 0.016582
IX | ERECTION, TESTING & COMMISSIONING OF 220 V DC BATTERY AND BATTERY CHARGER |  |  |  | -
A.10.1 | 220 V DC Batteries - 324 Cells (3x108) | Set |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 4 |  | 0.0045769
2 | Pre-commissioning checks |  | 4 |  | 0.0009154
3 | Charging, Loop testing and commissioning |  | 4 |  | 0.0013731
4 | System Commissioning |  | 4 |  | 0.0009154
A.10.2 | Float cum Boost battery charger panel and accessories | Set |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 10 |  | 0.0046517
2 | Pre-commissioning checks |  | 10 |  | 0.0009303
3 | Charging, Loop testing and commissioning |  | 10 |  | 0.0013955
4 | System Commissioning |  | 10 |  | 0.0009303
X | ERECTION AND COMMISSIONING OF DIESEL GENERATOR SET |  |  |  | -
E.1, E.2, E.3, E.4, E.5, E.6, E.7, E.9, E.10, E.11, E.12, E.13, E.14, E.16 | 2000 KVA (e) 1500 RPM 415 V 0.8 pf (lag) DG set with panels and all accessories (i.e all items mentioned in BOQ Ref) app. | Set |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  |  |  | -
2 | Pre-commissioning checks |  | 3 |  | 0.0031991
3 | Charging, Loop testing and commissioning |  | 3 |  | 0.0047987
4 | System Commissioning |  | 3 |  | 0.0031991
E.8 | Acoustic enclosure with lighting fixtures to meet the noise requirement for one DG (Dismantling type). Approx size 10mx3mx2.5m (h). App.Wt. 5000 kg. | Set |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 3 |  | 0.001435
2 | Pre-commissioning checks |  | 3 |  | 0.000287
3 | Charging, Loop testing and commissioning |  | 3 |  | 0.0004305
4 | System Commissioning |  | 3 |  | 0.000287
XI | ERECTION AND COMMISSIONING OF CONTROL PANEL SYSTEM |  |  |  | -
B.9.1 | ALI Control Panel with ALI controllers and Intelli Relay Cards | set |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 8 |  | 0.0009373
2 | Pre-commissioning checks |  | 8 |  | 0.0001875
3 | Charging, Loop testing and commissioning |  | 8 |  | 0.0002812
4 | System Commissioning |  | 8 |  | 0.0001875
B.9.2 | Electronic Controller Panel (ECP) with ARECA controllers, firing cards, interfacing cables, FR modules and cutout plates | set |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 160 |  | 0.016808
2 | Pre-commissioning checks |  | 160 |  | 0.0033615
3 | Charging, Loop testing and commissioning |  | 160 |  | 0.0050423
4 | System Commissioning |  | 160 |  | 0.0033615
B.10.3 | ALI with probe head assembly, sensor processor unit and accessories | set |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 160 |  | 0.0028569
2 | Pre-commissioning checks |  | 160 |  | 0.0005714
3 | Charging, Loop testing and commissioning |  | 160 |  | 0.0008571
4 | System Commissioning |  | 160 |  | 0.0005714
B.10.4 | IOS System & Data Logger System with Industrual Grade Computers and accessories | set |  |  | -
&
B.10.5
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 4 |  | 0.0005404
2 | Pre-commissioning checks |  | 4 |  | 0.0001081
3 | Charging, Loop testing and commissioning |  | 4 |  | 0.0001621
4 | System Commissioning |  | 4 |  | 0.0001081
B.10.6 | ALI Signal Cables with GI conduits | Mtrs. |  |  | -
&
B.10.7
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 7600 |  | 0.000865
2 | Pre-commissioning checks |  | 7600 |  | 0.000173
3 | Charging, Loop testing and commissioning |  | 7600 |  | 0.0002595
4 | System Commissioning |  | 7600 |  | 0.000173
D.1, D.2, D.3, D.4, D.5, D.6 & D.8.1 | DC Emergency Lube Oil Pump starter panels / Starter Cabinet for DC jacking oil motor/ Starter Cabinet for DC seal oil motor / Generator Instrument Cabinet / Gas Analyzer Cabinet / Generator End Winding vibration monitoring cabinet / DC Starter panels / | Nos. |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 14 |  | 0.0030373
2 | Pre-commissioning checks |  | 14 |  | 0.0006075
3 | Charging, Loop testing and commissioning |  | 14 |  | 0.0009112
4 | System Commissioning |  | 14 |  | 0.0006075
XII | ERECTION OF JUNCTION BOXES / PUSH BUTTON STATIONS |  |  |  | -
B.10.1,F.5.1, | Local Start Stop Pushbuttons | Set |  |  | -
F.5.2,F.5.3,
F.5.4&F.5.5
1 | Erection including fixing of terminal blocks where ever applicable |  | 761 |  | 0.0087765
2 | Name plate fixing where ever applicable and labelling. |  | 761 |  | 0.0011702
B.10.2,B.10.8 | Junction Boxes for ESP applications | Set |  |  | -
B.10.9
1 | Erection including fixing of terminal blocks where ever applicable |  | 30 |  | 0.0005013
2 | Name plate fixing where ever applicable and labelling. |  | 30 |  | 6.68e-05
XIII | COMMISSIONING OF THE FOLLOWING ERECTED BY MECHANICAL/OTHER CONTRACTOR |  |  |  | -
A.12.1, A.12.2, | Local Control Panels of Dosing Systems & FOPH | Nos. |  |  | -
A.12.3, A.12.4,
A.12.5
1 | Local testing (including Oil filtration for ESP transformers) |  | 12 |  | 0.0003038
2 | Remote testing, loop testing and commissioning |  | 12 |  | 0.0003038
3 | System Commissioning |  | 12 |  | 3.8e-05
B.11.1 & | High Voltage Rectifier Transformers- 95 kV, 1200 mA & Disconnecting Switches | set |  |  | -
B.11.2
1 | Local testing (including Oil filtration for ESP transformers) |  | 160 |  | 0.0099822
2 | Remote testing, loop testing and commissioning |  | 160 |  | 0.0099822
3 | System Commissioning |  | 160 |  | 0.0012478
B.11.3 | Geared Motors for rapping System | Nos. |  |  | -
1 | Local testing (including Oil filtration for ESP transformers) |  | 336 |  | 0.0014345
2 | Remote testing, loop testing and commissioning |  | 336 |  | 0.0014345
3 | System Commissioning |  | 336 |  | 0.0001793
B.11.5& | Heating Elements for Hoppers//Shaft Insulators/Support Insulators & Thermostats for Hopper | Nos. |  |  | -
B.11.6
1 | Local testing (including Oil filtration for ESP transformers) |  | 4800 |  | 0.013694
2 | Remote testing, loop testing and commissioning |  | 4800 |  | 0.013694
3 | System Commissioning |  | 4800 |  | 0.0017117
B.11.7 | Interlocks ESP panels/field with Master keys | set |  |  | -
1 | Local testing (including Oil filtration for ESP transformers) |  | 160 |  | 0.0039883
2 | Remote testing, loop testing and commissioning |  | 160 |  | 0.0039883
3 | System Commissioning |  | 160 |  | 0.0004985
B.11.4 | Hoist/Cranes/Monorail | set |  |  | -
1 | Local testing (including Oil filtration for ESP transformers) |  | 2 |  | 5.45e-05
2 | Remote testing, loop testing and commissioning |  | 2 |  | 5.45e-05
3 | System Commissioning |  | 2 |  | 6.8e-06
A.12.6 | LT Unidirectional & Bidirectional drives (0.2 kW to 110 kW) | Nos. |  |  | -
1 | Local testing (including Oil filtration for ESP transformers) |  | 300 |  | 0.0024007
2 | Remote testing, loop testing and commissioning |  | 300 |  | 0.0024007
3 | System Commissioning |  | 300 |  | 0.0003001
D.7.1, D.8.2.1, D.8.2.2 | Lube Oil Purification Equipment / Governor Console Board | Nos. |  |  | -
1 | Local testing (including Oil filtration for ESP transformers) |  | 6 |  | 0.0002845
2 | Remote testing, loop testing and commissioning |  | 6 |  | 0.0002845
3 | System Commissioning |  | 6 |  | 3.56e-05
XIV | ERECTION OF MISCELLANEOUS ITEMS |  |  |  | -
A.9.6 | Flexible braided copper conductor with copper clamp for gate earthing | Nos. |  |  | -
1 | on pro rate basis |  | 30 |  | 0.0001438
F.5.6&F.5.7 | AC/DC Fuse DB | Nos. |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 16 |  | 0.0010994
2 | Pre-commissioning checks |  | 20 |  | 0.0002749
3 | Charging, Loop testing and commissioning |  | 20 |  | 0.0004123
4 | System Commissioning |  | 20 |  | 0.0002749
F.5.8 | Data concentrator Panels | Set |  |  | -
1 | Placement, Alignment and coupling / interconnection where ever applicable, erection of associated accessories etc |  | 1 |  | 0.0006723
2 | Pre-commissioning checks |  | 1 |  | 0.0001344
3 | Charging, Loop testing and commissioning |  | 1 |  | 0.0002017
4 | System Commissioning |  | 1 |  | 0.0001344
XV | LAYING AND TERMINATION OF OFC CABLES |  |  |  | -
F.5.9 | OFC cable includes fixing of fibre optic components and termination kits LIU, face plates, cabinets, SC coupler, grounding etc | Mtrs |  |  | -
1 | Laying of cables/ wires |  | 20000 |  | 0.0050078
2 | Glanding and terminations ( except HT terminations) |  | 20000 |  | 0.0016692
3 | Testing and charging |  | 20000 |  | 0.0011128
4 | dressing and clamping |  | 20000 |  | 0.0016692
F.5.10 | Optical Fibre splicing | No |  |  | -
1 | Termination, HT Termination, Straight through jointing etc: on pro rate basis |  | 100 |  | 0.0002496
|  |  |  | Total Weightage | 1
SIGNATURE & SEAL OF AUTHORISED PERSON
Name