## CAS
Annexure-A (PRICE SCHEDULE)
NAME OF PROJECT: |  | 2 X 660 MW TALCHER TPP, STAGE-III |  |  | Vendor Name
NAME OF PACKAGE: |  | COMPRESSED AIR SYSTEM
TECHNICAL SPECIFICATION: |  | PE-TS-497-555-A001 |  |  | Supply |  |  | Services |  | Taxes |  |  | Total Scope
S. No. | Description |  | UNIT | QTY | Total Ex-Works Price (INR) | Freight % | Freight in INR | Unit Price (INR) | Total Price (INR) | GST type | GST rate in % | GST amount in Rs. | Total Price Including Freight & GST (INR)
1 | Total lump sum firm price for Supply part, Services part, Mandatory spares, Engineering Charges and AMC comprising of design (i.e. preparation and submission of drawing /documents including “As Built” drawings and O&M manuals), engineering, manufacture, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of lubricants & consumables, mandatory spares along with spares for erection (as required), start-up spares (as required) and commissioning spares (as specified), forwarding, proper packing, shipment and delivery at site, unloading, handling, transportation & storage at site, in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site, carrying out Performance guarantee / Functional / Demonstration tests at site (As applicable), training of customer/client O&M staff (if applicable) and handover in flawless condition of the package to the end customer complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. |  | Lot | 1 | [8 empty] | 0
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Total lump sum firm price for Supply part comprising of manufacturing, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of lubricants & consumables alongwith spares for erection as required, startup and commissioning spares as required, forwarding, proper packing, parts / spares required during warranty period (against defects in design,materials,construction and workmanship) shipment and delivery at site, for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. (Break-up as per Annexure-I) |  | Lot | 1 | 0 |  | 0 |  |  |  |  | 0 | 0
2.2 | Total lumpsum firm prices for Services part comprising of unloading, handling, transportation & storage at site, in-site transportation, assembly, erection & commissioning, final painting at site, minor civil work, trial run at site and carrying out Performance guarantee / Functional / Demonstration tests at site (As applicable), training of customer/client O&M staff (if applicable) and handover in flawless condition of the package to the end customer complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. |  | Lot | 1 |  |  |  |  | 0 |  |  | 0 | 0
2.3 | Total lumpsum firm for Mandatory spares comprising of manufacture, fabrication, assembly, inspection / testing (as applicable) at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per tender technical specification above, amendment & agreements till placement of order. (Price break up of mandatory spares is to be furnished as per Annexure- II) |  | Lot | 1 | 0 |  | 0 |  |  |  |  | 0 | 0
2.4* | Total lumpsum firm price for ENGINEERING CHARGES comprising of design (i.e Preparation & submission of drawings/documents including " AS BUILT" drawings and O&M Manuals and engineering as per tender technical specification above, amendment & agreements till placement of order. |  | Lot | 1 |  |  |  |  | 0 |  |  | 0 | 0
2.5 | Total lumpsum firm price for AMC (Annual Maintenance Contract) for one (1) years from the date of successful commissioning of Compressed Air System. (as per Section 7, Vol III of Technical Specification) |  | Lot | 1 |  |  |  |  | 0 |  |  | 0 | 0

## CAS-ANNEX.-I
ANNEXURE-I
NAME OF PROJECT: |  | 2 X 660 MW TALCHER TPP, STAGE-III
NAME OF PACKAGE: |  | COMPRESSED AIR SYSTEM
TECHNICAL SPECIFICATION: |  | PE-TS-497-555-A001
S. No. | DESCRIPTION |  | UNIT | QTY | Unit Ex-Works Price (INR) | Total Ex-Works Price (INR)
BREAK-UP OF SUPPLY PRICES GIVEN IN 2.1 OF MAIN SHEET.
2.1 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for Supply part comprising of manufacturing, fabrication, assembly, inspection / testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles (as applicable), fill of lubricants & consumables alongwith spares for erection (as required), startup spares (as required) and commissioning spares (as specified), parts/spares required during warranty period (against defects in design, materials, construction and workmanship),forwarding,proper packing, shipment and delivery at site, for the total scope defined as per BHEL NIT & tender technical specification as specified above, amendment & agreements till placement of order. |  | Lot | 1
Break up prices for items covered in clause 2.1 above.
2.1.1 | Instrument air Compressors (Oil Free Screw type / Centrifugal type) each of minimum 55 NM3/Min capacity @ 8.0 kg/cm2 (min.) discharge pressure with suction filter with silencer, inter cooler and after cooler with moisture separators, automatic drain traps, instruments, control system, cable lugs, glands and other accessories (as required / as specified) but excluding electric motor drive. |  | Nos. | 4 |  | 0
2.1.2 | Air Drying Plants HOC type (Twin Tower / Rotary Drum) of minimum 55 NM3/min. capacity for Air Compressor with all instruments, control panels, including Electronic due point meter and other accessories as specified. |  | Nos. | 4 |  | 0
2.1.3 | Service air Compressors (Oil Free Screw type) each of minimum 55 NM3/Min capacity @ 8.0 kg/cm2 (min.) discharge pressure with suction filter with silencer, inter cooler and after cooler with moisture separators, automatic drain traps, instruments, control system, cable lugs, glands and other accessories (as required / as specified) but excluding electric motor drive. |  | Nos. | 3 |  | 0
2.1.4 | Air Receivers required for Compressed Air System of minimum 10 Cu.M capacity each with instruments, relief valve, isolation valve, drain connection with automatic trap stations (zero purge air loss type) and other accessories as specified. |  | Nos. | 12 |  | 0
2.1.5 | Air Receivers required for Compressed Air System of minimum 02 Cu.M capacity each with instruments, relief valve, isolation valve, drain connection with automatic trap stations (zero purge air loss type) and other accessories as specified. |  | No. | 1 |  | 0
2.1.6 | Inter connecting cooling water, drain piping and compressed air piping as specified including fittings and valves etc. for complete Compressed air system. |  | Lot | 1 |  | 0
2.1.7 | Instruments as specificed. |  | Lot | 1 |  | 0
2.1.8 | Interface module(s), JB's for the overall control & monitoring of compressed air system through DDCMIS including common Sequencing Panel. |  | No. | 1 |  | 0
2.1.7 | Operational spares (as per Annexure-VI) for Compressed air system.
a | Lube oil (Qty. for 1 Lot in Ltr. shall be as per oil tank capacity for One Compressor) |  | Lot | 2 |  | 0
b | Lube oil filters with seals |  | Nos. | 14 |  | 0
c | Air filters with gaskets |  | Nos. | 14 |  | 0
d | Service kit including seals, washers and rings for inter cooler & after cooler (as applicable) |  | Nos. | 7 |  | 0
Grand total | [5 empty] | 0

## CAS-ANNEX.-II
ANNEXURE-II LIST OF MANDATORY SPARES
NAME OF PROJECT: |  | 2 X 660 MW TALCHER TPP, STAGE-III
NAME OF PACKAGE: |  | COMPRESSED AIR SYSTEM
TECHNICAL SPECIFICATION: |  | PE-TS-435-555-A001
S. No. | DESCRIPTION | QTY | Total Ex-Works Price (INR)
1.00.00 | AIR COMPRESSORS / ADP /COMPRESSOR HOUSE CRANE
1.01.00 | Oil free Screw Air Compressor ( as applicable)
(i) | Complete HP Stage with HP element. | 1 No.
(ii) | Complete LP stage with LP element | 1 No.
(iii) | Motor Bearings | 2 Sets
(iv) | LP stage Pinion | 1 No.
(v) | HP stage Pinion | 1 No.
(vi) | Air Oil Filter Kit | 4 Nos.
(vii) | After cooler Safety Valve | 1 No.
(viii) | Inter Cooler Safety Valve | 1 No.
(ix) | Oil Pump kit | 2 Nos.
(x) | After cooler drain valve kit | 1 No.
(xi) | Inter cooler drain valve kit | 1 No.
(xii) | Air receiver drain/moisture trap | 1 No.
(xiii) | ‘O’ Rings for oil cooler | 8 Nos.
(xiv) | Moisture separators for Aftercooler | 2 Nos.
(xv) | Moisture separators for Intercooler | 2 Nos.
1.02.00 | Centrifugal Compressor (as applicable)
1.02.01 | Pinion Shaft Journal Bearing Assembly | 2 Sets
1.02.02 | Thrust Bearing Assembly | 2 Sets
1.02.03 | Shaft Seals for Air-Oil (All stages) | 2 Sets
1.02.04 | Gasket / O rings | 3 Sets each type/size
1.02.05 | Air Filter Elements | 4 Sets each type/size
1.02.06 | Lub Oil System
1.02.06.1 | Main oil pump complete | 1 No
1.02.06.2 | Aux. oil pump complete | 1 No
1.02.06.3 | Complete coupling for Main & Aux. oil pump, spacer | 1 No
1.02.06.4 | Cartridge filter elements with gaskets and seals | 4 Sets
1.02.06.5 | Motor Bearings | 2 sets
1.02.07 | Drain / Moisture Trap | 2 Set of each type/size.
1.02.08 | Oil Cooler Gaskets & Seals | 2 sets
1.03.00 | AIR DRYING PLANT FOR IA SYSTEM (Twin tower Type) (As applicable)
1 | Pre filter element (Ceramic candle or as applicable) | 2 sets
2 | After filter applicable) | 2 sets
3 | Heater element (if applicable) | 1 sets
4 | Blower bearing (if applicable) | 1 sets
5 | Blower motor bearing (if applicable) | 2 sets
6 | Valves & Valve Actuators (pneumatic/hydraulic) | 2 sets
7 | Heater coil for temperature stabilization (for HOC type) (as applicable) | 2 sets
1.04.00 | Valves (within the compressor house with actuators) | 2 Nos. of each type / rating / size
1.05.00 | Void | NA
1.06.00 | MEASURING INSTRUMENTS
1 | Electronic Transmitters
(i) | Transmitters of all types, ranges and model no. (for the measurement of Pressure, differential pressure flow, level, etc.) | 2 Nos. of each type and model
2 | Temperature elements
(i) | RTD’s* of each type and length | 2 Nos. of each type and length
(ii) | Thermocouples of each type like K-type, R-type, metal etc. and length * | 2 Nos. of each type and length
(iii) | Thermowell | 2 Nos. of each type and length
(iv) | Temperature transmitters (if applicable) | 2 Nos of each type
3 | Process Actuated Switch Devices Includes all types of Pressure, differential pressure, flow, temperature, differential temperature, level switch Devices | 2 Nos. of each type and model
4 | Dew Point meters | 1 No.
1.07.00 | MICROPROCESSOR BASED/PLC BASED CONTROL/ELECTRONIC BASED CONTRAL PANEL (IF APPLICABLE)
1 | Fully programmed controller of electronic modules of each type (as applicable) | 1 No.
2 | Power supply module (if applicable) | 1 No.
1.08.00 | Rotary drum type Air drying plant for Instrument Air system (As applicable)
| Drive assembly consisting of motor, gear boxes, drive shaft & coupling | 1 set
Grand total |  |  | 0
NOTE:
1 | Wherever set is mentioned, one set of the spares of that item shall be for complete replacement of that particular item for one equipment.
2 | Any fraction of a item shall mean the next higher integer.
3 | Wherever quantity has been specified as percentage (%), the quantity of mandatory spares to be provided by contractor shall be the specified percentage (%) of the total population of the plant. In case the quantity so calculated happens to be fraction, the same shall be rounded off to next higher whole number.
4 | Wherever the quantities have been indicated for each type, size, thickness, material, radius, range etc., these shall cover all the items supplied and installed and the breakup for these shall be furnished in the bid.
5 | In case spares indicated in the list are not applicable to the particular design offered by the bidder, the bidder should offer spares applicable to offered design with quantities generally in line with the approach followed in the above list.

## CAS-ANNEX.-III
Guaranteed Power Consumption For Air Compressor System
NAME OF PROJECT: |  | 2 X 660 MW TALCHER TPP, STAGE-III
NAME OF PACKAGE: |  | COMPRESSED AIR SYSTEM
TECHNICAL SPECIFICATION: |  | PE-TS-497-555-A001
S.No. (1) | Description of Equipments (2) | Nos. of Equipments (3) |  | Total Guaranteed Power Consumption for Each Equipment at Motor Input Terminals & control Panel (4) | Duty Factor (5) | Total (KW) (6) = (3A)*(4)*(5)
|  | Working | Standby
|  | A | B
1 | Instrument air compressors (Oil free Screw / Centrifugal type) of capacity 55 NM3/Min. @ discharge pressure of 8.0 Kg/cm2(g). | 3 | 1 |  | 0.66
2 | Service air compressors (Oil free Screw / Centrifugal type) of capacity 55 NM3/Min. @ discharge pressure of 8.0 Kg/cm2(g). | 2 | 1 |  | 0.33
3 | Air Drying plant (Heaters) (if applicable) | 3 | 1 |  | 0.5
4 | Air Drying plant (Blowers) (if applicable) | 3 | 1 |  | 1
TOTAL
Note :
1 | Estimated Power Consumption Figure for the compressed air system (For Working Drives Only) considered is 1250 KW.
2 | Bidders Guaranteed power consumption at motor input terminals (Not Shaft Power) considering motor efficiency of 95.3% (at full load) including power for control panel as furnished in guranteed schedule shall be demonstrated by the successful bidder during performance testing at works/site.
3 | The price quoted by the bidder shall be loaded @ US $ 5195 (US Dollar Five Thousand One Hundred Ninety Five only) for every additional kW increase in consumption from the base figure indicated at Note no. 1.0 above.
4 | In case the successful bidder fails to establish / prove the guaranteed values of power consumption ((base figure of auxiliary power consumption or the GPC quoted by bidder, whichever is higher) on actual performance testing at the manufacturing works / site, penalty @ US $ 5195 (US Dollar Five Thousand One Hundred Ninety Five only) per kW increase in power consumption figure shall be levied.
5 | If the contract currency is other than US dollars, then the liquidated damages shall be in equivalent amount in contract currency based on Bill selling exchange rate of State Bank of India prevailing on 27.09.22.